U.S. Landfill Project Submittal Form

| Instructions: Please complete all fields as thoroughly as possible. If the project in question is still in the planning or development phase, all fields must be completed using best available data and estimates based on the proposed project design. This is an interactive Word form. Upon completion, please save this form as a PDF prior to uploading it to the Reserve. This will lock your answers and protect the document from any further changes. All fields must be completed, even if the answer is also provided elsewhere; if a field is not applicable insert N/A in the space provided. Upon approval, this form will become public. |  |
| --- | --- |
| - Account Holder (as it appears in the Reserve software): | Development Authority of the North Country |
| - Project Name (as it appears in the Reserve software): | Development Authority of the North Country (DANC) Landfill Gas Destruction Project |
| - Project ID #: | CAR398 |
| - Protocol Version: | U.S. Landfill Protocol V6.0 |
| - Project Crediting Period* (select one): *If the project is being submitted for a crediting period renewal, please send an email to reserve@climateactionreserve.org notifying the Reserve Administrator. In addition, please upload to the existing project in the Reserve software (there is no need to create a new project for the purposes of applying for a crediting period renewal). | First crediting period Second crediting period Third crediting period |
| - Technical Consultant(s): | Barton and Loguidice, D.P.C .Denise Farrell, Environmental Attribute Advisors |
| - Other Parties with a Material Interest: | NA |
| - Form Completed By (name, organization): | Denise Farrell, Environmental Attribute Advisors |
| - Contact Information (phone, email): | 917-621-7165 |
| - Date of Form Completion: | 3/8/2023 |
| - Project Start Date (MM/DD/YYYY): | 03/28/2001 |
| - First Reporting Period of the Current / Renewed Crediting Period (MM/DD/YYYY): | 03/28/2021 to 3/27/2022 |

| Project Site Information |  |  |  |
| --- | --- | --- | --- |
| - Landfill name | Development Authority of the North Country (DANC) |  |  |
| - Project site address (including county and country) | 23400 NYS Rt. 177 Rodman, NY 13682 Jefferson County, USA |  |  |
| - Project description (please provide one to two paragraphs) | The Development Authority of the North Country (DANC) owns and operates the NYCRR Part 360-permitted landfil located in the Town of Rodman, Jefferson, New York. The facility voluntarily operates a landfill gas (LFG) collection and control system (GCCS) that collects LFG from vertical extraction wells and horizontal collection pipes. The GCCS is expanded as waste placement progresses. Collected LFG is conveyed to on-site flares at the landfill and a landfill gas-to-energy (LFGTE) facility for destruction. The landfill gas flare system includes one (1) 3,000 scfm-capacity main candlestick flare and eight (8) passive candlestick flares. The flares began operation in 2001. The passive flares are included in the facility's Title V Permit as control devices; however, they are not included in this project. The LFGTE facility is owned by DANC and operated by Archaea Energy. It is permitted for up to four (4) Caterpillar, Inc.® G3520C lean-burn internal combustion (IC) generator sets, one (1) 1,100 scfm-capacity open candlestick flare, and one (1) enclosed thermal oxidizer. All of these permitted destruction devices are currently installed and operational. Flaring of the landfill gas is used as an alternate control method during period when the engines are down for periodic maintenance as well as parallel control when excess landfill gas is collected beyond the capacity of the installed engines. |  |  |
| - Owner of landfill (name and organization) | Development Authority of the North Country (DANC) |  |  |
| - Owner of gas collection and control system | Development Authority of the North Country (DANC) |  |  |
| - Type of waste accepted (MSW, demolition debris, organic, etc.) | MSW, Construction & Demolition Debris, Sludge, Asbestos Waste, Industrial Waste, and Petroleum Contaminated Soil |  |  |
| - Designed landfill capacity (cubic meters or tonnes) | 21,336,500 tons |  |  |
| - Date of last modification, construction, or reconstruction (if applicable) | Cells 12 and 13 constructed in 2021 |  |  |
| - Year landfill opened | 1992 |  |  |
| - Year landfill closed or estimated date of closure (if known) | 2074 |  |  |
| Baseline Destruction Information |  | Yes | No |
| - Did the landfill ever collect and destroy landfill gas using a non-qualifying destruction device (i.e., passive flares)? If yes, please describe: |  |  |  |
| - Did the landfill ever collect and destroy landfill gas using a qualifying destruction device (i.e., candlestick flare, engine, etc.)? If yes, please describe: |  |  |  |
| Project Eligibility and Monitoring |  | Yes | No |
| - Have any GHG reductions from the project ever been registered with or claimed by another registry or program prior to registering with the Reserve? If yes, you must complete and return a “Registry Project Transfer Attestation Form” |  |  |  |
| - Have any GHG reductions from the project ever been sold directly to a third party (i.e., sold without being registered with or claimed by another registry or program) prior to registering with the Reserve? If yes, please describe: |  |  |  |
| - Is the landfill subject to NSPS Regulation (greater than 2.5 million tonnes capacity)? |  |  |  |
| - If applicable, date of the most recent Tier I or Tier II NMOC test (format MM/DD/YYYY): 08/03/2021. Tier 2 testing is required every 5 years per the regulation. The next will be performed by 08/02/2026. |  | - | - |
| - NMOC emissions per year (Mg/year): 11.73 (2022 est.) |  | - | - |
| - Date at which landfill did or is expected to exceed 34 Mg NMOC per year (if the landfill was modified, constructed, or reconstructed after July 17, 2014) or 50 Mg NMOC per year otherwise (format MM/DD/YYYY): N/A |  | - | - |

| - Is this project being implemented and maintained as the result of any law, statute, regulation, court order, or other preexisting legally binding mandate? If yes, please explain: |  |  |
| --- | --- | --- |
| - Has a detailed monitoring plan been developed for this project? If no, date a monitoring plan will be in place (format MM/DD/YYYY): 04/01/2023 |  |  |
| - Is the Account Holder authorized to sign the Attestation of Title? |  |  |
| All Projects (Optional) |  |  |
| - Additional information (if any): The Registry Project Transfer Attestation was done 9/29/2008 |  |  |