Monitoring Report

PUBLICATION DATE  14.10.2020
VERSION  v. 1.1 
RELATED SUPPORT - TEMPLATE GUIDE Monitoring Report v. 1.1

This document contains the following Sections

Key Project Information

0 - Description of project

0 - Implementation of project

0 - Description of monitoring system applied by the project

0 - Data and parameters

0 - Calculation of SDG Impacts

0 - Safeguards Reporting

0 - Stakeholder inputs and legal disputes

KEY PROJECT INFORMATION

Key Project Information

| GS ID (s) of Project (s) | GS11167 |
| --- | --- |
| Title of the project (s) covered by monitoring report | Taishan Geothermal Central Heating System |
| Version number of the PDD/VPA-DD (s) applicable to this monitoring report | 04 |
| Version number of the monitoring report | 03 |
| Completion date of the monitoring report | 09/08/2023 |
| Date of project design certification | 22/09/2021 |
| Date of Last Annual Report | N/A |
| Monitoring period number | 03 |
| Duration of this monitoring period | The 3nd monitoring period from 01/04/2022 to 31/03/2023 (first and last days included) |
| Project Representative | The official focal point and project developer: Profit Carbon Environmental Energy Technology (Shanghai) Co., Ltd. The project owner: Zhengzhou Onar Heating Co., Ltd |
| Host Country | People’s Republic of China |
| Activity Requirements applied | Community Services Activities Renewable Energy Activities Land Use and Forestry Activities/Risks & Capacities N/A |
| Methodology (ies) applied and version number | AM0072 Fossil Fuel Displacement by Geothermal Resources for Space Heating (Version 03.0) |
| Product Requirements applied | GHG Emissions Reduction & Sequestration Renewable Energy Label N/A |

Table 1 - Sustainable Development Contributions Achieved

| Sustainable Development Goals Targeted | SDG Impact | Amount Achieved | Units/ Products |
| --- | --- | --- | --- |
| 13 Climate Action | GHG emission reductions | 140,002 | GS VERs |
| 8 Decent Work and Economic Growth | Number of males and females employed by the project | 10 jobs created including 5 males and 5 females | Number |
|  | Average monthly salary | 4,100 | RMB/person |
| 7 Affordable and Clean Energy | Net heating area for construction type m (Am) | 2,441,477.26 m2 for residential buildings and 93,676.08 m2 for commercial buildings | m2 |

Table 2 – Product Vintages

| SDG 7 Affordable and Clean Energy |  | Amount Achieved |
| --- | --- | --- |
| Start Dates | End Dates | Net heating area for construction type m (Am) |
| 01/04/2022 | 31/12/2022 | 2,441,477.26 m2 for residential buildings and 93,676.08 m2 for commercial buildings |
| 01/01/2023 | 31/03/2023 | 2,441,477.26 m2 for residential buildings and 93,676.08 m2 for commercial buildings |

| SDG 8 Decent Work and Economic Growth |  | Amount Achieved |  |
| --- | --- | --- | --- |
| Start Dates | End Dates | Number of jobs created | Average monthly salary |
| 01/04/2022 | 31/12/2022 | 10 jobs created including 5 males and 5 females | 4,000 RMB/person |
| 01/01/2023 | 31/03/2023 | 10 jobs created including 5 males and 5 females | 4,400 RMB/person |

| SDG 13 Climate Action |  | Amount Achieved |
| --- | --- | --- |
| Start Dates | End Dates | GHG emission reductions (tCO2e) |
| 01/04/2022 | 31/12/2022 | 55,865 |
| 01/01/2023 | 31/03/2023 | 84,137 |

SECTION A. DESCRIPTION OF PROJECT

A.1. General description of project

>>

The project activity is designed to introduce geothermal energy based space heating system to realize heat supply to a series of new residential buildings and commercial buildings in Taishan village over winter season, which will displace heat supply from isolated coal-fired boilers as a business-as-usual scenario in the project area.

Taishan Village is in Longhu Town, Xinzheng City of Henan Province. In December 2019, it was selected as the National Rural Governance Demonstration Village. The project involves the construction and operation of geothermal production wells, reinjection wells, heat substations and heat supply pipelines.

The project owner is Zhengzhou Onar Heating Co., Ltd and it has put into operation in November 2020 (winter season). It can supply geothermal heat to 2,480.907 thousand m2 of residential buildings and 94.516 thousand m2 of commercial buildings with a total heating load of 116.84MW. All the buildings covered by the project were newly built and there was no existing heating system prior to the project activity. In baseline scenario, heating supply in winter for the building areas will be provided by newly built coal-fired boilers in boiler house.

Emission reduction credits will be earned by the use of geothermal energy instead of the combustion of fossil fuel for space heating. The annual average CO2 emission reductions are estimated as 143,987 tCO2e. Total emission reductions achieved in the third monitoring period (01/04/2022 to 31/03/2023 (first and last days included)) was 140,002 tCO2e.

A.2. Location of project

>>

The project is in Taishan Village, Longhu Town, Xinzheng City of Henan Province, China. The geographical coordinates are Longitude east 113°37'23.8" to 113°38'33.1" and Latitude North 34°34'42.8" to 34°35'17.0". The detailed coordinates of the 6 heat substations are provided in Table 3 below.

Table 3 Coordinates of the 6 Heat Substations

| No. | Sub-areas | Heat Substations | Geothermal Wells | Coordinate |
| --- | --- | --- | --- | --- |
| 1 | No.4 Village Group | 1# TS4G | 1# TS4G Production Well | 34°34'57.2"N 113°37'41.4"E |
|  |  |  | 1# TS4G Re-injection Well |  |
|  |  |  | 2# TS4G Production Well |  |
|  |  |  | 2# TS4G Re-injection Well |  |
|  |  | 2# TS4G | 3# TS4G Production Well | 34°35'00.1"N 113°38'10.4"E |
|  |  |  | 3# TS4G Re-injection Well |  |
|  |  |  | 4# TS4G Production Well |  |
|  |  |  | 4# TS4G Re-injection Well |  |
| 2 | Zhengrongfu | 3# TSZR | 5# TSZR Production Well | 34°34'59.1"N 113°38'33.1"E |
|  |  |  | 5# TSZR Re-injection Well |  |
|  |  |  | 6# TSZR Production Well |  |
|  |  |  | 6# TSZR Re-injection Well |  |
| 3 | Taishan Villa | 4# TSTS | 7# TSTS Production Well | 34°35'16.7"N 113°38'22.4"E |
|  |  |  | 7# TSTS Re-injection Well |  |
|  |  | 5# TSTS | 8# TSTS Production Well | 34°35'17.0"N 113°38'08.8"E |
|  |  |  | 8# TSTS Re-injection Well |  |
|  |  |  | 9# TSTS Production Well |  |
|  |  |  | 9# TSTS Re-injection Well |  |
| 4 | Wangdong Community | 6# TSWD | 10# TSWD Production Well | 34°34'42.8"N 113°37'23.8"E |
|  |  |  | 10# TSWD Re-injection Well |  |
|  |  |  | 11# TSWD Production Well |  |
|  |  |  | 11# TSWD Re-injection Well |  |

Henan Province

Heat Substations

Figure 1 Location of the Project

A.3. Reference of applied methodology

>>

Approved baseline and monitoring methodology: AM0072 Fossil Fuel Displacement by Geothermal Resources for Space Heating (Version 03.0).

Tool applied:

Tool 02 Combined tool to identify the baseline scenario and demonstrate additionality (Version 07.0)

Tool 05 Baseline, project and/or leakage emissions from electricity consumption and monitoring of electricity generation (Version 03.0)

Tool 07 Tool to calculate the emission factor for an electricity system (Version 07.0)

Tool 24 Common practice (Version 03.1)

A.4. Crediting period of project

>>

Start date of crediting period: 01/11/2020.

Total length of crediting period: 01/11/2020 to 31/10/2035 (first and last days included) for the first crediting period (two renewal cycles and in total 15 years). The third monitoring period is from 01/04/2022 to 31/03/2023 (first and last days included), which belong to the first crediting period.

Expected lifetime of the project: 15 years.

SECTION B. IMPLEMENTATION OF PROJECT

B.1. Description of implemented project

>>

The geothermal based space heating system was constructed from 15/05/2020 to 24/10/2020. The 22 geothermal (including 11 production wells and 11 reinjection wells) wells were connected to 6 Heat Substations in 4 Sub-areas to realize heat supply to the end-users in Taishan village over 2022-2023 heating season. The main actions made for implementation of the project are generalized in the following table.

Table 4 Milestone for implementation of the project

| Time | Main actions |
| --- | --- |
| 05/03/2020 | Completion of feasibility study of the project |
| 07/01/2020 | Got water abstraction permits issued by Water Resources Bureau of Henan Province |
| 18/02/2020 | Approval by local Environmental Protection Bureau |
| 14/04/2020 | Approval by local Development and Reform Commission |
| 15/05/2020 | Start date of the project, the date on signing the geothermal well drilling contract |
| 25/05/2020 | Training for the GS monitoring team |
| 09/10/2020 | The first heating supply contract signed with end-user |
| 24/10/2020-31/10/2020 | Test run period of the whole system |
| 01/11/2020 | Start date of fully operation of the geothermal heating system, and the start date of 2020-2021 winter heating season of Taishan village |
| 31/03/2021 | End date of 2020-2021 winter heating season |
| 22/04/2021 | Submission for preliminary review |
| 10/05/2021 | Local stakeholder consulting physical meeting |
| 13/09/2021 | The heating supply contract of 2021-2022 heating season signed with end-user |
| 11/10/2021 | Training for the employees for 2021-2022 heating season |
| 27/10/2021 | Date of finishing Design Review and Performance Review No.1 |
| 01/11/2021 | Start date of the 2021-2022 heating season |
| 31/03/2022 | End date of 2021-2022 winter heating season |
| 10/10/2022 | Training for the employees for 2022-2023 heating season |
| 01/11/2022 | Start date of the 2022-2023 heating season |
| 31/03/2023 | End date of 2022-2023 winter heating season |

The utilization hours of the geothermal heating system for residential buildings and commercial buildings were 3,624 and 2,420 hours respectively during this monitoring period (01/04/2022-31/03/2023). It provided geothermal heat to 2,441.477 thousand m2 of residential buildings and 93.676 thousand m2 of commercial buildings with a total heating load of 115.01MW. The occupancy rate of the project area is less than 100%, unoccupied part of the residential area does not need heating supply during the 2022-2023 heating season. During the 2022-2023 heating season, the geothermal space heating system ran smoothly. There are no deviations or delays compared to information in approved Project Design Document (PDD).

B.1.1 Forward Action Requests

>>

None.

B.2. Post-Design Certification changes

>>

B.2.1. Temporary deviations from the approved Monitoring & Reporting Plan, methodology or standardized baseline

>>

None.

B.2.2. Corrections

>>

None.

B.2.3. Changes to start date of crediting period

>>

None.

B.2.4. Permanent changes from the Design Certified monitoring plan, applied methodology or applied standardized baseline

>>

None.

B.2.5. Changes to project design of approved project

>>

None.

SECTION C. DESCRIPTION OF MONITORING SYSTEM APPLIED BY THE PROJECT

>>

Parameters to be monitored

According to section B.7.1 of the PDD, there are 10 SDG parameters to be monitored,

SDG 7/SDG 13

- Net heating area for construction type m, Am

SDG 8

- Number of males and females employed by the project

- Average monthly salary

SDG 13

- Heating index for construction type m, HIm

- Average technical transmission and distribution losses for providing electricity to source j in year y, TDLj,y

- Combined margin emission factor for the grid in year y, EFEL,j,y (EFgrid,CM,y)

- Hours per hear heat utilization in well j, Tj

- Average temperature difference between inlet and outlet temperatures at the downstream of substation heat exchanger in year y, Δtj,d,y

- Average flow rate at the downstream of heat exchanger (upstream of which is connected with water supply from the geothermal well j) in year y, FRj,d,y

- Electricity consumption for the year y in operating the geothermal heating system, ECPJ,j,y (ECy)

For the parameters of SDG 7 and SDG 13, net heating areas for construction type m (Am) were determined based on heating supply contracts signed for the related heating season and cross-checked by the business investment project approval. Net heating area for residential buildings and commercial buildings during the 3rd monitoring period are 2,441.477 thousand m2 and 93.676 thousand m2.

For the parameters of SDG 8, number of males and females employed by the project and average monthly salary were determined based on record keeping book. 10 jobs for local people were created and the average monthly salary were 4,100 RMB/person in the 3rd monitoring period.

For the parameters of SDG 13

Heating index for construction type m (HIm) was sourced from the conservative standard index as provided by the standards institute of China (CJJ 34-2010 Design Code for City Heating Network published by Ministry of Housing and Urban-Rural Development of the People’s Republic of China). There were no updated version of the related national and local standards.

Average technical transmission and distribution losses for providing electricity to source j in year y (TDLj,y) was determined using the latest version of Tool 05 (Version 03.0).

Combined margin emission factor for the grid in year y (EFEL,j,y (EFgrid,CM,y)) was calculated using the procedures in the latest version of Tool 07 (Version 07.0). It was determined as per 2019 Baseline Emission Factors of China's Regional Power Grid for Emission Reduction Projects published by Ministry of Ecology and Environment of the People’s Republic of China. Taishan village is in Henan province, which belongs to Central China Regional Power Grid. EFgrid,OM Simple,y and EFgrid,BM,y were 0.8587 tCO2/MWh and 0.2854 tCO2/MWh separately in 2019. EFEL,j,y (EFgrid,CM,y) can be calculated as 0.8587 tCO2/MWh*0.5+0.2854 tCO2/MWh*0.5=0.5721 tCO2/MWh.

Hours per heat utilization in well j (Tj) was sourced from statistical data of the geothermal space heating system. The 2022-2023 winter heating season of Taishan village was from 01/11/2022 to 31/03/2023 (151 days totally, 3,624 hours for residential buildings, 2,420 hours for commercial buildings).

Above all, the monitoring system only need to address the monitoring of parameter Δtj,d,y, FRj,d,y and ECPJ,j,y (ECy).

Monitoring framework

Figure 2 below outlines the organization structure of the monitoring system. The project owner was responsible for the whole monitoring work. The GS monitoring team was formed，which was responsible for the monitoring of all the parameters to be monitored, mainly three parameters Δtj,d,y, FRj,d,y and ECPJ,j,y (ECy). All the data were reviewed by the project developer and VVB.

Figure 2 Organization Structure of the Monitoring Team

Monitoring equipment and installation

Inlet and outlet temperatures at the downstream of each heat exchanger are monitored by the ultrasonic calorimeters. There are 11 production wells and 11 re-injection wells. One production well and one re-injection well form one set of heat exchange system. There are totally 11 sets of heat exchange system. 22 ultrasonic calorimeters are needed to monitor the inlet and outlet temperatures of all the heat exchange system. The temperature measurement range of the ultrasonic calorimeters are 4 °C to 95 °C with an accuracy of 0.01 °C.

Average flow rate at the downstream of each heat exchanger are monitored by the 11 ultrasonic calorimeters for outlet temperature. The highest measurement flow rate range of the ultrasonic calorimeters are 1,000 m3/h with an accuracy of 0.01 m3/h.

Electricity consumptions of the geothermal heating system are monitored by the electricity meters installed at each heat substation. 6 electricity meters are needed. The accuracy of the electricity meters is 0.5S.

Installation and configuration of monitoring equipment are shown as Figure 3. All the monitoring equipment can measure continuously and installed in a manner that only the heat supplied by the geothermal heating system and the electricity consumed by it are measured.

In order to ensure measurements with a low degree of uncertainty, all the data monitoring equipment were calibrated by appropriately qualified third party according to appropriate national standard. The ultrasonic calorimeters are calibrated based on JJG 225-2001 Verification Regulation of Heat Meters and the electricity meters are calibrated based on JJG 596-2012 Electrical Meters for Measuring Alternating-current Electrical Energy. All the monitoring equipment were calibrated during test run period (24/10/2020-31/10/2020) of the geothermal heating system. All the monitoring equipment were used normally, recalibration is not required for the 3rd monitoring period. The validity of them are 5 years.

The point of heat measurement was not changed or added during the 3rd monitoring period.

EM (1-6): 6 electricity meters installed at each heat substation to monitor the electricity consumptions of the geothermal heating system.

UC Inlet (1-11): 11 ultrasonic calorimeters installed at downstream of each heat exchange system to monitor the return water temperature from the end users.

UC Outlet (1-11): 11 ultrasonic calorimeters installed at downstream of each heat exchange system to monitor the supply water temperature from the geothermal heating system and the average flow rate of the supply water.

Figure 3 Installation and Configuration of Monitoring Equipment

Data management and archiving

Hourly volume flow rate, inlet temperature and outlet temperature of the heat exchange system were exported by the GS monitoring team at the beginning of the next month to form the monthly record. The average daily value of the related three parameters were calculated based on the 24-hourly data separately. The average monthly value of the related three parameters were calculated based on all the daily value of this month. Finally, the operation record of the geothermal heating system during the related heating season were summarized by all the monthly record.

Monthly operation time of the 11-heat exchange system were exported by the GS monitoring team at the beginning of the next month. The operation record of the geothermal heating system during the related heating season were summarized by all the monthly record.

Before the 2022-2023 heating season, base number of all the 6 electricity meters were recorded by the GS monitoring team under the supervision of the representative of each sub-area. At the end of each heating month, the GS monitoring team recorded readings of the 6 electricity meters, which can calculate the electricity consumption of this month by minus last month’s base number of the related electricity meters. The operation record of the geothermal heating system during the related heating season were summarized by all the monthly record.

As per B.7.3 of the registered PDD, all data collected as part of monitoring plan should be saved with at least 1 backup copy until the end of the crediting period. After the crediting period ends, the data should be archived electronically on hard disks and be kept at least 2 years after the end of the last crediting period.

Training for the GS monitoring team

Only skilled employees are allowed to undertake the monitoring work. During the third monitoring period, one training session was conducted by the project owner on 10/10/2022. The contents included mechanism of GS Standard and emission reductions, basic understanding of climate change, all the parameters to be monitored, monitoring methodology and frequency for related parameters, requirements for data collecting and archiving, internal data verification procedures and some other attentions.

Training plans and attendance lists of the GS Monitoring Team can be taken as evidence.

Emergency procedure

In case of water leakage or other system error, the emergency plan shall be taken immediately and reported to the project owner. If necessary, the use of relevant equipment shall be suspended. The project owner shall arrange professionals to repair and maintain the equipment as soon as possible. For missing data, conservative value will be used as per the registered PDD. There was no emergency or missing data occurred during the 3rd monitoring period.

Corrective actions

The whole GS monitoring team fellow recognized standard data evaluation methods to guarantee that the data was reliable and accurate. There was no correction of nonconformities occurred in implementation of the project or the monitoring plan during the 3rd monitoring period. For QA/QC procedure, please refer to QA/QC procedures in section D.2 of the monitoring report.

Avoiding of double counting

There is a unique identification code for each heat substation (1# TS4G, 2# TS4G, 3# TSZR, 4# TSTS, 5# TSTS and 6# TSWD), which will prevent the geothermal heating system counted in the project activity to be part of any other voluntary market or emission reduction mechanism (CDM, CCER, VCS etc.) as well. Besides, the project owner has signed the Declaration of No Double Counting Statement and Declaration of not involved in other GHG scheme on 15/04/2021.

There is a cap & trade scheme in China. However, the project activity is not included in the mandatory emission control scheme since the scheme only cover the high-emission industries, such as power generation sector that emitted at least 26,000 tons of CO2e/year. There is no emission cap enforced for the project owner.

The emission reductions were not double counted during the 3rd monitoring period.

SECTION D. DATA AND PARAMETERS

D.1. Data and parameters fixed ex ante or at renewal of crediting period

>>

SDG13

| Data/parameter | EFCO2,i |
| --- | --- |
| Unit | tCO2/TJ |
| Description | The CO2 emission factor per unit of energy of the fuel of technology i that would have been used in the baseline heating technology. |
| Source of data | Option (d) IPCC default values at the lower limit of the uncertainty at a 95% confidence interval as provided in table 1.4 of Chapter 1 of Vol.2 (Energy) of 2006 IPCC Guidelines on National GHG Inventories is used as per Table 5 of the applied methodology AM0072 (Version 03.0). |
| Value(s) applied | 87.3 |
| Choice of data or Measurement methods and procedures | Values provided by the fuel supplier are unavailable. IPCC default values at the lower limit of the uncertainty at a 95% confidence interval as provided in table 1.4 of Chapter 1 of Vol.2 (Energy) of 2006 IPCC Guidelines on National GHG Inventories are used. For coking coal, it is 87.3 tCO2/TJ. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | Where several fuel types are used in the boiler, use the fuel type with the lowest CO2 emission factor. CO2 emission factor of other bituminous coal and sub-bituminous coal are 89.5 tCO2/TJ and 92.8 tCO2/TJ separately, which are higher than that of coking coal. Coking coal and brown coal briquettes have the same CO2 emission factor. Coking coal is usually used for heating in coal boiler, which was also validated by space heating experts at the project site for the first monitoring period. |

| Data/parameter | ηBL,i |
| --- | --- |
| Unit | Dimensionless |
| Description | Net thermal efficiency of the boiler technology i using fossil fuel that would have been used in the absence of the project activity. |
| Source of data | Follow the guidance given in the applied methodology AM0072 (Version 03.0). |
| Value(s) applied | 85 |
| Choice of data or Measurement methods and procedures | The highest efficiency of coal-fired boilers provided by Zozen Boilers (79%), Fengcheng Energy Equipment Factory (80%) and Henan Hengxin Boiler Manufacturing Co., Ltd (85%). As per Table 4 Default baseline efficiency for different boilers of AM0072 (Version 03.0), the highest value of 85% for new coal-fired boiler is applicable for theproject. In summary, the efficiency of 85% is applied for the project. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | N/A |

| Data/parameter | LossBLi,y |
| --- | --- |
| Unit | TJ/yr |
| Description | The net distribution losses of the heat supply system, in the absence of project activity, during the year y. |
| Source of data | Section 5.4.6.3 of AM0072 (Version 03.0). |
| Value(s) applied | 0 |
| Choice of data or Measurement methods and procedures | The historic information is not available, a conservative value of 0% of losses can be used as per paragraph 66 option 1 of AM0072 (Version 03.0). |
| Purpose of data | To calculate baseline emissions |
| Additional comment | N/A |

| Data/parameter | Subscript i |
| --- | --- |
| Unit |  |
| Description | Type of technology used in the baseline scenario. |
| Source of data | Feasibility Study Report of the project |
| Value(s) applied | Coal fired boilers in boiler houses, supplying several buildings through a heat distribution network. |
| Choice of data or Measurement methods and procedures | As per section 5.2 of AM0072 Fossil Fuel Displacement by Geothermal Resources for Space Heating (Version 03.0), the most plausible baseline scenario shall be determined through the use of Tool 02 Combined tool to identify the baseline scenario and demonstrate additionality (Version 07.0). Heat supply system using coal-fired boilers is identified as the baseline scenario of the project activity. Refer to section B.4 of the PDD for more details. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | Data shall be stored in an excel sheet/database |

| Data/parameter | Subscript j |
| --- | --- |
| Unit |  |
| Description | Geothermal well number. |
| Source of data | Feasibility Study Report of the project |
| Value(s) applied | Geothermal wells number j = 1 to 22. |
| Choice of data or Measurement methods and procedures | There are a total of 22 geothermal wells including 11 production wells and 11 re-injection wells in the boundary of the project activity as per Feasibility Study Report, which can be identified through unique identification code. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | Distinct geothermal well with distinct properties of temperature, pressure and flow volume. |

| Data/parameter | Subscript m |
| --- | --- |
| Unit |  |
| Description | Space heating construction type |
| Source of data | Feasibility Study Report of the project |
| Value(s) applied | Residential and commercial |
| Choice of data or Measurement methods and procedures | Identified by local urban planners under a short to medium term development plan for the area. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | Areas designated for space heating under the categories of residential, commercial and industrial space heat |

| Data/parameter | Subscript k |
| --- | --- |
| Unit |  |
| Description | Sub-station number |
| Source of data | Feasibility Study Report of the project |
| Value(s) applied | Sub-station number k=1 to 6 |
| Choice of data or Measurement methods and procedures | There is a total of 6 sub-stations in the boundary of the project activity, which can be identified through unique identification code and GPS coordinates. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | Includes a heat exchanger as part of the sub-station. |

| Data/parameter | LossPJy |
| --- | --- |
| Unit | TJ/yr |
| Description | Net distribution loss of the geothermal heat supply system during the year y. |
| Source of data | Calculated based on design heat losses from heat network manufacturer per the methodology. |
| Value(s) applied | Refer to ER calculation sheet for more details. |
| Choice of data or Measurement methods and procedures | LossPJy=m10%×Am×HIm×Tj×CF×10-9 Where: Am=Net heating area for construction type m HIm=Heating index for construction type m Tj=Hours per hear heat utilization in well j CF=Conversion factor from GWh to TJ (3.6). |
| Purpose of data | To calculate baseline emissions |
| Additional comment | N/A |

| Data/parameter | wi |
| --- | --- |
| Unit | - |
| Description | Heat generation ratio for baseline heating technology i |
| Source of data | Paragraph 51(a)(ii) option 2 Assign weights based on available historical records of AM0072 (Version 03.0). |
| Value(s) applied | 1 |
| Choice of data or Measurement methods and procedures | As per section B.4 of this PDD, the baseline scenario of the project is 3(i) “Coal fired boilers in boiler houses, supplying several buildings through a heat distribution network”. Only one technology would be used. According to Research on Heating in Winter of Taishan village published by Xinzheng Housing and Urban-Rural Development Bureau, all the heating in winter of residential and commercial buildings were supplied by coal fired boilers. As per paragraph 51(a)(ii) option 2 Assign weights based on available historical records of AM0072 (Version 03.0), wi is equal to 1. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | N/A |

| Data / Parameter | Hff |
| --- | --- |
| Unit | TJ |
| Description | Heat supplied by fossil fuel boiler, in case a boiler is used to meet the heat demand of network. |
| Source of data | On site metering of heat (e.g. flow of steam/hot water multiplied by enthalpy) at the outlet of the boiler. |
| Value(s) applied | There are no fossil fuel boilers used to meet the heat demand of the project heating network. Therefore, Hff=0 TJ. |
| Choice of data or Measurement methods and procedures | - |
| Purpose of data | To calculate baseline emissions |
| Additional comment | N/A |

D.2 Data and parameters monitored

>>

The start date of the 2022-2023 heating season is 01/11/2022, and heating supply is not needed from 01/04/2022 to 31/10/2022. Therefore 0 value is used for the parameter of Δtj,d,y, FRj,d,y, Tj and ECPJ,j,y (ECy) from 01/04/2022 to 31/10/2022.

SDG 13

| Data / Parameter | Δtj,d,y |
| --- | --- |
| Unit | °C |
| Description | Average temperature difference between inlet and outlet temperatures at the downstream of each heat exchanger in year y. |
| Source of data | Operation record of the geothermal based space heating system. |
| Value(s) of monitored parameter | Sub-areas; Heat Substations; Geothermal Wells; Nov-22; Dec-22; Jan-23; Feb-23; Mar-23. No.4 Village Group; 1# TS4G; 1# Production and Re-injection Well; 720; 744; 744; 672; 744. 2# Production and Re-injection Well; 720; 744; 744; 672; 744. 2# TS4G; 3# Production and Re-injection Well; 720; 744; 744; 672; 744. 4# Production and Re-injection Well; 720; 744; 744; 672; 744. Zhengrongfu; 3# TSZR; 5# Production and Re-injection Well; 720; 744; 744; 672; 744. 6# Production and Re-injection Well; 720; 744; 744; 672; 744. Taishan Villa; 4# TSTS; 7# Production and Re-injection Well; 485; 420; 465; 505; 545. 5# TSTS; 8# Production and Re-injection Well; 720; 744; 744; 672; 744. 9# Production and Re-injection Well; 720; 744; 744; 672; 744. Wangdong Community; 6# TSWD; 10# Production and Re-injection Well; 720; 744; 744; 672; 744. 11# Production and Re-injection Well; 720; 744; 744; 672; 744. |
| Measurement methods and procedures | Outlet temperature minus inlet temperature at the downstream of each heat exchanger j. All the temperature data were measured by the ultrasonic calorimeters installed at downstream inlet and outlet points of each heat exchanger. Inlet and outlet temperatures at the downstream of each heat exchanger are monitored by the ultrasonic calorimeters. There are 11 production wells and 11 re-injection wells. One production well and one re-injection well form one set of heat exchange system. There are totally 11 sets of heat exchange system. 22 ultrasonic calorimeters are needed to monitor the inlet and outlet temperatures of all the heat exchange system. Refer to Figure 3 of the MR for more details on installation and configuration of the ultrasonic calorimeters. Serial No. of the ultrasonic calorimeters are Lu00000858, Lu00000859, Lu00000860, Lu00000861, Lu00000862, Lu00000863, Lu00000864, Lu00000865, Lu00000866, Lu00000867, Lu00000868, Lu00000869, Lu00000870, Lu00000871, Lu00000872, Lu00000873, Lu00000874, Lu00000875, Lu00000876, Lu00000877, Lu00000878 and Lu00000879 separately. The ultrasonic calorimeters can monitor the inlet and outlet temperature of each heat exchange system continuously and record the temperature data per hour. All the hourly temperature data were exported by the GS monitoring team to form the monthly record at the beginning of the next month. The average daily inlet and outlet temperature were calculated based on the 24-hourly temperature data separately. The average monthly inlet and outlet temperature were calculated based on all the daily inlet and outlet temperature of this month. Finally, the operation record of the geothermal heating system during the related heating season were summarized by all the monthly record. |
| Monitoring frequency | Measured Hourly/Recording Monthly |
| QA/QC procedures | Ultrasonic calorimeters have been checked regularly for potentially performance-reducing anomalies by the GS monitoring team. The temperature measurement range of the ultrasonic calorimeters are 4 °C to 95 °C with an accuracy of 0.01 °C. The ultrasonic calorimeters are calibrated based on JJG 225-2001 Verification Regulation of Heat Meters. All the 22 ultrasonic calorimeters were calibrated during test run period (24/10/2020-31/10/2020) of the geothermal heating system. Calibration of the 22 ultrasonic calorimeters is shown as the following table. All the ultrasonic calorimeters were used normally, recalibration is not required for the 3rd monitoring period. The validity is 5 years. All the 22 ultrasonic calorimeters should be recalibrated in the end of October 2025. NO.; Serial No.; Purpose; Calibration Date; Term of Validity. 1; Lu00000858; To monitor supply water temperature of 1# heat exchange system; 24/10/2020; 23/10/2025. 2; Lu00000859; To monitor supply water temperature of 2# heat exchange system; 24/10/2020; 23/10/2025. 3; Lu00000860; To monitor supply water temperature of 3# heat exchange system; 24/10/2020; 23/10/2025. 4; Lu00000861; To monitor supply water temperature of 4# heat exchange system; 25/10/2020; 24/10/2025. 5; Lu00000862; To monitor supply water temperature of 5# heat exchange system; 25/10/2020; 24/10/2025. 6; Lu00000863; To monitor supply water temperature of 6# heat exchange system; 25/10/2020; 24/10/2025. 7; Lu00000864; To monitor supply water temperature of 7# heat exchange system; 26/10/2020; 25/10/2025. 8; Lu00000865; To monitor supply water temperature of 8# heat exchange system; 26/10/2020; 25/10/2025. 9; Lu00000866; To monitor supply water temperature of 9# heat exchange system; 26/10/2020; 25/10/2025. 10; Lu00000867; To monitor supply water temperature of 10# heat exchange system; 27/10/2020; 26/10/2025. 11; Lu00000868; To monitor supply water temperature of 11# heat exchange system; 27/10/2020; 26/10/2025. 12; Lu00000869; To monitor return water temperature of 1# heat exchange system; 27/10/2020; 26/10/2025. 13; Lu00000870; To monitor return water temperature of 2# heat exchange system; 28/10/2020; 27/10/2025. 14; Lu00000871; To monitor return water temperature of 3# heat exchange system; 28/10/2020; 27/10/2025. 15; Lu00000872; To monitor return water temperature of 4# heat exchange system; 28/10/2020; 27/10/2025. 16; Lu00000873; To monitor return water temperature of 5# heat exchange system; 29/10/2020; 28/10/2025. 17; Lu00000874; To monitor return water temperature of 6# heat exchange system; 29/10/2020; 28/10/2025. 18; Lu00000875; To monitor return water temperature of 7# heat exchange system; 30/10/2020; 29/10/2025. 19; Lu00000876; To monitor return water temperature of 8# heat exchange system; 30/10/2020; 29/10/2025. 20; Lu00000877; To monitor return water temperature of 9# heat exchange system; 30/10/2020; 29/10/2025. 21; Lu00000878; To monitor return water temperature of 10# heat exchange system; 31/10/2020; 30/10/2025. 22; Lu00000879; To monitor return water temperature of 11# heat exchange system; 31/10/2020; 30/10/2025. There were no missing data or damaged data during the 3rd monitoring period. The average temperature change of the 11 heat exchange system of the 2022-2023 heating season (11.85 °C) were cross checked by the design temperature difference of the end-user (10-15 °C). As per feedback from the space heating experts at the project site, average temperature change of the 11 heat exchange system of the Taishan geothermal heating system is about 12°C. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | The heat exchanger should handle the heat supplied by geothermal well only and not by any other source. The temperature readings should be taken at immediate inlet and outlet point of heat exchanger. |

| Data / Parameter | FRj,d,y |
| --- | --- |
| Unit | kg/h |
| Description | Average flow rate at the downstream of each heat exchanger (upstream of which is connected with water supply from the geothermal well j) in year y. |
| Source of data | Operation record of the geothermal based space heating system. |
| Value(s) of monitored parameter | Sub-areas; Heat Substations; Geothermal Wells; Nov-22; Dec-22; Jan-23; Feb-23; Mar-23. No.4 Village Group; 1# TS4G; 1# Production and Re-injection Well; 849.98; 848.70; 849.41; 848.74; 850.34. 2# Production and Re-injection Well; 837.13; 838.49; 837.73; 838.18; 845.96. 2# TS4G; 3# Production and Re-injection Well; 845.15; 845.75; 845.24; 846.76; 848.50. 4# Production and Re-injection Well; 830.39; 831.65; 831.02; 830.99; 829.90. Zhengrongfu; 3# TSZR; 5# Production and Re-injection Well; 852.79; 850.57; 850.91; 851.63; 851.83. 6# Production and Re-injection Well; 838.49; 838.21; 836.72; 837.13; 838.01. Taishan Villa; 4# TSTS; 7# Production and Re-injection Well; 844.50; 845.72; 843.50; 846.19; 844.03. 5# TSTS; 8# Production and Re-injection Well; 845.84; 846.29; 844.60; 846.14; 847.08. 9# Production and Re-injection Well; 830.19; 831.73; 832.74; 830.72; 830.72. Wangdong Community; 6# TSWD; 10# Production and Re-injection Well; 861.01; 861.56; 861.05; 860.38; 861.80. 11# Production and Re-injection Well; 850.43; 850.06; 849.82; 849.76; 850.48. |
| Measurement methods and procedures | Average flow rate at the downstream of each heat exchanger are monitored by the 11 ultrasonic calorimeters for outlet temperature. Refer to Figure 3 of the MR for more details on installation and configuration of the ultrasonic calorimeters. Serial No. of the ultrasonic calorimeters are Lu00000858, Lu00000859, Lu00000860, Lu00000861, Lu00000862, Lu00000863, Lu00000864, Lu00000865, Lu00000866, Lu00000867, Lu00000868 separately. The ultrasonic calorimeters can monitor the volume flow rate of each heat exchange system continuously and record it per hour. All the hourly volume flow rate data were exported by the GS monitoring team to form the monthly record at the beginning of the next month. The average daily volume flow rate was calculated based on the 24-hourly data. The average monthly volume flow rate was calculated based on all the daily data of this month. Finally, the operation record of the geothermal heating system during the related heating season were summarized by all the monthly record. Density of the water is 1,000 kg/m3. Mass flow can be calculated as volume flow rate times density of water. |
| Monitoring frequency | Measured hourly/Recording monthly |
| QA/QC procedures | Ultrasonic calorimeters have been checked regularly for potentially performance-reducing anomalies by the GS monitoring team. The highest measurement flow rate range of the ultrasonic calorimeters are 1,000 m3/h with an accuracy of 0.01 m3/h. The ultrasonic calorimeters are calibrated based on JJG 225-2001 Verification Regulation of Heat Meters. All the 11 ultrasonic calorimeters were calibrated during test run period (24/10/2020-31/10/2020) of the geothermal heating system. Calibration of the 11 ultrasonic calorimeters is shown as the following table. All the ultrasonic calorimeters were used normally, recalibration is not required for the 3rd monitoring period. The validity is 5 years. All the 11 ultrasonic calorimeters should be recalibrated in the end of October 2025. NO.; Serial No.; Purpose; Calibration Date; Term of Validity. 1; Lu00000858; To monitor flow rate of 1# heat exchange system; 24/10/2020; 23/10/2025. 2; Lu00000859; To monitor flow rate of 2# heat exchange system; 24/10/2020; 23/10/2025. 3; Lu00000860; To monitor flow rate of 3# heat exchange system; 24/10/2020; 23/10/2025. 4; Lu00000861; To monitor flow rate of 4# heat exchange system; 25/10/2020; 24/10/2025. 5; Lu00000862; To monitor flow rate of 5# heat exchange system; 25/10/2020; 24/10/2025. 6; Lu00000863; To monitor flow rate of 6# heat exchange system; 25/10/2020; 24/10/2025. 7; Lu00000864; To monitor flow rate of 7# heat exchange system; 26/10/2020; 25/10/2025. 8; Lu00000865; To monitor flow rate of 8# heat exchange system; 26/10/2020; 25/10/2025. 9; Lu00000866; To monitor flow rate of 9# heat exchange system; 26/10/2020; 25/10/2025. 10; Lu00000867; To monitor flow rate of 10# heat exchange system; 27/10/2020; 26/10/2025. 11; Lu00000868; To monitor flow rate of 11# heat exchange system; 27/10/2020; 26/10/2025. There were no missing data or damaged data during the 3rd monitoring period. The average volume flow rate of the 11 heat exchange system of the 2022-2023 heating season (844.41 m3/h) were cross checked by the rated flow of the circulating pumps, which are 1,750 m3/h (250 m3/h*7) for 1#TS4G heat substation, 2,340 m3/h (260 m3/h*9) of 2# TS4G heat substation, 2,700 m3/h (300 m3/h*9) for 3#TSZR heat substation, 1,600 m3/h (200 m3/h*8) for 4#TSTS heat substation, 2,000 m3/h (250 m3/h*8) for 5# TSTS heat substation and 2,450 m3/h (350 m3/h*7) for 6# TSWD heat substation (refer to Table 3 of the registered PDD for more details). The average volume flow rate of the 11 heat exchange system of the 2022-2023 heating season were lower than the least rated flow of the circulating pumps (1,600 m3/h). As per feedback from the space heating experts at the project site, average volume flow rate of the 11 heat exchange system of the Taishan geothermal heating system is about 850 m3/h. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | The heat exchanger should handle the heat supplied by geothermal well only and not by any other source. |

| Data / Parameter | Tj |
| --- | --- |
| Unit | Hours |
| Description | Hours per hear heat utilization in well j. |
| Source of data | Operation record of the geothermal based space heating system. |
| Value(s) of monitored parameter | Sub-areas; Heat Substations; Geothermal Wells; Nov-22; Dec-22; Jan-23; Feb-23; Mar-23. No.4 Village Group; 1# TS4G; 1# Production and Re-injection Well; 720; 744; 744; 672; 744. 2# Production and Re-injection Well; 720; 744; 744; 672; 744. 2# TS4G; 3# Production and Re-injection Well; 720; 744; 744; 672; 744. 4# Production and Re-injection Well; 720; 744; 744; 672; 744. Zhengrongfu; 3# TSZR; 5# Production and Re-injection Well; 720; 744; 744; 672; 744. 6# Production and Re-injection Well; 720; 744; 744; 672; 744. Taishan Villa; 4# TSTS; 7# Production and Re-injection Well; 485; 420; 465; 505; 545. 5# TSTS; 8# Production and Re-injection Well; 720; 744; 744; 672; 744. 9# Production and Re-injection Well; 720; 744; 744; 672; 744. Wangdong Community; 6# TSWD; 10# Production and Re-injection Well; 720; 744; 744; 672; 744. 11# Production and Re-injection Well; 720; 744; 744; 672; 744. |
| Measurement methods and procedures | The actual number of heating hours are sourced from operation record of the geothermal based space heating system. Monthly operation time of the 11 heat exchange system were exported by the GS monitoring team at the beginning of the next month. The operation record of the geothermal heating system during the related heating season were summarized by all the monthly record. |
| Monitoring frequency | Monthly |
| QA/QC procedures | The winter heating season is usually fixed by local regulations. As per Research on Heating in Winter of Taishan Village published by Xinzheng Housing and Urban-Rural Development Bureau, winter heating season of Taishan Village is usually from November 1 to March 31 of the next year (last day excluded, 150 days). The actual 2022-2023 heating season of Taishan Village is from 01/11/2022 to 31/03/2023 (first and last days included, totally 151 days). For residential buildings, 24-hour continuous heating supply are needed, and for commercial buildings, 24-hour continuous heating supply is not required (usually 15-20 hour a day). The heating hours of commercial buildings from November 2022 to March 2023 are 485h, 420h, 465h, 505h and 545h respectively. Therefore, the total number heating hours of commercial buildings in this monitoring period is 485+420+465+505+545=2420h. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | The heat exchanger should handle the heat supplied by geothermal well only and not by any other source. |

| Data / Parameter | HIm |
| --- | --- |
| Unit | W/m2 |
| Description | Heating index for construction type m. |
| Source of data | The conservative standard index for construction type m as provided by the standards institute of China (CJJ 34-2010 Design Code for City Heating Network published by Ministry of Housing and Urban-Rural Development of the People’s Republic of China). |
| Value(s) of monitored parameter | 45 W/m2 for residential buildings and 55 W/m2 for commercial buildings. |
| Measurement methods and procedures | - |
| Monitoring frequency | - |
| QA/QC procedures | As per feedback from the space heating experts at the project site, heating index of the Taishan geothermal heating system is 45 W/m2 for residential buildings and 55 W/m2 for commercial buildings, which are comply with requirement of CJJ 34-2010 Design Code for City Heating Network published by Ministry of Housing and Urban-Rural Development of the People’s Republic of China. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | N/A |

| Data / Parameter | ECPJ,j,y (ECy) |
| --- | --- |
| Unit | MWh |
| Description | Electricity consumption for the year y in operating the geothermal heating system. |
| Source of data | Record of the Electricity Meters |
| Value(s) of monitored parameter | 2022/04/01-2022/10/31; 0. 2022/11/01-2022/11/30; 2,595.11. 2022/12/01-2022/12/31; 2,718.81. 2023/01/01-2023/01/31; 2,614.07. 2023/02/01-2023/02/28; 2,606.60. 2023/03/01-2023/03/31; 2,625.50. 2022/04/01-2022/12/31; 5,313.92. 2023/01/01-2023/03/31; 7,846.16. 2022/04/01-2023/03/31; 13,160.08. |
| Measurement methods and procedures | Electricity consumptions of the geothermal heating system are monitored by the electricity meters installed at each heat substation. Totally 6 electricity meters are needed. Refer to Figure 3 of the MR for more details on installation and configuration of the electricity meters. Serial No. of the electricity meters are 111520042063, 111520042064, 111520042065, 111520042066, 111520042067 and 111520042068 separately. Before the 2022-2023 heating season, base number of all the 6 electricity meters were recorded by the GS monitoring team under the supervision of the representative of each sub-area. At the end of each heating month, the GS monitoring team recorded readings of the 6 electricity meters, which can calculate the electricity consumption of this month by minus last month’s base number of meters. The operation record of the geothermal heating system during the related heating season were summarized by all the monthly record. Electricity consumption of the geothermal space heating system are only part of the power consumption in public area of each sub-area. All the electricity costs during the heating season were settled by the community property service company of each sub-area and local power grid company, which includes the electricity consumption of the geothermal heating system. Electricity settlement agreement was signed between the project owner and the community property service company of each sub-area. At the end of each winter heating season, the project owner prepares electricity bill to the related community property service company for confirmation, which contains name of the community property service company, period of the electricity consumption, related electricity consumption, information of the electricity meters (location, serial number, accuracy, highest range and stop number of this heating season) and the related charges. The project owner would pay the bill and payment receipt would be provided by the related community property service company. |
| Monitoring frequency | Measured hourly/Recorded monthly |
| QA/QC procedures | The accuracy of the electricity meters is 0.5S. The electricity meters are calibrated based on JJG 596-2012 Electrical Meters for Measuring Alternating-current Electrical Energy. All the 6 electricity meters were calibrated during test run period (24/10/2020-31/10/2020) of the geothermal heating system. Calibration of the 6 electricity meters is shown as the following table. All the 6 electricity meters were used normally, recalibration is not required for the 3rd monitoring period. The validity is 5 years. All the 6 electricity meters should be recalibrated in the end of October 2025. NO.; Serial No.; Location; Calibration Date; Term of Validity. 1; 111520042063; 1# TS4G heat substation; 24/10/2020; 23/10/2025. 2; 111520042064; 2# TS4G heat substation; 24/10/2020; 23/10/2025. 3; 111520042065; 3# TSZR heat substation; 24/10/2020; 23/10/2025. 4; 111520042066; 4# TSTS heat substation; 25/10/2020; 24/10/2025. 5; 111520042067; 5# TSTS heat substation; 25/10/2020; 24/10/2025. 6; 111520042068; 6# TSWD heat substation; 25/10/2020; 24/10/2025. There were no missing data or damaged data during the 3rd monitoring period. All the electricity consumption data was cross checked with the electricity bill confirmed by each community property service company and payment receipt of the geothermal heating system. The electricity consumption data of the 2022-2023 heating season used in the MR were consist with the electricity bills of each sub-area. |
| Purpose of data | To calculate project emissions |
| Additional comment | N/A |

| Data / Parameter | EFEL,j,y (EFgrid,CM,y) |
| --- | --- |
| Unit | tCO2/MWh |
| Description | Combined margin emission factor for the grid in year y. |
| Source of data | Taishan village is in Henan province, which belongs to Central China Regional Power Grid (CCPG). The data of CCPG’s Baseline emission factors of China's regional power grid for emission reduction projects in 2019 published by Ministry of Ecology and Environment of the People’s Republic of China, which calculated EFgrid,OM,y and EFgrid,BM,y based on Tool 07 (Version 07.0). As per formular 15 of the registered PDD, EFgrid,CM,y can be calculated as EFgrid,CM,y=EFgrid,OM,y×ωOM+EFgrid,BM,y×ωBM. As per paragraph 86(b) of Tool 07 (Version 07.0), ωOM=0.5 and ωBM=0.5 are used for the 1st crediting period. It’s the 3rd monitoring period of the project which belongs to the first crediting period. Therefore, ωOM=0.5 and ωBM=0.5 were used for the 3rd monitoring period. |
| Value(s) of monitored parameter | 0.5721 (0.8587 tCO2/MWh*0.5+0.2854 tCO2/MWh*0.5) |
| Measurement methods and procedures | Taishan village is in Henan province, which belongs to Central China Regional Power Grid (CCPG). The data of CCPG’s EFgrid,OM,y and EFgrid,BM,y were taken from Baseline emission factors of China's regional power grid for emission reduction projects in 2019, which are the latest version published by Ministry of Ecology and Environment of the People’s Republic of China. If new version issued, the value of EFgrid,OM,y and EFgrid,BM,y should be updated. |
| Monitoring frequency | Once each monitoring period |
| QA/QC procedures | The latest version of Baseline emission factors of China's regional power grid for emission reduction projects published by Ministry of Ecology and Environment of the People’s Republic of China were used for the 3rd monitoring period. It calculated EFgrid,OM,y and EFgrid,BM,y based on the latest version of Tool 07 (Version 07.0). |
| Purpose of data | To calculate project emissions |
| Additional comment | N/A |

| Data / Parameter | TDLj,y |
| --- | --- |
| Unit | - |
| Description | Average technical transmission and distribution losses for providing electricity to source j in year y. |
| Source of data | As per Tool 05 (Version 03.0), In case of scenario B and scenario C, case C.II, assume TDLj,y=0 as a simplification. In case of other scenarios (scenario A and scenario C, cases C.I and C.III), choose one of the following options: 1. Use annual average value based on the most recent data available within the host country; 2. Use as default values of 20% for: (a) project or leakage electricity consumption sources; (b) baseline electricity consumption sources if the electricity consumption by all project and leakage electricity consumption sources to which scenario A or scenario C (cases C.I or C.III) applies is larger than the electricity consumption of all baseline electricity consumption sources to which scenario A or scenario C (cases C.I or C.III) applies; 3. Use as default values of 3% for: (a) baseline electricity consumption sources; (b) project and leakage electricity consumption sources if the electricity consumption by all project and leakage electricity consumption sources to which scenario A or scenario C (cases C.I or C.III) applies is smaller than the electricity consumption of all baseline electricity consumption sources to which scenario A or scenario C (cases C.I or C.III) applies. |
| Value(s) of monitored parameter | 20% |
| Measurement methods and procedures | Scenario A: Electricity consumption from the grid is applied to the project. For project electricity consumption sources, a default value of 20% is used for TDLj,y. |
| Monitoring frequency | Annually. In the absence of data from the relevant year, most recent figures should be used, but not older than 5 years. |
| QA/QC procedures | - |
| Purpose of data | To calculate project emissions |
| Additional comment | For (a): TDLj,y should be estimated for the distribution and transmission networks of the electricity grid of the same voltage as the connection where the project activity is connected to. The technical distribution losses should not contain other types of grid losses (e.g. commercial losses/theft). The distribution losses can either be calculated by the project participants or be based on references from utilities, network operators or other official documentation. |

SDG7 and SDG 13

| Data / Parameter | Am |
| --- | --- |
| Unit | m2 |
| Description | Net heating area for construction type m. |
| Source of data | Heating supply contracts. (2022-2023 Heating season) |
| Value(s) of monitored parameter | Sub-areas; Heat Substations; Residential; Commercial. No.4 Village Group; 1# TS4G; 254,021.04. 2# TS4G; 501,908.54. Zhengrongfu; 3# TSZR; 720,847.16. Taishan Villa; 4# TSTS; 0.00; 93,676.08. 5# TSTS; 423,065.41. Wangdong Community; 6# TSWD; 541,635.11. Total; 2,441,477.26; 93,676.08. |
| Measurement methods and procedures | Yearly measurement. |
| Monitoring frequency | Yearly |
| QA/QC procedures | The data was cross-checked with Certificate of Enterprise Investment Project in Henan Province issued by Xinzheng Development and Reform Commission. The net heating areas sourced from the heating supply contracts signed for the 2022-2023 heating season were lower than that of the government approval. The occupancy rate of the project area is less than 100%, unoccupied part of the residential area does not need heating supply during the 2022-2023 heating season. |
| Purpose of data | To calculate baseline emissions |
| Additional comment | N/A |

SDG 8

| Data / Parameter | Number of males and females employed by the project |
| --- | --- |
| Unit | Number |
| Description | Jobs created for both men and women. |
| Source of data | Record keeping book |
| Value(s) of monitored parameter | 10 jobs created including 5 males and 5 females. |
| Measurement methods and procedures | Source of data was record keeping book and cross checked with the labor contracts. |
| Monitoring frequency | Once for each monitoring period. |
| QA/QC procedures | The results were also cross checked with training records of employees. |
| Purpose of data | To demonstrate contribution to SDG 8. |
| Additional comment | N/A |

| Data / Parameter | Average monthly salary |
| --- | --- |
| Unit | RMB/person |
| Description | This parameter states the payment conditions of the people employed within the project. Equal pay for work of equal value regardless of gender. |
| Source of data | Record keeping book |
| Value(s) of monitored parameter | The project provides equal salaries for male and female in the same post. The monthly salary of the employees was: 4,000 RMB/person from 01/04/2022 to 31/12/2022, 4,400 RMB/person from 01/01/2023 to 31/03/2023 and 4,100 RMB/person for the 3rd monitoring period. As per Notice on Adjusting the Minimum Wage Standard of Henan Province (Yu[2021]No.33), the minimum wage of Xinzheng is 2,000 RMB/month since 01/01/2022. The average monthly salary provided by the project is 4,100 RMB/month from 01/04/2022 to 31/03/2023, which is higher than the minimum wage of Xinzheng. |
| Measurement methods and procedures | The average monthly salary was determined by the record keeping book and cross checked by the salary slips. |
| Monitoring frequency | Once for each monitoring period. |
| QA/QC procedures | The results were also cross checked with labor contracts. |
| Purpose of data | To demonstrate contribution to SDG 8. |
| Additional comment | N/A |

D.3. Comparison of monitored parameters with last monitoring period

| Data/Parameter | Value obtained in this monitoring period | Value obtained last monitoring period |
| --- | --- | --- |
| Δtj,d,y | 11.85℃ | 11.72℃ |
| FRj,d,y | 844.41 m3/h | 849.00 m3/h |
| Tj | 151 days, 3,624 hours for residential buildings and 151 days, 2,420 hours for commercial buildings. | 151 days, 3,624 hours for residential buildings and 151 days, 2,420 hours for commercial buildings. |
| HIm | 45 W/m2 for residential buildings and 55 W/m2 for commercial buildings. | 45 W/m2 for residential buildings and 55 W/m2 for commercial buildings. |
| Am | 2,441,477.26 m2 for residential buildings and 93,676.08 m2 for commercial buildings. | 2,460,120.41 m2 for residential buildings and 94,516.36 m2 for commercial buildings. |
| ECPJ,j,y (ECy) | 13,160.08 MWh | 12,873.06 MWh |
| EFEL,j,y (EFgrid,CM,y) | 0.5721 tCO2/MWh | 0.5721 tCO2/MWh |
| TDLj,y | 20% | 20% |
| Number of males and females employed by the project | 10 jobs created including 5 males and 5 females. | 10 jobs created including 5 males and 5 females. |
| Average monthly salary | 4,100 RMB/person | 3,625 RMB/person |

For the 3rd monitoring period (01/04/2022-31/03/2023), all the 10 employees (including 5 females and 5 males) were the same as the 1st monitoring period. From 01/01/2023, monthly earnings of the employees were raised to 4,400 RMB/person (equal salaries paid for men and women in the same position). Therefore, the average monthly salary of employees for the 3rd monitoring period were more than that of the 2nd monitoring period.

The value of HIm is sourced from FSR of the project, and it is the same with the 2nd monitoring period. It meets the requirements of national standard CJJ 34-2010 Design Code for City Heating Network published by Ministry of Housing and Urban-Rural Development of the People’s Republic of China, which is the latest version of the related standard.

The value of TDLj,y is determined by the latest version of Tool 05. For the 3rd monitoring period, the Version 03.0 is used, which is the same as the 2nd monitoring period.

The value of EFEL,j,y (EFgrid,CM,y) is calculated based on the latest baseline emission factors of China's regional power grid for emission reduction projects published by Ministry of Ecology and Environment of the People’s Republic of China. For the 3rd monitoring period, the related data has not been updated, which is the same as the 2nd monitoring period.

The value of Am for the residential buildings during the 3rd monitoring period is 0.75% lower than that of the 2nd monitoring period, which is determined by the occupancy rate of the project area for each heating season. Heating supply is not needed for the unoccupied part of the residential area. The value of Am for the commercial buildings is 0.89% lower than that of the 2nd monitoring period monitoring period, which is determined by the utilization rate of the commercial area for each heating season. Heating supply is also not needed for the vacant commercial area.

The value of Tj for residential buildings of the 3rd monitoring period is same as that of the last monitoring period. The actual 2022-2023 heating season of Taishan Village is from 01/11/2022 to 31/03/2023 (first and last days included, totally 151 days), consistently with the last monitoring period. For the commercial buildings, the value of Tj is lower than that of the last monitoring period. For residential buildings, 24-hour continuous heating supply are needed, and for commercial buildings, 24-hour continuous heating supply is not required (usually 15-20 hour a day). The actual value recorded by the monitoring system shall prevail.

The values of Δtj,d,y ,FRj,d,y and ECPJ,j,y (ECy) during the  3rd monitoring period are close to last monitoring period. There are slight changes in values of these parameters mainly determined by the heating demand of the end-users, which are affected by atmospheric environment temperature, running status of the geothermal heating system and other aspects.

D.4. Implementation of sampling plan

>>

Not applicable.

SECTION E. CALCULATION OF SDG IMPACTS

E.1. Calculation of baseline value or estimation of baseline situation of each SDG Impact

>>

SDG 7 Impact of baseline situation

Without the project activity, 0 m2 of the building can access to geothermal energy based space heating system in winter season.

SDG 8 Impact of baseline situation

Without the project activity, SDG 8 baseline impact was 0 job created and 0 monthly earning got.

SDG 13 Impact of baseline situation

As per section B.6.1 of the PDD, baseline emissions in year y (BEy) can be calculated as follows,

BEy=i(HSBLi,y)×EFCO2,i/ηBL,i                                                                             (1)

Where:

| BEy | = | The baseline emissions from heat displaced by the project activity during the year y (t CO2e/yr). |
| --- | --- | --- |
| EFCO2,i | = | The CO2 emission factor per unit of energy of the fuel of technology i that would have been used in the baseline heating technology in (t CO2/TJ). Where several fuel types are used in the boiler, use the fuel type with the lowest CO2 emission factor. |
| ηBL,i | = | The net thermal efficiency of the heating technology i using fossil fuel that would have been used in the absence of the project activity. |
| HSBLi,y | = | The net output of heat generated by the baseline heat supply system using the technology i measured at the end point of the heat facility, during the year y (TJ/yr). |

Baseline scenario of the project is establishment of new isolated district heating networks using isolated coal-fired boilers in boiler houses. EFCO2,i=87.3 tCO2/TJ (the lower limit of the uncertainty at a 95% confidence interval as provided in table 1.4 of Chapter 1 of Vol.2 (Energy) of 2006 IPCC Guidelines on National GHG Inventories for coking coal) and ηBL,j=85% .

HSBLi,y can be calculated as follows,

HSBLi,y=wi×(HSy-LossPJy+LossBLy)                                                                          (2)

Where:

| HSBLi,y | = | The net output of heat generated by the baseline heat supply system using the technology i measured at the end point of the heat facility, during the year y (TJ/yr). |
| --- | --- | --- |
| wi | = | Assign weights for heat generated by technology i. As per section B.4 of this PDD, the baseline scenario of the project is 3(i) “Coal fired boilers in boiler houses, supplying several buildings through a heat distribution network”. Only one technology will be used. According to Research on Heating in Winter of Taishan village published by Xinzheng Housing and Urban-Rural Development Bureau, all the heating in winter of residential and commercial buildings were supplied by coal fired boilers. As per paragraph 51(a)(ii) option 2 Assign weights based on available historical records of AM0072 (Version 03.0), wi is equal to 1. |
| HSy | = | Net quantity of heat supplied by the geothermal heat resource(s) in the project activity, during the year y (TJ/yr). |
| LossPJy | = | The net distribution losses of the geothermal heat supply system during the year y (TJ/yr). |
| LossBLy | = | The net distribution losses of the heat supply system, in the absence of project activity, during the year y (TJ/yr). Option 1 A conservative value of 0% of loss is used as historic information is not available. |

The net quantity of heat supplied by the project activity is estimated based on the heat provided by the geothermal well. It considers flow rates, temperature and usage time for each geothermal well to be considered by the project activity.

HSy=min{HCAP,HSy,estimated}                                                                                     (3)

HSy,estimated can be determined by the use of the flow and temperature of water supplied by the substation heat exchanger k to the demand side space heating.

HSy,estimated=j(Qj,d,y×Tj×CF)                                                                               (4)

Where:

| HSy,estimated | = | Estimated quantity of heat supplied by the geothermal heat resource(s) in the project activity, during the year y (TJ) |
| --- | --- | --- |
| Qj,d,y | = | Heat supplied at the downstream of heat exchanger (upstream of which is connected with water supply from the geothermal well j) (GW). It can be calculated as formula (5). |
| Tj | = | Number of hours per year heat utilization at well j. |
| CF | = | Conversion factor from GWh to TJ (3.6). |

Qj,d,y=FRj,d,y×∆tj,d,y×4.183.6×10-9                                                                                        (5)

Where:

| FRj,d,y | = | Average flow rate at the downstream of heat exchanger (upstream of which is connected with water supply from the geothermal well j) in year y (kg/hr). |
| --- | --- | --- |
| ∆tj,d,y | = | Heat supplied at the downstream of heat exchanger (upstream of which is connected with water supply from the geothermal well j) (°C). |

To ensure that the geothermal well is providing the required amount of energy a cap is

defined. The basis to define the cap is from the space heating design, which considers the net heating area, the heating index, the type of construction that will utilize the heat and the time used throughout the year for each construction type.

HCAP=(mAm×HIm×Tj)×CF+LossPJy-Hff                                                                (8)

Where:

| HCAP | = | The net quantity of heat supplied by the geothermal heat resource(s) in the project activity, during the year y (TJ). |
| --- | --- | --- |
| Am | = | Net heating area for construction type m (m2). |
| HIm | = | Heating index for construction type m (GW/m2). 45 W/m2 for residential buildings and 55 W/m2 for commercial buildings. |
| Tj | = | Number of hours per year heat utilization at well j. |
| CF | = | Conversion factor from GWh to TJ (3.6). |
| LossPJy | = | Heat distribution losses from substation k to space heating areas (To be determined in Sub-step 2.b). |
| Hff | = | Heat supplied by fossil fuel boiler, in case a boiler is used to meet the heat demand of network. No fossil fuel boiler is utilized in the project activity and Hff is 0TJ. |

Based on the results of monitored parameters (refer to section D.2 of the MR for more details), heat supplied by the geothermal based heating system (each heat exchangers) is summarized as Table 5 and Table 6.

Table 5 Net quantity of heat supplied by the geothermal heat resource(s)

| Sub-areas | Heat Substations | Geothermal Wells | Am (m2) |  | November 2022 |  | December 2022 |  | January 2023 |  | February 2023 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Residential | Commercial | LossPJy (TJ) | HCAP (TJ) | LossPJy (TJ) | HCAP (TJ) | LossPJy (TJ) | HCAP (TJ) | LossPJy (TJ) | HCAP (TJ) | LossPJy (TJ) | HCAP (TJ) |
| No.4 Village Group | 1# TS4G | 1# Production and Re-injection Well | 254,021.04 |  | 2.96 | 32.59 | 3.06 | 33.68 | 3.06 | 33.68 | 2.77 | 30.42 | 3.06 | 33.68 |
|  |  | 2# Production and Re-injection Well |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2# TS4G | 3# Production and Re-injection Well | 501,908.54 |  | 5.85 | 64.40 | 6.05 | 66.54 | 6.05 | 66.54 | 5.46 | 60.10 | 6.05 | 66.54 |
|  |  | 4# Production and Re-injection Well |  |  |  |  |  |  |  |  |  |  |  |  |
| Zhengrongfu | 3# TSZR | 5# Production and Re-injection Well | 720,847.16 |  | 8.41 | 92.49 | 8.69 | 95.57 | 8.69 | 95.57 | 7.85 | 86.32 | 8.69 | 95.57 |
|  |  | 6# Production and Re-injection Well |  |  |  |  |  |  |  |  |  |  |  |  |
| Taishan Villa | 4# TSTS | 7# Production and Re-injection Well | 0.00 | 93,676.08 | 0.74 | 8.10 | 0.64 | 7.01 | 0.71 | 7.76 | 0.77 | 8.43 | 0.83 | 9.10 |
|  | 5# TSTS | 8# Production and Re-injection Well | 423,065.41 |  | 4.93 | 54.28 | 5.10 | 56.09 | 5.10 | 56.09 | 4.61 | 50.66 | 5.10 | 56.09 |
|  |  | 9# Production and Re-injection Well |  |  |  |  |  |  |  |  |  |  |  |  |
| Wangdong Community | 6# TSWD | 10# Production and Re-injection Well | 541,635.11 |  | 6.32 | 69.49 | 6.53 | 71.81 | 6.53 | 71.81 | 5.90 | 64.86 | 6.53 | 71.81 |
|  |  | 11# Production and Re-injection Well |  |  |  |  |  |  |  |  |  |  |  |  |
| Total |  |  | 2,441,477.26 | 93,676.08 | 29.21 | 321.35 | 30.06 | 330.70 | 30.13 | 331.46 | 27.35 | 300.80 | 30.25 | 332.79 |

Table 6 Estimated quantity of heat supplied by the geothermal heat resource(s)

| November 2022 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-areas | Heat Substations | Geothermal Wells | FRj,d,y (kg/hr) | ∆tj,d,y (°C) | Qj,d,y (GW) | Tj (h) | HSy,estimated (TJ) |
| No.4 Village Group | 1# TS4G | 1# Production and Re-injection Well | 849,976.35 | 11.53 | 0.01138 | 720 | 29.50 |
|  |  | 2# Production and Re-injection Well | 837,130.39 | 11.48 | 0.01116 | 720 | 28.93 |
|  | 2# TS4G | 3# Production and Re-injection Well | 845,150.75 | 11.50 | 0.01129 | 720 | 29.26 |
|  |  | 4# Production and Re-injection Well | 830,390.31 | 11.22 | 0.01081 | 720 | 28.03 |
| Zhengrongfu | 3# TSZR | 5# Production and Re-injection Well | 852,790.04 | 11.45 | 0.01134 | 720 | 29.38 |
|  |  | 6# Production and Re-injection Well | 838,488.43 | 11.29 | 0.01099 | 720 | 28.49 |
| Taishan Villa | 4# TSTS | 7# Production and Re-injection Well | 844,502.42 | 11.78 | 0.01155 | 485 | 20.16 |
|  | 5# TSTS | 8# Production and Re-injection Well | 845,842.31 | 11.24 | 0.01104 | 720 | 28.61 |
|  |  | 9# Production and Re-injection Well | 830,194.61 | 11.51 | 0.01109 | 720 | 28.75 |
| Wangdong Community | 6# TSWD | 10# Production and Re-injection Well | 861,014.93 | 11.00 | 0.01100 | 720 | 28.51 |
|  |  | 11# Production and Re-injection Well | 850,426.81 | 11.10 | 0.01096 | 720 | 28.41 |
| Total |  |  |  |  |  |  | 308.03 |
| December 2022 |  |  |  |  |  |  |  |
| Sub-areas | Heat Substations | Geothermal Wells | FRj,d,y (kg/hr) | ∆tj,d,y (°C) | Qj,d,y (GW) | Tj (h) | HSy,estimated (TJ) |
| No.4 Village Group | 1# TS4G | 1# Production and Re-injection Well | 848,702.77 | 12.27 | 0.01209 | 744 | 32.38 |
|  |  | 2# Production and Re-injection Well | 838,485.23 | 12.53 | 0.01220 | 744 | 32.67 |
|  | 2# TS4G | 3# Production and Re-injection Well | 845,745.85 | 11.66 | 0.01145 | 744 | 30.67 |
|  |  | 4# Production and Re-injection Well | 831,650.22 | 12.53 | 0.01210 | 744 | 32.42 |
| Zhengrongfu | 3# TSZR | 5# Production and Re-injection Well | 850,569.46 | 12.60 | 0.01245 | 744 | 33.33 |
|  |  | 6# Production and Re-injection Well | 838,206.38 | 11.80 | 0.01149 | 744 | 30.77 |
| Taishan Villa | 4# TSTS | 7# Production and Re-injection Well | 845,715.04 | 11.92 | 0.01171 | 420 | 17.70 |
|  | 5# TSTS | 8# Production and Re-injection Well | 846,289.83 | 12.33 | 0.01212 | 744 | 32.46 |
|  |  | 9# Production and Re-injection Well | 831,732.43 | 11.50 | 0.01111 | 744 | 29.76 |
| Wangdong Community | 6# TSWD | 10# Production and Re-injection Well | 861,564.83 | 11.47 | 0.01147 | 744 | 30.73 |
|  |  | 11# Production and Re-injection Well | 850,056.03 | 12.54 | 0.01237 | 744 | 33.14 |
| Total |  |  |  |  |  |  | 336.04 |
| January 2023 |  |  |  |  |  |  |  |
| Sub-areas | Heat Substations | Geothermal Wells | FRj,d,y (kg/hr) | ∆tj,d,y (°C) | Qj,d,y (GW) | Tj (h) | HSy,estimated (TJ) |
| No.4 Village Group | 1# TS4G | 1# Production and Re-injection Well | 849,406.87 | 12.25 | 0.01208 | 744 | 32.36 |
|  |  | 2# Production and Re-injection Well | 837,729.23 | 12.55 | 0.01221 | 744 | 32.70 |
|  | 2# TS4G | 3# Production and Re-injection Well | 845,242.61 | 11.51 | 0.01129 | 744 | 30.25 |
|  |  | 4# Production and Re-injection Well | 831,015.71 | 12.60 | 0.01215 | 744 | 32.55 |
| Zhengrongfu | 3# TSZR | 5# Production and Re-injection Well | 850,912.41 | 12.64 | 0.01249 | 744 | 33.45 |
|  |  | 6# Production and Re-injection Well | 836,724.70 | 11.48 | 0.01115 | 744 | 29.86 |
| Taishan Villa | 4# TSTS | 7# Production and Re-injection Well | 843,500.40 | 11.98 | 0.01173 | 465 | 19.64 |
|  | 5# TSTS | 8# Production and Re-injection Well | 844,604.91 | 12.31 | 0.01207 | 744 | 32.32 |
|  |  | 9# Production and Re-injection Well | 832,740.44 | 11.47 | 0.01109 | 744 | 29.70 |
| Wangdong Community | 6# TSWD | 10# Production and Re-injection Well | 861,053.68 | 11.53 | 0.01153 | 744 | 30.87 |
|  |  | 11# Production and Re-injection Well | 849,821.90 | 12.54 | 0.01237 | 744 | 33.14 |
| Total |  |  |  |  |  |  | 336.85 |
| February 2023 |  |  |  |  |  |  |  |
| Sub-areas | Heat Substations | Geothermal Wells | FRj,d,y (kg/hr) | ∆tj,d,y (°C) | Qj,d,y (GW) | Tj (h) | HSy,estimated (TJ) |
| No.4 Village Group | 1# TS4G | 1# Production and Re-injection Well | 848,739.64 | 12.23 | 0.01205 | 672 | 29.16 |
|  |  | 2# Production and Re-injection Well | 838,184.91 | 12.49 | 0.01216 | 672 | 29.41 |
|  | 2# TS4G | 3# Production and Re-injection Well | 846,762.65 | 11.76 | 0.01156 | 672 | 27.96 |
|  |  | 4# Production and Re-injection Well | 830,994.00 | 12.56 | 0.01212 | 672 | 29.33 |
| Zhengrongfu | 3# TSZR | 5# Production and Re-injection Well | 851,629.23 | 12.60 | 0.01246 | 672 | 30.15 |
|  |  | 6# Production and Re-injection Well | 837,131.04 | 11.81 | 0.01148 | 672 | 27.78 |
| Taishan Villa | 4# TSTS | 7# Production and Re-injection Well | 846,191.67 | 12.02 | 0.01181 | 505 | 21.47 |
|  | 5# TSTS | 8# Production and Re-injection Well | 846,141.50 | 12.30 | 0.01208 | 672 | 29.23 |
|  |  | 9# Production and Re-injection Well | 830,721.50 | 11.51 | 0.01110 | 672 | 26.86 |
| Wangdong Community | 6# TSWD | 10# Production and Re-injection Well | 860,379.02 | 11.48 | 0.01147 | 672 | 27.74 |
|  |  | 11# Production and Re-injection Well | 849,759.72 | 12.54 | 0.01237 | 672 | 29.94 |
| Total |  |  |  |  |  |  | 309.03 |
| March 2023 |  |  |  |  |  |  |  |
| Sub-areas | Heat Substations | Geothermal Wells | FRj,d,y (kg/hr) | ∆tj,d,y (°C) | Qj,d,y (GW) | Tj (h) | HSy,estimated (TJ) |
| No.4 Village Group | 1# TS4G | 1# Production and Re-injection Well | 850,339.93 | 11.85 | 0.01170 | 744 | 31.35 |
|  |  | 2# Production and Re-injection Well | 845,959.18 | 11.59 | 0.01138 | 744 | 30.49 |
|  | 2# TS4G | 3# Production and Re-injection Well | 848,498.90 | 11.54 | 0.01136 | 744 | 30.44 |
|  |  | 4# Production and Re-injection Well | 829,895.03 | 11.99 | 0.01155 | 744 | 30.94 |
| Zhengrongfu | 3# TSZR | 5# Production and Re-injection Well | 851,827.42 | 12.05 | 0.01192 | 744 | 31.93 |
|  |  | 6# Production and Re-injection Well | 838,005.65 | 11.31 | 0.01101 | 744 | 29.49 |
| Taishan Villa | 4# TSTS | 7# Production and Re-injection Well | 844,032.66 | 11.26 | 0.01103 | 545 | 21.64 |
|  | 5# TSTS | 8# Production and Re-injection Well | 847,078.60 | 11.67 | 0.01147 | 744 | 30.73 |
|  |  | 9# Production and Re-injection Well | 830,722.98 | 11.51 | 0.01111 | 744 | 29.74 |
| Wangdong Community | 6# TSWD | 10# Production and Re-injection Well | 861,801.55 | 11.01 | 0.01102 | 744 | 29.52 |
|  |  | 11# Production and Re-injection Well | 850,484.49 | 11.67 | 0.01152 | 744 | 30.86 |
| Total |  |  |  |  |  |  | 327.13 |

Calculation results of baseline emissions in year y (BEy) are summarized as Table 7.

Table 7 Calculation results of baseline emissions for SDG 13

| Date | HCAP (TJ) | HSy,estimated (TJ) | HSy(TJ) | LossBLy (TJ) | HSBLi,y (TJ) | EFCO2,i (t CO2/TJ) | ηBL,i | BEy (tCO2e/yr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | A | B | C | D | E | F | G | H=E*F/G |
| 2022/04/01-2022/10/31 | 0 | 0 | 0 | 0 | 0 | 87.3 | 85% | 0 |
| 2022/11/01-2022/11/30 | 321.35 | 308.03 | 308.03 | 0 | 278.82 |  |  | 28,636 |
| 2022/12/01-2022/12/31 | 330.70 | 336.04 | 330.70 | 0 | 300.64 |  |  | 30,878 |
| 2023/01/01-2023/01/31 | 331.46 | 336.85 | 331.46 | 0 | 301.32 |  |  | 30,948 |
| 2023/02/01-2023/02/28 | 300.80 | 309.03 | 300.80 | 0 | 273.45 |  |  | 28,085 |
| 2023/03/01-2023/03/31 | 332.79 | 327.13 | 327.13 | 0 | 296.88 |  |  | 30,491 |
| 2022/04/01-2022/12/31 | 652.05 | 644.07 | 638.74 | 0 | 579.46 |  |  | 59,513 |
| 2023/01/01-2023/03/31 | 965.04 | 973.02 | 959.39 | 0 | 871.66 |  |  | 89,524 |
| 2022/04/01-2023/03/31 | 1,617.10 | 1,617.09 | 1,598.12 | 0 | 1,451.11 |  |  | 149,037 |

SDG 13 baseline impact (baseline emissions) was 59,513 tCO2e from 01/04/2022 to 31/12/2022, and 89,524 tCO2e from 01/01/2023 to 31/03/2023. Total SDG 13 baseline impact (baseline emissions) of the 3rd monitoring period (01/04/2022-31/03/2023) was 149,037 tCO2e.

E.2. Calculation of project value or estimation of project situation of each SDG Impact

>>

SDG 7 Impact of project situation

As per the signed heating contract, heating areas (2022-2023 heating season) are summarized as the following table.

| Sub-areas | Heat Substations | Am (m2) |  |
| --- | --- | --- | --- |
|  |  | Residential | Commercial |
| No.4 Village Group | 1# TS4G | 254,021.04 |  |
|  | 2# TS4G | 501,908.54 |  |  |
| Zhengrongfu | 3# TSZR | 720,847.16 |  |  |
| Taishan Villa | 4# TSTS | 0.00 | 93,676.08 |  |
|  | 5# TSTS | 423,065.41 |  |  |
| Wangdong Community | 6# TSWD | 541,635.11 |  |  |
| Total |  | 2,441,477.26 | 93,676.08 |  |

Heating supply is not needed from 01/04/2022 to 31/10/2022. From 01/11/2022 to 31/12/2022, 2,441,477.26 m2 of residential buildings and 93,676.08 m2 of commercial buildings can access to geothermal energy based space heating system in winter season.

From 01/01/2023 to 31/03/2023, 2,441,477.26 m2 of residential buildings and 93,676.08 m2 of commercial buildings can access to geothermal energy based space heating system in winter season.

For the 3rd monitoring period from 01/04/2022 to 31/03/2023, 2,441,477.26 m2 of residential buildings and 93,676.08 m2 of commercial buildings can access to geothermal energy based space heating system in winter season.

SDG 8 Impact of project situation

From 01/04/2022 to 31/12/2022, 10 jobs for local people were created (including 5 females and 5 males), the average monthly earnings of employees were 4,000 RMB/person. Equal salaries were paid for men and women in the same position.

From 01/01/2023 to 31/03/2023, 10 jobs for local people were created (including 5 females and 5 males), the average monthly earnings of employees were raised to 4,400 RMB/person. Equal salaries were paid for men and women in the same position.

For the 3rd monitoring period from 01/04/2022 to 31/03/2023, 10 jobs for local people were created (including 5 females and 5 males), the average monthly earnings of employees were 4,100 RMB/person. Equal salaries were paid for men and women in the same position.

SDG 13 Impact of project situation

As per section B.6.1 of the PDD, project emissions can be calculated as follows,

PEy=PEFE,y+PEEC,y+PEFF,y                                                                                       (9)

Where:

| PEy | = | Project emissions during the year y (t CO2e/yr). |
| --- | --- | --- |
| PEFE,y | = | Fugitive emissions of carbon dioxide and methane due to release of non-condensable gases from geothermal resources (t CO2e/yr). |
| PEEC,y | = | Project emissions from additional electricity consumption as a result of the project activity (t CO2e/yr). |
| PEFF,y | = | Project emissions from fossil fuel consumed as a direct result of the operations of the project activity (t CO2e/yr). |

Step 1: Calculate project emissions from fugitive emissions resulting from non-condensable gases from the geothermal vents during the year y

The geothermal system of the project is designed to operate by extracting geothermal water at approximately 75°C, which is considered to be a low-temperature system. As per paragraph 84 of AM0072 (Version 03.0), fugitive emissions from low temperature geothermal system is considered negligible. Therefore, PEFE,y=0 tCO2.

Step 2: Calculate project emissions from additional electricity consumption as a result of the project activity

Project emissions from electricity consumption (PEEC) used to pump geothermal water and operate the geothermal facility were calculated using Tool 05 Baseline, project and/or leakage emissions from electricity consumption and monitoring of electricity generation (Version 03.0).

PEEC,y=jECPJ,j,y×EFEL,j,y×(1+TDLj,y)                                                                   (10)

Where:

| PEEC,y | = | Project emissions from electricity consumption in year y (t CO2/yr). |
| --- | --- | --- |
| ECPJ,j,y | = | Quantity of electricity consumed by the project electricity consumption source j in year y (MWh/yr). |
| EFEL,j,y | = | Emission factor for electricity generation for source j in year y (t CO2/MWh). |
| TDLj,y | = | Average technical transmission and distribution losses for providing electricity to source j in year y. |

Calculation results of project emissions during the year y (PEy) are summarized as Table 8.

Table 8 Calculation results of project emissions for SDG 13

| Date | ECPJ,j,y (kWh) | ECPJ,j,y(MWh) | EFEL,j,y (tCO2/MWh) | (1+TDLj,y) | PEEC,y (tCO2e/yr) |
| --- | --- | --- | --- | --- | --- |
| 2022/04/01-2022/10/31 | 0 | 0 | 0.5721 | 1.2 | 0 |
| 2022/11/01-2022/11/30 | 2,595,107.71 | 2,595.11 | 0.5721 | 1.2 | 1,781 |
| 2022/12/01-2022/12/31 | 2,718,808.45 | 2,718.81 | 0.5721 | 1.2 | 1,866 |
| 2023/01/01-2023/01/31 | 2,614,067.03 | 2,614.07 | 0.5721 | 1.2 | 1,794 |
| 2023/02/01-2023/02/28 | 2,606,595.77 | 2,606.60 | 0.5721 | 1.2 | 1,789 |
| 202303/01-2023/03/31 | 2,625,496.66 | 2,625.50 | 0.5721 | 1.2 | 1,802 |
| 2022/04/01-2022/12/31 | 5,313,916.16 | 5,313.92 | 0.5721 | 1.2 | 3,648 |
| 2023/01/01-2023/03/31 | 7,846,159.46 | 7,846.16 | 0.5721 | 1.2 | 5,387 |
| 2022/04/01-2023/03/31 | 13,160,075.62 | 13,160.08 | 0.5721 | 1.2 | 9,035 |

Step 3: Calculate project emissions from fossil fuel consumed as a direct result of the operations of the project activity

No fossil fuel was used to operate the geothermal facilities. Therefore, PEFF,y=0 tCO2.

Therefore, for the 3rd monitoring period, PEy=PEEC,y.

In summary, SDG 13 project impact (project emissions) was 3,648 tCO2e from 01/04/2022 to 31/12/2022, and 5,387 tCO2e from 01/01/2023 to 31/03/2023. Total SDG 13 project impact (project emissions) of the 3rd monitoring period (01/04/2022-31/03/2023) was 9,035 tCO2e.

E.3. Calculation of leakage

>>

As per section B.6.1 of the PDD, no leakage emissions have been identified for the project activity. Therefore, for SDG 13, LEy=0 tCO2.

E.4. Calculation of net benefits or direct calculation for each SDG Impact

| SDG | SDG Impact | Baseline estimate | Project estimate | Net benefit |
| --- | --- | --- | --- | --- |
| 13 | Emission reductions | 149,037 tCO2e | 9,035 tCO2e | 140,002 tCO2e |
| 8 | Number of males and females employed by the project | 0 jobs for local people were created | 10 jobs for local people were created (including 5 females and 5 males) | 10 jobs for local people were created (including 5 females and 5 males) |
|  | Average monthly salary | 0 income. | 4,100 RMB/person, and equal salaries were paid for men and women in the same position. | 4,100 RMB/person, and equal salaries were paid for men and women in the same position. |
| 7 | Am | 0 m2 of the building can access to geothermal energy based space heating system in winter season | 2,441,477.26 m2 of residential buildings and 93,676.08 m2 of commercial buildings can access to geothermal energy based space heating system in winter season | 2,441,477.26 m2 of residential buildings and 93,676.08 m2 of commercial buildings can access to geothermal energy based space heating system in winter season |

E.5. Comparison of actual SDG Impacts with estimates in approved PDD

| SDG | Values estimated in ex ante calculation of approved PDD for this monitoring period | Actual values achieved during this monitoring period |
| --- | --- | --- |
| 13 | 143,987 tCO2e | 140,002 tCO2e |
| 8 | 01/04/2022-31/03/2023, 10 jobs for local people created (including 5 females and 5 males). Average monthly salary 3,500 RMB/person, and equal salaries paid for men and women in the same position. | 01/04/2022-31/03/2023, 10 jobs for local people created (including 5 females and 5 males). Average monthly salary 4,100 RMB/person, and equal salaries paid for men and women in the same position. |
| 7 | 2,480,907 m2 of residential buildings and 94,516 m2 of commercial buildings can access to geothermal energy based space heating system in winter season. | 2,441,477.26 m2 of residential buildings and 93,676.08 m2 of commercial buildings can access to geothermal energy based space heating system in 2022-2023 winter season. |

E.5.1. Explanation of calculation of value estimated ex ante calculation of approved PDD for this monitoring period

>>

For SDG 7, as per section B.6.3 of the PDD, based on Feasibility Study Report of the project, the geothermal based space heating system can supply heat to 2,480.907 thousand m2 of residential buildings and 94.516 thousand m2 of commercial buildings. Actual heating areas of the 3rd monitoring period were determined by the heating supply contracts signed for the 2022-2023 heating season. As per heating supply contracts signed by the project owner and the property management company of each community, 2,441,477.26 m2 of residential buildings and 93,676.08 m2 of commercial buildings can access to geothermal energy based space heating system in 2022-2023 winter season.

For SDG 8, as per section B.7.1 of the PDD, Number of males and females employed by the project and average monthly salary should be monitored. For ex ante calculation, it assumes that 10 jobs for local people will be created (including 5 females and 5 males), the average monthly earnings of employees are 3,500 RMB/person (equal salaries paid for men and women in the same position). According to the Record Keeping Book, Labor contracts and Payrolls, during the 3rd monitoring period (01/04/2022-31/03/2023), 10 jobs for local people were created (including 5 females and 5 males). The average monthly salary was 4,100 RMB/person (equal salaries paid for men and women in the same position).

Emission reductions of SDG 13 can be calculated based on AM0072 Fossil Fuel Displacement by Geothermal Resources for Space Heating (Version 03.0). The estimated outcomes for SDG 13 for the 3rd monitoring period (01/04/2022-31/03/2023) is 143,987 tCO2e. The parameter of net heating area for construction type m (Am), average temperature difference between inlet and outlet temperatures at the downstream of each substation heat exchanger in year y (Δtj,d,y), average flow rate at the downstream of each heat exchanger in year y (FRj,d,y), hours per hear heat utilization in well j (Tj) and electricity consumption for the year y in operating the geothermal heating system(ECPJ,j,y (ECy)) should be monitored. Emission reductions for the 3rd monitoring period was 140,002 tCO2e, and the changes of the five parameters lead to the difference between the estimated value and actual value for emission reductions.

E.6. Remarks on increase in achieved SDG Impacts from estimated value in approved PDD

>>

The outcomes for SDG 7 Affordable and Clean Energy and SDG 13 Climate Action were lower than the estimated value in the PDD.

The estimated outcomes of SDG 7 are 2,480.907 thousand m2 of residential buildings and 94.516 thousand m2 of commercial buildings can access to geothermal energy based space heating system. And the actual outcome was 2,441,477.26 m2 of residential buildings and 93,676.08 m2 of commercial buildings can access to geothermal energy based space heating system in 2022-2023 winter season, which is about 98.41% of the estimated value. The difference mainly due to the actual heating areas supplied by the geothermal energy based space heating system, which is determined by the heating supply contract signed by the project owner and the property management company of each community.

The estimated value of the outcomes of SDG 13 for the 3rd monitoring period is 143,987 tCO2e, and the actual value is 140,002 tCO2e, which is about 97.23% of the estimated value.  The decline of actual SDG 13 impact is due to the change of the actual occupancy rate in year y (Am), average temperature difference between inlet and outlet temperatures at the downstream of each substation heat exchanger in year y (Δtj,d,y), average flow rate at the downstream of each heat exchanger in year y (FRj,d,y), hours per hear heat utilization in well j (Tj), and electricity consumption for the year y in operating the geothermal heating system (ECPJ,j,y (ECy)). Am is determined by the occupancy rate of the project area, and heating supply is not needed for the unoccupied part of the residential and commercial area. Tj is determined by the actual heating supply period of each heating season. The parameters of Δtj,d,y, FRj,d,y and ECPJ,j,y (ECy) are mainly determined by the heating demand of the end-users, which are affected by atmospheric environment temperature, running status of the geothermal heating system, heating supply period and other aspects.

Number of males and females employed by the project and average monthly salary were determined by the Record Keeping Book, Labor contracts and Salary slips, during the 3rd monitoring period (01/04/2022-31/03/2023), 10 jobs for local people were created (including 5 females and 5 males). The average monthly salary was 4,100 RMB/person (equal salaries paid for male and female in the same position), which is higher than the estimated value in the approved PDD (3,500 RMB/person). According to the Record Keeping Books, the monthly salary of all the employees, no matter males or females, were increased by 10% from 01/01/2023. The monthly salary of the employees were 4,000 RMB/person from 01/04/2022 to 31/12/2022 and 4,400 RMB/person from 01/01/2023 to 31/03/2023. In summary, the average monthly salary of the employees for the 3rd monitoring period can be calculated as (4,000 RMB/person*9+4,400 RMB/person*3)/12=4,100 RMB/person. Equal salaries were paid for men and women in the same position.

SECTION F. SAFEGUARDS REPORTING

>>

As per section D.1 Safeguarding principles assessment and appendix 1 of the approved PDD, all the safeguarding principles are not relevant to the project and the safeguards reporting is not needed.

SECTION G. STAKEHOLDER INPUTS AND LEGAL DISPUTES

G.1. List all Inputs and Grievances which have been received via the Continuous Input and Grievance Mechanism together with their respective responses/mitigations.

>>

The inputs/grievances methods are Continuous Input / Grievance Expression Process Book and email access. In addition, people can give inputs/grievances through visiting Zhengzhou Onar Heating Co., Ltd.

| Method | Include all details of Chosen Method (s) so that they may be understood and, where relevant, used by readers. |
| --- | --- |
| Continuous Input / Grievance Expression Process Book (mandatory) | A grievance book was put in Taishan village. All stakeholders are allowed to record their grievances or comments in the book. The project owner will assign specific person in each sub county to deal with related issues. When assessing the relevance and appropriateness of the stakeholders’ comments, the project owner will apply a gender lens. |
| GS Contact (mandatory) | help@goldstandard.org |
| Other | Feedback can be made directly through visiting Zhengzhou Onar Heating Co., Ltd. (260m to the north at the intersection of Yanhuang Avenue and Daodong Road, Hezhuang Town, Xinzheng City, Henan Province, China) or through e-mail yliu_onar@163.com or telephone +86 18603833642. |

No inputs/grievances received during the 3rd monitoring period through all the methods.

G.2. Report on any stakeholder mitigations that were agreed to be monitored.

>>

This is the 3rd monitoring period and there is no input/grievance from the 2nd monitoring period where follow up action need to be verified. As per section D.1 of the approved PDD, all the safeguarding principles are not relevant to the project and there are no stakeholder mitigations to be monitored.

G.3. Provide details of any legal contest that has arisen with the project during the monitoring period

>>

No legal contest or dispute has been arisen with the project during the 3rd monitoring period.

Revision History

| Version | Date | Remarks |
| --- | --- | --- |
| 1.1 | 14 October 2020 | Hyperlinked section summary to enable quick access to key sections Improved clarity on Key Project Information Section for POA monitoring Forward action request section Improved Clarity on SDG contribution/SDG Impact term used throughout Clarity on safeguard reporting Clarity on design changes Leakage section added for VER/CER projects Addition of Comparison of monitored parameters with last monitoring period Provision of an accompanying Guide to help the user understand detailed rules and requirements |
| 1.0 | 10 July 2017 | Initial adoption |

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-02-v7.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-05-v3.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v7.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-24-v1.pdf

As per manufacturer specifications of the geothermal space heating system, the lifetime of the equipment is more than 15 years.

Heating load can be calculated as heating aeras multiply heating index for construction type m. As per Feasibility Study Report, Heating index is 45 W/m2 for residential buildings, 55 W/m2 for commercial buildings. Therefore, heating load of the third monitoring period can be calculated as (2,441.477*45+93.676*55)/1000=115.01MW.

According to the Record Keeping Books, monthly salary of the employees (no matter males or females) was 4,000 RMB/person from 01/04/2022 to 31/12/2022 and 4,400 RMB/person from 01/01/2023 to 31/03/2023. In summary, the average monthly salary of the employees for the 3rd monitoring period can be calculated as (4,000 RMB/person*9+4,400 RMB/person*3)/12=4,100 RMB/person. Equal salaries were paid for men and women in the same position.

http://www.mee.gov.cn/ywgz/ydqhbh/wsqtkz/202012/t20201229_815386.shtml

https://www.wdfxw.net/doc60326801.htm

https://www.wdfxw.net/doc91019332.htm

The base number is basically equal to the final reading for last monitoring period.

There are No.4 Village Group, Zhengrongfu, Taishan Villa and Wangdong Community 4 sub-areas.

https://www.mee.gov.cn/xxgk2018/xxgk/xxgk06/202203/t20220315_971468.html

https://www.mee.gov.cn/xxgk2018/xxgk/xxgk03/202012/W020201230736907682380.pdf

The average temperature change of the 11 heat exchange system of the 2022-2023 heating season can be calculated as average temperature changes in November 2022, December 2022, January 2023, February 2023 and March 2023, which is (11.37+12.11+12.08+12.12+11.59)/5=11.85

The average volume flow rate of the 11 heat exchange system of the 2021-2022 heating season can be calculated as (849.43 m3/h +839.50 m3/h +846.28 m3/h +830.79 m3/h +851.55 m3/h +837.71 m3/h +844.79 m3/h +845.99 m3/h +831.22 m3/h +861.16 m3/h +850.11 m3/h)/11=844.41 m3/h.

As per Research on Heating in Winter of Taishan Village published by Xinzheng Housing and Urban-Rural Development Bureau, the cut-off time of winter heating usually to be 24:00 of the 30th-March of each year. The last day of March usually to be the settlement day. But the actual number of heating hours may vary from year to year, which is determined by the winter climate of the year.

As per Research on Heating in Winter of Taishan Village published by Xinzheng Housing and Urban-Rural Development Bureau, the heating hours of commercial buildings is usually 15-20 hour a day. Actual heating hours may vary for different commercial types.

There are No.4 Village Group, Zhengrongfu, Taishan Villa and Wangdong Community 4 sub-areas.

http://www.mee.gov.cn/ywgz/ydqhbh/wsqtkz/202012/W020201229610353340851.pdf

http://www.zhoukou.gov.cn/page_pc/xwzx/zxzc/article1b2c8129f0bd474daed729c6ddfe0d34.html

Whenever emission reductions are capped, both the original and capped values used for calculations must be transparently reported.  Use brackets to denote original values.