Monitoring Report

PUBLICATION DATE  14.10.2020
VERSION  v. 1.1 
RELATED SUPPORT – TEMPLATE GUIDE Monitoring Report v. 1.1

This document contains the following Sections

Key Project Information

SECTION A - Description of project

SECTION B - Implementation of project

SECTION C - Description of monitoring system applied by the project

SECTION D - Data and parameters

SECTION E - Calculation of SDG Impacts

SECTION F - Safeguards Reporting

SECTION G - Stakeholder inputs and legal disputes

KEY PROJECT INFORMATION

| GS ID (s) of Project (s) | GS11238 |
| --- | --- |
| Title of the project (s) covered by monitoring report | Ji’an Swine Farm Animal Manure Management System GHG Mitigation Project |
| Version number of the PDD/VPA-DD (s) applicable to this monitoring report | 05 |
| Version number of the monitoring report | 03 |
| Completion date of the monitoring report | 16/12/2022 |
| Date of project design certification | 11/01/2022 |
| Date of Last Annual Report | N/A |
| Monitoring period number | 02 |
| Duration of this monitoring period | The 2nd monitoring period from 01/08/2021 to 31/07/2022 (first and last days included) |
| Project Representative | The official focal point and project developer: Profit Carbon Environmental Energy Technology (Shanghai) Co., Ltd. The project owner: Jiangxi Zhengbang Breeding Co. Ltd |
| Host Country | People’s Republic of China |
| Activity Requirements applied | Community Services Activities Renewable Energy Activities Land Use and Forestry Activities/Risks & Capacities N/A |
| Methodology (ies) applied and version number | ACM0010 GHG emission reductions from manure management systems (Version 08.0) |
| Product Requirements applied | GHG Emissions Reduction & Sequestration Renewable Energy Label N/A |

Table 1 - Sustainable Development Contributions Achieved

| Sustainable Development Goals Targeted | SDG Impact | Amount Achieved | Units/ Products |
| --- | --- | --- | --- |
| SDG 13: Climate Action | Emission reductions | 360,236 | tCO2e |
| SDG 8: Decent Work and Economic Growth | The number of males and females employed by the project | 18 jobs created including 9 females and 9 males | Number |
|  | the Average monthly salary | 5,000 | RMB/person |
| SDG 7: Affordable and Clean Energy | Quantity of electricity generation by capturing biogas | 65,254.42 | MWh |

Table 2 – Product Vintages

| SDG 7 Affordable and Clean Energy |  | Amount Achieved |
| --- | --- | --- |
| Start Dates | End Dates | Quantity of electricity generation by capturing biogas (MWh) |
| 01/08/2021 | 31/12/2021 | 26,384.14 |
| 01/01/2022 | 31/07/2022 | 38,870.28 |
| 01/08/2021 | 31/07/2022 | 65,254.42 |

| SDG 8 Decent Work and Economic Growth |  | Amount Achieved |  |
| --- | --- | --- | --- |
| Start Dates | End Dates | The number of males and females employed by the project | Average monthly earnings of employees |
| 01/08/2021 | 31/12/2021 | 18 jobs created including 9 males and 9 females | 5,000 RMB/person, the salary for men and women was the same. |
| 01/01/2022 | 31/07/2022 | 18 jobs created including 9 males and 9 females | 5,000 RMB/person, the salary for men and women was the same. |
| 01/08/2021 | 31/07/2022 | 18 jobs created including 9 males and 9 females | 5,000 RMB/person, the salary for men and women was the same. |

| SDG 13 Climate Action |  | Amount Achieved |
| --- | --- | --- |
| Start Dates | End Dates | GHG emission reductions (tCO2e) |
| 01/08/2021 | 31/12/2021 | 152,090 |
| 01/01/2022 | 31/07/2022 | 208,146 |
| 01/08/2021 | 31/07/2022 | 360,236 |

- DESCRIPTION OF PROJECT

General description of project

>>

The project introduces 9 sets of Animal Waste Management Systems (AWMSs) in 9 existing swine farms in Ji’an City of Jiangxi Province. The purpose of the project activity is to treat the manure and wastewater from the 9 swine farms to avoid methane emissions.

The project activity replaces the current open anaerobic lagoons with new AWMSs, and Each subsidiary swine farm installs one AWMS. The manure and waster are collected into the anaerobic digesters and then biogas generated during the anaerobic treatment process is captured and total 6,396.4127*104m3 biogas are expected to be generated annually. And then the biogas is sent into the biogas generating system for power generation. Each generator is installed in each subsidiary swine farm, total installed capacity of the proposed project is 13.6MW. The electricity generated are all used by the AWMSs and the swine farms, and the Residual biogas (if any) is flared. After anaerobic digestion, the fermented sludge is treated in aerobic composting system, which is used as fertilizer. Wastewater from the anaerobic digesters is treated aerobically and then used for agriculture irrigation.

The scenario prior to the implementation of the proposed project activity is that the manure and wastewater from the 9 swine farms would be treated in uncovered anaerobic lagoons.

The project activity reduces GHG in the atmosphere through avoiding methane emissions from anaerobic treatment of swine manure and wastewater. The annual average CO2 emission reductions are estimated as 471,385 tCO2e.

The project has been put into operation on 01/08/2021. This monitoring report is for the 2nd monitoring period, which is from 01/08/2021 to 31/07/2022. Total emission reductions achieved in this monitoring period are 360,236 tCO2e.

Location of project

>>

The project activity is located in Ji’an City, Jiangxi Province. There are nine subsidiary farms involved in the project, including 8 fattening farms: Deglong, Fenghuang, Litian, Jinchuan, Tanqiu, Zhouhu, Xingan and Qiqin and 1 Breeding farm: Caolu. The location of the nine subsidiary farms is shown below:

| Swine farm | Address | East longitude | North latitude |
| --- | --- | --- | --- |
| Denglong(登龙猪场) | Denglong Village, ji’an County, Ji’an City | 114°44’52” | 27°01’10” |
| Fenghuang(凤凰猪场) | Fenghuang Town, ji’an County, Ji’an City | 114°31’32” | 76°10’49” |
| Litian(澧田猪场) | Litian Town, ji’an County, Ji’an City | 114°40’50” | 27°12’13” |
| Jinchuan(金川猪场) | Jinchuan Town, Xingan County, Ji’an City | 115°24’06” | 27°40’24” |
| Tanqiu(潭丘猪场) | Tanqiu Village, Xingan County, Ji’an City | 115°35’49” | 27°36’19” |
| Zhouhu(洲湖猪场) | Zhouhu Town, Anfu County, Ji’an City | 114°31’31” | 27°10’47” |
| Xingan(新干猪场) | Xingan County, Ji’an City | 114°54’18” | 26°56’05” |
| Qiqin(七琴育肥场) | Qiqin Town, Xingan County, Ji’an City | 115°35’15” | 27°43’04” |
| Caolu(草庐猪场) | Liujiaqiao Village, Chongren County, Fuzhou City | 116°12’42” | 27°51’30” |

Jiangxi Province

Fenghuang farm

Xingan farm

Qiqin farm

Jinchuan farm

Tanqiu farm

Zhouhu farm

Litian farm

Denglong farm

Caolu farm

Figure 1 The Geographic Location of the project

Reference of applied methodology

>>

The approved methodology applied by this project is referenced as ACM0010” GHG emission reductions from manure management systems (Version 08.0)”.

https://cdm.unfccc.int/filestorage/O/J/W/OJW9BM0HFSPXNGVD1KER3C2QU86I5T/EB%2075_repan14_ACM0010_ver%2008.0.pdf?t=U2x8cXlxcWZqfDAeA1TM6bDy5KQgFxHcnd1j

Tool applied:

Tool 02: “Combined tool to identify the baseline scenario and demonstrate additionality(version07.0)”

Tool 05 “Baseline, project and/or leakage emissions from electricity consumption and monitoring of electricity generation (Version 03.0)”

Tool 06” Project emissions from flaring (Version 03.0)”

Tool 08 “Tool to determine the mass flow of a greenhouse gas in a gaseous stream (version03.0)”

Tool 14 “Project and leakage emissions from anaerobic digesters (Version 02.0)”

Tool 24 Common practice (Version 03.1)

All above tools can be found through https://cdm.unfccc.int/Reference/tools/index.html

Crediting period of project

>>

Start date of crediting period: 01/10/2020.

Total length of crediting period: 01/10/2020 to 30/09/2025 (first and last days included) for the first crediting period (two renewal cycles and in total 15 years). The 2nd monitoring period is from 01/08/2021 to 31/07/2022 (first and last days included), which belong to the first crediting period.

Expected lifetime of the project: 15 years.

- IMPLEMENTATION OF PROJECT

Description of implemented project

>>

9 sets of AWMSs in 9 swine farms have been implemented. The raw materials such as pig manure, urine and washing water are collected, and then put into the homogenate regulating tank. After further hydrolysis and grit settling, all were put into the anaerobic tank for fermentation.

Anaerobic tanks adopt Upflow Anaerobic Sludge Bed Reactor (UASB) as its anaerobic digester technology, and the biogas generated from the anaerobic digesters enter the biogas generator set after biological desulfurization and dehydration purification. The generated electricity is used for daily operation of AWMSs and the swine farms, and the waste heat of the generator is recycled for increasing the temperature of the anaerobic reactor. At the same time, and the residual biogas is flared if there is any surplus biogas.

After anaerobic fermentation, the fermentation liquid is separated by solid and liquid, and the biogas residue is used to produce solid organic fertilizer. The biogas slurry is used as liquid organic fertilizer to irrigate the crops. The sludge produced during the aerobic treatment process is used as high-quality fertilizer. Only a small portion of organic fertilizers are supplied to the farmers living around for free. And the surplus fertilizes are sold to the end-users at below-market prices. The technical flow of the project activity is shown below:

Figure 2 Process flow of biogas project in the swine farms

The project was implemented in 9 existing swine farms and the technology implemented at each swine farm was same. while the treatment capacities of each AWMS and the size of each swine farm and corresponding design of the AWMS was different. The processing capacity and equipment of the system are designed according to the size of the farm. The construction date, commissioning date and start date of operation of each farm are summarized in Table 2. The other mainly milestone for implementation of the project are summarized in Table3. The volume for original uncovered anaerobic lagoons and the equipment parameters used of each swine farm are shown in the following Table 4:

Table 2 The construction, commissioning and start operation date of swine farms involved in this project

| Swine farm name | Construction date | Commissioning date | start Operation date |
| --- | --- | --- | --- |
| Denglong | 03/07/2020 | 20/09/2020 | 01/10/2020 |
| Fenghuang | 04/07/2020 | 21/09/2020 | 01/10/2020 |
| Litian | 05/07/2020 | 22/09/2020 | 01/10/2020 |
| Jinchuan | 06/07/2020 | 22/09/2020 | 01/10/2020 |
| Tanqiu | 03/07/2020 | 20/09/2020 | 01/10/2020 |
| Zhouhu | 02/07/2020 | 23/09/2020 | 01/10/2020 |
| Xingan | 04/07/2020 | 21/09/2020 | 01/10/2020 |
| Qiqin | 07/07/2020 | 24/09/2020 | 01/10/2020 |
| Caolu | 06/07/2020 | 25/09/2020 | 01/10/2020 |

Table 3 Milestone for implementation of the project

| Milestone(s) in the Project’s Development and Implementation | Date |
| --- | --- |
| Completion of Project evaluation report | 20/10/2019 |
| EIA Approval by local Ecology and Environment Department | 15/04/2020 |
| Start date of the project, the date on signing the equipment purchase contract | 01/07/2020 |
| Training for the GS monitoring plan and biogas safety operation | 25/08/2021 |
| Formally put into operation of all the 10 sets of AWMSs | 01/10/2020 |
| First renewable crediting period | 01/10/2020-30/09/2025 |
| Submission for preliminary review | 25/06/2021 |
| Local stakeholder consulting physical meeting | 02/08/2021 |
| Employee training in 2021(including monitoring plan and biogas safety operation) | 25/08/2021 |
| The 1st monitoring period | 01/10/2021-31/07/2021 |
| The 2nd monitoring period | 01/08/2021-31/07/2022 |
| Date of Project design certification | 11/01/2022 |

There are no deviations or delays compared to information in approved PDD.

During this monitoring period, there was no special event occurred, such as overhaul and downtimes of biogas digesters and power generators. All the equipment operated well and no equipment was under maintenance during this monitoring period.

Table 4 technical parameters of main equipment and uncovered anaerobic lagoons

| Farm name | Denglong | Fenghuang | Litian | Jinchuan | Tanqiu | Zhouhu | Xingan | Qiqin | Caolu |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Treatment capacities of AWMS(t/d) | 450 | 400 | 320 | 320 | 300 | 380 | 280 | 200 | 310 |
| Baseline anaerobic lagoon |  |  |  |  |  |  |  |  |  |
| Size of baseline anaerobic lagoon(length*width*depth) (m3) | 100*100*4.5 | 100*80*4.5 | 80*80*4.5 | 80*80*4.5 | 80*80*4.5 | 100*80*4.5 | 80*80*4.5 | 80*80*3.5 | 80*80*4.5 |
| technical life | No Less than 15 years |  |  |  |  |  |  |  |  |
| Biogas Generator |  |  |  |  |  |  |  |  |  |
| Type | KDGH-2000G | KDGH-1800G | KDGH-1500G | KDGH-1500G | KDGH-1500G | KDGH-1800G | KDGH-1200G | KDGH-800G | KDGH-1500G |
| Unit power(kw/kvA) | 2.000 | 1.800 | 1.500 | 1.500 | 1.500 | 1.800 | 1.200 | 800 | 1.500 |
| Frequency (Hz) | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 |
| Rated speed (rpm) | 1.500 | 1.500 | 1.500 | 1.500 | 1.500 | 1.500 | 1.500 | 1.500 | 1.500 |
| Equipment Quantity | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Equipment technical life | No Less than 30 years |  |  |  |  |  |  |  |  |
| Anaerobic tank |  |  |  |  |  |  |  |  |  |
| Design capacity (m3) | 3,000*2+1,000*1 | 3,000+3,000 | 3,000+2,000 | 3,000+2,000 | 2,500+2,000 | 3,000+3,000 | 2,000+2,500 | 2,000+1,000 | 2,500+2,500 |
| Anaerobic technology | UASB | UASB | UASB | UASB | UASB | UASB | UASB | UASB | UASB |
| Stay time(day) | 15.8 | 15.8 | 15.8 | 15.8 | 15.8 | 15.8 | 15.8 | 15.8 | 15.8 |
| Fermentation temperature(℃) | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 |
| Equipment Quantity | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |
| Equipment technical life | No Less than 30 years |  |  |  |  |  |  |  |  |
| Turnover machine |  |  |  |  |  |  |  |  |  |
| Type | FJL 6000*1350 | FJL 6000*1350 | FJL6000*1050 | FJL 6000*1050 | FJL6000*1050 | FJL6000*1350 | FJL 6000*1050 | FJL 6000*1050 | FJL 6000*1050 |
| Supporting power(kw) | 41.5 | 41.5 | 25.74 | 25.74 | 25.74 | 41.5 | 25.74 | 25.74 | 25.74 |
| Speed of work(m/h) | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 |
| No-load speed(m/h) | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 |
| Height of mixing rod(mm) | 4,500 | 4,500 | 3,400 | 3,400 | 3,400 | 4,500 | 3,400 | 3,400 | 3,400 |
| Turning depth(mm) | 1,500-1,800 | 1,500-1,800 | 1,500-1,800 | 1,500-1,800 | 1,500-1,800 | 1,500-1,800 | 1,500-1,800 | 1,500-1,800 | 1,500-1,800 |
| Equipment Quantity | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Equipment technical life | No Less than 15 years |  |  |  |  |  |  |  |  |
| Flared system |  |  |  |  |  |  |  |  |  |
| Type | Open flare | Open flare | Open flare | Open flare | Open flare | Open flare | Open flare | Open flare | Open flare |
| Treatment capacities (m3/h) | 0-90 | 0-90 | 0-90 | 0-90 | 0-90 | 0-90 | 0-90 | 0-90 | 0-90 |
| Material | 304 stainless steel | 304 stainless steel | 304 stainless steel | 304 stainless steel | 304 stainless steel | 304 stainless steel | 304 stainless steel | 304 stainless steel | 304 stainless steel |
| Height (m) | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 |
| Main wall thickness (mm) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| Equipment technical life | No Less than 15 years |  |  |  |  |  |  |  |  |

    - Forward Action Requests

>>

NA

Post-Design Certification changes

>>

    - Temporary deviations from the approved Monitoring & Reporting Plan, methodology or standardized baseline

>>

NA

    - Corrections

>>

NA

    - Changes to start date of crediting period

>>

NA

    - Permanent changes from the Design Certified monitoring plan, applied methodology or applied standardized baseline

>>

NA

    - Changes to project design of approved project

>>

NA

- DESCRIPTION OF MONITORING SYSTEM APPLIED BY THE PROJECT

>>

Parameters to be monitored

According to section B.7.1 of the PDD, parameters need to be monitored is as following,

Table 5 The details Monitoring Process of the monitoring parameters engaged in the project

| parameter | Measurement methods and procedures |
| --- | --- |
| For Mitigation Measure for Safeguarding Principles |  |
| Employee Training of biogas safety operation | Determined by the training record which was held once a year. For this monitoring period, biogas safety operation training was held on 25/08/2021, which can be proved by training notice and meeting attendance record. |
| SDG 7 |  |
| EGd,y | Measured continuously by the electricity meters installed at the outlet of generator in each farm. Total 9 electricity meters were installed. The meter reading was recorded by the staff. The readout records of electricity meter have been recorded at 24:00 of every day by the staff during the monitoring period. The daily electricity generation is equal to the difference between the previous day's and the next day's readings. Monthly value is the sum of the daily electricity generation. The electricity meter was calibrated on 17/09/2020 by an officially accredited entity. Collected data is archived in both electronic and printed copies. Detailed information on meters including accuracy, calibration date, calibration agency and calibration standard etc can be obtained in below Table 6 and Table 7. |
| SDG 8 |  |
| Number of males and females employed by the project; Average monthly salary; | Parameters for SDG 8 were determined based on record keeping book, labor contract and Payroll. 18 jobs for local people were created and the average monthly salary were 5,000 RMB/person in this monitoring period. |
| SDG 13 |  |
| Number of animals of type LT produced annually for the year y, Np,LT | Each pig involved in this project has a unique electronic ear tag when was born, which is an electronic device dedicated to the identification and electronic management of animals, can track automatically. This electronic ear tag can be connected to the Data Collection System (DCS), which can store and read information. Therefore, the number of swine produced in the farm can be monitored through the auto tracking devices of electronic ear tag once pig slaughter monthly and obtained by the DCS. At the same time, the technicians in farms record manually the number of swine produced in the farms monthly and this parameter is sourced from the data logged in each swine farm. Monthly sale records for each farm can be crosschecked during this monitoring period. |
| Number of days animal of type LT is alive in the farm in the year y, Nda,LT | The days of swine alive in the farm can be traced through the electronic ear tag by the technical staff in each farm and obtained by the DCS. At the same time recorded manually by the technicians in farms and sourced from the data logged in each swine farm. |
| Daily stock of animals in the farm, discounting dead and discarded animals, NAA,LT | Traced through the electronic ear tag by the technical staff in each farm and obtained by the DCS. At the same time recorded daily by the technicians in farms and sourced from the data logged in each swine farm. The technicians in farms begin to record the daily stock number of animals from the first day of monitoring period, and this record data including the new imported animal and discounting dead and discharge animals. The annual average number of animals (NAA,LT) was calculated as an average of the daily stock of breeding swine in the farms without considering dead animals and discarded animals. |
| Average animal weight of a defined livestock population at the project site, Wsite | Measured by the weight measurers on a certain day of every month. One weight measure was equipped for each farm at least, total 9 weight measures were included for this project. Wsite was conducted by sampling in the three age groups of Nursery phase, Growing phase and Mature phase in each swine farm monthly. The weight data is recorded by the technicians in farms and then average animal weight of a defined livestock population at the project site was calculated based on these data. The weight measures were calibrated periodically by an officially accredited entity. Detailed information on weight measures including accuracy, calibration date, calibration agency and calibration standard etc can be obtained in below Table 6 and Table 7. |
| Number of days treatment plant was operational in year y, ndy | Monitored by PP and sourced from data logged in each of the manure treatment plant. |
| Quantity of electricity consumed by the proposed project in year y, ECPJ,j,y | Measured continuously by the electricity meters installed in project site in each farm. Total 9 electricity meters were installed. The meter reading was recorded daily by the staff. The readout records of electricity meter have been recorded at 24:00 of every day by the staff during the monitoring period. The daily electricity consumption is the difference between the reading value at the 24:00 of first day of each month and the reading value at 24:00 of the next day of each month. Monthly data is the sum of the daily electricity consumption. The staff in each swine farm recorded monthly electricity consumption at 24:00 of last day in each month and then reported the results to the grid company. The grid company checked and supplied the reading records (Electricity Transaction Notes) of the meters to the PP monthly. The electricity meter was calibrated on 17/09/2020 by an officially accredited entity. Collected data is archived in both electronic and printed copies. Detailed information on meters including accuracy, calibration date, calibration agency and calibration standard etc can be obtained in below Table 6 and Table 7. |
| Average technical transmission and distribution losses for providing electricity to source j in year y, TDLj,y | Sourced from Tool 05” Baseline, project and/or leakage emissions from electricity consumption and monitoring of electricity generation (version 03.0)”, the value is 20% in this monitoring period. This value will be renewed once the tool is updated. |
| Biogas flow, Vf | Continuously measured by the biogas flow meters (biogas flow meter 1 installed at the outlet of the anaerobic digestion, biogas flow meter 2 installed at the inlet of the power generator and biogas flow meter 3 installed in inlet of flare) continuously and record daily. There were three flow meters in each farm and total 27 flowmeters were included for this project. The monthly biogas production, biogas flow to the power generator and biogas flow to flare system is the sum of the daily output, The biogas flow meters used were calibrated on 17/09/2020 by an officially accredited entity. In addition, the biogas flow meter automatically measured the instantaneous flow rate, temperature and pressure pear hour, it is not necessary to separately measure the instantaneous flow rate (Vt,db), the biogas temperature (Tt) and pressure (Pt). Collected data is archived in both electronic and printed copies. Detailed information on flowmeters including accuracy, calibration date, calibration agency and Calibration standard etc can be obtained in below Table 6 and Table 7. |
| Volumetric flow of the gaseous stream in time interval t on a dry basis, Vt,db | Continuously measured by flowmeters, which can record hourly and saved automatically in the DCS system. As per described in monitoring parameter Vf, the flowmeters to monitor Vt,db are the same as the flowmeters that monitor Vf since the flowmeter can monitor other parameter such as Vt,db, Tt and Pt simultaneously so the data can be obtained from system and the monthly data was exported by the staff at the beginning of next month. Daily biogas flow is equal to the cumulative value of 24 hours, and monthly biogas flow can be accumulated on daily basis. Original collected data can be exported through the system and is archived in electronic. |
| Volumetric fraction of greenhouse gas i in a time interval t on a dry basis, m³ gas i/m³ dry gas, Vi,t,db | Measured continuously and record hourly by online gas analyser installed at the outlet of the anaerobic digester and saved automatically in the DCS system. One gas analyser was equipped in each farm and there are 9 gas analysers totally. Therefore, the data can be obtained from system and the monthly data was exported by the staff at the beginning of next month. Daily and monthly CH4 concentration was calculated based on the 24-hour average and daily average CH4 concentration. Gas analysers were calibrated on 11/09/2020 and 27/08/2021 respectively by an officially accredited entity. Original collected data can be exported through the system and is archived in electronic. Detailed information on gas analysers including accuracy, calibration date, calibration agency and calibration standard etc can be obtained in below Table 6 and Table 7. |
| Temperature of the gaseous stream in time interval t, Tt; Pressure of the gaseous stream in time interval t, Pt. | Measured continuously by the biogas flow meter, which can record hourly and saved automatically in the DCS system. As per described in monitoring parameter Vf, the flowmeters to monitor Tt and Pt are the same as the flowmeters that monitor Vf since the flowmeter can monitor other parameter such as Vt,db, Tt and Pt simultaneously. So the data can be obtained from system and the monthly data was exported by the staff at the beginning of next month. Daily and Monthly Temperature and Pressure of the biogas flow was calculated based on the 24-hour average and daily average values. Original collected data can be exported through the system and is archived in electronic. Detailed information on Flow meters including accuracy, calibration date, calibration agency and calibration standard etc can be obtained in below Table 6 and Table 7. |
| Fraction of volatile solids directed to aerobic treatment FAer | All the manure and wastewater are collected and then be taken into anaerobic digestion for treatment. After anaerobic fermentation, the fermentation liquid is separated by solid and liquid, and the biogas residue is used to produce solid organic fertilizer. The biogas slurry is used as liquid organic fertilizer to irrigate the crops. Therefore, there is only a part of the manure that be treated through aerobic AWMS treatment. Fraction of volatile solids directed to aerobic treatment (FAer) was determined by the VS concentration and the quantity of manure entering into aerobic treatment, and the maximum value of it is 100%. To calculate the project emissions, the maximum value of 100% will be used during this monitoring period, which is the most conservative. |
| Fraction of manure handled in system j in project activity MS%j | Since all manure and wastewater produced by the involved swine farms was sent into AWMSs to be handled and no any manure discharged outside that is prohibited. And the treatment process of the project is an anaerobic-aerobic combined treatment technology, main including anaerobic fermentation, and aerobic composting. Therefore 100% is applied for MS%j indifferent treatment system during the monitoring period, which is the maximum value and also more conservative. |
| Maximum methane producing potential of the volatile solid generated by animal type LT B0, LT | Not monitored during this MR since the value is taken from IPCC 2006, which is a published source. The parameter value will be updated on latest available public data source. Up to the present, “2019 refinement to the 2006 IPCC guidelines” is the latest version. However, the value from IPCC 2006 is still used for B0, LT , which is in accordance with page 10.64 of 2019 refinement to the 2006 IPCC guidelines. |
| Type of barn and AWMS Type | The type of barn and AWMS was not changed as the design. |
| Annual average ambient temperature at project site T | As this project is located in Ji’an city, Jiangxi Province, so the project site temperature is sourced from the Ji'an Meteorological Bureau and cross check with the public website. In this monitoring period, the average project site temperature sourced from Ji'an Meteorological Bureau is 18.3℃ and the Annual average ambient temperature from public website is 18.5℃, so the Annual average ambient temperature at project site in this monitoring period is 18.3℃ and the MCF applied in the ER calculations is 77%, which is conservative. |

Monitoring framework

The project owner is responsible for the whole monitoring work. The GS Monitoring Team is established to collect and record monitoring data within the project boundary. The GS monitoring team is responsible for the normal operation of the AWMSs and the collection and record of all the monitoring data. All the data is reviewed by the project developer and VVB. Each member of the GS monitoring team is trained by the project owner at least once a year. The overall monitoring system structure of the project shows as below:

Figure 3 The Organization Structure of the Monitoring Team

Monitoring equipment and installation

Installation and configuration of monitoring equipment are shown as Figure 4.  In order to ensure measurements with a low degree of uncertainty, the data monitoring equipment have been calibrated and checked by appropriately qualified third party according to appropriate national standard.

For this monitoring period, all the monitoring equipment were calibrated according to relevant regulations.

Figure 4 The monitoring system of the project (Same monitoring system for each farm)

Table 6 General description of monitoring equipment

| Monitoring equipment | Parameter to be monitored | Installed location | Type | Series number | Accuracy | Date of calibration | Calibration standard | Validity | Calibration agency |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Flow meter 1 | Vf Tt Pt | at the outlet of the anaerobic digestion | LUGB | Please refer to below Table 7 | 1.5 | 17/09/2020 | JJG1029-2007(Verification Regulation of Vortex-shedding Flowmeter) | 16/09/2022 | Henan Institute of Metrology |
| Flow meter 2 | Vf Tt Pt | at the inlet of generator | LUGB | Please refer to below Table 7 | 1.5 | 17/09/2020 | JJG1029-2007(Verification Regulation of Vortex-shedding Flowmeter) | 16/09/2022 | Henan Institute of Metrology |
| Flow meter 3 | Vf Tt Pt | in inlet of flare | LUGB | Please refer to below Table 7 | 1.5 | 17/09/2020 | JJG1029-2007(Verification Regulation of Vortex-shedding Flowmeter) | 16/09/2022 | Henan Institute of Metrology |
| Electricity meter 1 | EGd,y | at the outlet of generator | DSSD331 | #### Please refer to below Table 7 | 0.5S | 17/09/2020 | JJG596-2012(Electrical Meters for Measuring Alternating-current Electrical Energy) | 16/09/2025 | State Grid Jiangxi Electric Power Research Institute |
| Electricity meter 2 | ECPJ,y | in the project site | DSSD331 | #### Please refer to below Table 7 | 0.5S | 19/09/2020 | JJG596-2012 (Electrical Meters for Measuring Alternating-current Electrical Energy) | 18/09/2025 | State Grid Jiangxi Electric Power Research Institute |
| weight measurer | wsite | in each pig farm | SCS | #### Please refer to below Table 7 | Ⅲlevel | 14/08/2020 06/08/2021 | JJG539-2016(Digital Indicator Scale Verification Regulations) | 13/08/2021 05/08/2022 | Jiangxi Institute of Metrology & Testing |
| Gas analyser | Vi,t,db | at the outlet of the anaerobic digesters | ADOS Biogas 401 | #### Please refer to below Table 7 | Lower than 1% | 11/09/2020 27/08/2021 | JJG693-2011(Verification Regulation of Alarmer Detectors of Combustible Gas) | 10/09/2021 26/08/2022 | Jiangxi Institute of Metrology & Testing |

Table 7 Series number of monitoring equipment

| Swine farm | Series number |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Flowmeter 1 | Flowmeter 2 | Flowmeter 3 | Electricity meter 1 | Electricity meter 2 | Weight measurer | Gas analyser |
| Denglong farm | 1908290 | 1908291 | 1908350 | 1912133876000124 | 1912133876000125 | 19043026 | 56578 |
| Fenghuang farm | 1908292 | 1908293 | 1908351 | 1911084006000026 | 1911084006000027 | 19050235 | 56579 |
| Litian farm | 1908294 | 1908295 | 1908352 | 1911084006000028 | 1911084006000029 | 19051613 | 56580 |
| Jinchuan farm | 1908296 | 1908297 | 1908353 | 1909163046000210 | 1909163046000212 | 19064187 | 56880 |
| Tanqiu farm | 1908298 | 1908299 | 1908354 | 1909163046000213 | 1909163046000214 | 19062349 | 56881 |
| Zhouhu farm | 1908300 | 1908301 | 1908355 | 1910204028000191 | 1910204028000192 | 19070024 | 56882 |
| Xingan farm | 1908302 | 1908303 | 1908356 | 1910204028000193 | 1910204028000194 | 19073218 | 57001 |
| Qiqin farm | 1908304 | 1908305 | 1908357 | 2001235021000016 | 2001235021000017 | 19082016 | 57002 |
| Caolu farm | 1908306 | 1908307 | 1908358 | 2001235021000018 | 2001235021000019 | 19080027 | 57112 |

Corrective actions

The whole GS monitoring team fellow recognized standard data evaluation methods to guarantee that the data was reliable and accurate. There was no correction of nonconformities occurred in implementation of the project or the monitoring plan during the 2nd monitoring period. For QA/QC procedure, please refer to QA/QC procedures in section D.2 of the monitoring report.

Data management

Records are the most important exercise in relation to the monitoring process. Without accurate and efficient record keeping, project emission reductions cannot be verified.

Once missing data on a certain day or a certain period of time happened, the most appropriate values such as daily average or monthly average will be used for calculation, which is to ensure that emission reductions are conservative.

All data collected as part of the monitoring plan shall be archived in electronic form and paper until at least two years after the entry period.

Emergency procedure

Employees need to be familiar with the process flow and emergency situations that may occur during project operation and operate in strict accordance with the technical specifications of each process treatment equipment and monitoring equipment. During the operation of the project, all equipment and related instruments shall be checked regularly according to the manufacturer’s recommendations. If necessary, calibration and/or proper repair have to be carried out immediately.

In case of malfunction and/or damage of any system or piece of the process, it may cause damage to the operation of the system, especially serious damage to the biogas generation system and combustion system it must be dealt with as soon as possible and reported to the responsible technician immediately.

There was no emergency happened during this monitoring period.

Avoiding of double counting

All swine farms involved in this project can be identified through its GPS coordinates, which will prevent the farms counted in the project activity to be part of any other voluntary market or emission reduction mechanism (CDM, CCER, VCS etc.) as well. Besides, the project owner has signed the Declaration of No Double Counting Statement and Declaration of not involved in other GHG scheme on 12/01/2022. The emission reductions were not double counted during the 2nd monitoring period.

- DATA AND PARAMETERS

Data and parameters fixed ex ante or at renewal of crediting period

>>

SDG13

| Data/parameter | GWPCH4 |
| --- | --- |
| Unit | tCO2e/tCH4 |
| Description | Global Warming Potential of CH4 |
| Source of data | IPCC Fifth Assessment Report |
| Value(s) applied | 28 |
| Choice of data or Measurement methods and procedures | 100-year values are adopted from Box 3.2, table 1, IPCC Fifth Assessment Report, 2014 |
| Purpose of data | Used in project emission/baseline calculations |
| Additional comment | All monitoring, verifications and requests for performance certification of Certified products and / or Impact Statements for the period starting 01 January 2021 shall use the AR5 GWP values (28) for calculating emission reductions and removals according to applicability of global warming potential for gold standard for the global goals projects. |

| Data/parameter | GWPN2O |
| --- | --- |
| Unit | tCO2e/tN2O |
| Description | Global Warming Potential of N2O |
| Source of data | IPCC Fifth Assessment Report |
| Value(s) applied | 265 |
| Choice of data or Measurement methods and procedures | 100-year values are adopted from Box 3.2, table 1, IPCC Fifth Assessment Report, 2014 |
| Purpose of data | Used in project emission/baseline calculations |
| Additional comment | All monitoring, verifications and requests for performance certification of Certified products and / or Impact Statements for the period starting 01 January 2021 shall use the AR5 GWP values (265) for calculating emission reductions and removals according to applicability of global warming potential for gold standard for the global goals projects. |

| Data/parameter | DCH4 |
| --- | --- |
| Unit | t/m3 |
| Description | Density of CH4 |
| Source of data | ACM0010 Version 08.0 |
| Value(s) applied | 0.00067 |
| Choice of data or Measurement methods and procedures | 0.00067 t/m3 at room temperature 20℃ and 1 atm pressure. |
| Purpose of data | Used in project emission/baseline calculations |
| Additional comment | N/A |

| Data/parameter | MCFj |
| --- | --- |
| Unit | - |
| Description | Methane conversion factor for the baseline AWMSj |
| Source of data | IPCC 2006 table 10.17, chapter 10, volume 4 |
| Value(s) applied | 72.38% |
| Choice of data or Measurement methods and procedures | MCFj value for uncovered anaerobic lagoon (baseline AWMS) is chosen. A conservativeness factor has been applied by multiplying MCFj value (i.e. 77%) with a value of 0.94, to account for the 20 per cent uncertainty in the MCFj values as reported by IPCC 2006. For this project, the annual average temperature is 18.5℃ and the value of 77 % is applied. Therefore, MCFj value of 72.38% will be applied. |
| Purpose of data | project/baseline emission calculations |
| Additional comment | N/A |

| Data/parameter | MS%Bl,j |
| --- | --- |
| Unit | Fraction |
| Description | Fraction of manure handled in system j in the baseline. |
| Source of data | Project proponents |
| Value(s) applied | 100% |
| Choice of data or Measurement methods and procedures | In this project, the baseline manure management system is uncovered anaerobic lagoon only. The amount of manure handled by the anaerobic lagoon is 100%. |
| Purpose of data | Calculation of baseline emissions |
| Additional comment | N/A |

| Data/parameter | Wdefault |
| --- | --- |
| Unit | kg |
| Description | Default average animal weight of a defined population |
| Source of data | IPCC 2006 table 10A-7 and 10A-8, chapter 10, volume 4 |
| Value(s) applied | Wdefault(Market swine)=28kg Wdefault(Breeding swine)=28kg |
| Choice of data or Measurement methods and procedures | The values in IPCC 2006 and US-EPA are compared and the lower value from IPCC 2006 is applied. |
| Purpose of data | Calculation of Baseline emissions |
| Additional comment | N/A |

| Data/parameter | VSdefault |
| --- | --- |
| Unit | kg-dm/animal/day |
| Description | Default value for the volatile solid excretion per day on a dry-matter basis for a defined livestock population |
| Source of data | IPCC 2006 table 10A-7 and 10A-8, chapter 10, volume 4 |
| Value(s) applied | VSdefault(Market swine)=0.3 VSdefault(Breeding swine)=0.3 |
| Choice of data or Measurement methods and procedures | The values in IPCC 2006 and US-EPA are compared and the lower value from IPCC 2006 is applied. |
| Purpose of data | Used in project emission/baseline calculations |
| Additional comment | N/A |

| Data/parameter | NEXIPCC default |
| --- | --- |
| Unit | kg N/ animal/year |
| Description | Default value for the nitrogen excretion per head of a defined livestock population |
| Source of data | Calculated by the equation: NEXIPCC default =Nrate(T)* TAM/1000*365 |
| Value(s) applied | Period; Market Swine; Breeding Swine. 01/08/2021-31/08/2021; 0.36; 0.21. 01/09/2021-30/09/2021; 0.35; 0.20. 01/10/2021-31/10/2021; 0.36; 0.21. 01/11/2021-30/11/2021; 0.35; 0.20. 01/12/2021-31/12/2021; 0.36; 0.21. 01/01/2022-31/01/2022; 0.36; 0.21. 01/02/2022-28/02/2022; 0.33; 0.19. 01/03/2022-31/03/2022; 0.36; 0.21. 01/04/2022-30/04/2022; 0.35; 0.20. 01/05/2022-31/05/2022; 0.36; 0.21. 01/06/2022-30/06/2022; 0.35; 0.20. 01/07/2022-31/07/2022; 0.36; 0.21. |
| Choice of data or Measurement methods and procedures | NEXIPCC default is calculated as equation 10.30 in IPCC2006, Nrate(T) and TAM are default value from IPCC 2006 |
| Purpose of data | Baseline, Project and leakage emissions calculations |
| Additional comment | N/A |

| Data/parameter | Nrate(T) |
| --- | --- |
| Unit | kg N (1000 kg animal mass)-1 day-1 |
| Description | default N excretion rate |
| Source of data | IPCC 2006 table 10.19, chapter 10, volume 4 |
| Value(s) applied | Nrate(T) (Market swine) =0.42 Nrate(T)(Breeding swine) =0.24 |
| Choice of data or Measurement methods and procedures | Default value from IPCC 2006 is applied. |
| Purpose of data | NEXIPCC default calculations |
| Additional comment | N/A |

| Data/parameter | TAM |
| --- | --- |
| Unit | kg animal-1 |
| Description | typical animal mass for livestock category |
| Source of data | IPCC 2006 table 10A-7 and 10A-8, chapter 10, volume 4 |
| Value(s) applied | TAM (Market swine) =28 TAM (Breeding swine) =28 |
| Choice of data or Measurement methods and procedures | Default value from IPCC 2006 is applied. |
| Purpose of data | NEXIPCC default calculations |
| Additional comment | N/A |

| Data/parameter | Fgas MS,j,LT |
| --- | --- |
| Unit | Fraction |
| Description | Default values for nitrogen loss due to volatilisation of NH3 and NOX from manure management |
| Source of data | IPCC 2006 table 10.22, chapter 10, volume 4 |
| Value(s) applied | FgasMS,j,LT, (anaerobic lagoon) : 40% FgasMS,j,LT , (solid storage) : 45% |
| Choice of data or Measurement methods and procedures | Site specific data is unavailable therefore default values are opted for. |
| Purpose of data | Used in project/baseline emission calculations |
| Additional comment | N/A |

| Data/parameter | EFN2O,D,j |
| --- | --- |
| Unit | Kg N2O-N/kg N |
| Description | Direct N2O emission factor for the treatment system j of the manure management system |
| Source of data | IPCC 2006 table 10.21, chapter 10, volume 4 |
| Value(s) applied | EFN2O, D=0 for anaerobic lagoon and digester, EFN2O, D=0.01 for aerobic system |
| Choice of data or Measurement methods and procedures | Site specific data is unavailable therefore default values are opted for. |
| Purpose of data | Used in project/baseline emission calculations |
| Additional comment | N/A |

| Data/parameter | EFN2O,ID |
| --- | --- |
| Unit | kgN2O-N/kg NH3-N and NOX-N |
| Description | Indirect N2O emission factor for the treatment system j of the manure management system |
| Source of data | IPCC 2006 table 11.3, chapter 11, volume 4 |
| Value(s) applied | 0.01 |
| Choice of data or Measurement methods and procedures | Site specific data is unavailable therefore default values are opted for. |
| Purpose of data | Used in project/baseline emission calculations |
| Additional comment | N/A |

| Data/parameter | EFCH4,default |
| --- | --- |
| Unit | t CH4 leaked / t CH4 produced |
| Description | Default emission factor for the fraction of CH4 produced that leaks from the anaerobic digester (fraction) |
| Source of data | Tool 14:” Project and leakage emissions from anaerobic digesters (version02.0) |
| Value(s) applied | 0.05 |
| Choice of data or Measurement methods and procedures | UASB type digesters, floating gas holders with no external water seal |
| Purpose of data | Calculation of project emissions |
| Additional comment | PECH4,y for ex ante estimation adopted equation(4) of Methodological tool “ Project and leakage emissions from anaerobic digesters”. In this monitor period, the amount of biogas collected at the digester was monitored by flowmeters. |

| Data/parameter | RVS,n |
| --- | --- |
| Unit | Fraction |
| Description | Fraction of volatile solid degraded in AWMS treatment method n of the N treatment steps prior to waste being treated |
| Source of data | Refer to Appendix 1 of methodology ACM0010 and project evaluation report |
| Value(s) applied | RVS,n, aerobic treatment anaerobic digester: 2%,45% and 35% for leakage N2O emission released during project activity RVS,n, one cell lagoon :85% for leakage N2O emission released during baseline scenario |
| Choice of data or Measurement methods and procedures | For this project, values from Table provided in Appendix 1 of ACM0010 and Project evaluation report are compared in order to adopt the most conservative value for the given technology. |
| Purpose of data | project emission/ leakage calculation |
| Additional comment | N/A |

| Data/parameter | RN,n |
| --- | --- |
| Unit | Fraction |
| Description | Nitrogen reduction factor |
| Source of data | Refer to Appendix 1 of methodology ACM0010 |
| Value(s) applied | RN,n, project activity (anaerobic digester) : 0.25 RN,n, baseline (uncovered anaerobic lagoon) : 0.80 |
| Choice of data or Measurement methods and procedures | Anaerobic digester has been assumed as a covered first cell of two cell lagoon. Uncovered anaerobic lagoon has been assumed as one cell lagoon. The most conservative value for the given technology has been used. |
| Purpose of data | Calculation of leakage emission |
| Additional comment | N/A |

| Data/parameter | EF1, EF4, EF5 |
| --- | --- |
| Unit | kg N2O-N/kg N for EF1, EF5 and [kg N2O-N/(kg NH3-N and NOX-N) for EF4 |
| Description | Emission factor for N2O emissions from N inputs; from N leaching and runoff; from atmospheric deposition of N on soils and water surfaces |
| Source of data | IPCC 2006 Guidelines default values are be used, since country specific or region specific data are not available. EF1 from table 11.1, chapter 11, volume 4. EF4 and EF5 from table 11.3, chapter 11, volume 4 |
| Value(s) applied | EF1 = 0.010 EF4 =0.010 EF5 = 0.0075 |
| Choice of data or Measurement methods and procedures | Site specific data is unavailable therefore default values are opted for. |
| Purpose of data | Calculation of leakage emission |
| Additional comment | N/A |

| Data/parameter | Fgasm |
| --- | --- |
| Unit | Fraction |
| Description | Fraction of N lost due to volatilization |
| Source of data | Default values from table 11.3, chapter 11, volume 4 of IPCC 2006 guidelines |
| Value(s) applied | 0.2 |
| Choice of data or Measurement methods and procedures | Site specific data is unavailable therefore default values are opted for. |
| Purpose of data | Used in project/baseline emission calculations |
| Additional comment | N/A |

| Data/parameter | Fleach |
| --- | --- |
| Unit | Fraction |
| Description | Fraction of all N added to/mineralised in managed soils in regions where leaching/runoff occurs that is lost through leaching and runoff |
| Source of data | Default values from table 11.3, chapter 11, volume 4 of IPCC 2006 guidelines |
| Value(s) applied | 0.3 |
| Choice of data or Measurement methods and procedures | Site specific data is unavailable therefore default values are opted for. |
| Purpose of data | Calculation of leakage emission |
| Additional comment | N/A |

| Data/parameter | MCFd |
| --- | --- |
| Unit | - |
| Description | Methane conversion factor for leakage calculation |
| Source of data | Methodology ACM0010(version 08.0) |
| Value(s) applied | 1 |
| Choice of data or Measurement methods and procedures | According to paragraph 51 of the methodology ACM0010” GHG emission reductions from manure management systems (version08.0)”, Methane conversion factor for leakage calculation assumed to be equal 1 |
| Purpose of data | Calculation of leakage emission |
| Additional comment | N/A |

| Data/parameter | EFEF,j,y |
| --- | --- |
| Unit | tCO2/MWh |
| Description | Emission factor for electricity generation |
| Source of data | Published by Ministry of Ecology and Environment of the People's Republic of China, which is the DNA of China |
| Value(s) applied | 0.57205 |
| Choice of data or Measurement methods and procedures | According to tool” Baseline, project and/or leakage emissions from electricity consumption and monitoring of electricity generation” |
| Purpose of data | Calculation of project emission |
| Additional comment | N/A |

| Data/parameter | Ru |
| --- | --- |
| Unit | Pa.m3/kmol.K |
| Description | Universal ideal gases constant |
| Source of data | Tool 08:” Tool to determine the mass flow of a greenhouse gas in a gaseous stream (version 03.0)” |
| Value(s) applied | 8,314 |
| Choice of data or Measurement methods and procedures | Value is fixed as Tool 08 |
| Purpose of data | Calculation of project emission |
| Additional comment | / |

| Data/parameter | MMi |
| --- | --- |
| Unit | kg/kmol |
| Description | Molecular mass of greenhouse gas i |
| Source of data | Tool 08:” Tool to determine the mass flow of a greenhouse gas in a gaseous stream (version 03.0)” |
| Value(s) applied | 16.04 kg/mol for methane |
| Choice of data or Measurement methods and procedures | Value is fixed as Tool 08 |
| Purpose of data | Calculation of project emission |
| Additional comment | / |

| Data/parameter | ηflare,m |
| --- | --- |
| Unit | % |
| Description | Flare efficiency in minute m |
| Source of data | Tool 06” Project emissions from flaring (Version 03.0)” |
| Value(s) applied | 0% |
| Choice of data or Measurement methods and procedures | 0% is the conservative value. |
| Purpose of data | Calculation of project emission |
| Additional comment | / |

Data and parameters monitored

>>

SDG 13

| Data / Parameter | Np,LT |
| --- | --- |
| Unit | Number |
| Description | Number of animals of type LT produced annually for the year y |
| Source of data | Production record of market swine |
| Value(s) of monitored parameter | Period; Np,LT (head). 01/08/2021-31/08/2021; 74,115. 01/09/2021-30/09/2021; 75,251. 01/10/2021-31/10/2021; 75,808. 01/11/2021-30/11/2021; 75,981. 01/12/2021-31/12/2021; 75,549. 01/01/2022-31/01/2022; 87,217. 01/02/2022-28/02/2022; 86,569. 01/03/2022-31/03/2022; 91,778. 01/04/2022-30/04/2022; 90,179. 01/05/2022-31/05/2022; 88,863. 01/06/2022-30/06/2022; 89,242. 01/07/2022-31/07/2022; 89,315. 01/08/2021-31/07/2022; 999,867. |
| Measurement methods and procedures | To be collected for each swine population in all of the pig barns. The number of swine produced in the swine farm had been recorded manually by the responsible staff. Please refer to Section C of MR for more details. |
| Monitoring frequency | Monitored monthly. |
| QA/QC procedures | Archive electronically during project plus 5 years. |
| Purpose of data | Use for the calculation of NLT |
| Additional comment | According to the Equation 4 in PDD, the calculated NLT is 493,085 heads (999,867heads*180days/365days). Therefore, the 493,085 heads was applied in the calculations of emission reductions in MR. Np,LT has been crosschecked through the monthly sale records of 9 swine farms during this monitoring period and according to the monthly sale records of 9 swine farms, total 999,867heads of market swine is produced and sold into the market, which is consistent with the value from monthly production record of market swine. Therefore, Np,LT is reasonable and credible. |

| Data / Parameter | Nda,LT |
| --- | --- |
| Unit | Number |
| Description | Number of days animal of type LT is alive in the farm in the year y |
| Source of data | Production record of market swine |
| Value(s) of monitored parameter | Period; Nda,LT. 01/08/2021-31/10/2020; 180days. 01/11/2020-30/11/2020; 180days. 01/12/2020-31/12/2021; 180days. 01/01/2022-31/01/2021; 180days. 01/02/2021-28/02/2021; 180days. 01/03/2021-31/03/2021; 180days. 01/04/2021-30/04/2021; 180days. 01/05/2021-31/05/2021; 180days. 01/06/2021-30/06/2021; 180days. 01/07/2021-31/07/2022; 180days. 01/08/2021-31/07/2022; 180days. |
| Measurement methods and procedures | The days of swine alive in the farm was recorded manually by the responsible staff. |
| Monitoring frequency | Monitored monthly. |
| QA/QC procedures | Archive electronically during project plus 5 years. |
| Purpose of data | Use for the calculation of NLT |
| Additional comment | During this monitoring period, a certain number of market swine are slaughtered in each farm every month and the number of days market swine alive in the farm is 180days as per monthly production record of market swine. Also this parameter needs to be monitored every month, therefore, the number of days of the market swine alive in the farm is 180 day. The number of days the animal alive in the farm is crosschecked through the monthly sale records of 9 swine farms during this monitoring period. and it can be concluded that the data is consistent. In addition, this value is in line with the number of days for swine to be slaughtered by existing large-scale breeding groups in China. |

| Data / Parameter | NAA,LT |
| --- | --- |
| Unit | Number |
| Description | Daily stock of animals in the farm, discounting dead and discarded animals |
| Source of data | Breeding swine stock record |
| Value(s) of monitored parameter | Period; NAA,LT (head). 01/08/2021-31/10/2020; 61,851. 01/09/2021-30/09/2021; 62,024. 01/10/2021-31/10/2021; 61,862. 01/11/2021-30/11/2021; 61,689. 01/12/2021-31/12/2021; 62,110. 01/01/2022-31/01/2022; 61,890. 01/02/2022-28/02/2022; 61,749. 01/03/2022-31/03/2022; 61,756. 01/04/2022-30/04/2022; 62,036. 01/05/2022-31/05/2022; 62,008. 01/06/2022-30/06/2022; 61,761. 01/07/2022-31/07/2022; 61,968. 01/08/2021-31/07/2022(Average); 61,892. |
| Measurement methods and procedures | Monitored daily through the auto tracking devices of electronic ear tag and the data can be obtained from DCS. The technicians in farms record the daily stock number of animals, and this record data including the new imported animal and discounting dead and discharge animals. Archive electronically during project plus 5 years Please see the Section C of MR for details. |
| Monitoring frequency | daily |
| QA/QC procedures | The system on monitoring the number of livestock population was described in the PDD. |
| Purpose of data | Use for the calculation of baseline/project emission and leakage |
| Additional comment | The system on monitoring the daily stock of breeding swine in the farm was descried in Section C of MR. |

| Data / Parameter | Wsite |
| --- | --- |
| Unit | kg |
| Description | Average animal weight of a defined livestock population at the project site |
| Source of data | Weight record table |
| Value(s) of monitored parameter | Period; Market swine; Breeding swine. 01/08/2021-31/08/2021; 70.0; 81.0. 01/09/2021-30/09/2021; 69.1; 82.3. 01/10/2021-31/10/2021; 70.1; 81.8. 01/11/2021-30/11/2021; 69.1; 80.3. 01/12/2021-31/12/2021; 69.2; 81.9. 01/01/2022-31/01/2022; 68.9; 80.9. 01/02/2022-28/02/2022; 68.6; 79.5. 01/03/2022-31/03/2022; 68.9; 78.3. 01/04/2022-30/04/2022; 68.5; 79.7. 01/05/2022-31/05/2022; 68.6; 80.2. 01/06/2022-30/06/2022; 67.9; 81.5. 01/07/2022-31/07/2022; 69.9; 79.9. 01/08/2021-31/07/2022(Average); 69.07; 80.6. |
| Measurement methods and procedures | Measured by the weight measurers and record by the technical staff in each farm monthly Please refer to Section D.4 of the MR for more details. |
| Monitoring frequency | monthly |
| QA/QC procedures | As describe in registered PDD, there are 9 subsidiary farms involved in the project, of which, 8 fatting farms that only including market swine and 1 breeding farms that only including breeding swine. The three age categories are classified according to the age in days of each kind of swine. For marketing swine, Nursery phase with 30-60days, Growing phase with 60-130days and Mature phase with 130-180days, while for breeding swine, Nursery phase with 30-70days, Growing phase with 70-220days and Mature phase with 220-310days. So, the sampling method is Stratified random sampling. The sample size and the specific sampling methods are followed as registered PDD and described as below during this monitoring period. - the overall sample size based on the actual population of pigs in stock firstly is calculated. - As the project involved 9 swine farms, then the sample size in each swine farm is determined based on the proportion of the number of each farm in the total number of 9 farms. - Similarly, the sample size of each age group of Market swine and Breeding swine in a farm is also calculated based on the proportion of the number of each age group of Market swine and Breeding swine to the total number of swine in the farm. - After the sample size in each age group of Market swine and Breeding swine of each swine farm determined, the sample is conducted in every swine farm. Since swine in different age are kept in the different pig houses, samples can be randomly selected from pig houses of this age group. - After the samples are selected, the weight is measured in each farm monthly by weight measurers and recorded in the weight record table. - The sample will be marked after weighting and if the sample swine is still drawn next month, then this sample swine needs to be discarded and a new sample swine is drawn. This will be done every month until the end of the monitoring period. Weight measurers were calibrated on 14/08/2020 and 06/08/2021 by an officially accredited entity in compliance with JJG539-2016 “Verification Regulation of Digital Indicating Weighting Instruments” in China. Please refer to Section C of the MR for more details. |
| Purpose of data | Used for estimating VSLT,y |
| Additional comment | Please see section D.4 for detail about sampling. |

| Data/parameter | ndy |
| --- | --- |
| Unit | number |
| Description | Number of days treatment plant was operational in year y. |
| Source of data | Daily operation report |
| Value(s) of monitored parameter | The actual number of days 9 treatment plant in each farm that was operational are 365 days during this monitoring periods Period; ndy(days). 01/08/2021-31/08/2021; 31. 01/09/2021-30/09/2021; 30. 01/10/2021-31/10/2021; 31. 01/11/2021-30/11/2021; 30. 01/12/2021-31/12/2021; 31. 01/01/2022-31/01/2022; 31. 01/02/2022-28/02/2022; 28. 01/03/2022-31/03/2022; 31. 01/04/2022-30/04/2022; 30. 01/05/2022-31/05/2022; 31. 01/06/2022-30/06/2022; 30. 01/07/2022-31/07/2022; 31. 01/08/2021-31/07/2022; 365. |
| Measurement methods and procedures | The staff in each manure treatment plant record the number of operation days daily and then record the total monthly number of operation days in end of each month through monthly operation report. |
| Monitoring frequency | Daily |
| QA/QC procedures | The accumulated meter reading of flowmeters installed in the outlet of anaerobic digesters in each farm daily can be demonstrated that the AWMSs are actually running on a daily basis. The 9 treatment plants are operational every day during this monitoring period according to the actual daily reading of flowmeters installed in the outlet of anaerobic digesters in each farm. |
| Purpose of data | Calculation of Baseline emissions |
| Additional comment | ndy is the number of days treatment plants was operational. As the anaerobic fermentation is the main process of the treatment process for the project, so the operating days of the anaerobic tank in each farm can be considered as the operating days of the treatment plant. as long as the anaerobic tank is running, biogas will be generated, so the period of biogas generation monitored by the flow meter is the operating days of the treatment plant. Therefore, each farm was operational for 365 days and there was no breakdown/ non –operational day at any of the farms according to the daily meter reading of flowmeter installed in the outlet of anaerobic digesters in each farm. |

| Data/parameter | ECPJ,j,y |
| --- | --- |
| Unit | MWh |
| Description | Quantity of electricity consumed by the proposed project in year y |
| Source of data | Daily operation report |
| Value(s) of monitored parameter | Period; ECPJ,j,y (MWh). 01/08/2021-31/08/2021; 275.5092. 01/09/2021-30/09/2021; 266.8860. 01/10/2021-31/10/2021; 276.0528. 01/11/2021-30/11/2021; 267.4128. 01/12/2021-31/12/2021; 276.6036. 01/01/2022-31/01/2022; 276.8724. 01/02/2022-28/02/2022; 250.3236. 01/03/2022-31/03/2022; 277.4184. 01/04/2022-30/04/2022; 268.7328. 01/05/2022-31/05/2022; 277.9608. 01/06/2022-30/06/2022; 269.2620. 01/07/2022-31/07/2022; 278.5068. 01/08/2021-31/07/2022; 3,261.5412. |
| Measurement methods and procedures | Use electricity meter 2 installed in the 9 manure treatment plants. The readout records of electricity meter have been recorded at 24:00 of every day by the staff during the monitoring period. The daily electricity consumption is equal to the difference between the previous day's and the next day's readings. Monthly value is the sum of the daily electricity consumption. The electricity generated by the project was used firstly for the operation of AWMSs normally, only when the biogas generators were not operation, the electricity consumption of AWMSs were sourced from the grid company. |
| Monitoring frequency | Continuous measurement and daily recording |
| QA/QC procedures | Total 9 electricity meters were calibrated on 19/09/2020 by an officially accredited entity in compliance with JJG596-2012” Electrical Meters for Measuring Alternating-current Electrical Energy” in China. The electricity sourced from the grid company was cross-checked with the grid statement, and the value is consistent. Please refer to Section C of the MR for more details. |
| Purpose of data | Calculation of project emissions |
| Additional comment | N/A |

| Data/parameter | TDLj,y |
| --- | --- |
| Unit | % |
| Description | Average technical transmission and distribution losses for providing electricity to source j in year y |
| Source of data | tool” Baseline, project and/or leakage emissions from electricity consumption and monitoring of electricity generation” |
| Value(s) of monitored parameter | 20 |
| Measurement methods and procedures | If the generator set is in a shutdown state or the electricity is insufficient for the operation of AWMSs, then the electricity consumption shall be from the power grid. Scenario A: Electricity consumption from the grid is applied to the project. During this monitoring period, all the electricity consumed by the project is comes from the electricity generated by the biogas generated from the anaerobic fermentation process of the project, therefore TDLj,y is not applicable. |
| Monitoring frequency | The value can be changed once the tool is updated. |
| QA/QC procedures | Default value of 20% is applied, which is the maximum value as per Methodology tool 05 Version 03.0 and conservative |
| Purpose of data | Calculation of project emission |
| Additional comment | N/A |

| Data / Parameter | FAer |
| --- | --- |
| Unit | Fraction |
| Description | Fraction of volatile solids directed to aerobic treatment |
| Source of data | PDD |
| Value(s) of monitored parameter | 100% |
| Measurement methods and procedures | As this parameter is not monitored in the actual operation. So, in the monitoring period, to be conservative, the value of this parameter in the emission reduction calculation is 100%. |
| Monitoring frequency | Annually |
| QA/QC procedures | Value of FAer is applied as 100%, which is conservative. |
| Purpose of data | Calculation of project emission |
| Additional comment | FAer is used for calculation of project emission. All the manure and wastewater are collected and then be taken into anaerobic digestion for treatment. After anaerobic fermentation, the fermentation liquid is separated by solid and liquid, and the biogas residue is used to produce solid organic fertilizer. The biogas slurry is used as liquid organic fertilizer to irrigate the crops. Therefore, there is only a part of the manure that be treated through aerobic AWMS treatment. Fraction of volatile solids directed to aerobic treatment (FAer) was determined by the VS concentration and the quantity of manure entering into aerobic treatment. Therefore FAer can not exceed to 100%. So, 100% is applied for FAer during the monitoring period for calculation of project emission, which is the maximum value and also more conservative. |

| Data/parameter | MS%j |
| --- | --- |
| Unit | Fraction |
| Description | Fraction of manure handled in system j in project activity |
| Source of data | PDD |
| Value(s) of monitored parameter | 100%. As this parameter is not monitored during this monitoring period. so, to be conservative, the value of this parameter in the emission reduction calculation is 100%. |
| Measurement methods and procedures | All the manure flew into AWMSs to be treated, therefore, value of 100% is applied. |
| Monitoring frequency | Annually |
| QA/QC procedures | All the manure flew into AWMSs to be treated; no any manure will be discharged outside. Therefore, the value of this parameter is 100%. |
| Purpose of data | Calculation of project emissions |
| Additional comment | MS%j is used for calculation of project emission. However, MS%j is not monitored during this monitoring period. since all manure and wastewater produced by the involved swine farms was sent into AWMSs to be handled and no any manure discharged outside that is prohibited. And the treatment process of the project is an anaerobic-aerobic combined treatment technology, main including anaerobic fermentation, and aerobic composting. Therefore 100% is applied for MS%j in different treatment system during the monitoring period, which is the maximum value and also more conservative. |

| Data/parameter | vf |
| --- | --- |
| Unit | m3 |
| Description | Biogas flow |
| Source of data | Daily operation record |
| Value(s) of monitored parameter | Period; Vf- at outlet of the anaerobic digestion (m3); Vf- at the inlet of generator (m3); Vf- in inlet of flare system (m3). 01/08/2021-31/08/2021; 4,436,483.24; 4,369,935.99; 0.00. 01/09/2021-30/09/2021; 4,295,143.28; 4,231,145.65; 0.00. 01/10/2021-31/10/2021; 4,437,468.61; 4,371,794.07; 0.00. 01/11/2021-30/11/2021; 4,293,419.45; 4,230,306.20; 0.00. 01/12/2021-31/12/2021; 4,440,349.09; 4,375,519.98; 0.00. 01/01/2022-31/01/2022; 4,439,038.80; 4,374,672.74; 0.00. 01/02/2022-28/02/2022; 4,008,840.50; 3,950,764.43; 0.00. 01/03/2022-31/03/2022; 4,438,864.14; 4,374,562.75; 0.00. 01/04/2022-30/04/2022; 4,298,276.62; 4,236,016.09; 0.00. 01/05/2022-31/05/2022; 4,441,777.71; 4,377,443.01; 0.00. 01/06/2022-30/06/2022; 4,297,015.66; 4,234,781.98; 0.00. 01/07/2022-31/07/2022; 4,442,355.62; 4,378,021.43; 0.00. 01/08/2021-31/07/2022; 52,269,032.72; 51,504,964.32; 0.00. |
| Measurement methods and procedures | Monitored continuously, record hourly and saved automatically in the Data Collection System (DCS). The data can be obtained from this system and the monthly data was exported by the staff at the beginning of next month and then recorded in daily operation record. |
| Monitoring frequency | Continuously measured by flow meter 1, flowmeter 2 and flowmeter 3 |
| QA/QC procedures | Total 27 flow meters were calibrated on 17/09/2020 by an officially accredited entity in compliance with JJG1029-2007” Verification Regulation of Vortex-shedding Flowmeter” in China. Please refer to Section C of the MR for more details. |
| Purpose of data | Calculation of project emission |
| Additional comment | For this monitoring period, all the biogas produced is used for power generation, no surplus biogas for the flaring system. |

| Data/parameter | Vt,db |
| --- | --- |
| Unit | m³ dry gas/h |
| Description | Volumetric flow of the gaseous stream in time interval t on a dry basis |
| Source of data | Daily operation record |
| Value(s) of monitored parameter | Swine farm; average (m³ dry gas/h) during 2nd MP. Denglong; 920.24. Fenghuang; 841.56. Litian; 661.65. Jinchuan; 662.01. Tanqiu; 578.70. Zhouhu; 750.07. Xingan; 540.46. Qiqin; 346.65. Caolu; 665.44. |
| Measurement methods and procedures | Monitored continuously, record hourly and saved automatically in the Data Collection System (DCS). The data can be obtained from this system and the monthly data was exported by the staff at the beginning of next month and then recorded in daily operation record. Daily biogas flow is equal to the cumulative value of 24 hours, and monthly biogas flow can be accumulated on daily basis. |
| Monitoring frequency | Continuous measurement |
| QA/QC procedures | Total 27 flow meters were calibrated on 17/09/2020 by an officially accredited entity in compliance with JJG1029-2007” Verification Regulation of Vortex-shedding Flowmeter” in China. Please refer to Section C of the MR for more details. |
| Purpose of data | Calculation of project emissions |
| Additional comment | N/A |

| Data/parameter | Vi,t,db |
| --- | --- |
| Unit | m³ gas i/m³ dry gas |
| Description | Volumetric fraction of greenhouse gas i in a time interval t on a dry basis |
| Source of data | Daily operation record |
| Value(s) of monitored parameter | period; Average CH4 Concentration. 01/08/2021-31/08/2021; 62.20%. 01/09/2021-30/09/2021; 62.65%. 01/10/2021-31/10/2021; 61.12%. 01/11/2021-30/11/2021; 62.95%. 01/12/2021-31/12/2021; 62.21%. 01/01/2022-31/01/2022; 61.57%. 01/02/2022-28/02/2022; 62.13%. 01/03/2022-31/03/2022; 61.98%. 01/04/2022-30/04/2022; 62.16%. 01/05/2022-31/05/2022; 62.91%. 01/06/2022-30/06/2022; 63.22%. 01/07/2022-31/07/2022; 61.74%. |
| Measurement methods and procedures | Measured continuously and record hourly by online gas analysers installed at the outlet of the anaerobic digesters and saved automatically in the DCS (Data Collection System). The data can be obtained from this system and the monthly data was exported by the staff at the beginning of next month and then recorded in daily operation record. Daily and Monthly CH4 concentration was calculated based on the 24-hour average and daily average CH4 concentration. |
| Monitoring frequency | Continuous measurement |
| QA/QC procedures | All the gas analysers were calibrated on 11/09/2020 and 27/08/2021 by an officially accredited entity in compliance with JJG693-2011” Verification Regulation of Alarmer Detectors of Combustible Gas” in China. And the zero verification with an inert gas (N2) and one reading verification with a standard gas (single calibration gas) are implemented in the process of calibration, which is in accordance with JJG693-2011. All calibration gases are from Nanjing Changyuan Industrial Gas Co.Ltd, which is a qualified reference materials manufacturer issued by the General Administration of Quality Supervision, Inspection and Quarantine of the People's Republic of China on 06/09/2017. Please refer to Section C of the MR for more details. |
| Purpose of data | Calculation of project emissions |
| Additional comment | N/A |

| Data/parameter | Tt |
| --- | --- |
| Unit | K |
| Description | Temperature of the gaseous stream in time interval t |
| Source of data | Daily operation record |
| Value(s) of monitored parameter | period; Average Temperature(K). 01/08/2021-31/08/2021; 310.95. 01/09/2021-30/09/2021; 310.65. 01/10/2021-31/10/2021; 310.35. 01/11/2021-30/11/2021; 309.95. 01/12/2021-31/12/2021; 310.15. 01/01/2022-31/01/2022; 310.05. 01/02/2022-28/02/2022; 310.25. 01/03/2022-31/03/2022; 309.85. 01/04/2022-30/04/2022; 310.55. 01/05/2022-31/05/2022; 310.75. 01/06/2022-30/06/2022; 310.65. 01/07/2022-31/07/2022; 311.05. |
| Measurement methods and procedures | Measured continuously by the biogas flow meters, since the flowmeters can monitor other parameter such as Vt,db, Tt and Pt simultaneously. And record hourly and saved automatically in the DCS system. The readout of flowmeter was indicated degrees Celsius (°C). Therefore, the temperature Tt(K) is calculated as the equation T(K)=t(°C) +273.15 The data can be obtained from this system and the monthly data was exported by the staff at the beginning of next month and then recorded in daily operation record. Daily and Monthly temperature was calculated based on the 24-hour average and daily average temperature. |
| Monitoring frequency | Continuous measurement |
| QA/QC procedures | Total 27 flow meters were calibrated on 17/09/2020 by an officially accredited entity in compliance with JJG1029-2007” Verification Regulation of Vortex-shedding Flowmeter” in China. Please refer to Section C of the MR for more details. |
| Purpose of data | Calculation of project emissions |
| Additional comment | N/A |

| Data/parameter | Pt |
| --- | --- |
| Unit | Pa |
| Description | Pressure of the gaseous stream in time interval t |
| Source of data | Daily operation record |
| Value(s) of monitored parameter | period; Average Pressure. 01/08/2021-31/08/2021; 101.325kpa. 01/09/2021-30/09/2021; 101.325kpa. 01/10/2021-31/10/2021; 101.325kpa. 01/11/2021-30/11/2021; 101.325kpa. 01/12/2021-31/12/2021; 101.325kpa. 01/01/2022-31/01/2022; 101.325kpa. 01/02/2022-28/02/2022; 101.325kpa. 01/03/2022-31/03/2022; 101.325kpa. 01/04/2022-30/04/2022; 101.325kpa. 01/05/2022-31/05/2022; 101.325kpa. 01/06/2022-30/06/2022; 101.325kpa. 01/07/2022-31/07/2022; 101.325kpa. |
| Measurement methods and procedures | Measured continuously by the biogas flow meters since the flowmeters can monitor other parameter such as Vt,db, Tt and Pt simultaneously. And record hourly and saved automatically in the DCS system. The data can be obtained from this system and the monthly data was exported by the staff at the beginning of next month and then recorded in daily operation record. Daily and Monthly pressure was calculated based on the 24-hour average and daily average pressure. |
| Monitoring frequency | Continuous measurement |
| QA/QC procedures | Total 27 flow meters were calibrated on 17/09/2020 by an officially accredited entity in compliance with JJG1029-2007” Verification Regulation of Vortex-shedding Flowmeter” in China. Please refer to Section C of the MR for more details. |
| Purpose of data | Calculation of project emissions |
| Additional comment | N/A |

| Data/parameter | ρi,t |
| --- | --- |
| Unit | kg gas i/m³ gas i |
| Description | Density of greenhouse gas i in the gaseous stream in time interval t |
| Source of data | Calculated |
| Value(s) of monitored parameter | Period; ρi,t. 01/08/2021-31/08/2021; 0.00063 t/m3. 01/09/2021-30/09/2021; 0.00063 t/m3. 01/10/2021-31/10/2021; 0.00063 t/m3. 01/11/2021-30/11/2021; 0.00063 t/m3. 01/12/2021-31/12/2021; 0.00063 t/m3. 01/01/2022-31/01/2022; 0.00063 t/m3. 01/02/2022-28/02/2022; 0.00063 t/m3. 01/03/2022-31/03/2022; 0.00063 t/m3. 01/04/2022-30/04/2022; 0.00063 t/m3. 01/05/2022-31/05/2022; 0.00063 t/m3. 01/06/2022-30/06/2022; 0.00063 t/m3. 01/07/2022-31/07/2022; 0.00063 t/m3. |
| Measurement methods and procedures | Calculated based on temperature of the gaseous stream in time interval t and pressure of the gaseous stream in time interval t. |
| Monitoring frequency | Pressure and temperature are measured continuously by the biogas flow meters |
| QA/QC procedures | Calculated value according to the pressure and temperature |
| Purpose of data | Calculation of project emissions |
| Additional comment | NA |

| Data/parameter | B0, LT |
| --- | --- |
| Unit | m3CH4/kg -dm |
| Description | Maximum methane producing potential of the volatile solid generated by animal type LT |
| Source of data | IPCC 2006 table 10A-7 and 10A-8, chapter 10, volume 4 |
| Value(s) applied | B0, LT (Market swine) =0.29 B0, LT (Breeding swine) =0.29 |
| Measurement methods and procedures | B0, LT can be measured as per ISO 11734:1995. As this parameter is not monitored in the actual operation. so, in the monitoring period 0.29 m3CH4/kg -dm is still applied. While the actual methane producing potential of the volatile solid generated by swine manure is 479.4ml/g VS according to the public literature,which is higher. Therefore 0.29 m3CH4/kg -dm applied in monitoring period is conservative. |
| Monitoring frequency | Annually |
| QA/QC procedures | The value is taken from published sources. The parameter value should be updated on latest available public data source. |
| Purpose of data | Used in project emission/baseline calculations |
| Additional comment | B0, LT is not monitored during this MR since the value is taken from IPCC 2006. The parameter value will be updated on latest available public data source. Till now, “2019 refinement to the 2006 IPCC guidelines” is the latest version. However, the value from IPCC 2006 is still used for B0, LT , which is in accordance with page 10.64 of 2019 refinement to the 2006 IPCC guidelines. |

| Data/parameter | Type |
| --- | --- |
| Unit | / |
| Description | Type of barn and AWMS |
| Source of data | Project proponent |
| Value(s) applied | NA |
| Measurement methods and procedures | The swine barn and AWMS layout and configuration are collected. Archive electronically during project plus 5 years. |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | After the first verification, only changes in the type of barn and AWMS will be reported. |
| Purpose of data | Confirm whether the implementation of project as design |
| Additional comment | Swine barn and AWMS layout and configuration. |

| Data/parameter | T |
| --- | --- |
| Unit | °C |
| Description | Annual average ambient temperature at project site |
| Source of data | Ji'an Meteorological Bureau |
| Value(s) applied | Time; T (°C); Time; T (°C). Aug.2021; 27.4; Feb.2022; 10.1. Sep.2021; 24.3; Mar.2022; 13.8. Oct.2021; 19.1; Apr.2022; 18.2. Nov.2021; 13.5; May.2022; 22.4. Dec.2021; 7.6; Jun.2022; 27.6. Jan.2022; 7.0; Jul.2022; 29.2. Average ambient temperature in this monitoring period-Calculated (°C); 18.3. Average ambient temperature in PDD (°C); 18.5. Data used in this monitoring period; 18.3. |
| Measurement methods and procedures | Data Sourced from Ji'an Meteorological Bureau In this monitoring Period, the average ambient temperature at Ji’an Meteorological Observatory nearby project site is 18.3°C, the Annual average ambient temperature at project site in PDD is 18.5°C, so the applied annual average ambient temperature at project site is 18.3, and the MCF should be applied 77%. |
| Monitoring frequency | monthly |
| QA/QC procedures | Cross-Check with the Annual average ambient temperature at project site from public website monthly (http://www.tianqihoubao.com/qihou/jian.htm). |
| Purpose of data | Used to select the annual MCF from IPCC 2006 Guidelines |
| Additional comment | NA |

SDG 8

| Data / Parameter | Number of males and females employed by the project |
| --- | --- |
| Unit | Number |
| Description | Jobs created for both men and women. |
| Source of data | Record keeping book and labor contract |
| Value(s) of monitored parameter | 18 jobs are created including 9 males and 9 females |
| Measurement methods and procedures | Source of data was record keeping book and cross checked by the labor contracts. |
| Monitoring frequency | Once for each monitoring period. |
| QA/QC procedures | After the first verification, only changes in employees will be reported. For this monitoring period, there is no change for employees. The results shall be cross checked with training records of employees. |
| Purpose of data | To demonstrate contribution to SDG 8. |
| Additional comment | N/A |

| Data / Parameter | Average monthly salary |
| --- | --- |
| Unit | RMB/person |
| Description | This parameter states the payment conditions of the people employed within the project. Equal pay for work of equal value regardless of gender. |
| Source of data | Payroll |
| Value(s) of monitored parameter | 5,000 RMB/person with equal salaries for men and women in the same post. |
| Measurement methods and procedures | The average monthly salary will be determined by the Payroll and cross checked by the labor contract. |
| Monitoring frequency | Once for each monitoring period. |
| QA/QC procedures | The results shall be also cross checked with labor contracts. After checking the average salary of Ji’an City though official website( http://tjj.jiangxi.gov.cn/art/2022/6/2/art_38582_3982696.html ), the average annual wage of employed persons in urban private enterprise of Ji’an City in 2021 is RMB 50,147/year i.e. 4,179 RMB/month, it can prove that the salary that employees obtained monthly is higher than the local average. |
| Purpose of data | To demonstrate contribution to SDG 8. |
| Additional comment | N/A |

SDG 7

| Data / Parameter | EGd,y |
| --- | --- |
| Unit | MWh |
| Description | Quantity of electricity generation by capturing biogas |
| Source of data | Daily operation report |
| Value(s) of monitored parameter | Period; EGd,y(MWh). 01/08/2021-31/08/2021; 5,396.26. 01/09/2021-30/09/2021; 5,186.24. 01/10/2021-31/10/2021; 5,295.75. 01/11/2021-30/11/2021; 5,115.36. 01/12/2021-31/12/2021; 5,390.53. 01/01/2022-31/01/2022; 5,463.32. 01/02/2022-28/02/2022; 5,034.84. 01/03/2022-31/03/2022; 5,760.61. 01/04/2022-30/04/2022; 5,649.40. 01/05/2022-31/05/2022; 5,837.73. 01/06/2022-30/06/2022; 5,505.84. 01/07/2022-31/07/2022; 5,618.55. 01/08/2021-31/07/2022; 65,254.42. |
| Measurement methods and procedures | Use electricity meters 1 installed at the outlet of generator. The readout records of electricity meter have been recorded at 24:00 of every day by the staff during the monitoring period. The daily electricity generation is equal to the difference between the previous day's and the next day's readings. Monthly value is the sum of the daily electricity generation. |
| Monitoring frequency | Continuous measurement and daily recording |
| QA/QC procedures | Total 9 meters were calibrated on 17/09/2020 by an officially accredited entity in compliance with JJG596-2012” Electrical Meters for Measuring Alternating-current Electrical Energy” in China. Please refer to Section C of the MR for more details. |
| Purpose of data | To demonstrate contribution to SDG 7. |
| Additional comment | N/A |

Mitigation Measure for Safeguarding Principles

| Data / Parameter | Employee Training of biogas safety operation |
| --- | --- |
| Unit | / |
| Description | Employees was trained on the safety operation of the biogas |
| Source of data | Training notice |
| Value(s) of monitored parameter | Training for the biogas safety operation was held on 25/08/2021 |
| Measurement methods and procedures | Training once a year The training content includes basic biogas knowledge, Operating condition control, operating procedure, patrol inspection, Operation management and failure process. All 18 staff in manure treatment plants and 9 technicians from these 9 swine farms attended this training. All staff strictly follow the operation procedures in the process of operation and there are no safety accidents occurred during this monitoring period. Therefore, the training is effective. |
| Monitoring frequency | once a year |
| QA/QC procedures | Attendance list can be proved that the training is held. |
| Purpose of data | To demonstrate Mitigation Measure for Safeguarding Principles |
| Additional comment | N/A |

Comparison of monitored parameters with last monitoring period

There are 22 parameters that need to be monitored, the monitoring results in this monitoring period and last monitoring period are as follows:

| Data/Parameter | Value obtained in 1st monitoring period | Value obtained in 2nd monitoring period |
| --- | --- | --- |
| Np,LT | Period; Np,LT (head). 01/10/2020-31/10/2020; 95,759. 01/11/2020-30/11/2020; 94,785. 01/12/2020-31/12/2020; 93,808. 01/01/2021-31/01/2021; 92,828. 01/02/2021-28/02/2021; 91,855. 01/03/2021-31/03/2021; 90,881. 01/04/2021-30/04/2021; 93,611. 01/05/2021-31/05/2021; 89,914. 01/06/2021-30/06/2021; 92,437. 01/07/2021-31/07/2021; 90,782. | Period; Np,LT (head). 01/08/2021-31/08/2021; 74,115. 01/09/2021-30/09/2021; 75,251. 01/10/2021-31/10/2021; 75,808. 01/11/2021-30/11/2021; 75,981. 01/12/2021-31/12/2021; 75,549. 01/01/2022-31/01/2022; 87,217. 01/02/2022-28/02/2022; 86,569. 01/03/2022-31/03/2022; 91,778. 01/04/2022-30/04/2022; 90,179. 01/05/2022-31/05/2022; 88,863. 01/06/2022-30/06/2022; 89,242. 01/07/2022-31/07/2022; 89,315. |
| Nda,LT | 180days | 180days |
| NAA,LT | Period; NAA,LT (head). 01/10/2020-31/10/2020; 55,432. 01/11/2020-30/11/2020; 55,258. 01/12/2020-31/12/2020; 55,216. 01/01/2021-31/01/2021; 55,469. 01/02/2021-28/02/2021; 55,358. 01/03/2021-31/03/2021; 55,575. 01/04/2021-30/04/2021; 55,438. 01/05/2021-31/05/2021; 55,227. 01/06/2021-30/06/2021; 55,463. 01/07/2021-31/07/2021; 55,454. | Period; NAA,LT (head). 01/08/2021-31/08/2021; 61,851. 01/09/2021-30/09/2021; 62,024. 01/10/2021-31/10/2021; 61,862. 01/11/2021-30/11/2021; 61,689. 01/12/2021-31/12/2021; 62,110. 01/01/2022-31/01/2022; 61,890. 01/02/2022-28/02/2022; 61,749. 01/03/2022-31/03/2022; 61,756. 01/04/2022-30/04/2022; 62,036. 01/05/2022-31/05/2022; 62,008. 01/06/2022-30/06/2022; 61,761. 01/07/2022-31/07/2022; 61,968. |
| Wsite | Period; Market swine; Breeding swine. 01/10/2020-31/10/2020; 72.1; 79.5. 01/11/2020-30/11/2020; 71.5; 81.6. 01/12/2020-31/12/2020; 72.0; 78.3. 01/01/2021-31/01/2021; 71.6; 80.1. 01/02/2021-28/02/2021; 71.8; 77.2. 01/03/2021-31/03/2021; 72.4; 81.6. 01/04/2021-30/04/2021; 70.9; 78.9. 01/05/2021-31/05/2021; 71.1; 82.3. 01/06/2021-30/06/2021; 70.9; 79.0. 01/07/2021-31/07/2021; 71.3; 82.2. | Period; Market swine; Breeding swine. 01/08/2021-31/08/2021; 70.0; 81.0. 01/09/2021-30/09/2021; 69.1; 82.3. 01/10/2021-31/10/2021; 70.1; 81.8. 01/11/2021-30/11/2021; 69.1; 80.3. 01/12/2021-31/12/2021; 69.2; 81.9. 01/01/2022-31/01/2022; 68.9; 80.9. 01/02/2022-28/02/2022; 68.6; 79.5. 01/03/2022-31/03/2022; 68.9; 78.3. 01/04/2022-30/04/2022; 68.5; 79.7. 01/05/2022-31/05/2022; 68.6; 80.2. 01/06/2022-30/06/2022; 67.9; 81.5. 01/07/2022-31/07/2022; 69.9; 79.9. |
| ndy | Period; ndy(days). 01/10/2020-31/10/2020; 31. 01/11/2020-30/11/2020; 30. 01/12/2020-31/12/2020; 31. 01/01/2021-31/01/2021; 31. 01/02/2021-28/02/2021; 28. 01/03/2021-31/03/2021; 31. 01/04/2021-30/04/2021; 30. 01/05/2021-31/05/2021; 31. 01/06/2021-30/06/2021; 30. 01/07/2021-31/07/2021; 31. | Period; ndy(days). 01/08/2021-31/08/2021; 31. 01/09/2021-30/09/2021; 30. 01/10/2021-31/10/2021; 31. 01/11/2021-30/11/2021; 30. 01/12/2021-31/12/2021; 31. 01/01/2022-31/01/2022; 31. 01/02/2022-28/02/2022; 28. 01/03/2022-31/03/2022; 31. 01/04/2022-30/04/2022; 30. 01/05/2022-31/05/2022; 31. 01/06/2022-30/06/2022; 30. 01/07/2022-31/07/2022; 31. |
| ECPJ,j,y | Period; ECPJ,j,y (MWh). 01/10/2020-31/10/2020; 183.6. 01/11/2020-30/11/2020; 236.05. 01/12/2020-31/12/2020; 249.17. 01/01/2021-31/01/2021; 236.05. 01/02/2021-28/02/2021; 170.48. 01/03/2021-31/03/2021; 196.71. 01/04/2021-30/04/2021; 170.48. 01/05/2021-31/05/2021; 118.03. 01/06/2021-30/06/2021; 65.57. 01/07/2021-31/07/2021; 52.46. | Period; ECPJ,j,y (MWh). 01/08/2021-31/08/2021; 275.5092. 01/09/2021-30/09/2021; 266.8860. 01/10/2021-31/10/2021; 276.0528. 01/11/2021-30/11/2021; 267.4128. 01/12/2021-31/12/2021; 276.6036. 01/01/2022-31/01/2022; 276.8724. 01/02/2022-28/02/2022; 250.3236. 01/03/2022-31/03/2022; 277.4184. 01/04/2022-30/04/2022; 268.7328. 01/05/2022-31/05/2022; 277.9608. 01/06/2022-30/06/2022; 269.2620. 01/07/2022-31/07/2022; 278.5068. |
| TDLj,y | 20% | 20% |
| FAer | 100% | 100% |
| MS%j | 100%,46%,54% | 100% |
| vf | Period; Vf- at outlet of the anaerobic digestion (m3); Vf- at the inlet of generator (m3); Vf- in inlet of flare system (m3). 1/10/2020-31/10/2020; 4,193,604.00; 4,151,667.81; 0.00. 01/11/2020-30/11/2020; 4,056,949.80; 4,016,380.41; 0.00. 01/12/2020-31/12/2020; 4,191,836.40; 4,149,918.01; 0.00. 01/01/2021-31/01/2021; 4,193,907.00; 4,151,967.50; 0.00. 01/02/2021-28/02/2021; 3,787,224.60; 3,749,352.32; 0.00. 01/03/2021-31/03/2021; 4,194,774.60; 4,152,826.92; 0.00. 01/04/2021-30/04/2021; 4,058,375.40; 4,017,791.30; 0.00. 01/05/2021-31/05/2021; 4,191,926.40; 4,150,006.79; 0.00. 01/06/2021-30/06/2021; 4,058,573.40; 4,017,987.98; 0.00. 01/07/2021-31/07/2021; 4,193,784.60; 4,151,846.91s; 0.00. | Period; Vf- at outlet of the anaerobic digestion (m3); Vf- at the inlet of generator (m3); Vf- in inlet of flare system (m3). 01/08/2021-31/08/2021; 4,436,483.24; 4,369,935.99; 0.00. 01/09/2021-30/09/2021; 4,295,143.28; 4,231,145.65; 0.00. 01/10/2021-31/10/2021; 4,437,468.61; 4,371,794.07; 0.00. 01/11/2021-30/11/2021; 4,293,419.45; 4,230,306.20; 0.00. 01/12/2021-31/12/2021; 4,440,349.09; 4,375,519.98; 0.00. 01/01/2022-31/01/2022; 4,439,038.80; 4,374,672.74; 0.00. 01/02/2022-28/02/2022; 4,008,840.50; 3,950,764.43; 0.00. 01/03/2022-31/03/2022; 4,438,864.14; 4,374,562.75; 0.00. 01/04/2022-30/04/2022; 4,298,276.62; 4,236,016.09; 0.00. 01/05/2022-31/05/2022; 4,441,777.71; 4,377,443.01; 0.00. 01/06/2022-30/06/2022; 4,297,015.66; 4,234,781.98; 0.00. 01/07/2022-31/07/2022; 4,442,355.62; 4,378,021.43; 0.00. |
| Vt,db | Swine farm; average (m³ dry gas/h) during 1st MP. Denglong; 861.33. Fenghuang; 801.93. Litian; 629.78. Jinchuan; 629.41. Tanqiu; 552.83. Zhouhu; 715.55. Xingan; 511.53. Qiqin; 324.45. Caolu; 609.75. | Swine farm; average (m³ dry gas/h) during 2nd MP. Denglong; 920.24. Fenghuang; 841.56. Litian; 661.65. Jinchuan; 662.01. Tanqiu; 578.70. Zhouhu; 750.07. Xingan; 540.46. Qiqin; 346.65. Caolu; 665.44. |
| Vi,t,db | Period; Average CH4 Concentration. 01/10/2020-31/10/2020; 62.37%. 01/11/2020-30/11/2020; 62.35%. 01/12/2020-31/12/2020; 62.47%. 01/01/2021-31/01/2021; 63.28%. 01/02/2021-28/02/2021; 63.58%. 01/03/2021-31/03/2021; 62.09%. 01/04/2021-30/04/2021; 62.57%. 01/05/2021-31/05/2021; 63.02%. 01/06/2021-30/06/2021; 61.48%. 01/07/2021-31/07/2021; 63.32%. | Period; Average CH4 Concentration. 01/08/2021-31/08/2021; 62.20%. 01/09/2021-30/09/2021; 62.65%. 01/10/2021-31/10/2021; 61.12%. 01/11/2021-30/11/2021; 62.95%. 01/12/2021-31/12/2021; 62.21%. 01/01/2022-31/01/2022; 61.57%. 01/02/2022-28/02/2022; 62.13%. 01/03/2022-31/03/2022; 61.98%. 01/04/2022-30/04/2022; 62.16%. 01/05/2022-31/05/2022; 62.91%. 01/06/2022-30/06/2022; 63.22%. 01/07/2022-31/07/2022; 61.74%. |
| Tt | Period; Average Temperature(K). 01/10/2020-31/10/2020; 310.05 k. 01/11/2020-30/11/2020; 310.45 k. 01/12/2020-31/12/2020; 310.95 k. 01/01/2021-31/01/2021; 311.05 k. 01/02/2021-28/02/2021; 309.85 k. 01/03/2021-31/03/2021; 310.65 k. 01/04/2021-30/04/2021; 310.95 k. 01/05/2021-31/05/2021; 311.05 k. 01/06/2021-30/06/2021; 309.55 k. 01/07/2021-31/07/2021; 310.35 k. | Period; Average Temperature(K). 01/08/2021-31/08/2021; 310.95. 01/09/2021-30/09/2021; 310.65. 01/10/2021-31/10/2021; 310.35. 01/11/2021-30/11/2021; 309.95. 01/12/2021-31/12/2021; 310.15. 01/01/2022-31/01/2022; 310.05. 01/02/2022-28/02/2022; 310.25. 01/03/2022-31/03/2022; 309.85. 01/04/2022-30/04/2022; 310.55. 01/05/2022-31/05/2022; 310.75. 01/06/2022-30/06/2022; 310.65. 01/07/2022-31/07/2022; 311.05. |
| Pt | 101.325K | 101.325K |
| ρi,t | 0.00063 t/m3 | 0.00063 t/m3 |
| B0, LT | B0, LT (Market swine) =0.29 B0, LT (Breeding swine) =0.29 | B0, LT (Market swine) =0.29 B0, LT (Breeding swine) =0.29 |
| Type | N/A. T The type of barn and AWMS was not changed as the design during 1st MP. | N/A. The type of barn and AWMS was not changed as the design during 2nd MP. |
| T | Time; T (°C); Time; T (°C). Oct-2020; 19.5; Mar-2021; 15.5. Nov-2020; 16.0; Apr-2021; 17.5. Dec-2020; 8.0; May-2021; 23.0. Jan-2021; 8.5; Jun-2021; 28.0. Feb-2021; 13.5; Jul-2021; 31.0. | Time; T (°C); Time; T (°C). Aug.2021; 27.4; Feb.2022; 10.1. Sep.2021; 24.3; Mar.2022; 13.8. Oct.2021; 19.1; Apr.2022; 18.2. Nov.2021; 13.5; May.2022; 22.4. Dec.2021; 7.6; Jun.2022; 27.6. Jan.2022; 7.0; Jul.2022; 29.2. |
| Number of males and females employed by the project | 18 jobs created including 9 females and 9 males | 18 jobs created including 9 females and 9 males |
| Average monthly salary | 5,000 RMB/person with equal salaries for men and women | 5,000 RMB/person with equal salaries for men and women |
| EGd,y | Period; EGd,y(MWh). 01/10/2020-31/10/2020; 4,587.12. 01/11/2020-30/11/2020; 4,504.79. 01/12/2020-31/12/2020; 4,716.19. 01/01/2021-31/01/2021; 4,784.07. 01/02/2021-28/02/2021; 4,409.32. 01/03/2021-31/03/2021; 4,917.95. 01/04/2021-30/04/2021; 4,948.13. 01/05/2021-31/05/2021; 5,176.22. 01/06/2021-30/06/2021; 4,885.87. 01/07/2021-31/07/2021; 4,983.43. | Period; EGd,y(MWh). 01/08/2021-31/08/2021; 5,396.26. 01/09/2021-30/09/2021; 5,186.24. 01/10/2021-31/10/2021; 5,295.75. 01/11/2021-30/11/2021; 5,115.36. 01/12/2021-31/12/2021; 5,390.53. 01/01/2022-31/01/2022; 5,463.32. 01/02/2022-28/02/2022; 5,034.84. 01/03/2022-31/03/2022; 5,760.61. 01/04/2022-30/04/2022; 5,649.40. 01/05/2022-31/05/2022; 5,837.73. 01/06/2022-30/06/2022; 5,505.84. 01/07/2022-31/07/2022; 5,618.55. |
| Employee Training of biogas safety operation | Training for the biogas safety operation was held on 03/09/2020. | Training for the biogas safety operation was held on 25/08/2021. |

Comparing to the previous monitoring period, the number of market swine and breeding swine is slightly higher, which causes the increasing of biogas and electricity generation. The values of other parameters were the same or remained basically stable compared to the first monitoring period.

Implementation of sampling plan

>>

According to the PDD, the sample size will be recalculated due to the number of swine is changed during the monitoring period. During this monitoring period, the sampling is implemented according to the stratified sampling method for the monitoring of Wsite described in Section C of MR. The detailed steps are as following:

- the overall sample size based on the actual population of pigs in stock firstly is calculated.

- As the project involved 9 swine farms (including 8 fattening farms and 1 breeding farms), then the sample size in each swine farm is adjusted based on the proportion of the number of each farm in the total number of 9 farms.

- Similarly, the sample size of each age group of Market swine and Breeding swine in a farm is also calculated based on the proportion of the number of each age group of Market swine and Breeding swine to the total number of swine in two kinds of farms.

- After the sample size in each age group of Market swine and Breeding swine of each swine farm determined, the sample is conducted in every swine farm. Since swine in different age are kept in the different pig houses, samples can be randomly selected from pig houses of this age group.

- After the samples are selected, the weight is measured in each farm monthly by weight measurers and recorded in the weight record table.

- The sample will be marked after weighting and if the sample swine is still drawn next month, then this sample swine needs to be discarded and a new sample swine is drawn, this will be done every month until the end of the monitoring period.

Step 1 overall sample size calculation

According to “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)”, the desired confidence level is 95% and the desired precision is 10%. According to statistical principles and sampling survey method, 423 samples should be sufficient to satisfy the desired confidence and precision. For mean value sampling, the required sampling quantity is calculated by the following steps:

n2= n1N/(N+n1)

n3=Bn2

n4= n3/r

n= n4 (110%)

Where:

Z    the Z-statistic and the value taken is 1.96 (corresponding to 95% confidence level);

σ   the standard deviation;

d   the maximum error of estimate;

X   the mean value of samples;

V   the coefficient of variation, V= σ/X≤1 and its maximum value 1 is taken;

e   the allowed relative sampling error (“precision”) and the value taken is 10%

N   the total number of swine population 554,977;

B   the survey design effect and the B value taken is 1 because for stratification sampling the B value is less than or equal to 1;

r    the survey reply rate and the value taken is 100%;

110%  10% contingency was added to produce the final sample size;

n1, n2, n3, n4, n  the adjusted values after each step with n being the final number of samples to be taken. Actually, n4 is the required number of samples based on calculation, 10% contingency was added to n4 to produce n in this sampling.

| Z | V | e | N | B | r |
| --- | --- | --- | --- | --- | --- |
| 1.96 | 1 | 10% | 554,977 | 1 | 100% |
| n1 | Z2V2/e2 | 384 |  |  |  |
| n2 | n1N/(N+n1) | 384 |  |  |  |
| n3 | Bn2 | 384 |  |  |  |
| n4 | n3/r | 384 |  |  |  |
| n | n4 (110%) | 423 |  |  |  |

Step 2 adjust sample size based on the proportion of the number of each farm in the total number of 9 farms

Stratified sampling (with samples of 423) was used for the monitoring of Wsite. However, the samples number in the ten subsidiary farms is decimals according to proportion of the number of each farm in the total number of 9 farms. To be conservative, both the samples number of the ten subsidiary farms is adjusted to be integer value.  As a result, 428 samples of swine population were selected within the project boundary using Excel to ensure conservation.

The distribution of the samples in each swine farm shows as follow:

| NO. | Swine farm | Sample number |
| --- | --- | --- |
| 1 | Denglong | 66 |
| 2 | Fenghuang | 60 |
| 3 | Litian | 47 |
| 4 | Jinchuan | 47 |
| 5 | Tanqiu | 42 |
| 6 | Zhouhu | 54 |
| 7 | Xingan | 39 |
| 8 | Qiqin | 25 |
| 9 | Caolu | 48 |
| Total |  | 428 |

Step 3 Determine sample size based on the proportion of the number of each age group of Market swine and Breeding swine to the total number of swine in two kinds of farms.

According to the methodology ACM0010, each defined livestock population should be classified into a minimum of three age categories. Nursery phase, Growing phase and Mature phase in fattening farms and breeding farms was selected through the proportion of swine population in three age categories during this monitoring period. At the same time, to be conservative, both the samples number of the three age categories is adjusted to be integer value.

In conclusion, 442 samples of swine population are fixed and the distribution of the samples for three age categories in each swine farm shows as follow:

| NO. | Swine farm | Sample number | Nursery phase | Growing phase | Mature phase |
| --- | --- | --- | --- | --- | --- |
| 1 | Denglong | 67 | 22 | 23 | 22 |
| 2 | Fenghuang | 62 | 20 | 22 | 20 |
| 3 | Litian | 48 | 15 | 16 | 17 |
| 4 | Jinchuan | 49 | 15 | 17 | 17 |
| 5 | Tanqiu | 44 | 14 | 15 | 15 |
| 6 | Zhouhu | 55 | 20 | 18 | 17 |
| 7 | Xingan | 40 | 15 | 14 | 11 |
| 8 | Qiqin | 27 | 10 | 8 | 9 |
| 9 | Caolu | 50 | 15 | 17 | 18 |
| Total |  | 442 | 146 | 150 | 146 |

Step 4 sampling and measure

After the sample size in each age group of Market swine and Breeding swine of each swine farm determined, the sample and measure are conducted in every swine farm. Since swine in different age are kept in the different pig houses, samples can be randomly selected from pig houses of this age group. After the samples are selected, the weight is measured in each farm monthly by weight measurers and recorded in the weight record table. If the same sample is taken the following month, then a new sample will be taken. This will be done every month until the end of the monitoring period.

For this monitoring period, the sample size is determined at the beginning of the monitoring period, then samples are selected randomly from pig houses of this age group by the technicians in the swine farms and then be measured by weight measures in the middle of each month. At the same time, the measured value is recorded in the weight record table by the technicians in the swine farms.

At last, monthly average Wsite of market swine and breeding swine was calculated based on Wsite of all market swine sample and breeding swine sample.

All of the sample size will be changed at the beginning of the next monitoring period during the credit periods according to the actual population of pigs in stock, a new round of sampling will be conducted as this sampling method.

The Monitoring Team implemented the sampling investigation strictly follow the guidance. The monitoring data will be collected throughout the entire crediting period of the project.

According to Standard: Sampling and surveys of CDM project activities and programmes of activities (Version 09.0), confidence/precision have been calculated and checked as follows:

1. The stratified estimated overall mean

(1)

The sample estimate of the overall mean operation hour is calculated with the equation below:

mStrat=i=akgiN×mi

Where:

mStrat  The stratified estimated overall mean

gi  Size of the ith district where i=a,…,k

N  Population total (554,977)

mi  Mean of the ith district where i=a,…,k

2. The standard error of the stratified estimated overall mean

(2)

The standard error of the stratified estimated overall mean is calculated as follows:

s.e.mStrat=i=ak(giN)2×(1-nigi)×SDi2ni

Where:

s.e.(mStrat) Standard error of the stratified estimated overall mean

gi  Size of the ith district where i=a,…,k

N  Population total (554,977)

ni  Number of sampled units the ith district where i=a,…,k

SDi2  Variance of the ith district where i=a,…,k

3. t-value

t-value is depending on:

(i) The level of confidence, and

(ii) The size of the sample.

The t-value associated with 95% confidence and the sample size of 442 is 1.9653 as derived in Microsoft Excel using the TINV function.

4. Precision

The precision associated with an estimate is:

t-value × standard error of the mean

5. Calculation results

For Wsite, according to “Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)”, the desired confidence level is 95% and the desired precision is 10%. According to statistical principles and sampling survey method, 442 samples should be sufficient to satisfy the desired confidence and precision.

The calculation results are shown below. For more details of these calculations, please refer to the ER calculation spread sheet.

| Period | t-value | mStrat | s.e.(mStrat) | Precision | Relative Precision |
| --- | --- | --- | --- | --- | --- |
| 01/08/2021-31/08/2021 | 1.9653 | 70.64 | 1.2698 | 2.4955 | 3.53% |
| 01/09/2021-30/09/2021 | 1.9653 | 69.92 | 1.2807 | 2.5170 | 3.60% |
| 01/10/2021-31/10/2021 | 1.9653 | 70.95 | 1.3099 | 2.5744 | 3.63% |
| 01/11/2021-30/11/2021 | 1.9653 | 70.21 | 1.2780 | 2.5118 | 3.58% |
| 01/12/2021-31/12/2021 | 1.9653 | 70.56 | 1.2884 | 2.5322 | 3.59% |
| 01/01/2022-31/01/2022 | 1.9653 | 69.64 | 1.2789 | 2.5135 | 3.61% |
| 01/02/2022-28/02/2022 | 1.9653 | 70.06 | 1.2602 | 2.4767 | 3.54% |
| 01/03/2022-31/03/2022 | 1.9653 | 70.39 | 1.2576 | 2.4717 | 3.51% |
| 01/04/2022-30/04/2022 | 1.9653 | 69.72 | 1.2810 | 2.5175 | 3.61% |
| 01/05/2022-31/05/2022 | 1.9653 | 69.74 | 1.2762 | 2.5082 | 3.60% |
| 01/06/2022-30/06/2022 | 1.9653 | 69.94 | 1.2707 | 2.4973 | 3.57% |
| 01/07/2022-31/07/2022 | 1.9653 | 70.53 | 1.2961 | 2.5473 | 3.61% |

In conclusion, the 442 samples are sufficient to satisfy the desired confidence and precision.

- CALCULATION OF SDG IMPACTS

Calculation of baseline value or estimation of baseline situation of each SDG Impact

>>

SDG 7 Impact of baseline situation

From 01/08/2021 to 31/12/2021, 0 MWh of electricity can be generated through capturing biogas without the project activity.

From 01/01/2022 to 31/07/2022, 0 MWh of electricity can be generated through capturing biogas Without the project activity.

Without the project activity, 0 MWh of electricity can be generated through capturing biogas during the 2nd monitoring period from 01/08/2021 to 31/07/2022.

SDG 8 Impact of baseline situation

From 01/08/2021 to 31/12/2021, SDG 8 baseline impact was 0 job created and 0 monthly earning got without the project activity.

From 01/01/2022 to 31/07/2022, SDG 8 baseline impact was 0 job created and 0 monthly earning got without the project activity.

Without the project activity, SDG 8 baseline impact was 0 job created and 0 monthly earning got during the 2nd monitoring period from 01/08/2021 to 31/07/2022.

SDG 13 Impact of baseline situation

As per section B.6 of the PDD, baseline emissions in year y (BEy) can be calculated as follows,

Baseline emissions are：

BEy=BECH4,y+BEN2O,y+BEelecheat,y         (Equation 1)

where:

| BEy | Baseline emissions in year y (t CO2/yr) |
| --- | --- |
| BECH4, y | Baseline CH4 emissions in year y (t CO2/yr) |
| BEN2O, y | Baseline N2O emissions in year y (t CO2/yr) |
| BEelec/heat,y | Baseline CO2 emissions from electricity and/or heat used in the baseline (t CO2/yr) |

i) Baseline CH4 emissions (BECH4, y)

BECH4,y=GWPCH4*DCH4*j,LT(MCFj*B0,LT*NLT*VSLT,y*MS%Bl,j)    (Equation 2)

where:

| BECH4, y | Baseline CH4 emissions in year y (t CO2/yr) |
| --- | --- |
| GWPCH4 | Global Warming Potential (GWP) of CH4 (t CO2e/t CH4) |
| DCH4 | Density of CH4 (t/m3). 0.00067t/m3 at room temperature(20℃)and 1am pressure. |
| MCFj | Annual methane conversion factor (MCF) for the baseline AWMSj. IPCC 2006, table 10.17, chapter 10,volume 4. |
| B0,LT | Maximum methane producing potential of the volatile solid generated by animal type LT (m3CH4/kg -dm) |
| NLT | Annual average number of animals of type LT for the year y (number) |
| VSLT,y | Annual volatile solid excretions for livestock LT entering all AWMS on a dry matter weight basis (kg -dm/animal/yr) |
| MS%Bl,j | Fraction of manure handled in system j in the baseline. In this project, the baseline manure management system is uncovered anaerobic lagoon only. The amount of manure handled by the anaerobic lagoon is 100%. MS%Bl,j =100% |
| LT | Type of livestock |
| j | Type of treatment system |

Estimation of various variables and parameters for above equations:

(A) As per PDD, VSLT,y shall be determined in following way.

VSLT,y=WsiteWdefault*VSdefault*ndy                      (Equation 3)

where:

| VSLT,y | Annual volatile solid excretions for livestock LT entering all AWMS on a dry matter weight basis (kg -dm/animal/yr) |
| --- | --- |
| Wsite | Average animal weight of a defined livestock population at the project site (kg) |
| Wdefault | Default average animal weight of a defined population (kg) |
| VSdefault | Default value for the volatile solid excretion per day on a dry-matter basis for a defined livestock population (kg-dm/animal/day) |
| ndy | Number of days treatment plant was operational in year y |

(B)Annual average number of animals of type LT (NLT) shall be determined in one of the following ways, presented in order of preference

Option 1:

NLT=Nda,LT*Np,LT365          (Equation 4)

where:

| NLT | Annual average number of animals of type LT for the year y (number) |
| --- | --- |
| Nda,LT | Number of days animal of type LT is alive in the farm in the year y (number) |
| Np,LT | Number of animals of type LT produced annually for the year y (number) |

Option 2:

If the project developer can monitor in a reliable and traceable way the daily stock of animals in the farm, discounting dead animals and animals discarded from the productive process from the daily stock, then the annual average number of animals (NLT) may be calculated as follows:

NLT=1365NAA,LT365     (Equation 5)

where:

| NLT | Annual average number of animals of type LT for the year y (number) |
| --- | --- |
| NAA,LT | Daily stock of animals of type LT in the farm, discounting dead and discarded animals (number) |

There are two types of swine in this project, i.e., Market swine and Breeding swine. For Market swine, since there is no way to trace the daily stock, so the Option 1 is adopted to calculate NLT for Market swine. For Breeding swine, the PP can monitor the daily stock of breeding swine in a reliable way, discounting dead breeding swine and discarded them from the productive process from the daily stock. So, the Option 2 is adopted to calculate NLT for Breeding swine.

(C) Maximum methane producing potential(B0,LT)

According to applied methodology ACM0010(Version 08.0), this value varies by species and diet. Default values are used, and they are taken from tables 10A-4 through 10A-9 (IPCC 2006 Guidelines for National Greenhouse Gas Inventories volume 4, chapter10).

The proposed project is located in Ji’an city, Jiangxi Province, China, Asia. According to Table 10A-7 and 10A-8 of IPCC 2006 Guidelines for National Greenhouse Gas Inventories volume 4, chapter10, the maximum methane producing potential(B0,LT) for Market swine and Breeding swine in Asia region is 0.29 m3 CH4/kg VS.

(D) Annual methane conversion factor (MCFj) for the baseline AWMSj

(a)The MCFj values given in table 10.17, chapter 10, volume 4, IPCC 2006 Guidelines should be used. MCFj values depend on the annual average temperature where the anaerobic manure treatment facility in the baseline existed. For this project, the annual average temperature is 18.5℃ and the value of 77% is applied.

(b)A conservativeness factor should be applied by multiplying MCFj values (estimated as per above bullet) with a value of 0.94, to account for the 20% uncertainty in the MCFj values as reported by IPCC 2006.

ii)Baseline N2O emissions (BEN2O,y)

BEN2O,y=GWPN2O*CFN2O-N,N*11000*（EN2O,D,y+EN2O,ID,y）        (Equation 6)

where：

| BEN2O,y | Annual baseline N2O emissions in (t CO2e/yr) |
| --- | --- |
| GWPN2O | Global Warming Potential (GWP) for N2O (t CO2e/tN2O) |
| CFN2O-N,N | Conversion factor N2O-N to N2O (44/28) |
| EN2O,D,y | Direct N2O emission in year y (kg N2O-N/year) |
| EN2O,ID,y | Indirect N2O emission in year y (kg N2O-N/year) |

EN2O,D,y=j,LTEFN2O,D,j*NEXLT,y*NLT*MS%Bl,j              (Equation 7)

where：

| EN2O,D,y | Direct N2O emission in year y (kg N2O-N/yr) |
| --- | --- |
| EFN2O,D,j | Direct N2O emission factor for the treatment system j of the manure management system (kg N2O-N/kg N).(Estimated with site-specific, regional or national data if such data is available, otherwise use default EF3 from table 10.21, chapter 10, volume 4, in the IPCC 2006 Guidelines for National Greenhouse Gas Inventories). The site-specific, regional or national data are not available, so this project activity adopts default EF3. |
| NEXLT,y | Annual average nitrogen excretion per head of a defined livestock population (kg N/animal/yr) estimated as described in appendix 2 |
| MS%Bl,j | Fraction of manure handled in system j (fraction) |
| NLT | Annual Average number of animals of type LT for the year y estimated as per equation (4) or (5) (number) |

EN2O,ID,y=j,LTEFN2O,ID*FgasMS,j,LT*NEXLT,y*NLT*MS%Bl,j                   (Equation 8)

where:

| EN2O,ID,y | Indirect N2O emission in year y (kg N2O-N/year) |
| --- | --- |
| EFN2O,ID | Indirect N2O emission factor for N2O emissions from atmospheric deposition of nitrogen on soils and water surfaces (kgN2O-N/kg NH3-N and NOX-N). (Estimated with site-specific, regional or national data if such data is available. Otherwise, default values for EF4 from table 11.3, chapter 11, volume 4 of IPCC 2006 Guidelines for National Greenhouse Gas Inventories can be used). The site-specific, regional or national data are not available, so this project activity adopts default EF4. |
| NEXLT,y | Annual average nitrogen excretion per head of a defined livestock population (kg N/animal/yr) estimated as described in appendix 2 |
| MS%Bl,j | Fraction of manure handled in system j (fraction) |
| FgasMS,j,LT | Default values for nitrogen loss due to volatilisation of NH3 and NOX from manure management (fraction) |
| NLT | Annual Average number of animals of type LT for the year y estimated as per equation (4) or (5) (number) |

Estimation of various variables and parameters for above equations:

(A) As per PDD, the procedure for estimating NEXLT,y  in following way:

In the absence of availability of project specific information on protein intake, which should be justified in the CDM-PDD, national or regional data should be used for the nitrogen excretion NEXLT,y, if available. In the absence of such data, default values from Table 10.19 of the IPCC 2006, volume 4, chapter 10) may be used and should be corrected for the animal weight at the project site in the following way:

NEXLT,y=WsiteWdefault*NEXIPCC default                     (Equation 9)

where:

| NEXLT,y | Annual average nitrogen excretion per head of a defined livestock population (kg N/animal/yr) |
| --- | --- |
| Wsite | Average animal weight of a defined livestock population at the project site (kg) |
| Wdefault | Default average animal weight of a defined population (kg) |
| NEX IPCC default | Default value for the nitrogen excretion per head of a defined livestock population (kg N/animal/year) |

NEXIPCC default=NrateT*TAM1000*365                (Equation 10)

where:

| Nrate(T) | the default N excretion rate, kg N/ (1000 kg animal mass)/ day, Table 10.19, chapter 10, volume 4 of IPCC 2006 Guidelines |
| --- | --- |
| TAM | Typical animal mass for livestock in kg/animal |

iii) Baseline CO2 emission from electricity and/or heat used in the baseline

BEelecheat,y=BEEC,y+BEHG,y              (Equation 11)

where:

| BEelec/heat,y | Baseline CO2 emissions from electricity and/or heat used in the baseline (t CO2/yr) |
| --- | --- |
| BEEC,y | Baseline emissions associated with electricity generation in year y (t CO2/yr) |
| BEHG,y | Baseline emissions associated with heat generation in year y (t CO2/yr) |

As described in PDD, the baseline scenario of this project is uncovered anaerobic lagoon, and no heat used in the baseline, only minor electricity is used, so the emission can be excluded for simplification. In addition, the biogas generated during the treatment process in this project will be captured for power generation and all the electricity generated from this project is used by the AWMS and 9 swine farms. The electricity generated is connected to another user or to the regional power grid. So, the baseline CO2 emission from electricity and/or heat used in the baseline is 0, which is conservative.

Table 8 Basic parameter

| Time | NLT | NAA | Wsite (kg) |  | VSLT,y (kg-dm/ animal/year) |  | ndy(day) | NEXIPCC (kg N/animal/year) |  | NEXLT,y (kg N/animal/year) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Market swine | Breeding swine | Market swine | Breeding swine | Market swine | Breeding swine |  | Market swine | Breeding swine | Market swine | Breeding swine |
| 01/08/2021-31/08/2021 | 493,085 | 61,851 | 70.0 | 81.0 | 23.25 | 26.90 | 31 | 0.36 | 0.21 | 0.91 | 0.60 |
| 01/09/2021-30/09/2021 | 493,085 | 62,024 | 69.1 | 82.3 | 22.20 | 26.45 | 30 | 0.35 | 0.20 | 0.87 | 0.59 |
| 01/10/2021-31/10/2021 | 493,085 | 61,862 | 70.1 | 81.8 | 23.27 | 27.17 | 31 | 0.36 | 0.21 | 0.91 | 0.61 |
| 01/11/2021-30/11/2021 | 493,085 | 61,689 | 69.1 | 80.3 | 22.20 | 25.81 | 30 | 0.35 | 0.20 | 0.87 | 0.58 |
| 01/12/2021-31/12/2021 | 493,085 | 62,110 | 69.2 | 81.9 | 22.98 | 27.20 | 31 | 0.36 | 0.21 | 0.90 | 0.61 |
| 01/01/2022-31/01/2022 | 493,085 | 61,890 | 68.9 | 80.9 | 22.90 | 26.87 | 31 | 0.36 | 0.21 | 0.90 | 0.60 |
| 01/02/2022-28/02/2022 | 493,085 | 61,749 | 68.6 | 79.5 | 20.58 | 23.85 | 28 | 0.33 | 0.19 | 0.81 | 0.53 |
| 01/03/2022-31/03/2022 | 493,085 | 61,756 | 68.9 | 78.3 | 22.88 | 26.01 | 31 | 0.36 | 0.21 | 0.90 | 0.58 |
| 01/04/2022-30/04/2022 | 493,085 | 62,036 | 68.5 | 79.7 | 22.03 | 25.62 | 30 | 0.35 | 0.20 | 0.86 | 0.57 |
| 01/05/2022-31/05/2022 | 493,085 | 62,008 | 68.6 | 80.2 | 22.79 | 26.64 | 31 | 0.36 | 0.21 | 0.89 | 0.60 |
| 01/06/2022-30/06/2022 | 493,085 | 61,761 | 67.9 | 81.5 | 21.82 | 26.20 | 30 | 0.35 | 0.20 | 0.86 | 0.59 |
| 01/07/2022-31/07/2022 | 493,085 | 61,968 | 69.9 | 79.9 | 23.23 | 26.54 | 31 | 0.36 | 0.21 | 0.91 | 0.59 |

Table 9 The calculation result of BECH4,y

| Parameter | Value |  | Unit |
| --- | --- | --- | --- |
| species | Market Swine | Breeding Swine |  |
| GWPCH4 | 28 | 28 | tCO2/tCH4 |
| DCH4 | 0.00067 | 0.00067 | t/m3 |
| MCFj | 77% | 77% | % |
| Conservative Factor | 0.94 | 0.94 | / |
| MCF with cons. Factor | 0.7238 | 0.7238 | / |
| B0,LT | 0.29 | 0.29 | m3 CH4 /kg_dm |
| NLT | Refer to Table 8 |  |  |
| Wsite | Refer to Table 8 |  |  |
| Wdefault | 28 | 28 | kg |
| VSdefault | 0.3 | 0.3 | Kg-dm/animal/day |
| VSLT,y | Refer to Table 8 |  |  |
| MS%Bl,j | 100% | 100% | % |
| ndy | Refer to Table 8 |  |  |
| 01/08/2021-31/12/2021 | 253,730 |  | tCO2e |
| 01/01/2022-31/07/2022 | 347,641 |  | tCO2e |
| BECH4,y | 601,371 |  | tCO2e |

Table 10 The calculation result of BEN2O,y

| Parameter | Value |  | Unit |
| --- | --- | --- | --- |
| species | Market Swine | Breeding Swine |  |
| EFN2O,D,j | 0 | 0 | kg N2O-N/kg N |
| EFN2O,ID,j | 0.01 | 0.01 | kg N2O-N/kg N |
| Nrate(T) | 0.42 | 0.24 | kg N/1000kg animal mass/day |
| NEXIPCC default | Refer to Table 8 |  |  |
| Wsite | Refer to Table 8 |  |  |
| TAM | 28.00 | 28.00 | kg |
| Wdefault | 28 | 28 | kg |
| NEXLT,y | Refer to Table 8 |  |  |
| NLT | Refer to Table 8 |  |  |
| MS%Bl,j | 100% | 100% | / |
| Fgasm | 40% | 40% | / |
| GWPN2O | 298/265 | 298/265 | tCO2/t N2O |
| CFN20,N-N | 1.57 | 1.57 | Conversion Factor N2O-N to N2O |
| 01/08/2021-31/12/2021 | 3,976 |  | tCO2e |
| 01/01/2022-31/07/2022 | 5,449 |  | tCO2e |
| BEN2O,y | 9,425 |  | tCO2e |

Table 11 The calculation results of baseline emissions for SDG 13

| Period | BECH4,y(tCO2e) | BEN2O,y(tCO2e) | BEy(tCO2e) |
| --- | --- | --- | --- |
| 01/08/2021-31/12/2021 | 253,730 | 3,976 | 257,706 |
| 01/01/2022-31/07/2022 | 347,641 | 5,449 | 353,090 |
| 2nd monitoring period | 601,371 | 9,425 | 610,796 |

Total SDG 13 baseline impact (baseline emissions) of the 2nd monitoring period was 610,796 tCO2e.

Calculation of project value or estimation of project situation of each SDG Impact

>>

SDG 7 Impact of project situation

From 01/08/2021 to 31/12/2021, 26,384.14MWh of electricity was generated through capturing biogas.

From 01/01/2022 to 31/07/2022, 38,870.28MWh of electricity was generated through capturing biogas.

For the 2nd monitoring period from 01/08/2021 to 31/07/2022, total 65,254.42MWh of electricity was generated through capturing biogas.

SDG 8 Impact of project situation

From 01/08/2021 to 31/12/2021, 18 jobs for local people were created (including 9 females and 9 males), the average monthly earnings of employees were 5,000 RMB/person. Equal salaries were paid for men and women in the same position.

From 01/01/2022 to 31/07/2022, 18 jobs for local people were created (including 9 females and 9 males), the average monthly earnings of employees were 5,000 RMB/person. Equal salaries were paid for men and women in the same position.

For the 2nd monitoring period from 01/08/2021 to 31/07/2022, 18 jobs for local people were created (including 9 females and 9 males), the average monthly earnings of employees were 5,000 RMB/person. Equal salaries were paid for men and women in the same position.

SDG 13 Impact of project situation

As per section B.6 of the PDD, project emissions can be calculated as follows,

PEy=PEAD,y+PEAer,y+PEN2O,y+PEECFC,y            (Equation 12)

where：

| PEy | Project emissions in year y |
| --- | --- |
| PEAD,y | Project emissions associated with the anaerobic digester in year y (t CO2e/yr) |
| PEAer,y | Project CH4 emissions from aerobic AWMS treatment (t CO2e/yr) |
| PEN2O,y | Project N2O emissions in year y (t CO2/yr) |
| PEEC/FC,y | Project emissions from electricity consumption and fossil fuel combustion (t CO2e/yr) |

i) Project emissions associated with the anaerobic digester in year y (PEAD,y)

Based on the methodology ACM0010” GHG emission reductions from manure management systems (Version 08.0)”. PEAD,y is determined using the methodological tool “Project and leakage emissions from anaerobic digesters”.

According to the TOOL14” Project and leakage emissions from anaerobic digesters (Version 02.0)”, the project emissions associated with the anaerobic digester (PEAD,y) are determined as follows:

PEAD,y=PEEC,y+PEFC,y+PECH4,y+PEflare,y              (Equation 13)

where:

| PEAD,y | Project emissions associated with the anaerobic digester in year y (t CO2e) |
| --- | --- |
| PEEC,y | Project emissions from electricity consumption associated with the anaerobic digester in year y (t CO2e) |
| PEFC,y | Project emissions from fossil fuel consumption associated with the anaerobic digester in year y (t CO2e) |
| PECH4, y | Project emissions of methane from the anaerobic digester in year y (t CO2e) |
| PEflare,y | Project emissions from flaring of biogas in year y (t CO2e) |

The biogas generated during the treatment process in this project will be captured for power generation and all the electricity generated from this project will be used by the AWMSs and 9 swine farms. The electricity generated will not be connected to another user or the regional power grid. As the electricity consumption of the anaerobic digestion system cannot be measured separately from the entire AWMSs, so the Project emissions from electricity consumption associated with the anaerobic digester and that is not related to the anaerobic digester is calculated together.

The project emissions from electricity consumption calculated according to the “Baseline, project and/or leakage emissions from electricity consumption and monitoring of electricity generation”,

PEEC,y=j,LTECPJ,J,y*EFEF,j,y*(1+TDLj,y)              (Equation 14)

Where

| PEEC,y | Project emissions from electricity consumption in year y (t CO2e) |
| --- | --- |
| ECPJ,J,y | Quantity of electricity consumed by the project electricity consumption source j in year y (MWh/yr) |
| EFEF,j, y | Emission factor for electricity generation for source j in year y (t CO2/MWh) |
| TDLj,y | Average technical transmission and distribution losses for providing electricity to source j in year y |

During this monitoring period, the electricity generated by the project was used firstly for the operation of AWMSs normally, only when the biogas generators were not operation, the electricity consumption of AWMSs were sourced from the grid company.

The anaerobic digestion process of this project does not involve the use of fossil fuels, so the project emissions from fossil fuel consumption associated with the anaerobic digester is 0, i.e., PEFC,y=0

The residual gas is sent to flare system (if any) and project emissions from flaring of biogas (PEflare,y) shall be estimated using the tool  “ Project emissions from flaring”. For this monitoring period, there is no residual gas to be flared, so PEflare,y=0.

In summary, the Project emissions associated with the anaerobic digester in year y (t CO2e) is the Project emissions of methane from the anaerobic digester in year y (t CO2e). i.e., PEAD,y= PECH4, y.

Determination of project emissions of methane from the anaerobic digester (PECH4,y)

PECH4,y was determined following the step 4 of the applied tool “Project and leakage emissions from anaerobic digesters(Version 02.0)”.Project emissions of methane from the anaerobic digester include emissions during maintenance of the digester, physical leaks through the roof and side walls, and release through safety valves due to excess pressure in the digester. These emissions are calculated using a default emission factor (𝐸𝐹𝐶𝐻4, 𝑑𝑒𝑓𝑎𝑢𝑙𝑡), as follows:

PECH4,y=QCH4,y*EFCH4,default*GWPCH4             (Equation 15)

where:

| PECH4, y | Project emissions of methane from the anaerobic digester in year y (t CO2e) |
| --- | --- |
| QCH4,y | Quantity of methane produced in the anaerobic digester in year y (t CH4) |
| EFCH4,default | Default emission factor for the fraction of CH4 produced that leaks from the anaerobic digester (fraction) |
| GWPCH4 | Global warming potential of CH4 (t CO2 / t CH4) |

Estimation of various variables and parameters for above equations:

(A) Quantity of methane produced in the anaerobic digester QCH4,y

As per PDD, the biogas is produced and collected from anaerobic digestion process. The flowmeters are installed at the outlet of the biogas digesters and the measured on an hourly basis time interval. So the quantity of methane produced in the digester in year y (𝑄𝐶𝐻4,𝑦) is the accumulation of the mass flow of methane in the gaseous stream in an hourly basis time interval. i.e., QCH4,y =i=18760Fi,t

The mass flow of greenhouse gas i (Fi,t) is determined as follows:

Fi,t=Vt,db*υi,t,db*ρi,t               (Equation 16)

ρi,t=Pt*MMiRu*Tt                  (Equation 17)

where:

| Fi,t | Mass flow of greenhouse gas i in the gaseous stream in time interval t (kg gas/h) |
| --- | --- |
| Vt,db | Volumetric flow of the gaseous stream in time interval t on a dry basis (m³ dry gas/h) |
| υi,t,db | Volumetric fraction of greenhouse gas i in the gaseous stream in a time interval t on a dry basis (m³ gas i/m³ dry gas) |
| ρi,t | Density of greenhouse gas i in the gaseous stream in time interval t (kg gas i/m³ gas i) |
| Pt | Absolute pressure of the gaseous stream in time interval t (Pa) |
| MMi | Molecular mass of greenhouse gas i (kg/kmol) |
| Ru | Universal ideal gases constant (Pa.m3/kmol.K) |
| Tt | Temperature of the gaseous stream in time interval t (K) |

ii) Project CH4 emissions from aerobic AWMS treatment (PEAer, y)

IPCC guidelines specify emissions from aerobic lagoons as 0.1 per cent of total methane generating potential of the waste processed, which can be used as a default for all types of aerobic AWMS treatment.

PEAer,y=GWPCH4*DCH4*0.001*FAer*n=1N1-RVS,n*j,LTB0,LT*NLT*VSLT,y*MS%j+PEsl,y               (Equation 18)

where:

| GWPCH4 | Global Warming Potential (GWP) of CH4 (t CO2e/tCH4) |
| --- | --- |
| RVS,n | Fraction of volatile solid degraded in AWMS treatment method n of the N treatment steps prior to waste being treated (fraction) |
| DCH4 | Density of CH4 (t/m3) |
| FAer | Fraction of volatile solid directed to aerobic system (fraction) |
| LT | Type of livestock |
| Bo,LT | Maximum methane producing potential of the volatile solid generated by animal type LT (m3CH4/kg dm) |
| VSLT,y | Annual volatile solid excretion livestock type LT entering all AWMS on a dry matter weight basis in (kg -dm/animal/yr) |
| NLT | Annual average number of animals of type LT for the year y (number) as estimated in equation (4) or (5) |
| PEsl,y | Project CH4 emissions from sludge disposed of in storage pit prior to disposal during the year y (t CO2e/yr) |
| MS%j | Fraction of manure handled in system j in the project activity (fraction) |

All sludge produced from the aerobic composting will be used for land application, which is calculated as leakage emission, so the PEsl,y=0.

So, PEAer,y=GWPCH4*DCH4*0.001*FAer*n=1N1-RVS,n*j,LTB0,LT*NLT*VSLT,y*MS%j      (Equation 19)

where:

| GWPCH4 | Global Warming Potential (GWP) of CH4 (t CO2e/tCH4) |
| --- | --- |
| RVS,n | Fraction of volatile solid degraded in AWMS treatment method n of the N treatment steps prior to waste being treated (fraction) |
| DCH4 | Density of CH4 (t/m3) |
| FAer | Fraction of volatile solid directed to aerobic system (fraction) |
| LT | Type of livestock |
| Bo,LT | Maximum methane producing potential of the volatile solid generated by animal type LT (m3CH4/kg dm) |
| VSLT,y | Annual volatile solid excretion livestock type LT entering all AWMS on a dry matter weight basis in (kg -dm/animal/yr) |
| NLT | Annual average number of animals of type LT for the year y (number) as estimated in equation (4) or (5) |
| MS%j | Fraction of manure handled in system j in the project activity (fraction) |

iii) Project N2O emissions in year y (PEN2O,y)

PEN2O,y=GWPN2O*CFN2O-N,N*11000*(EN2O,D,y+EN2O,ID,y)          (Equation 20)

where:

| PEN2O,y | Project N2O emissions in year y (t CO2/yr) |
| --- | --- |
| GWPN2O | Global Warming Potential (GWP) for N2O (t CO2e/tN2O) |
| CFN2O-N,N | Conversion factor N2O-N to N2O (44/28) |
| EN2O,D,y | Direct N2O emission in year y (kg N2O-N/year) |
| EN2O,ID,y | Indirect N2O emission in year y (kg N2O-N/year) |

EN2O,D,y=j,LTEFN2O,D,j*NEXLT,y*NLT*MS%j             (Equation 21)

where：

| EN2O,D,y | Direct N2O emission in year y (kg N2O-N/yr) |
| --- | --- |
| EFN2O,D,j | Direct N2O emission factor for the treatment system j of the manure management system (kg N2O-N/kg N) |
| NEXLT,y | Annual average nitrogen excretion per head of a defined livestock population (kg N/animal/yr) estimated as described in appendix 2 |
| MS%j | Fraction of manure handled in system j (fraction) |
| NLT | Annual Average number of animals of type LT for the year y estimated as per equation (4) or (5) (number) |

EN2O,ID,y=j,LTEFN2O,ID*FgasMS,j,LT*NEXLT,y*NLT*MS%j     (Equation 22)

where:

| EN2O,ID,y | Indirect N2O emission in year y (kg N2O-N/year) |
| --- | --- |
| EFN2O,ID | Indirect N2O emission factor for N2O emissions from atmospheric deposition of nitrogen on soils and water surfaces (kgN2O-N/kg NH3-N and NOX-N) |
| NEXLT,y | Annual average nitrogen excretion per head of a defined livestock population (kg N/animal/yr) estimated as described in appendix 2 |
| MS%j | Fraction of manure handled in system j (fraction) |
| FgasMS,j,LT | Default values for nitrogen loss due to volatilisation of NH3 and NOX from manure management (fraction) |
| NLT | Annual Average number of animals of type LT for the year y estimated as per equation (4) or (5) (number) |

iV) Project emissions from use of heat and/or electricity (PEelec/heat)

PEECFC,y=PEEC,y+jPEFC,j,y        (Equation 23)

where:

| PEEC,y | Project emissions from electricity consumption in year y. The project emissions from electricity consumption will be calculated following the latest version of the “Tool to calculate baseline, project and/or leakage emissions from electricity consumption”. In case, the electricity consumption is not measured then the electricity consumption shall be estimated as follows ECPJ,y=iCPi,y*8760, where CPi,y is the rated capacity (in MW) of electrical equipment i used for the project activity. |
| --- | --- |
| PEFC,y | Project emissions from fossil fuel combustion in process j during the year y. The project emissions from fossil fuel combustion will be calculated following the latest version of the “Tool to calculate project or leakage CO2 emissions from fossil fuel combustion”. For this purpose, the processes j in the tool corresponds to all fossil fuel combustion in the AWMS (not including fossil fuels consumed for transportation of feed material and sludge or any other on-site transportation). |

These emissions should only be considered for consumption of electricity or heat that is not related to the anaerobic digester. As described in above, since the electricity consumption that is not related to the anaerobic digester cannot be separated from the total electricity consumption, therefore the emission for consumption of electricity is calculated in PEEC,y.

No fossil fuel was consumed in process that is not related to the anaerobic digester, so PEFC,y=0

Therefore, PEelec/heat that is not related to the anaerobic digester =0

Table 12 The calculation result of PEEC,y

| Time | ECPJ,j,y (MWh) | EFEF,j,y (tCO2/MWh) | TDLj,y | PEEC,y (tCO2e) |
| --- | --- | --- | --- | --- |
| 01/08/2021-31/08/2021 | 275.5092 | 0.57205 | 20% | 189.13 |
| 01/09/2021-30/09/2021 | 266.886 | 0.57205 | 20% | 183.21 |
| 01/10/2021-31/10/2021 | 276.0528 | 0.57205 | 20% | 189.50 |
| 01/11/2021-30/11/2021 | 267.4128 | 0.57205 | 20% | 183.57 |
| 01/12/2021-31/12/2021 | 276.6036 | 0.57205 | 20% | 189.88 |
| 01/01/2022-31/01/2022 | 276.8724 | 0.57205 | 20% | 190.07 |
| 01/02/2022-28/02/2022 | 250.3236 | 0.57205 | 20% | 171.84 |
| 01/03/2022-31/03/2022 | 277.4184 | 0.57205 | 20% | 190.44 |
| 01/04/2022-30/04/2022 | 268.7328 | 0.57205 | 20% | 184.48 |
| 01/05/2022-31/05/2022 | 277.9608 | 0.57205 | 20% | 190.81 |
| 01/06/2022-30/06/2022 | 269.262 | 0.57205 | 20% | 184.84 |
| 01/07/2022-31/07/2022 | 278.5068 | 0.57205 | 20% | 191.19 |
| 01/08/2021-31/12/2021 | 1,362.4644 | - | - | 936 |
| 01/01/2022-31/07/2022 | 1,899.0768 | - | - | 1,304 |

Table 13 The calculation result of PECH4,y

| Time | GWPCH4 (tCO2/tCH4) | EFCH4,default (tCH4 leaked / tCH4 produced) | QCH4,y (tCH4) | PECH4,y (tCO2e) |
| --- | --- | --- | --- | --- |
| 01/08/2021-31/08/2021 | 28 | 0.05 | 1,738.48 | 2,433.88 |
| 01/09/2021-30/09/2021 | 28 | 0.05 | 1,695.27 | 2,373.39 |
| 01/10/2021-31/10/2021 | 28 | 0.05 | 1,708.67 | 2,392.15 |
| 01/11/2021-30/11/2021 | 28 | 0.05 | 1,702.71 | 2,383.79 |
| 01/12/2021-31/12/2021 | 28 | 0.05 | 1,740.27 | 2,436.39 |
| 01/01/2022-31/01/2022 | 28 | 0.05 | 1,721.86 | 2,410.61 |
| 01/02/2022-28/02/2022 | 28 | 0.05 | 1,569.14 | 2,196.80 |
| 01/03/2022-31/03/2022 | 28 | 0.05 | 1,733.26 | 2,426.57 |
| 01/04/2022-30/04/2022 | 28 | 0.05 | 1,683.24 | 2,356.54 |
| 01/05/2022-31/05/2022 | 28 | 0.05 | 1,760.42 | 2,464.60 |
| 01/06/2022-30/06/2022 | 28 | 0.05 | 1,711.44 | 2,396.02 |
| 01/07/2022-31/07/2022 | 28 | 0.05 | 1,727.91 | 2,419.08 |
| 01/08/2021-31/12/2021 | - | - | 8,585.41 | 12,020 |
| 01/01/2022-31/07/2022 | - | - | 11,907.27 | 16,671 |

Table 14 The calculation result of PEAD,y

| Period | PEEC,y (tCO2e) | PECH4,y (tCO2e) | PEAD,y (tCO2e) |
| --- | --- | --- | --- |
| 01/08/2021-31/12/2021 | 936 | 12,020 | 12,956 |
| 01/01/2022-31/07/2022 | 1,304 | 16,671 | 17,975 |
| 2nd monitoring period | 2,240 | 28,691 | 30,931 |

Table 15 The calculation result of PEAer,y

| Parameter | Value |  | Unit |
| --- | --- | --- | --- |
| species | Market Swine | Breeding Swine |  |
| GWPCH4 | 28 | 28 | tCO2/tCH4 |
| DCH4 | 0.00067 | 0.00067 | t/m3 |
|  | 0.001 | 0.001 | kg N/1000kg animal mass/day |
| FAer | 100% | 100% | / |
| 1-Rvs,1 | 54% | 54% | / |
| B0,LT | 0.29 | 0.29 | m3CH4/kg-dm |
| NLT | Refer to Table 8 |  |  |
| VSLT,y | Refer to Table 8 |  |  |
| MS%j | 100% | 100% |  |
| 01/08/2021-31/12/2021 | 193 |  | tCO2e |
| 01/01/2022-31/07/2022 | 264 |  | tCO2e |
| PEAer,y | 457 |  | tCO2e |

Table 16 The calculation result of PEN2O,Y

| Parameter | Value |  | Unit |
| --- | --- | --- | --- |
| species | Market Swine | Breeding Swine |  |
| EFN2O,D,j | 0 | 0 | kg N2O-N/kg N |
| NEXLT,y | Refer to Table 8 |  |  |
| NLT | Refer to Table 8 |  |  |
| MS%j | 100% | 100% | / |
| 01/08/2021-31/12/2021 | 0 |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 0 |  | kg N2O-N/year |
| EN2O,D,y | 0.00 |  | kg N2O-N/year |
| EFN2O,D,j | 0.006 | 0.006 | kg N2O-N/kg N |
| NEXLT,y | Refer to Table 8 |  |  |
| NLT | Refer to Table 8 |  |  |
| MS%j | 100% | 100% | / |
| 01/08/2021-31/12/2021 | 14,326 |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 19,638 |  | kg N2O-N/year |
| EN2O,D,y | 33,964 |  | kg N2O-N/year |
| EFN2O,iD,j | 0.01 | 0.01 | kg N2O-N/kg NH3 and NOX-N |
| FgasMS,j,LT | 0.4 | 0.4 | / |
| NEXLT,y | Refer to Table 8 |  |  |
| NLT | Refer to Table 8 |  |  |
| MS%j | 100% | 100% | % |
| GWPN2O | 265 | 265 | tCO2/tN2O |
| 01/08/2021-31/12/2021 | 9,552 |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 13,094 |  | kg N2O-N/year |
| EN2O,ID,y | 22,646 |  | kg N2O-N/year |
| EFN2O,iD,j | 0.01 | 0.01 | kg N2O/kg N |
| FgasMS,j,LT | 0.45 | 0.45 | / |
| NEXLT,y | Refer to Table 8 |  |  |
| NLT | Refer to Table 8 |  |  |
| MS%j | 100% | 100% | % |
| GWPN2O | 265 | 265 | tCO2/t N2O |
| 01/08/2021-31/12/2021 | 10,746 |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 14,731 |  | kg N2O-N/year |
| EN2O,ID,y | 25,477 |  | kg N2O-N/year |
| 01/08/2021-31/12/2021 | 14,419 |  | tCO2e |
| 01/01/2022-31/07/2022 | 19,765 |  | tCO2e |
| PEN2O,y | 34,184 |  | tCO2e |

Table 17 Calculation results of project emissions for SDG 13

| Period | PEAD,y (tCO2e) | PEAer,y (tCO2e) | PEN2O,y (tCO2e) | PEy (tCO2e) |
| --- | --- | --- | --- | --- |
| 01/08/2021-31/12/2021 | 12,956 | 193 | 14,419 | 27,568 |
| 01/01/2022-31/07/2022 | 17,975 | 264 | 19,765 | 38,004 |
| 2nd monitoring period | 30,931 | 457 | 34,184 | 65,572 |

Calculation of leakage

>>

As per section B.6.1 of the PDD, Leakage can be calculated as follows,

LEy=LEPJ,N2O,y-LEBL,N2O,y+LEPJ,CH4,y-LEBL,CH4,y+LEAD,y            (Equation 24)

Where:

| LEPJ, N2O, y | Leakage N2O emissions released during project activity from land application of the treated manure in year y (t CO2e/yr) |
| --- | --- |
| LEBL, N2O, y | Leakage N2O emissions released during baseline scenario from land application of the treated manure in year y (t CO2e/yr) |
| LEPJ, CH4, y | Leakage CH4 emissions released during project activity from land application of the treated manure in year y (t CO2e/yr) |
| LEBL, CH4, y | Leakage CH4 emissions released during baseline scenario from land application of the treated manure in year y (t CO2e/yr) |
| LEAD, y | Leakage emissions associated with the anaerobic digester in year y (t CO2e) |

i) Estimation of leakage N2O emissions released during baseline scenario from land application of the treated manure in year y, LEBL, N2O, y

LEBL,N2O,y=GWPN2O*CFN2O-N,N*11000*(LEN2O,land,y+LEN2O,runoff,y+LEN2O,vol,y)       (Equation 25)

LEN2O,land,y=EF1*n=1N1-RN,n*LTNEXLT,y*NLT         (Equation 26)

LEN2O,runoff, y=EF5*Fleach*n=1N1-RN,n*LTNEXLT,y*NLT        (Equation 27)

LEN2O,vol, y=EF4*n=1N1-RN,n*Fgasm*LTNEXLT,y*NLT      (Equation 28)

where:

| GWPN2O | Global Warming Potential (GWP) for N2O (t CO2e/tN2O) |
| --- | --- |
| CFN2O-N,N | Conversion factor N2O-N to N2O (44/28) |
| LEN2O,land,y | Leakage N2O emissions from application of manure waste in year y (kg N2O-N/year) |
| LEN2O,runoff,y | Leakage N2O emissions due to leaching and run-off in year y (kg N2O-N/year) |
| LEN2O,vol,y | Leakage N2O emissions due to volatilisation in year y (kg N2O-N/year) |
| Fgasm | Fraction of N lost due to volatilization (fraction) |
| NLT | Annual average number of animals of type LT estimated as per equation (4) or (5) (number) |
| NEXLT,y | Annual average nitrogen excretion per head of a defined livestock population (kg N/animal/year) estimated as described in appendix 2 |
| EF1 | Emission factor for N2O emissions from N inputs (kg N2O-N/kg N input) |
| EF5 | Emission factor for N2O emissions from N leaching and runoff in (kg N2O-N/kg N leached and runoff) |
| EF4 | Emission factor for N2O emissions from atmospheric deposition of N on soils and water surfaces, [kg N- N2O/ (kg NH3-N + NOX-N volatilized)] |
| Fleach | Fraction of all N added to/mineralised in managed soils in regions where leaching/runoff occurs that is lost through leaching and runoff (fraction) |
| RN,n | Nitrogen reduction factor (fraction) |

ii) Estimation of leakage N2O emissions released during project activity from land application of the treated manure in year y, LEPJ, N2O

LEPJ,N2O=GWPN2O*CFN2O-N,N*11000*(LEN2O,land,y+LEN2O,runoff,y+LEN2O,vol,y)  (Equation 29)

LEN2O,land,y=EF1*n=1N1-RN,n*LTNEXLT,y*NLT    (Equation 30)

LEN2O,runoff, y=EF5*Fleach*n=1N1-RN,n*LTNEXLT,y*NLT    (Equation 31)

LEN2O,vol, y=EF4*n=1N1-RN,n*Fgasm*LTNEXLT,y*NLT    (Equation 32)

where:

| GWPN2O | Global Warming Potential (GWP) for N2O (t CO2e/tN2O) |
| --- | --- |
| CFN2O-N,N | Conversion factor N2O-N to N2O (44/28) |
| LEN2O,land,y | Leakage N2O emissions from application of manure waste in year y (kg N2O-N/year) |
| LEN2O,runoff,y | Leakage N2O emissions due to leaching and run-off in year y (kg N2O-N/year) |
| LEN2O,vol,y | Leakage N2O emissions due to volatilisation in year y (kg N2O-N/year) |
| Fgasm | Fraction of N lost due to volatilization (fraction) |
| NLT | Annual average number of animals of type LT estimated as per equation (4) or (5) (number) |
| NEXLT,y | Annual average nitrogen excretion per head of a defined livestock population (kg N/animal/year) estimated as described in appendix 2 |
| EF1 | Emission factor for N2O emissions from N inputs (kg N2O-N/kg N input) |
| EF5 | Emission factor for N2O emissions from N leaching and runoff in (kg N2O-N/kg N leached and runoff) |
| EF4 | Emission factor for N2O emissions from atmospheric deposition of N on soils and water surfaces, [kg N- N2O/ (kg NH3-N + NOX-N volatilized)] |
| Fleach | Fraction of all N added to/mineralised in managed soils in regions where leaching/runoff occurs that is lost through leaching and runoff (fraction) |
| RN,n | Nitrogen reduction factor (fraction) |

It is not possible to measure the quantity of manure applied to land in kg manure/yr (QDM) and the nitrogen concentration in kg N/kg manure (NDM) in the manure to estimate the total quantity of nitrogen applied to land. In this case, n=1N1-RN,n*LTNEXLT,y*NLT is used for calculation. 

iii) Estimation of leakage CH4 emissions from land application of the treated manure

The calculation of methane emissions from land application of manure in the baseline and project cases are estimated as below:

LEBL,CH4,y=GWPCH4*DCH4*MCFd*n=1N1-RVS,n*j,LT(B0,LT*NLT*VSLT,y*MS%j)   (Equation 33)

LEPJ,CH4,y=GWPCH4*DCH4*MCFd*n=1N1-RVS,n*j,LTB0,LT*NLT*VSLT,y*MS%j    (Equation 34)

where:

| LEBL,CH4,y | Leakage CH4 emissions released during baseline scenario from land application of the treated manure in year y (t CO2e/yr) |
| --- | --- |
| LEPJ,CH4,y | Leakage CH4 emissions released during project activity from land application of the treated manure in year y (t CO2e/yr) |
| RVS,n | Fraction of volatile solid degraded in AWMS treatment method n of the N treatment steps prior to sludge being treated |
| GWPCH4 | Global Warming Potential (GWP) of CH4 (t CO2e/tCH4) |
| DCH4 | Density of CH4 (t/m3) |
| B0,LT | Maximum methane producing potential of the volatile solid generated by animal type LT (m3CH4/kg dm) |
| NLT | Annual average number of animals of type LT estimated as per equation (4) or (5), expressed (number) |
| VSLT,y | Annual volatile solid excretions for livestock LT entering all AWMS on a dry matter weight basis (kg -dm/animal/yr) |
| MS%j | Fraction of manure handled in system j in the project activity (fraction) |
| MCFd | Methane conversion factor (MCF) assumed to be equal to 1 |

iV) Estimation of leakage emissions associated with the anaerobic digester

LEAD,y is determined using the methodological tool “Project and leakage emissions from anaerobic digesters(Version 02.0).

The leakage emissions associated with the anaerobic digester (𝐿𝐸𝐴𝐷,𝑦) depend on how the digestate is managed. They include emissions associated with storage and composting of the digestate and are determined as follows:

LEAD,y=LEstorage,y+LEcomp,y     (Equation 35)

where:

| LEAD,y | Leakage emissions associated with the anaerobic digester in year y (t CO2e) |
| --- | --- |
| LEstorage,y | Leakage emissions associated with storage of digestate in year y (t CO2e) |
| LEcomp,y | Leakage emissions associated with composting digestate in year y (t CO2e) |

For subsequent treatment stages, the reduction of the nitrogen during a treatment stage is estimated based on referenced data for different treatment types. Emissions from the next treatment stage are then calculated following the approach outlined above, but with nitrogen adjusted for the reduction from the previous treatment stages by multiplying by (1-RN), where RN is the relative reduction of nitrogen from the previous stage. The relative reduction (RN) of nitrogen depends on the treatment technology and should be estimated in a conservative manner. Default values for different treatment technologies can be found in appendix 1 (values for TN).

The anaerobic digestion process of this project is carried out in a fully enclosed system, the flaring will be not taken into account as the equipment will only be used when there will be surplus biogas, normally there will be no surplus biogas during the operational period of the project. After anaerobic digestion, the fermented sludge will be treated in aerobic composting system, which will be used as fertilizer. Wastewater from the new animal waste management systems will be treated aerobically and then used for agriculture irrigation.so, the Estimation of leakage emissions associated with the anaerobic digester is 0. i.e., LEAD,y =0.

Table  18 The calculation results of LEBL,CH4,y、LEPJ,CH4,y、LEBL,N2O,y and LEPJ,N2O,y

| Parameter | Value |  |  | Unit |
| --- | --- | --- | --- | --- |
| species | Market Swine |  | Breeding Swine |  |
| NLT | Refer to Table 8 |  |  |  |
| NEXLT,y | Refer to Table 8 |  |  |  |
| RN,n | 80% |  | 80% | / |
| EF1 | 0.01 |  | 0.01 | kg N2O-N/kg N |
| EF5 | 0.0075 |  | 0.0075 | kg N2O-N/kg N |
| EF4 | 0.01 |  | 0.01 | KgN-N2O-N/kg NH3-N+NOX-N |
| Fleach | 0.3 |  | 0.3 | / |
| Fgasm | 0.2 |  | 0.2 | / |
| GWPN2O | 265 |  | 265 | tCO2/t N2O |
| 01/08/2021-31/12/2021 | 4,769 |  |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 6,536 |  |  | kg N2O-N/year |
| LEN2O,land,y | 11,305 |  |  | kg N2O-N/year |
| 01/08/2021-31/12/2021 | 1,070 |  |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 1,467 |  |  | kg N2O-N/year |
| LEN2O,runoff,y | 2,537 |  |  | kg N2O-N/year |
| 01/08/2021-31/12/2021 | 949 |  |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 1,302 |  |  | kg N2O-N/year |
| LEN2O,vol,y | 2,251 |  |  | kg N2O-N/year |
| 01/08/2021-31/12/2021 | 2,826 |  |  | tCO2e |
| 01/01/2022-31/07/2022 | 3,874 |  |  | tCO2e |
| LEBJ,N2O,y | 6,700 |  |  | tCO2e |
| NLT | Refer to Table 8 |  |  |  |
| NEXLT | Refer to Table 8 |  |  |  |
| RN | 25% | 25% |  | / |
| EF1 | 0.01 | 0.01 |  | kg N2O-N/kg N |
| EF5 | 0.0075 | 0.0075 |  | kg N2O-N/kg N |
| EF4 | 0.01 | 0.01 |  | KgN-N2O-N/kg NH3-N+NOX-N |
| Fleach | 0.3 | 0.3 |  | / |
| Fgasm | 0.2 | 0.2 |  | / |
| 01/08/2021-31/12/2021 | 17,907 |  |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 24,545 |  |  | kg N2O-N/year |
| LEN2O,land,y | 42,452 |  |  | kg N2O-N/year |
| 01/08/2021-31/12/2021 | 4,033 |  |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 5,528 |  |  | kg N2O-N/year |
| LEN2O,runoff,y | 9,561 |  |  | kg N2O-N/year |
| 01/08/2021-31/12/2021 | 3,585 |  |  | kg N2O-N/year |
| 01/01/2022-31/07/2022 | 4,913 |  |  | kg N2O-N/year |
| LEN2O,vol,y | 8,498 |  |  | kg N2O-N/year |
| 01/08/2021-31/12/2021 | 10,630 |  |  | tCO2e |
| 01/01/2022-31/07/2022 | 14,570 |  |  | tCO2e |
| LEPJ,N2O,y | 25,200 |  |  | tCO2e |
| GWPCH4 | 28 |  | 28 | tCO2e/t CH4 |
| DCH4 | 0.00067 |  | 0.00067 | t/m3 |
| MCFd | 1 |  | 1 | / |
| VSLT,y | Refer to Table 8 |  |  |  |
| NLT | Refer to Table 8 |  |  |  |
| B0,LT | 0.29 |  | 0.29 | m3 CH4/kg-VS |
| RVS | 85% |  | 85% | / |
| MS%j | 100% |  | 100% | / |
| 01/08/2021-31/12/2021 | 52,577 |  |  | tCO2e |
| 01/01/2022-31/07/2022 | 72,037 |  |  | tCO2e |
| LEBL,CH4,y | 124,614 |  |  | tCO2e |
| GWPCH4 | 28 |  | 28 | tCO2/tCH4 |
| DCH4 | 0.00067 |  | 0.00067 | t/m3 |
| MCFd | 1 |  | 1 | / |
| VSLT,y | Refer to Table 8 |  |  |  |
| NLT | Refer to Table 8 |  |  |  |
| B0 | 0.29 |  | 0.29 | m3 CH4/kg-VS |
| RVS | 2% |  | 2% | / |
| RVS | 45% |  | 45% | / |
| RVS | 35% |  | 35% | / |
| MS%j | 100% |  | 100% | / |
| 01/08/2021-31/12/2021 | 122,821 |  |  | tCO2e |
| 01/01/2022-31/07/2022 | 168,281 |  |  | tCO2e |
| LE PJ,CH4 | 291,102 |  |  | tCO2e |

Table 19 Calculation results of leakage for SDG 13

| Period | LEPJ,CH4,y (tCO2e) | LEBL,CH4,y (tCO2e) | LEBL,N2O,y (tCO2e) | LEPJ,N2O,y (tCO2e) | LEy (tCO2e/yr) |
| --- | --- | --- | --- | --- | --- |
| 01/08/2021-31/12/2021 | 122,821 | 52,577 | 2,826 | 10,630 | 78,048 |
| 01/01/2022-31/07/2022 | 168,281 | 72,037 | 3,874 | 14,570 | 106,940 |
| 2nd monitoring period | 291,102 | 124,614 | 6700 | 25,200 | 184,988 |

Calculation of net benefits or direct calculation for each SDG Impact

| SDG | SDG Impact | Baseline estimate | Project estimate | Leakage estimate | Net benefit |
| --- | --- | --- | --- | --- | --- |
| 13 | Emission Reductions | 2021/08/01-2021/12/31: 257,706tCO2e | 2021/08/01-2021/12/31: 27,568tCO2e | 2021/08/01-2021/12/31: 78,048tCO2e | 2021/08/01-2021/12/31: 152,090tCO2e |
|  |  | 2022/01/01-2022/07/31: 353,090tCO2e | 2022/01/01-2022/07/31: 38,004tCO2e | 2022/01/01-2022/07/31: 106,940tCO2e | 2022/01/01-2022/07/31: 208,146tCO2e |
|  |  | 2021/08/01-2022/07/31: 610,796tCO2e | 2021/08/01-2022/07/31:65,572 tCO2e | 2021/08/01-2022/07/31: 184,988tCO2e | 2021/08/01-2022/07/31: 360,236tCO2e |
| 7 | EGd,y | 2021/08/01-2021/12/31: 0MWh | 2021/08/01-2021/12/31: 26,384.14MWh | NA | 2021/08/01-2021/12/31: 26,384.14MWh |
|  |  | 2022/01/01-2022/07/31: 0MWh | 2022/01/01-2022/07/31: 38,870.28MWh | NA | 2022/01/01-2022/07/31: 38,870.28MWh |
|  |  | 2021/08/01-2022/07/31: 0MWh | 2021/08/01-2022/07/31: 65,254.42MWh | NA | 2021/08/01-2022/07/31: 65,254.42MWh |
| 8 | Number of males and females employed by the project | 2021/08/01-2021/12/31: 0 jobs for local people were created | 2021/08/01-2021/12/31: 18 jobs for local people were created (including 9 females and 9 males) | NA | 2021/08/01-2021/12/31: 18 jobs for local people were created (including 9 females and 9 males) |
|  | Number of males and females employed by the project | 2022/01/01-2022/07/31: 0 jobs for local people were created | 2022/01/01-2022/07/31: 18 jobs for local people were created (including 9 females and 9 males) | NA | 2022/01/01-2022/07/31: 18 jobs for local people were created (including 9 females and 9 males) |
|  | Number of males and females employed by the project | 2021/08/01-2022/07/31: 0 jobs for local people were created | 2021/08/01-2022/07/31: 18 jobs for local people were created (including 9 females and 9 males) | NA | 2021/08/01-2022/07/31:18 jobs for local people were created (including 9 females and 9 males) |
|  | Average monthly salary | 2021/08/01-2021/12/31: 0 jobs created, 0 income | 2021/08/01-2021/12/31: 5,000 RMB/person, and equal salaries were paid for men and women in the same position. | NA | 2021/08/01-2021/12/31: 5,000 RMB/person, and equal salaries were paid for men and women in the same position. |
|  | Average monthly salary | 2022/01/01-2022/07/31: 0 jobs created, 0 income | 2022/01/01-2022/07/31: 5,000 RMB/person, and equal salaries were paid for men and women in the same position. | NA | 2022/01/01-2022/07/31: 5,000 RMB/person, and equal salaries were paid for men and women in the same position. |
|  | Average monthly salary | 2021/08/01-2022/07/31: 0 jobs created, 0 income | 2021/08/01-2022/07/31: 5,000 RMB/person, and equal salaries were paid for men and women in the same position. | NA | 2021/08/01-2022/07/31: 5,000 RMB/person, and equal salaries were paid for men and women in the same position. |

Furthermore, if the actual methane captured from anaerobic digesters in project activity is lower than (BECH4,y - PEAD,y), then(BECH4,y - PEAD,y) is replaced by actual methane captured QCH4,y.

Biogas captured during monitoring period is 52,269,032.72m3, which equals to 573,975 tCO2e. Baseline methane emission (BECH4,y) is 601,371 tCO2e. project emissions associated with anaerobic digester is (PEAD,y) is 30,931 tCO2e. Actual methane captured from anaerobic digesters is higher than the difference of BECH4,y and  PEAD,y. Therefore, the equation (BECH4,y - PEAD,y) can be used to calculate emission reduction.

Comparison of actual SDG Impacts with estimates in approved PDD

| SDG | Values estimated in ex ante calculation of approved PDD for this monitoring period | Actual values achieved during this monitoring period |
| --- | --- | --- |
| 13 | 2nd monitoring period: 471,385tCO2e | 2021/08/01-2022/07/31:360,236 tCO2e |
| 7 | 2nd monitoring period: 90,061.49MWh of electricity generation by capturing biogas | 2021/08/01-2022/07/31: 65,254.42MWh of electricity generation by capturing biogas |
| 8 | 2nd monitoring period:18 jobs for local people created (including 9 females and 9 males). Average monthly salary 5,000 RMB/person, and equal salaries paid for men and women in the same position. | 2021/08/01-2022/07/31: 18 jobs for local people created (including 9 females and 9 males). Average monthly salary 5,000 RMB/person, and equal salaries paid for men and women in the same position. |

##### E.5.1. Explanation of calculation of value estimated ex ante calculation of approved PDD for this monitoring period

>>

According to PDD, the estimated outcomes of SDG 7 for the 2nd monitoring period are 90,061.49MWh of electricity generation which is calculated according to the amount of biogas produced theoretically and assumed electricity generation value per cubic metre of biogas in project evaluation report. while the actual outcomes of SDG7 is 65,254.42MWh of electricity generation in the 2nd monitoring period, which is monitored by the meters installed at the outlet of generators.

The estimated value of the outcomes of SDG 13 for the 2nd monitoring period is 471,385 tCO2e, while the actual outcomes of SDG13 is 360,236 tCO2e. the calculation of the estimated and actual value of SDG 13 is based on methodology ACM0010” GHG emission reductions from manure management systems” (version 08.0). The mainly difference between the estimated value and actual value is due to the changes of the number of animals in the swine farm (NLT), the average animal weight (Wsite) and the actual biogas captured from anaerobic digester.

Number of males and females employed by the project and average monthly salary during the 2nd monitoring period were determined by the Record Keeping Book and Labor contracts and Payrolls. 18 jobs for local people were created (including 9 females and 9 males). The average monthly salary was 5,000 RMB/person (equal salaries paid for men and women in the same position). Outcomes of SDG 8 are consistent with the estimated outcomes in the PDD.

E.6. Remarks on increase in achieved SDG Impacts from estimated value in approved PDD

>>

The actual outcomes of SDG 7 are much lower than the estimated value in the PDD. The main reason for the difference is that the actual electricity generation through capturing biogas is related to the amount of biogas produced, the methane concentration and the efficiency of generator, etc. And the captured biogas during this MP is lower than the estimated value in PDD

The estimated value of the outcomes of SDG 13 for the 2nd monitoring period is 471,385 tCO2e, and the actual value is 360,236 tCO2e, which is lower than the estimated value in PDD. the difference between the estimated value and actual values is mainly due to the number of animals in the swine farm and the average animal weight is lower than the estimated values in the PDD. Furthermore, a maximum 100% of MS%j is applied for calculation project emission during this monitoring period, which brings a higher project emission comparing to the PDD.

Outcomes of SDG 8 are consistent with the estimated outcomes in the PDD.

- SAFEGUARDS REPORTING

>>

According to the Section D.1 and Appendix 1 in PDD, only one assessment question answered ‘Potentially’ i.e., in case of biogas is not handled properly during the operation period of the project, methane explosion may be caused. Therefore, mitigation measure for safeguarding principles is required and the parameter of Employee Training of biogas safety operation during the operation period shall be monitored, which is described in section D.2 of this MR.

During this monitoring period, no biogas explosion or leakage was happened. The monitoring of this parameters was fully implemented in accordance with the monitoring plan in PDD and the monitoring activities was successful, so there is no need to update the mitigation measures.

- STAKEHOLDER INPUTS AND LEGAL DISPUTES

List all Inputs and Grievances which have been received via the Continuous Input and Grievance Mechanism together with their respective responses/mitigations.

>>

| Method | Include all details of Chosen Method (s) so that they may be understood and, where relevant, used by readers. |
| --- | --- |
| Continuous Input / Grievance Expression Process Book (mandatory) | the grievance books were put in Front Desk Administration of the project owner i.e., each farm (the address of each farm is as below table) All stakeholders are allowed to record their grievances or comments in the book. The project owner will assign specific person to deal with related issues. When assessing the relevance and appropriateness of the stakeholders’ comments, the project owner will apply a gender lens. Swine farm; Address. Denglon; Denglong Village, ji’an County, Ji’an City. Fenghuang; Fenghuang Town, ji’an County, Ji’an City. Litian; Litian Town, ji’an County, Ji’an City. Jinchuan; Jinchuan Town, Xingan County, Ji’an City. Tanqiu; Tanqiu Village, Xingan County, Ji’an City. Zhouhu; Zhouhu Town, Anfu County, Ji’an City. Xingan; Luxi Village, Xingan County, Ji’an City. Qiqin; Qiqin Town, Xingan County, Ji’an City. Caolu; Liujiaqiao Village, Chongren County, Fuzhou City. |
| GS Contact (mandatory) | help@goldstandard.org |
| Other | Feedback can be made directly through visiting Jiangxi Zhengbang Breeding Co. Ltd. (north of Hu Dong 4th Road and east of Chanye Road, Nanchang City, Jiangxi Province), calling+86 0791--8639 7834 or sending e-mail to 57566640@qq.com. |

No inputs/grievances received during the 2nd monitoring period through all the methods.

Report on any stakeholder mitigations that were agreed to be monitored.

>>

No inputs/grievances received during the 2nd monitoring period; therefore, stakeholder mitigations do not need to be reported.

Provide details of any legal contest that has arisen with the project during the monitoring period

>>

No legal contest or dispute has been arisen with the project during the 2nd monitoring period.

Revision History

| Version | Date | Remarks |
| --- | --- | --- |
| 1.1 | 14 October 2020 | Hyperlinked section summary to enable quick access to key sections Improved clarity on Key Project Information Section for POA monitoring Forward action request section Improved Clarity on SDG contribution/SDG Impact term used throughout Clarity on safeguard reporting Clarity on design changes Leakage section added for VER/CER projects Addition of Comparison of monitored parameters with last monitoring period Provision of an accompanying Guide to help the user understand detailed rules and requirements |
| 1.0 | 10 July 2017 | Initial adoption |

As per manufacturer specifications of the power generator, the lifetime of the equipment is up to 30 years, which is greater than 15 years (https://www.zjtcn.com/baike/kdHxlrqfdjzxxjscs).

- https://www.ipcc.ch/site/assets/uploads/2018/02/SYR_AR5_FINAL_full.pdf

- https://www.ipcc.ch/site/assets/uploads/2018/02/SYR_AR5_FINAL_full.pdf

365 in this formula represents 365 days per year, which corresponds to the unit of this parameter: kg N / animal / year and Nrate(T) means the default N excretion rate with the unit of kg N/ (1000 kg animal mass)/ day. The baseline emission, project emission and leakage is calculated separately each month. Therefore, this parameter is also calculated according to the actual number of days in each month during this monitoring period.

https://zhuanlan.zhihu.com/p/38676811

http://finance.people.com.cn/n1/2017/1121/c1004-29658996.html

The proposed project is located in Ji’an, Jiangxi Province, China, Asia. According to Table 10A-7 and 10A-8 of IPCC 2006 Guidelines for National Greenhouse Gas Inventories volume 4, chapter10, the maximum methane producing potential(B0,LT) for Market swine and Breeding swine in Asia region is 0.29 m3 CH4/kg VS.

http://www.doc88.com/p-9902182440715.html

This value is the total of stock of animals in the farms in this monitoring period, including market swine and breeding swine. According the monitored parameter of Np,LT and NAA,LT, the average stock of animals in the farms is 61,892 heads of breeding swine. The annual average number of animals is 493,085 heads of market swine in the farms as calculation of Equation 4. Therefore 61,892heads+493,085heads=554,977 head

https://www.3rxing.org/question/adf521729669509232.html

This formula refers to the formula 10.30 in chapter 10 volume IPCC2006.

Biogas captured during this monitoring period is 52,269,032.72m3. The quality of methane is 20,499.68tCH4, which can be calculated by the amount of biogas, the density of biogas and the content of methane in this monitoring period. Then the quality of methane multiplied by the global warming Potential of CH4 i.e.,28 tCO2e/tCH4 is the result of 573,975 tCO2e. Please refer ER sheet, tab ”monitoring results” for detail calculation process and final  results.

Whenever emission reductions are capped, both the original and capped values used for calculations must be transparently reported.  Use brackets to denote original values.

Yearly total amount estimated emission reduction in PDD is 471,385 tCO2e, the 2nd monitoring period is from 01/08/2021 to 31/07/2022, covering 365 days.

Annually electricity generation in PDD is 90,061.49MWh, the 2nd monitoring period is from 01/08/2021 to 31/07/2022, covering 365 days.