TEMPLATE

MONITORING REPORT

PUBLICATION DATE 14.10.2020

VERSION v. 1.1

RELATED SUPPORT – TEMPLATE GUIDE Monitoring Report v. 1.1

This document contains the following Sections

Key Project Information

SECTION A - Description of project

SECTION B - Implementation of project

SECTION C - Description of monitoring system applied by the project

SECTION D - Data and parameters

SECTION E - Calculation of SDG Impacts

SECTION F - Safeguards Reporting

SECTION G - Stakeholder inputs and legal disputes

KEY PROJECT INFORMATION

Key Project Information

| GS ID (s) of Project (s) | GS 1237 |
| --- | --- |
| Title of the project (s) covered by monitoring report | Sadilli Wind Farm Project, Turkey |
| Version number of the PDD/VPA-DD (s) applicable to this monitoring report | 9 |
| Version number of the monitoring report | 05 |
| Completion date of the monitoring report | 17/04/2024 |
| Date of project design certification | 11/09/2013 |
| Date of Last Annual Report | 13/12/2022 |
| Monitoring period number | 1st MP of 2nd CP |
| Duration of this monitoring period | 27/10/2021 to 27/09/2023 (both days are included, 2nd Crediting period, 1st Monitoring period) |
| Project Representative | Life İklim ve Enerji Ltd Şti. |
| Host Country Activity Requirements applied Methodology (ies) applied and version number Product Requirements applied | Turkey Community Services Activities Renewable Energy Activities Land Use and Forestry Activities/Risks & Capacities N/A 01 - ACM0002, v. 20.0.0, “Grid-connected electricity generation from renewable sources” GHG Emissions Reduction & Sequestration Renewable Energy Label N/A |

Table 1 - Sustainable Development Contributions Achieved

| Sustainable Development Goals Targeted | SDG Impact | Amount Achieved | Units/ Products |
| --- | --- | --- | --- |
| SDG 13 Climate Action | Emissions Reductions | Emission Reduction: 158,067 tCO2 | VERs |
| SDG 7 Affordable and clean energy | MWh of renewable energy generated | 243,872.01 MWh 11,443,828.35 EUR | MWh EUR |
| SDG 8 Decent work and economic growth | The project provides employment. Health&Safety Trainings to be held. | 9 employees work at the WPP. There are 4 local employees. All employees at the plant are provided Health&Safety Trainings annually. | Health&Safety Trainings and SGK records |
| SDG 6 Clean water | Wastewater discharge transfer records are to be provided. | Avoidance of 6,021.4 x1000 m3/year wastewater discharge to the environment. | Invoices |

Table 2 – Product Vintages

|  |  | Amount Achieved |  |  |
| --- | --- | --- | --- | --- |
| Start Dates | End Dates | VERs | … | … |
| 27/10/2021 | 31/12/2021 | 17,637 |  |  |
| 01/01/2022 | 31/12/2022 | 84,890 |  |  |
| 01/01/2023 | 27/09/2023 | 55,540 |  |  |

# DESCRIPTION OF PROJECT

### General description of project

Çanres Elektrik Üretim A.Ş. (hereafter referred to as “Çanres Elektrik”), operated 14 units of Sadilli Wind Farm Project, Turkey (hereafter referred to as “Sadilli WPP”) with total installed capacity of 38.5 MWm/33 MWe. The Project consists of the installation of 14 wind turbines that have an installed capacity of 2.75 MW each; totaling 38.5 MWm. Type of the turbines is GE 2.75-100. Project located in Çanakkale and Tekirdağ provinces, in Turkey. Energy Market Regulatory Authority (EMRA) issued the license of the project in February 2012.

The mobilisation for construction of the Project had started on 03/09/2012 and the provisional acceptance date of the first three turbines was 26/10/2014. Furthermore, electricity production starts at midnight of that date at 12 am so, operation start date of the first three turbines was 27/10/2014, and it can be considered as the actual start date of the project. Therefore, the first crediting period starts following the commissioning of the power plant which was to be 27/10/2014.

The generation license has a limit of 33 MWe, meaning that the total electrical power supply of the Project is limited to 33 MWe. The Project is expected to generate 112,000 MWh per year. The turbines, each equipped with 3 blades, have a hub height of 85 m and a rotor diameter of 100 m. The Project has been connected to the Keşan transformer station via a 154 kV high voltage transmission line.

While total electricity generation is 116,916.14 MWh and achieved total emission reduction is 69,669 tCO2 in the previous monitoring period (4th MP of 1st CP) which started on 01/10/2019 and ended on 20/06/2021, during the 1st MP of 2nd CP, total electricity generation is 243,872.01 MWh and achieved total emission reduction is 158,067 tCO2.

The purpose of the project is to generate electricity and to feed it into the public grid. The Sadilli WPP project shall be registered as a Voluntary Emission Reduction project in order to enable the project implementation by means of financial inflows coming from the credits sale. Because of its significant contribution to climate protection and to sustainable development in the region, this project is expected to fulfil the requirements of the Gold Standard.

The project helped Turkey to stimulate and commercialize the use of grid connected renewable energy technologies and markets. Furthermore, the project demonstrated the viability of grid connected wind farms which can support improved energy security, improved air quality, alternative sustainable energy futures, improved local livelihoods and sustainable renewable energy industry development.

Main goals of the project include;

- Utilization of the renewable energy potential of Turkey in order to meet rapidly

increasing electricity demand and contribute achieving energy security.

- Increase share of WPPs in electricity generation mix of Turkey and reduction of

GHG emissions.

- Contribute to the national economic development by creating direct and indirect

job opportunities during construction and operation phases.

- Reduce import dependency of fossil fuel dominated electricity sector and diversify

generation mix through use of local resources.

- Contribution to sustainable development through supporting local community

and local economy.

The project activities have replaced the grid electricity, which is constituted of different fuel sources causing greenhouse gas emissions. By replacing in the consumption of these fuels, it contributes to conservation of water, soil, flora and faunas and transfers these natural resources and the additional supply of these primary energy sources to the future generations as well. In the absence of the project activity, an equivalent amount of electricity would have been generated from the power plants connected to the grid, majority of which are based on fossil fuels. Thus, the project is replacing the greenhouse gas emissions (CO2, CH4) and other pollutants (SOX, NOX, particulate matters) occurring from extraction, processing, transportation and burning of fossil-fuels for power generation connected to the national grid.

This project has helped accelerating the growth of the wind power industry and stimulate the designation and production of renewable energy technologies in Turkey. Then, other entrepreneurs irrespective of sector have been encouraged to invest in wind power generations. It has also assisted reducing Turkey’s increasing energy deficit and diversify the electricity generation mix while reducing import dependency, especially natural gas. Importantly, rural development have been maintained in the areas around the project site by providing infrastructural investments to these remote villages.

The employment of local people that have necessary technical qualifications for the required post has been the priority and enhanced by all project activities during construction and operation of wind farm. As a result, local poverty and unemployment have been partially eliminated by increased job opportunities and project business activities. Construction materials for the foundations, cables and other auxiliary equipment were preferentially be sourced locally. Moreover, as contribution of the project to welfare of the region, the quality of the electricity consumed in the region has been increased by local electricity production, which also contributes decreasing of distribution losses.

Implementation of the proposed project has made significant contributions to wider deployment of wind power technology in local and national level. It has demonstrated the viability of larger grid connected wind farms, which supports improved energy security, alternative sustainable energy, and renewable energy industry development as well. This also strengthened pillars of Turkish electricity supply based on ecologically sound technology.

### Location of project

The Project located near Sülaymaniye, Bayramiç, Elmalı villages of Sadilli district in Tekirdağ, Turkey. The coordinates of the turbines are given below. Project license is for 14 turbines with the 2.75 MW output. The coordinates of the turbines are given in Table 3.

Table 3. Geographical Coordinates of the Turbines of Sadilli WWP1

| Turbine Number | Y | X |
| --- | --- | --- |
| T1 | 40° 45' 04" | 26° 53' 13" |
| T2 | 40° 44' 54" | 26° 53' 27 |
| T3 | 40° 44' 59" | 26° 53' 47" |
| T4 | 40° 45' 5" | 26° 53' 56" |
| T5 | 40° 45' 10" | 26° 54' 14" |
| T6 | 40° 45' 18" | 26° 54' 27" |
| T7 | 40° 45' 11" | 26° 54' 38" |
| T8 | 40° 45' 9" | 26° 54' 51" |
| T9 | 40° 45' 15 " | 26° 55' 5" |
| T10 | 40° 45' 19 " | 26° 55' 20" |
| T11 | 40° 45' 26" | 26° 55' 25" |
| T12 | 40° 45' 13" | 26° 55' 26" |
| T13 | 40° 45' 7" | 26° 55' 36" |
| T14 | 40° 45' 1" | 26° 55' 46" |

1 Coordinates given in the generation licence of the project (which are in Standard UTM Coordinates at 35th Zone) are converted to Degress, Minutes and Seconds using this link: http://www.rcn.montana.edu/Resources/Converter.aspx

Figure 1. Project Location on Turkey Map

### Reference of applied methodology

For the determination of the baseline, the official methodology ACM0002 version 20.0.0, “Grid-connected electricity generation from renewable sources” , is applied, using conservative options and data as presented in the following section. This methodology refers to four Tools, which are:

1.	Tool to calculate the emission factor for an electricity system (Version 07.0.0);

2.	Tool for the demonstration and assessment of additionality (Version 07.0.0);

3.	Tool to determine the remaining lifetime of equipment (Version 01.0.0);

4.	Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period (Version 03.0.1)

### Crediting period of project

The first crediting period starts following the commissioning of the power plant which was to be 27/10/2014. The second crediting period is from 27/10/2021 to 26/10/2028. Both dates are included. The current monitoring period is included in the second crediting period because the monitoring period is from 27/10/2021 to 27/09/2023. (The crediting period of the project is 7 years which is once renewable.)

# IMPLEMENTATION OF PROJECT

### Description of implemented project

Table 4. Milestones of the Sadilli WPP

| Date | Milestone |
| --- | --- |
| 01/11/2007 | EMRA is applied for the license |
| 15/02/2012 | License is issued by EMRA |
| 15/11/2011 | Proposals for carbon development are collected (prior consideration) |
| 29/12/2011 | Confirmation for going ahead with carbon development services |
| 26/01/2012 | EIA exemption permit acquired. |
| 28/02/2012 | Equipment order is signed. |
| 06/08/2012 | Agreement with the construction company is signed. |
| 03/09/2012 | Mobilisation on site is initiated (road construction etc.). |
| 19/12/2012 | Loan agreement is signed. |
| 26/12/2012 | Final license amendment application is made to EMRA. |
| 01/05/2013 | Estimated operational start date (partial). |
| 12/12/2013 | EIA exemption permit is amended according to the turbine coordinate change. |
| 26/10/2014 | 3 turbines with 8.25 MWe capacity are started to operate and start date of the first monitoring period. (Provisional Acceptance date of the turbines T12-T13-T14) |
| 27/10/2014 | Start date of the 1st monitoring period of the 1st crediting period |
| 14/11/2014 | 5 turbines with 13.75 MWe capacity are started to operate (Provisional Acceptance date of the turbines T1-T5-T9-T10-T11) |
| 06/12/2014 | 6 turbines with 16.5 MWe capacity are started to operate (Provisional Acceptance date of the turbines T2-T3-T4-T6-T7-T8) |
| 31/03/2016 | End date of the 1st monitoring period of the 1st crediting period |
| 01/04/2016 | Starting date of the 2nd monitoring period of the 1st crediting period |
| 30/09/2017 | End date of the 2nd monitoring period of the 1st crediting period |
| 01/10/2017 | Starting date of the 3rd monitoring period of the 1st crediting period |
| 30/09/2019 | End date of the 3rd monitoring period of the 1st crediting period |
| 01/10/2019 | Starting date of the 4th monitoring period of the 1st crediting period |
| 26/10/2021 | End date of the 4th monitoring period of the 1st crediting period |
| 27/10/2021 | Start date of the 2nd crediting period |
| 27/10/2021 | Start date of the 1st monitoring period of 2nd crediting period |
| 27/09/2023 | End date of the 1st monitoring period of 2nd crediting period |

### Technology to be employed

The Project activity involves the generation of renewable energy from wind, thereby displacing grid electricity that is partly generated from fossil fuel fired power plants. The wind-driven blades are connected to an electricity generator, which produces electrical energy and supplies it to the grid without storage.

GE Energy, a wind turbine manufacturer, has been selected as equipment provider. The Project includes 14 turbines:

Table 5. Equipment Information

| Turbine number | Model of turbines | Explanation |
| --- | --- | --- |
| 14 x 2.75 MWe | GE 2.75-100 wind Turbine | The turbines are of similar model and the total capacity of the wind farm is 38.5 MWm. The total overall power supply is limited to 33 MWe in order to comply with the generation license. |

The turbines consist of the following components: rotor, drive train, gearbox, generator, cooling and filtration, braking system, nacelle, yaw system, tower, control and grid connection and lightning protection. The model of the turbines and their specifications are provided below:

Table 6. Specification of turbine units

| Component | Explanation/Specification |
| --- | --- |
| Model | GE 2.75-100 |
| Rated power | 2.75 MWe |
| Rotor diameter | 100 m |
| Tower | 85 m |

The wind turbines are connected to a medium voltage collection system at project site which are installed parallel to the site access roads to link each turbine. This system is connected to the substation at project site and from there to the national interconnected electric power grid system. Each turbine is equipped with a control unit so that various parameters of each turbine can be observed real time at the substation, and these data can also be obtained via internet from a distance.

Figure 2. Power curve of the GE 2.75 - 100 turbine

Figure 3. Project Boundary

    - Forward Action Requests

### FAR-1 from project design renewal:

“5.1.29: 1st verification shall be completed within two years after the certification is

achieved.”

### Answer to FAR-1 from project design renewal:

Looking at the date of the document GS1237_GS4GG Design Renewal Review_final_28092022.pdf, it is seen that starting the monitoring period process, and site visit are within 2 years.

### FAR-2 from project design renewal:

“5.1.39: An annual update report shall be provided to GS, when successfully Transitioned to GS4GG, for each monitoring year by the end of next calendar year for which verification is not completed.’’

### Answer to FAR-2 from project design renewal:

The report was uploaded to SustainCert for the year 2021 and the year 2022 report was uploaded by the end of the year 2023.

### Post-Design Certification changes

    - Temporary deviations from the approved Monitoring & Reporting Plan, methodology or standardized baseline

N/A

    - Corrections N/A

    - Changes to start date of crediting period

The first crediting period start date has been changed as 27/10/2014. Since, operation start date of the first three turbines was 27/10/2014, it can be considered as the actual start date of the project. In registered PDD, generation was expected to start on 01/05/2013 however, due to the fact that generation started on 27/10/2014 start date of the first crediting period is indicated as 27/10/2014. Provisional acceptance date of the first three turbines was 26/10/2014 however, electricity production starts at midnight at 12 am and operation start date can be considered as 27/10/2014. Calibration of the meters was conducted at the same day.

The reason for the delay of expected start date might be a misestimation while presenting PDD since it was an estimated date. Hence, actual start date of the project is operation start date of the first three turbines and date of calibration of the meters that is 27/10/2014.

    - Permanent changes from the Design Certified monitoring plan, applied methodology or applied standardized baseline

N/A

    - Changes to project design of approved project N/A

# DESCRIPTION OF MONITORING SYSTEM APPLIED BY

THE PROJECT

Data handling was slightly revised due to innovation in technology that enables TEİAŞ to read meters remotely. Thus, under this process, the meter is read remotely at the end of every month and published through website of TEİAŞ which can be accessed by project owner to check the correctness of the data. Besides, the data that is read by TEİAŞ, project owner carries monthly protocol to cross-check the data. Once the meter data is correct then the amount is also published in TEİAŞ website which is also accessible by project owner. When all data is correct, an invoice (receipt of sale) is prepared by Çanres Elektrik and delivered to TEIAŞ.

Generation data collected during crediting period is submitted to Life İklim ve Enerji LTD.ŞTI. who is responsible for calculating the emission reduction subject to verification: Generation data is used to prepare monitoring reports which are used to determine the vintage from the project activity. These reports are submitted to the duly authorized and appointed Designated Operational Entity ‘DOE’ before each verification period.

As the necessary baseline emission factors are all defined ex ante, the only information to be monitored is the amount of electricity fed into the grid by Sadilli WPP. The data which is base for the invoices and published in TEİAŞ website is used as input for emission reduction calculation.

The collected data is kept by Çanres Elektrik during the crediting period and until two years after the last issuance of VERs for the Sadilli WPP project activity for that crediting period. As of 01/09/2015, EPIAS took over the PMUM procedures from TEIAS. Since that date, EPIAS supplies the data.

Potential leakage emissions in the context of power sector projects are emissions arising due to activities such as power plant construction, fuel handling and land inundation. However, according to the methodology, those emission sources are treated as negligible.

The fact that two reliable meters are installed in a redundant manner keeps the uncertainty level of the only parameter for baseline calculation low. High data quality of this parameter is not only in the interest of the emission reduction monitoring, but paramount for the business relation between the plant operator and the electricity buyer. Since the meters are reading electricity supplied to the system and withdrawn from the system separately, the net electricity amount supplied to the grid was calculated by electricity supplied minus electricity withdrawn which was taken from monthly settlement notifications.

Monthly data from EPIAS are stored electronically on EPIAS website and this data can be accessed by login of Project Developer. Çanres Elektrik also stores a hardcopy of the monthly meter reading protocols for back up of systematic storage of data.

Moreover, there are always internal reviews of the meters data that is checked by different parties. First, data of the meters is collected by technicians daily in written forms. The data collected daily is saved in plant manager computer and backed up and shared by headquarter of Çanres Elektrik in Istanbul. Besides the data that can be gotten from meters, production amount can be checked from SCADA system of Nordex. SCADA figures differ a bit with meter data due to internal losses.

VER Team Members is expected to include the following staff :

Operation General Manager: Responsibility for running the plant and compliance with VER monitoring plan

Operation Manager: Responsible for keeping data about generation and consumption.

Operational technician: Ensuring the continuity of electricity generation, technical and administrative follow-up and management

and

Life İklim ve Enerji LTD.ŞTI.: Responsible for emission reduction calculations, preparing monitoring report and periodical verification process.

Operation and management diagram is presented in Figure 4.

Figure 4. Operation and Management Diagram of the Sadilli WPP

The electrical single line diagram is shown in Figure 5.

Figure 5. Electrical Single Line Diagram

The calibration of the monitoring equipment was carried out according to the information provided in the GS-VER PDD. The GS-VER PDD mainly includes the following obligation for the calibration of the appropriate meters:

“The Turkish Electricity Market Regulation Agency (EPDK) sets rules on the accuracy of electricity meters that are used by power plants feeding into the grid. The rules are part of the EPDK regulation 25056 from 22 March 2003. The table in Article 11 of the regulation specifies the use of electricity meters of the accuracy class 0.5S for power plants between 10 MW and 100 MW and refers to compliance with International Electro technical Commission’s norm EN 60687. TEIAŞ conducts remote reading. In addition, another technician, employee of Çanres Elektrik, conducts reading from the project site and sends to TEIAŞ. By this way, a crosscheck is done. Also, with the readings from project site, continuously these two meters are compared with each other and if any differences are detected the necessary control measures are taken.”

As the measuring devices are sealed by TEIAŞ, Çanres Elektrik cannot intervene with the devices. In case of unforeseen problems or failures of the meters or if any differences occur between primary and secondary devices TEIAŞ has to be informed for necessary maintenance and calibration. There is an agreement between Çanres Elektrik and TEIAŞ that in case of problems or failures of the meters TEIAŞ reacts as fast as possible to solve the problem.

As above mentioned, the data acquisition and management and quality assurance procedures that are anyway in place, no additional procedures necessarily to be established for the monitoring plan. Also, operational technicians ensure the continuity of electricity generation, technical and administrative follow-up and management.

In addition, while periodic calibration of the meters is done every 10 years, periodic test of the meters is also carried out once every 2 years.

Table 7. Specification of the Electricity Meters

| Name | Serial Number | Brand&Model | Accuracy Class | Year of Manufacture |
| --- | --- | --- | --- | --- |
| Main Meter | 8088831 | EMH – LZQJ-XC | 0.5S | 2018 |
| Back-up Meter | 8088832 | EMH – LZQJ-XC | 0.5S | 2018 |

Meter Exchange Protocol dated 03/10/2019

For the Main and Back-up Meter Test dated 20/12/2021.

# DATA AND PARAMETERS

### Data and parameters fixed ex ante or at renewal of crediting period

| Data/parameter | EFgrid,CM,y |
| --- | --- |
| Unit | tCO2/MWh |
| Description | For the combined margin CO2 emission factor that were used to calculate estimated emission reductions, publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey’s National Electric Grid Emission Factor for the year of 2019 was used. |
| Source of data | Please see: https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular/Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf |
| Value(s) applied | 0.6482 tCO2/MWh |
| Choice of data or Measurement methods and procedures | The baseline emissions are the product of electrical energy baseline expressed in MWh of electricity produced by the renewable generating unit multiplied by an emission factor. |
| Purpose of data | To show CO2e reduction in order to monitor the SDG 13 Indicator. |
| Additional comment | - |

| Data/parameter | EFgrid,BM,y |
| --- | --- |
| Unit | tCO2/MWh |
| Description | For the emission BM factor, that were used to calculate estimated emission reductions, publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey’s National Electric Grid Emission Factor for the year of 2019 was used. Publication includes calculated Emission Factor values that are Operating Margin (OM), Growth Based Margin (Build Margin-BM) and Combined Margin (CM) Emission Factors, for the relevant year with usage of the IPCC’s Clean Development Methodology Tool 07-V06.0. |
| Source of data | Please see: https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular/Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf |
| Value(s) applied | 0,4153 tCO2/MWh |
| Choice of data or Measurement methods and procedures | Ministry of Energy and Natural Resources makes available the official data in Turkey. The latest data available during PDD preparation was for 2019. |
| Purpose of data | Used for baseline emissions |
| Additional comment | - |

| Data/parameter | EFgrid,OM,y |
| --- | --- |
| Unit | tCO2/MWh |
| Description | For the emission OM factor, that were used to calculate estimated emission reductions, publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey’s National Electric Grid Emission Factor for the year of 2019 was used. Publication includes calculated Emission Factor values that are Operating Margin (OM), Growth Based Margin (Build Margin-BM) and Combined Margin (CM) Emission Factors, for the relevant year with usage of the IPCC’s Clean Development Methodology Tool 07-V06.0. |
| Source of data | Please see: https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular/Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf |
| Value(s) applied | 0,7258 tCO2/MWh |
| Choice of data or Measurement methods and procedures | Ministry of Energy and Natural Resources makes available the official data in Turkey. The latest data available during PDD preparation was for 2018. |
| Purpose of data | Used for baseline emissions |
| Additional comment | - |

| Data/parameter | Gross electricity generation |
| --- | --- |
| Unit | MWh |
| Description | Gross Electricity supplied to the grid (2019) |
| Source of data | Turkish Electricity Transmission Company (TEİAŞ), Annual Development of Turkey’s Gross Electricity Generation of Primary Energy Resources (2019) TEİAŞ |
| Value(s) applied | TEİAŞ (2019), please see: https://webapi.teias.gov.tr/file/5b2fb3e8-bf05-48b1-b2f0-20139c0cc7fb?download |
| Choice of data or Measurement methods and procedures | TEIAS is the national electricity transmission company, which makes available the official data of all power plants in Turkey. |
| Purpose of data | Used for baseline emissions |
| Additional comment | - |

| Data/parameter | Balance of payments and investment |
| --- | --- |
| Unit | - |
| Description | Savings on natural gas imports |
| Source of data | Monthly meter readings |
| Value(s) applied | Avoidance of around 23,498,657 m3 natural gas import each year by generation (112.0 GWh/y) of project activity, which is worth about 5,255,662 EUR per year. |
| Choice of data or Measurement methods and procedures | According to TEİAŞ; 19,568,140 thousand m3 natural gas is consumed for electricity generation in 2018. In 2018 Electricity generation amount from natural gas is 92,483 GWh. Since Turkey imports 99.16% of consumed natural gas, it is calculated that for 1 GWh electricity generation 209,809.44 m3 natural gas is imported in 2018. Amount of annual net electricity generation, which is calculated by monthly settlement notifications of EPİAŞ based on monthly meter readings, will be used to calculate correspondent amount of currency saved by project activity with help of above calculated factor. |
| Purpose of data | Ensure access to affordable, reliable, sustainable and modern energy. |
| Additional comment |  |

| Data/parameter | Average amount of wastewater discharged |
| --- | --- |
| Unit | m3/GWh |
| Description | Average amount of wastewater discharged per GWh |
| Source of data | Turkish Electricity Transmission Company (TEİAŞ), Annual Development of Turkey’s Gross Electricity Generation of Primary Energy Resources (2018) Turkish Statistical Institute (TURKSTAT), Wastewater Discharged by Thermal Power Plants (2018) |
| Value(s) applied | 24.7 m3/GWh (According to official data links given below, 24.7 m3 wastewater is discharged the environment due to each GWh electricity produced) TEİAŞ (2018) please see ; https://webapi.teias.gov.tr/file/512cbf1d-0ca3-4492-b901-3722c7b682f7?download TURKSTAT (2018) please see; https://data.tuik.gov.tr/Bulten/Index?p=Sektorel-Su-ve-Atiksu-Istatistikleri-2018-30673 |
| Choice of data or Measurement methods and procedures | Coefficient for wastewater avoidance from potential cooling water operations calculated by taking Total Waste Water Discharged by Thermal Power Plants in the related year (publication of TURKSTAT data for the year of 2018, which is the most recent available data, was used) and Net Electricity Generation in the related year (publication of TEİAŞ data for the year of 2018 was used) TEIAS is the national electricity transmission company, which makes available the official data of all power plants in Turkey. TURKSTAT compile, evaluate, analyses and publish official statistics in the fields of economy, social issues, demography, culture, environment, science and technology, and in the other required areas in Turkey. |
| Purpose of data | Avoidance wastewater discharge to the environment |
| Additional comment | - |

### Data and parameters monitored

| Relevant SDG Indicator/Safeguarding Principle | SDG 13: Climate action Target: 13.3 by emission reduction Indicator: 13.3.1 |
| --- | --- |
| Data / Parameter | ERy |
| Unit | tons of CO2e/year |
| Description | Baseline emissions correspond to emission reductions and are calculated as the net electricity generated by the project activity, multiplied with combined margin CO2 emission factor for grid connected power generation in year y. |
| Source of data | Both measured and calculated Emission reductions are be calculated as considering the EPIAS records for the net electricity generated and the emission factor for the grid, 0.6482 tCO2/MWh, which is calculated and published by The Ministry of Energy and Natural Resources of Turkey As per monitoring plan sheet of registered CM Excel. During the verification, the results shall be obtained from the Actual ER excel file. |
| Value(s) applied | 82,307 tCO2/year |
| Measurement methods and procedures | Amount of annual net electricity generation, which is calculated by monthly settlement notifications of PMUM based on monthly meter readings, will be used to calculate estimated CO2 emission reduction by project activity. |
| Monitoring frequency | Annually |
| QA/QC procedures | - |
| Purpose of data | Calculation of combined margin CO2 emission factor and thus the baseline emissions-to demonstrate contribution to SDG Target 13.3: Improve education, awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning |
| Additional comment | - |

| Relevant SDG Indicator/Safeguarding Principle | SDG 6: Clean water and Sanitation Target: 6.3 Indicator: 6.3.1 |
| --- | --- |
| Data / Parameter | Water Quality and Quantity |
| Unit | m3/year |
| Description | Average amount of wastewater discharged per GWh |
| Source of data | EPİAŞ based on monthly meter readings |
| Value(s) applied | Avoidance of around 6,021.4 x1000 m3 wastewater discharge to the environment during MP. |
| Measurement methods and procedures | Coefficient for wastewater avoidance from potential cooling water operations calculated by taking Total Wastewater Discharged by Thermal Power Plants in the related year and Net Electricity Generation in the related year. |
| Monitoring frequency | Annually |
| QA/QC procedures | - |
| Purpose of data | Avoidance wastewater discharge to the environment |
| Additional comment | - |

| Relevant SDG Indicator/Safeguarding Principle | SDG 8: Decent work and economic growth Target: 8.8 by employment and decent work Indicator: 8.8.2 |
| --- | --- |
| Data / Parameter | Quality of employment |
| Unit | - |
| Description | Quality of employment |
| Source of data | Health & Safety trainings |
| Value(s) applied | All employees attended trainings on Health and Safety. HSE trainings are held for employees at the plant. |
| Measurement methods and procedures | Training attendance list and/or certificates |
| Monitoring frequency | Annually (Once at the end of the each monitoring period). After first verification period, only new cases will be reported. |
| QA/QC procedures | Attendance records or training certificates are provided during each monitoring period |
| Purpose of data | To exhibit employment performance of the plant |
| Additional comment | - |

| Relevant SDG Indicator/Safeguarding Principle | SDG 7: Affordable and clean energy Target: 7.2 by using renewable energy systems Indicator: 7.2.1 |
| --- | --- |
| Data / Parameter | EGfacility,y |
| Unit | MWh/yr |
| Description | Quantity of net electricity generation supplied by the project plant to the grid in year y |
| Source of data | Electricity meter(s) |
| Value(s) applied | 126,980.43 MWh/year |
| Measurement methods and procedures | • Regarding the electricity meters: two meters are placed (one main and one reserve) at the Şadıllı WPP which meters the electricity transferred to TEİAŞ substation. These meters are sealed by TEIAS and intervention by project proponent is not possible. The fact that two meters are installed in a redundant manner keeps the uncertainty level of the only parameter for baseline calculation low. High data quality of this parameter is not only in the interest of the emission reduction monitoring, but paramount for the business relation between the plant operator and the electricity buyers. Measured hourly and readings monthly. Monthly settlement notifications of PMUM (Piyasa Mali Uzlaştırma Merkezi) consist hourly electricity production and withdrawn from the grid. Since the meters are reading electricity supplied to the system and withdrawn from the system separately, the net electricity amount supplied to the grid is calculated by electricity supplied minus electricity withdrawn which is be taken from monthly settlement notifications. The above described measurement method follows Article 81 of the official regulation “Electricity Market Balancing And Settlement Regulation” |
| Monitoring frequency | Monthly |
| QA/QC procedures | According to the Article 2 of the Communiqué of Meters in Electricity Sector: ‘The meters to be used in the electricity market shall be compliant with the standards of Turkish Standards Institute or IEC and have obtained “Type and System Approval” certificate from the Ministry of Trade and Industry.’ Therefore, Ministry of Trade and Industry (Ministry is responsible from control and calibration of the meters. Also according to Article 11 of this Communiqué, meters shall be in class of 0.5s, which means error interval for measuring is in +-0.5% range which is well acceptable according to rules. Paragraph b) of the Article 9 of the 'Regulation of Metering and Testing of Metering Systems' (Regulation) of Ministry states that: ‘ b) Periodic tests of meters of electricity, water, coal gas, natural gas and current and voltage transformers are done every 10 years.’ Therefore, periodic calibration of the meters will be done every 10 years. Periodic test of the meters is also carried out once every 2 years. Also according to Article 67 (page 20) of this regulation, the calibration shall be done in calibration stations which have been tested and approved by Ministry of Trade and Industry. Article 10 d) of Communiqué requires the meters shall be three phase four wire and Article 64 of Regulation clearly states how calibration shall be performed for this kind of meters. On 03.10.2019, both main and backup meters have been changed as their official seals were expired. After 03.10.2019, following meters are being used. The specification of current electricity meters are provided below: Current Main Electricity Meter with accuracy class of 0.5 S. Manufacturer: EMH Brand-Model: LZQJ-XC Serial Number: 8088831 Date of installation 03/10/2019 Date of calibration (First Index Procokol) : 03/10/2019 Validity of calibration: 03/10/2029 Year of Manufacture: 2018 Current Back-up Electricity Meter with accuracy class of 0.5 S. Manufacturer: EMH Brand-Model: LZQJ-XC Serial Number: 8088832 Date of installation: 03/10/2019 Validity of calibration: 03/10/2029 Date of calibration (First Index Protocol) : 03/10/2019 Year of Manufacture: 2018 As above mentioned, the data acquisition and management and quality assurance procedures that are anyway in place, no additional procedures have to be established for the monitoring plan. |
| Purpose of data | To exhibit renewable electricity generation performance the plant |
| Additional comment | Plant Manager is responsible for monitoring data. |

| Relevant SDG Indicator/Safeguarding Principle | SDG 8: Decent work and economic growth Target: 8.8 by employment and decent work Indicator: 8.8.2 |
| --- | --- |
| Data / Parameter | Quantitative employment and income generation |
| Unit | - |
| Description | Number of employments |
| Source of data | Social security records |
| Value(s) applied | The Project employs 9 people (4 of them are local) during operation. Social security records of all 9 employees have been provided. |
| Measurement methods and procedures | Social Security System (SGK) records. Project owner will employ workers from the local villages in the Şadıllı WPP. |
| Monitoring frequency | Each monitoring period. |
| QA/QC procedures | SGK records of employees are provided during each monitoring period |
| Purpose of data | Employment and decent work for all |
| Additional comment | - |

| Relevant SDG Indicator/Safeguarding Principle | SDG 7: Affordable and clean energy Target: 7.2 by using renewable energy systems Indicator: 7.2.1 |
| --- | --- |
| Data / Parameter | Balance of payments and investment |
| Unit | - |
| Description | Savings on natural gas imports |
| Source of data | Monthly meter readings |
| Value(s) applied | According to TEİAŞ; 19,568,140 thousand m3 natural gas is consumed for electricity generation in 2018. In 2018 Electricity generation amount from natural gas is 92,483 GWh. Since Turkey imports 99.16% of consumed natural gas, it is calculated that for 1 GWh electricity generation 209,809.44 m3 natural gas is imported in 2018. Avoidance of around 51,166,648.18 m3 natural gas import during MP by generation of project activity, which is worth about 11,443,828.35 EUR during MP. |
| Measurement methods and procedures | TEİAŞ statistics for natural gas share in the electricity mix shall help to demonstrate the high import dependency. Amount of annual net electricity generation, which is calculated by monthly settlement notifications of EPİAŞ based on monthly meter readings, is used to calculate correspondent amount of currency saved by project activity with help of above calculated factor. |
| Monitoring frequency | Annually |
| QA/QC procedures |  |
| Purpose of data | Ensure access to affordable, reliable, sustainable, and modern energy. |
| Additional comment | - |

### Comparison of monitored parameters with last monitoring period

N/A

### Implementation of sampling plan

N/A

# CALCULATION OF SDG IMPACTS

### Calculation of baseline value or estimation of baseline situation of each SDG Impact

Used Formulas:

## FOR SDG 13

There is no similar activity to combat with climate change on project site and nearby area for baseline situation. This project generates clean energy which also does not cause greenhouse gas emission during electricity generation. The project leads to mitigation of 158,067 tCO2 for this monitoring period contributed to the target of SDG 13.

Realized baseline emissions.

BE2021= (27,210.582 MWh) x (0.6482 tCO2/MWh) = 17,637 tCO2

BE2022= (130,973.019 MWh) x (0.6482 tCO2/MWh) = 84,890 tCO2

BE2023= (85,688.405 MWh) x (0.6482 tCO2/MWh) = 55,540 tCO2

Total: 158,067 tCO2

EGbaseline is considered as zero.

The energy generating equipment is not transferred from or to another activity. Therefore, leakage is also considered as “0”.

LEy = 0

The project activity involves the generation of electricity by a wind power plant therefore project activity does not result in greenhouse gas emissions.

PEy = 0

## FOR SDG 6

The project activities replace the grid electricity, which is constituted of different fuel sources causing greenhouse gas emissions. By replacing in the consumption of these fuels, it contributes to conservation of water. Amount of wastewater to be discharged to the environment is decreased.

| Amount of Avoided Cooling Wastewater Discharge by Project Activity per year | = | Annual Electricity Generation of Project Activity within in MP | x | Average Amount of Wastewater Discharged per each GWh Electricity Generation |
| --- | --- | --- | --- | --- |

The project is to avoid of 3,135.8 x 1000 m3 cooling wastewater discharge to the environment during this monitoring period.

Additionally, the project activity causes a domestic wastewater discharge, which is

calculated as follow:

| Amount of Wastewater Discharged by Project Activity per year | = | Number of employees | x | Daily water usage per worker | x | 365 |
| --- | --- | --- | --- | --- | --- | --- |

Daily wastewater discharge of a person is found to be 0.150 m3 by the TURKSTAT. Assuming the project employs at least 9 people, the total wastewater discharge of these 9 people in one year will amount to 9 x 0.150 x 365 =492.75 m3 which is equal to 0.493 x 1000 m3 /yr.

So that,

Net Amount of Avoided Wastewater Discharge by Project Activity = Amount of Avoided Cooling Wastewater Discharge by Project Activity - Amount of Generated Domestic Wastewater Discharge by Project Activity

Net Amount of Avoided Wastewater Discharge by Project Activity= 3,135.8 – 0.493= 3,135.3 x1000 m3/yr.

## FOR SDG 7

There is no clean energy generation for the baseline situation of the project site. The project generates 243,872.01 MWh for this monitoring period according to generation report and contributes to share of low-cost / must-run sources. The on-site meter and EPIAS records are used to calculate the electricity generation during the monitoring period.

Balance of Payments and Investment:

With 126,980.43 MWh power generation annually, the project is expected to avoid around 26,641,693 m3 natural gas import each year by generation of project activity, which is worth about 5,958,627 EUR per year.

Annual avoided natural gas import will be calculated as follows:

Annually Avoided Natural Gas Import=( Amount of Natural Gas Combusted for Electricity GenerationAmount of Electricity Generated with Natural Gas X (Share of Import for Natural Gas Consumption in Turkey) x  (Net Annual Electricity Generation of Project Activity)

Value Avoided Imported Natural Gas by Project Activity (TL) will be calculated as follows:

=Value Avoided Imported Natural Gas by Project Activity TL                                         =Amount of Avoided Imported Natural Gas by Project Activity m3 x Price of Gas (TL/ m3) in Turkey

Value Avoided Imported Natural Gas by Project Activity (EUR) will be calculated as follows:

Value Avoided Imported Natural Gas by Project Activity (EUR) =Value Avoided Imported Natural Gas by Project Activity (TL) EUR/TL (rate of Exchange for 2018)

## FOR SDG 8

There is no employment opportunity and training for employee as project created within the project area and nearby settlements for baseline situation. Project contributes to qualified decent work and economic growth could be expressed as following target:

Target 8.5: “By 2030, achieve full and productive employment and decent work for all

women and men, including for young people and persons with disabilities, and equal

pay for work of equal value.”

Target 8.8: “Protect labor rights and promote safe and secure working environments

for all workers, including migrant workers, in particular women migrants, and those in

precarious employment”.

### Calculation of project value or estimation of project situation of each SDG Impact

## FOR SDG-13

The proposed project activity involves the generation of electricity by development of a wind farm. The generation of electricity does not result in greenhouse gas emissions and therefore is taken as 0 tCO2/year.

## FOR SDG 6

## SDG 6 parameter has been evaluated and discharge wastewater is negligible during the monitoring period. Therefore, wastewater value is zero for this part.

## FOR SDG 8

The employment of local people that have necessary technical qualifications for the required post has been the priority and enhanced by all project activities during construction and operation of wind farm. As a result, local poverty and unemployment has been partially eliminated by increased job opportunities and project business activities. The number of employees has been reached via the Social Security Institution records. 9 workers are employed and 4 of them are locals. All employees at the plant are provided Health&Safety Trainings annually.

## FOR SDG 7

The project generates 243,872.01 MWh for the whole monitoring period (701 days) and contributes to share of low-cost / must-run sources.

There is no natural gas import caused by the Project.

### Calculation of leakage

LEy is 0, as it is not considered according to ACM0002. PEy is 0 because project is a wind power generation activity.

### Calculation of net benefits or direct calculation for each SDG Impact

| SDG | SDG Impact | Baseline estimate | Project estimate | Net benefit |
| --- | --- | --- | --- | --- |
| 13 | CO2 Emission Reduction | CO2 Emission: 158,067 tCO2 | CO2 Emission: 0 tCO2 | CO2 Emission: 158,067 tCO2 |
| 7 | Electricity Generation | Access to affordable and clean energy services: 0 MWh Balance of payments and investment: 11,443,828.35 EUR natural gas import | Access to affordable and clean energy services: 243,872.01 MWh Balance of payments and investment: 0 EUR natural gas import | Access to affordable and clean energy services: 243,872.01 MWh Balance of payments and investment: Avoidance of 11,443,828.35 EUR natural gas import |
| 8 | Quantitative Employment And Income Generation & Qualitative Employment | Quantitative Employment: No employment. Qualitative Employment: No training | Quality of Employment: Training certificates are provided. Health&Safety Trainings have been held annually and 9 plant employees have attended to those trainings. Quantitative Employment and Income Generation: Current employment records are presented. There are 9 employees working in the plant. | Quality of Employment: Training certificates are provided. Health&Safety Trainings have been held annually and 9 plant employees have attended to those trainings. Quantitative Employment and Income Generation: Current employment records are presented. There are 9 employees working in the plant. |
| 6 | Water Quality | Around 6,022.4 x1000 m3 cooling wastewater discharge. | 0.946 x1000 m3 wastewater discharge. | Avoidance around 6,021.4 x1000 m3 wastewater discharge. |

  - Comparison of actual SDG Impacts with estimates in approved PDD

| SDG | Values estimated in ex ante calculation of approved PDD for this monitoring period | Actual values achieved during this monitoring period |
| --- | --- | --- |
| 13 | Emission Reduction: 139,428 tCO2 | Emission Reduction: 158,067 tCO2 |
| 7 | Access to affordable and clean energy services: 215,101 MWh Balance of payments and investment: 10,093,750.85 EUR natural gas import was avoided by generation of project activity. | Access to affordable and clean energy services: 243,872.01 MWh Balance of payments and investment: 11,443,828.35 EUR natural gas import was avoided by generation of project activity. |
| 8 | Quality of Employment: All employees at the plant are provided Health&Safety Trainings annually. Quantitative Employment and Income Generation: More than 20 employee | Quality of Employment: 9 employees at the plant are provided Health&Safety Trainings annually. Quantitative Employment and Income Generation: 9 employees (4 of them are local) |
| 6 | Water Quality: Avoidance around 5,310.89 x1000 m3 wastewater discharge. Wastewater disposal: The Project is expected to generate 3 m3/day household type wastewater, which will be stored in a septic tank on site and disposed of in accordance with regulations. | Water Quality: Avoidance around 6,021.4x 1000 m3 wastewater discharge. Wastewater disposal: The Project generated 1.5 m3/day (9 workers x0.15 m3/workers.day=1.35 m3/day) household type wastewater, which is stored in a septic tank on site and disposed of in accordance with regulations. Wastewater transfer receipts are provided. |

Names of Employees:

| Name – Surname | Local or Not |
| --- | --- |
| - E. Demirhan | Not Local |
| - L.Ö. Kavuncu | Not Local |
| - M. Demir | Local |
| - M. Bingül | Not Local |
| - M. İşcan | Local |
| - M. Çimen | Local |
| - O. Gültekin | Local |
| - V. Başkaya | Not Local |
| - S. Kartal | Not Local |

Occupational Health & Safety Training Records of Employees:

| Name – Surname | Date |  |  |  |
| --- | --- | --- | --- | --- |
| E. Demirhan | 25/05/2022 | 04/07/2023 | 26/12/2023 |  |
| L.Ö. Kavuncu | 09/08/2021 | 26/07/2021 | 23/08/2022 | 07/11/2023 |
|  | 12/12/2023 |  |  |  |
| M. Demir | 11/05/2022 | 04/07/2023 | 26/12/2023 |  |
| M. Bingül | 05/04/2022 | 04/07/2023 | 07/11/2023 |  |
| M. İşcan | 11/05/2022 | 26/12/2023 |  |  |
| M. Çimen | 07/03/2022 | 07/11/2023 |  |  |
| O. Gültekin | 11/04/2022 |  |  |  |
| V. Başkaya | 09/08/2021 | 26/07/2021 | 29/08/2022 | 02/09/2022 |
|  | 07/11/2023 | 12/12/2023 |  |  |
| S. Kartal | 03/06/2021 | 10/06/2022 | 04/07/2023 |  |

Occupational health and safety trainings have been provided in 2021, 2022, 2023 and 9 employees are attended to the trainings.

    - Explanation of calculation of value estimated ex ante calculation of approved PDD for this monitoring period

Estimated emission reduction in ex ante calculation of registered PDD is 72,598 tCO2, which corresponds to 139,428 tCO2 for 701 days. And actual emission reduction achieved during this monitoring period is 158,067 tCO2 (for (27/10/2021 - 27/09/2023), 701 days).

Estimated electricity generation calculation of registered PDD is 112,000 MWh/y, which corresponds to 215,101 MWh for 701 days. And actual electricity generated achieved during this monitoring period is 243,872.01 MWh (for (27/10/2021 - 27/09/2023), 701 days).

Estimated natural gas import avoided calculation of registered PDD is 5,255,662 EUR, which corresponds to 10,093,750.85 EUR for 701 days. And actual natural gas import avoided during this monitoring period is 11,443,828.35 EUR (for (27/10/2021 - 27/09/2023), 701 days).

Amount of avoided wastewater discharge calculation of registered PDD is 2,765.30 x 1000 m3/y, which corresponds to 5,310.89 x1000 m3 for 701 days. And actual avoided wastewater discharge achieved during this monitoring period is 6,021.4 x1000 m3.

### Remarks on increase in achieved SDG Impacts from estimated value in approved PDD

Initial investment analysis, which was made during the validation process of the project, has 112,000 MWh annual electricity generation according to the feasibility study. The Project IRR calculations were carried out for two scenarios which are IRR with carbon credits and IRR without carbon credits. Project IRR was 5.0% with carbon credits and it was 4.2% without carbon credits. The benchmark discount rate was determined as 8.4%.

In this MP, annual electricity generation is 126,980.43 MWh. There is a difference between estimated and actual values which is calculated as 13.375%. This difference is due to the change in wind potential. Project IRR is checked by using the actual electricity generation which is 126,980.43 MWh. According to this, project IRR is calculated as 6.73% with carbon credits and it was 5.93% without carbon credits, which is still lower than the calculated benchmark (8.4%) in registered PDD. Consequently, the difference in electricity generation is not impacting the additionality of the project since the calculated IRR with actual annual generation is well below the benchmark. For this reason, the project is still additional. The IRR analysis calculated by changing the electrical data have been provided to VVB.

Estimated emission reduction in ex ante calculation of registered PDD is 139,428 tCO2. And actual emission reduction achieved during this monitoring period is 158,067tCO2. When they are compared, actual emission reduction achieved during this monitoring period is more than the estimated figure. This situation is arisen from the unexpected wind trend in the project location. Wind potential might have changed. However, when it is compared, actual emission reduction achieved during this monitoring period is acceptable. Because net difference between estimated and actual emission reduction for the project activity is 13.37%.

Estimated values for electricity generation, and natural gas import avoided calculation of registered PDD are 215,101 MWh, and 10,093,750.85 EUR respectively. Actual values are 243,872.01 MWh, and 11,443,828.35 EUR respectively. The values such as emission reduction and natural gas import avoided are calculated directly based on electricity generation. Therefore, net difference between estimated and actual values is 13.38% for electricity generation, CO2 and natural gas import avoided. This difference is also due to the change in wind potential. Amount of avoided wastewater discharge calculation is also related with the electricity generation, and it is also expected that there will be a difference between estimated and actual values because of the wind potential.

However, amount of wastewater discharged by the employees should also be considered for the calculation of avoided wastewater discharge. Estimated Amount of avoided wastewater discharge 5,310.89 x1000 m3 and actual value is 6,021.4 x1000 m3 during the monitoring period. So, net difference between estimated and actual amount of avoided wastewater discharge for the project activity is 13.38%.

# SAFEGUARDS REPORTING

| Relevant SDG Indicator/Safeguarding Principle | Other Safeguarding Principle: 3.9.1 Landscape Modification and Soil |
| --- | --- |
| Data / Parameter | Other |
| Unit | N/A |
| Description | Erosion risk control at new roads |
| Source of data | Observation |
| Value(s) applied | According to the interview with Şadıllı WPP personnel, there is no problem with erosion at the new roads. The roads are maintained regularly. |
| Measurement methods and procedures | Visual inspection whether the roads have caused significant erosion. |
| Monitoring frequency | Only once during the first verification for second crediting period |
| QA/QC procedures | - |
| Purpose of data | Soil Condition |
| Additional comment | - |

| Relevant SDG Indicator/Safeguarding Principle | Other Safeguarding Principle: 3.9.2 Vulnerability to Natural Disaster |
| --- | --- |
| Data / Parameter | Other |
| Unit | N/A |
| Description | Earthquake risk |
| Source of data | EIA study |
| Value(s) applied | In the HSE (occupational health and safety) trainings, all employees are informed related to the earthquake. |
| Measurement methods and procedures | Earthquake insurance is taken out for the project. |
| Monitoring frequency | Only once during the first verification for second crediting period |
| QA/QC procedures | - |
| Purpose of data | Soil Condition |
| Additional comment | - |

| Relevant SDG Indicator/Safeguarding Principle | Other Safeguarding Principle: 3.9.4 Release of pollutants |
| --- | --- |
| Data/parameter: | Other Pollutants |
| Unit | N/A |
| Description | a) Noise level during operation of the project activity. b) Waste oil amount c) Solid household waste |
| Source of data | a) Interview with the head of village b) Removal receipts c) Garbage bins’ photos |
| Value(s) applied) | - The project owner has good communication with local people and will take an action if local people have any complaints about noise in the future. During the site visit, it was conducted a meeting with head of village and stakeholders. According to the interview, no negative feedback has been received regarding noise. - Solid household waste from daily operations is disposed of properly. Waste oil etc. (gearbox oil waste, oil filters etc.) is collected on site and disposed by licensed companies according to legal requirements. Removal receipts and garbage bins’ photos are checked. - Garbage bins’ photos are provided. |
| Measurement methods and procedures | a) The noise level from turbines is interviewed to the head of village b) Receipts of transfer of waste oil are checked c) Garbage bins’ photos are checked |
| Monitoring frequency | a) At least once for each monitoring period b) At least once for each monitoring period c) At least once for each monitoring period |
| Purpose of data | Sustainably manage forests, combat desertification, halt and reverse land degradation, halt biodiversity loss. |
| Additional comments | - |

| Relevant SDG Indicator/Safeguarding Principle | Other Safeguarding Principle:3.9.10 High Conservation Value Areas and Critical Habitats |
| --- | --- |
| Data/parameter: | Biodiversity |
| Unit | N/A |
| Description | Impact on bird migration routes |
| Source of data | Letter from the personnel or Ornithology report |
| Value(s) applied) | PP conducted an assessment of the impact of project on bird life during reproduction period in 2020. After that, it was decided that Ornithology report is repeated every 3 years. Therefore, new ornithology report are completed for the year 2023. According to the findings of the studies, It has been observed that the mortality effect of turbines on birds in the Şadıllı WPP is very low. |
| Choice of data or measurement methods and procedures | No bird mortality. The ornithological study states that the project is not expected to have a negative impact on birds. |
| Monitoring frequency | Once in a monitoring period |
| QA/QC procedures | - |
| Purpose of data | Preventing bird collisions. |

| Relevant SDG Indicator/Safeguarding Principle | Other Safeguarding Principle: 3.4 Cultural Heritage, Indigenous Peoples, Displacement and Resettlement |
| --- | --- |
| Data/parameter: | Livelihood of the Poor |
| Unit | - |
| Description | Land acquisition |
| Source of data | Interview with stakeholders |
| Value(s) applied | %100 of land acquisition transactions were completed. Interviews were checked whether the process was carried out properly according to legal requirements and whether landowners were compensated fairly. |
| Choice of data or measurement methods and procedures | Interviews to check whether the process is carried out properly according to legal requirements and that land owners are compensated fairly. |
| Monitoring frequency | Only once during the first verification for second crediting period |
| QA/QC procedures | - |
| Purpose of data | Land acquisition |
| Additional comments | - |

| Relevant SDG Indicator/Safeguarding Principle | Other Safeguarding Principle: 3.4 Cultural Heritage, Indigenous Peoples, Displacement and Resettlement |
| --- | --- |
| Data/parameter: | Livestock feeding |
| Unit | - |
| Description | Livestock feeding |
| Source of data | Interview with stakeholders. |
| Value(s) applied | During the site visit, interview with the local people has been carried out and there is no negative comment about the project activity and the livestock feeding. No access limitation at the Project site for livestock. |
| Choice of data or measurement methods and procedures | No access limitation at the Project site for livestock. |
| Monitoring frequency | Continuously. |
| QA/QC procedures | - |
| Purpose of data | Livestock feeding |
| Additional comments | - |

STAKEHOLDER INPUTS AND LEGAL DISPUTES

### List all Inputs and Grievances which have been received via the

Continuous Input and Grievance Mechanism together with their respective responses/mitigations.

For the Sadilli WPP, stakeholder engagement procedure was conducted with the headman of Elmali village and the two local stakeholders who were man and woman from Elmali Village onsite on 20/07/2023.

Since this project is in second crediting period and project will not have different impacts from previous vintages, currently the grievance mechanism does mainly rely on the existed grievance mechanism by using logbook as same with previous monitoring periods. Logbook is located in headman of the Elmali village.

As validated during the site visit, mukhtar (head of the village) had already taken the contact information of Company Executive of the company so that the stakeholders are able to reach company executive whenever they have any complaints, suggestions or ideas about the project. Headman is the contact person between the project owner and the stakeholders. The contact information of project owner is listed on the first page of  the logbook. Stakeholders can always reach the headman if they have any grievances or suggestions, so the grievance mechanism is carried out in a healthy way. During the site visit, it is validated that there were no negative comments from the stakeholders.

There is no grievance received related to the project during this monitoring period.

### Report on any stakeholder mitigations that were agreed to be monitored.

There have been no stakeholder mitigations agreed to be monitored.

### Provide details of any legal contest that has arisen with the project during the monitoring period

No legal contest or dispute that has arisen with the project during the monitoring period.

Revision History

| Version | Date | Remarks |
| --- | --- | --- |
| 1.1 | 14 October 2020 | Hyperlinked section summary to enable quick access to key sections Improved clarity on Key Project Information Section for POA monitoring Forward action request section Improved Clarity on SDG contribution/SDG Impact term used throughout Clarity on safeguard reporting Clarity on design changes Leakage section added for VER/CER projects Addition of Comparison of monitored parameters with last monitoring period Provision of an accompanying Guide to help the user understand detailed rules and requirements |
| 1.0 | 10 July 2017 | Initial adoption |

Please see Sadilli_WPP_Generation_License

Please see Sadilli RES_Provisional Acceptance Report_(T12-T13-T14)_Part1

https://cdm.unfccc.int/filestorage/A/G/0/AG07ZJQ3EXD42LT5YV9HR16M8KINPO/EB105_repan03_ACM0002.pdf?t=TTh8cW5wOGp3fDDxMFR1LiJ01CgZkMkMCI8L

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v7.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-11-v3.0.1.pdf

Please see: Sadilli_WPP_Generation_License document

Please see:Sadilli WPP_Provisional Acceptance Report_(T12-T13-T14)_Part1 document

Please see: Sadilli WPP_Provisional Acceptance Report_(T1-T5T9-T10-T11)_Part1 document

Please see: Sadilli WPP_Provisional Acceptance Report_(T2-T3-T4-T6-T7-T8)_Part1 document

Please see; GE 2.75MW 100m Cl 2-3.pdf document

Please see the link https://www.mevzuat.gov.tr/mevzuat?MevzuatNo=6381&MevzuatTur=7&MevzuatTertip=5

Please see: TEİAŞ System Usage Agreement

Please see: Meter Exchange Protocol dated 03-10-2019

Please see: Meter Test Protocol dated 12-20-2021

https://enerji.gov.tr/evced-cevre-ve-iklim-turkiye-ulusal-elektrik-sebekesi-emisyon-faktoru or https://enerji.gov.tr//Media/Dizin/EVCED/tr/%C3%87evreVe%C4%B0klim/%C4%B0klimDe%C4%9Fi%C5%9Fikli%C4%9Fi/T%C3%BCrkiyeUlusalElektrik%C5%9EebekesiEmisyonFakt%C3%B6r%C3%BC/Belgeler/EK-2.pdf

See, http://www.epdk.gov.tr/documents/elektrik/mevzuat/yonetmelik/elektrik/dengeleme_uzlastirma/DUYson.doc  page 55

See, http://www.epdk.org.tr/documents/10157/81c16fc9-7777-46d6-a1bf-15c5ac8795c7

See, http://www.mevzuat.adalet.gov.tr/html/21179.html

See, ‘’Sayaç Değişim Protokolü’’ has been provided to VVB.

See, ‘’Sayaç Değişim Protokolü’’ has been provided to VVB.

See, ‘’Sayaç Değişim Protokolü’’ has been provided to VVB

Reference of Price of Gas (TL/ m3) in Turkey for related year has been given in ER excel sheet.

Reference of Rate of exchange (EUR/TL) for related year has been given in ER excel sheet.