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Yuntdag 57.5 MW Wind Power Project, Turkey (GS 352), GS Version 1.0
Review for approval of design change 
This document is the GS synthesis of the comments and requests for clarification/corrective action received during the procedure for approval of design change.

Information on the request 

Requested by:



Future Camp
Contact:



Farız Tasdan
Contact email:



fariz.tasdan@futurecamp.com.tr
Date of request: 


12/05/2015 (submission date)
Date of GS feedback – I round: 
23/06/2015
Registration Date: 31/07/2008
Effective Design Change Date: 24/05/2013
Document(s) provided and reviewed (I round):

· Revised PDD dated 11/05/2015 uploaded on 12/05/2015
· Design change memo dated 11/05/2015 uploaded on 12/05/2015
Design change occurring under the following conditions:
Innores Elektrik Üretim AŞ installed a wind power plant in Yuntdağ/Bergama/İzmir  in Turkey. Initial project capacity was 42.5 MW consists of 17 turbines with 2.5 MW each, which is planned to increase by 15 MW. Revised license for 57.5 MW is granted by EMRA to Innores on 09.06.2010. Finally, capacity is increased of 2,5 MW with an additional turbine. Revised licence for 60.0 MW is granted by EMRA to Innores on 24.05.2013.
Review results and conclusions:

The GS has reviewed the submitted project and identified a number of areas where additional information is necessary for the project to be in line with the Gold Standard requirements.
	Comment/Request 1. Section A.2 Description of the project activity

	The PP is requested to upload the revised license to the registry.

	Response by Project Proponent (round 1):

	License is now uploaded.

	Response by GS (round 2):

	


	Comment/Request 2. Barrier analysis

	1. The privatization of electricity distribution has been completed already. The PP shall discuss if the conditions of connection have changed/revised by the new distribution company.
2. The PP shall clarify the currency risk taken by the investors as the income from electricity sale is in foreign currency, which highly eliminates that risk. 
3. The PP shall discuss funds made available for renewable energy by various international agencies like the World Bank, EIB, etc. under the claims availability of debt financing. Please discuss if those funds were also available for capacity increase. 
4. The PP shall give information specific to energy sector under the discussion of high financing cost due to perceived risks in the international market.

	Response by Project Proponent (round 1):

	1. The conditions of the connection are kept as the same. The conditions are still 154 kV and voltage is transferred to the National Electricity System (Alosbi Transformer Station) via a 26 km long transmission line.
2. This comment is removed from MEMO. 
3. No additional loan was received for this capacity increase considering the fact that capacity increase includes only one turbine. So, funds available for this project are not discussed under the “Availability of dept financing”.
4. As explained under “High financing costs due to perceived risks in the international market”, due to the reason that no additional loan was received for this capacity increase and the payments of the initial loan still continues, this barrier and the conditions are still valid. 

	Response by GS (round 2):

	


	Comment/Request 3. Sustainability Development Assessment

	1. The PP shall clarify if expropriation has been undertaken for the new turbine location and roads. If so, please discuss the impact and mitigation measures as well.
2. The PP shall upload any revised project document submitted for EIA not required certificate.

	Response by Project Proponent (round 1):

	1. No expropriation process was conducted for the new turbine location and roads. So, mitigation measures are not revised. 
2. EIA not required certificate is now uploaded. 

	Response by GS (round 2):

	


- - -

Conclusion – The GS opinion is that the design change proposed can be approved after the above clarifications and corrective actions have been taken care of in a satisfactory way.


