Key Project Information & project Design Document (PDD)

###### PUBLICATION DATE  29.06.2023
VERSION  v.1.5 
RELATED SUPPORT

###### - TEMPLATE GUIDE Key Project Information & Project Design Document

This document contains the following Sections

SECTION A. DESCRIPTION OF PROJECT

SECTION B. APPLICATION OF APPROVED GOLD STANDARD METHODOLOGY (IES) AND/OR DEMONSTRATION OF SDG CONTRIBUTIONS

SECTION C. DURATION AND CREDITING PERIOD

SECTION D. SUMMARY OF SAFEGUARDING PRINCIPLES AND GENDER SENSITIVE ASSESSMENT

SECTION E. SUMMARY OF LOCAL STAKEHOLDER CONSULTATION

Appendix 1 - Safeguarding Principles Assessment (mandatory)

Appendix 2 - Contact information of project developer(s) (mandatory)

Appendix 3 - LUF Additional Information (project specific)

Appendix 4 - Design Changes

### KEY PROJECT INFORMATION

| GS ID of Project | GS 5229 |
| --- | --- |
| Title of Project | Bergres Wind Power Project |
| Time of First Submission Date | 5/12/2023 |
| Date of Design Certification | 17/04/2017 |
| Version number of the PDD | 05 |
| Completion date of version | 06/06/2024 |
| Project Developer | Bergres Elektrik Üretim A.Ş (Private Entity) |
| Project Representative | Melis Ecem KOSE CABUK |
| Project Participants and any communities involved | Bergres Elektrik Üretim A.Ş |
| Host Country (ies) | Turkey/ Izmir, Bergama |
| Activity Requirements applied | Community Service Activity Renewable Energy Land-Use and Forests Activity Requirements/Risks & Capacities N/A |
| Scale of the project activity | Micro scale Small Scale Large Scale |
| Other Requirements applied | N/A |
| Methodology (ies) applied and version number | ACM0002 version 21.0 |
| Product Requirements applied | GHG Emissions Reduction & Sequestration Renewable Energy Label N/A |
| Project Cycle: | Regular Retroactive |

Table 1 – Estimated Sustainable Development Contributions

| ## SUSTAINABLE DEVELOPMENT GOALS TARGETED | ## SDG IMPACT (DEFINED IN B.6) | ## ESTIMATED ANNUAL AVERAGE | ## UNITS OR PRODUCTS |
| --- | --- | --- | --- |
| ## 13 Climate Action (mandatory) | ## SDG 13 | CO2: 139,766 tCO2/year ## Air Quality: ## CO: 21.1 tons/y NMVOC: 2 tons/y | VERs |
| ## 6 Clean Water and Sanitation | ## SDG 6 | ## 4,786.7 m3/y avoiding wastewater | ## M3/y |
| ## 7 Affordable and clean energy | ## SDG 7 | ## 215,423 MWh/annually renewable energy | ## MWh |
| ## SDG 7 Balance of payments and investment | ## SDG 7 | ## Avoidance of around 14.661,87 m3 natural gas is imported by generation of project activity, which is worth about 5.836.455,34 EUR. | ## M3/y |
| ## 8 Decent work and economic growth | ## SDG 8 | ## Trained workers and at least 4 local employees. | ## person |

#### SECTION A. DESCRIPTION OF PROJECT

##### A.1 Purpose and general description of project

- Bergres Elektrik Üretim A.Ş. (hereafter referred to as “Bergres Elektrik”) is investing into a new Wind Power project called Bergres Wind Power Project (hereafter referred to as the “Project” or “Bergres WPP”), which involves installation and operation of 69.95 MWm/69.95 MWe wind power plant. The project consists of 21 turbines with 3.2 MWm/MWe and 1 turbine with 2.75 kWm/kWe capacities. The licence of the project was issued by Energy Market Regulatory Authority (EMRA) in February 09 of 2012. The generated energy will be fed to the grid at Yuntdag RES, Izmir Havza, Petkim transmission line.

2nd crediting period of Bergres WPP started on 21/04/2024 and the crediting period is 7 years which will end on 20/04/2031. The expected yearly net electricity generation is 215,423 MWh which leads to emission reductions of 978,362 tCO2 over the period of 7 years. The expected net electricity generation calculated as average net electricity generation between 2017-2023 years. Emission reduction calculated as multiplication with emission factor and average net electricity generation between 2017-2023 years.

The purpose of the project is to generate electricity and to feed it into the grid. Bergres WPP was registered as a Voluntary Emission Reduction project in order to enable the project implementation by means of financial inflows coming from the credits sale. Because of its significant contribution to climate protection and to sustainable development in the region, this project fulfils the requirements of the Gold Standard Organization.

•Utilization of the wind potential of Turkey in order to meet increasing electricity demand and maintain energy security,

• Reduction of GHG emissions through increasing share of renewable resources

• Contribution to economic development by creating direct and indirect job opportunities during construction and operation phases

• Reduction of import dependency on fossil fuel weighed electricity sector and diversity generation mix through use of local resources

• Contribution to sustainable development through supporting local community and local economy.

Eligibility of the project under Gold Standard

Project activity involves construction of a 69.95 MWe wind power plant for electricity generation. Project is categorized as “Renewable Energy Supply” according to GS definition whereas it is included in the sectoral scope 1 “Energy Industry – Renewable

Sources” according to the UNFCCC definition. Project type is retroactive as per the GS rules. The project helps Turkey to stimulate and commercialize the use of grid connected renewable energy technologies and markets. Furthermore, the project demonstrates the viability of grid connected wind farms which can support improved energy security, improved air quality, alternative sustainable energy futures, improved local livelihoods and sustainable renewable energy industry development. The specific goals of the project are to:

•reduce greenhouse gas emissions in Turkey compared to the business-as-usual scenario;

•help to stimulate the growth of the wind power industry in Turkey;

•create local employment during the construction and the operation phase of the wind farm;

•reduce other pollutants resulting from power generation industry in Turkey, compared to a business-as-usual scenario;

•help to reduce Turkeys increasing energy deficit;

•and differentiate the electricity generation mix and reduce import dependency.

The project meets the eligibility criteria as per section 3.1.1 of GS4GG Principles &

Requirements, as described below:

i) The project is not pre identified as eligible.

ii) Gold Standard approval, GS4GG Principles and Requirements:

Project meets eligibility criteria as per the GS4GG principles and requirements;

• Project is a renewable energy (wind) installation activity

• Project activity include physical action/implementation on the ground

• Project is located in Turkey, which is eligible for VER projects

• Project is a large-scale renewable energy plant with defined boundaries

• Project contributes to sustainable development goals

• Project is in compliance with GS safeguarding principles

• Stakeholders are involved in project implementation and planning during local consultation meetings and feedback round.

• Project outcomes are real validated/verified by approved bodies

• Additionality is demonstrated as per the applicable tools and methodologies

iii) The project meets the General Eligibility Criteria of the applicable Activity Requirements

• 4.1 Principle-1: Contribution to Climate Security & Sustainable Development:

Project contributes 4 SDSs including SDG 13. Please see Section B 6.1.

• 4.2 Principle-2: Safeguarding Principles: Please see Section D.

• 4.3 Principle-3: Stakeholder Inclusivity: Please see Section E.

• 4.4 Principle-4: Demonstration of Real Outcomes: Please see Section B 6.4.

• 4.5 Principle-5: Financial Additionality & Ongoing Financial Needs: Please see

Section B.5.

The project activity meets the eligibility criteria of GS4GG Principles & Requirements document as described below.

• The project applies methodology ACM0002 Version 21.0, which is an approved methodology under Gold Standard.

• The project type is wind which is an eligible project type as it is in accordance with Eligible Project Types & Scope under Renewable Energy Activity Requirements.

• The project activity results in displacement of electricity from thermal power stations while contributing to sustainable development of Turkey. Hence, the project contributes to the Gold Standard vision and mission.

• Wind is an approved project type and does not require approval from Gold Standard. • This project activity is not associated with geo-engineering or energy generated from fossil fuel or nuclear, fossil fuel switch, nor does it enhance or prolongs such energy generation.

General Eligibility Criteria under Renewable Energy Activity Requirements

Project Type: The proposed project activity comprises of renewable energy generation from wind to generate and deliver electricity to the national grid without thermal energy production.

Wind, as discussed above, the project type is eligible.

Project Location: The project is located in in Bergama district of İzmir, Turkey. Thus, the project is eligible.

- Project scale: The project activity is a 69.95 MWm/69.95 MWe Wind power plant and thus qualifies under large scale projects. Legal ownership of products generated by the project and legal rights to alter use of resources required to service the project.

##### BERGRES WPP is not registered under any other voluntary or compliance schemes such as IREC or VCS etc.. The project does not claim Green or White certificates or equivalents that may result in double counting because of carbon dioxide emission reduction purposes. Project is not registered and will not benefit from other certification schemes or renewable energy labelling standards.

The activity is NOT located in a host country, region, locality or state that has an emission reduction cap enforced OR has the possibility to trade emissions that include the scope of the proposed project.

##### There are no additional laws that came into force that has an impact on the project activity and the project activity is still in line with the available law and regulations.

##### So, BERGRES WPP is in compliance with Turkey’s applicable regulations. Consistency with mandatory laws and regulations is given in section B.5 of the PDD.

As Turkey, the host country, has no cap on GHG emissions, the GS VERs do not need to be backed up by allowances or other denominated units resulting in local authorities stating that an equivalent number of allowances will be retired to back up the GS VERs issued. The project will be registered and seek approval from the national registry on GHG emission reduction projects as regulated by Communique on Registration of

Voluntary Carbon Market Projects.

There is no potential for double counting of impacts if the Project Area overlaps with that of another Gold Standard or other voluntary or compliance standard program of a similar nature.

vii) The project is in compliance with Turkey’s legal, environmental, ecological and social regulations.

viii) Type of the project activity

The project fits into “Renewable Energy Supply” category as defined generation and delivery of energy services from non-fossil and non-depletable sources as wind being one.

ix) Greenhouse gases

The project activity complies with Gold Standard and UNFCCC eligibility criteria as reducing carbon dioxide emission that is mainly produced by the Turkish Grid dominated by fossil fuel power plants.

- Legal ownership of products generated by the project and legal rights to alter use of resources required to service the project

Bergres Elektrik Üretim A.Ş. is the legal developer and owner of the project and has the legal rights for the VER credits that will be issued under Gold Standard.

As the project developer, BERGRES believes that efficient utilization of all kinds of natural resources with a harmony coupled with responsible environmental considerations is vital for sustainable development of Turkey and the World. This has been a guiding factor for the shareholders towards the concept of designation and installation of a wind power project. Other than the objective of climate change mitigation through significant reduction in greenhouse gas (GHG) emissions, the project has been carried out to provide social and economic contribution to the region in a sustainable way. The benefits that is gained by the realization of the project compared to the business-as-usual scenario can be summarized under four main indicators:

Environmental

The project activities replaces the grid electricity, which is constituted of different fuel sources causing greenhouse gas emissions. By replacing in the consumption of these fuels, it contributes to conservation of water, soil, flora and faunas and transfers these natural resources and also the additional supply of these primary energy sources to the future generations. In the absence of the project activity, an equivalent amount of electricity would have been generated from the power plants connected to the grid, majority of which are based on fossil fuels. Thus, the project is replacing the greenhouse gas emissions (CO2, CH4) and other pollutants (SOX, NOX, particulate matters) occurring from extraction, processing, transportation and burning of fossil-fuels for power generation connected to the national grid.

Economical

The project helps to accelerate the growth of the wind power industry and stimulate the designation and production of renewable energy technologies in Turkey. Then, other entrepreneurs irrespective of sector is encouraged to invest in wind power generations. It also assists to reduce Turkey’s increasing energy deficit and diversify the electricity generation mix while reducing import dependency, especially natural gas. Importantly, rural development is maintained in the areas around the project site by providing infrastructural investments to these remote villages.

Social

Local employment is enhanced by all project activities during construction and operation of wind farm. As a result, local poverty and unemployment is partially eliminated by increased job opportunities and project business activities. Construction materials for the foundations, cables and other auxiliary equipment are preferentially be sourced locally. Moreover as contribution of the project to welfare of the region, the quality of the electricity consumed in the region is increased by local electricity production, which also contributes decreasing of distribution losses.

Implementation of the proposed project contributes to wider deployment of wind power technology in local and national level. It demonstrates the viability of larger grid connected wind farms, which supports improved energy security, alternative sustainable energy, and also renewable energy industry development.

##### A.2 Location of project

The host country is Republic of Turkey. Project area is in Aegean Region, İzmir province. The project is close to Bergama town. Location of the project site is presented in Figure 1.

Figure 1: Map of the Project Area

The project site is located about 17 km south-east of the town of Bergama and approximately 60 km north of the city of Izmir in western Turkey. The wind farm area is located the village Balaban in the west, Bayramcılar in the south-east and Hacılar in the east. The closest villages are Bayramcılar and Balaban villages and the distance between the villages and the project area is 500m.

The coordinates of the turbines are given below. The project coordinates were provided below which are under ED 50, zone 35 coordinate system.

Figure 2. Coordinates of the Turbines

| Turbine No. | Easting | Northing |
| --- | --- | --- |
| T1 | 518750,00 | 4315500,00 |
| T2 | 518820,00 | 4315000,00 |
| T3 | 518250,00 | 4313770,00 |
| T4 | 518119,00 | 4311650,00 |
| T5 | 518243,00 | 4311226,00 |
| T6 | 519019,00 | 4311718,00 |
| T7 | 519169,00 | 4312506,00 |
| T8 | 519019,00 | 4312774,00 |
| T9 | 519770,00 | 4312470,00 |
| T10 | 520120,00 | 4312325,00 |
| T11 | 520350,00 | 4312175,00 |
| T12 | 520590,00 | 4312000,00 |
| T13 | 520768,00 | 4311832,00 |
| T14 | 521062,00 | 4311756,00 |
| T15 | 521321,00 | 4311023,00 |
| T16 | 520609,00 | 4309927,00 |
| T17 | 520759,00 | 4309697,00 |
| T18 | 520968,00 | 4309525,00 |
| T19 | 521255,00 | 4309305,00 |
| T20 | 521523,00 | 4309200,00 |
| T21 | 521819,00 | 4309625,00 |
| T22 | 522020,00 | 4309400,00 |

##### A.3 Technologies and/or measures

According to the Generation License, 21 wind turbines with unit capacity of 3.2 kWm/3.2 kWe and 1 turbine with unit capacity of 2.75 kWm/kWe were selected for the project. GE Wind Energy is decided as equipment provider due to the outstanding features of its product regarding safety factors, simple durable design for low maintenance and long life operation, high efficiency, and also for fine visual appearance.

The key parameters about the technical design of the selected model GE-3.2-103 turbines are listed below in Figure 3.

##### The entire annual electricity production is expected to be around 215,423 MWh per year.

Figure 3: Technical specifications of GE-3.2-103 turbines

| Specifications | GE-3.2-103 |
| --- | --- |
| Rated Power (kW) | 3200 |
| Rotor Diameter (m) | 103 |
| Hub Height (m) | 85 |
| Num. of Blades | 3 |
| Hub Height wind speed (m/s) | 8.4 |

The key parameters about the technical design of the selected model GE-2.75-103 turbines are listed below in Figure 4.

Figure 4: Technical specifications of GE-2.75-103 turbines

| Specifications | GE-2.75-103 |
| --- | --- |
| Rated Power (kW) | 2750 |
| Rotor Diameter (m) | 103 |
| Hub Height (m) | 85 |
| Num. of Blades | 3 |
| Hub Height wind speed (m/s) | 8.4 |

The project activity achieves emission reductions by avoiding CO2 emissions from the business-as-usual scenario electricity generation produced by mainly fossil fuel-fired power plants within the Turkish national grid. Total emission reduction over the 7 year for the second crediting period was expected to reach 978,362 tCO2e with the assumed total net electricity generation of 215,423 MWh/annually.

The crediting period starts with the first day of documented electricity supply to the grid. The expected yearly annual emission reductions are shown in Figure 5. The expected yearly electricity generation is around 215,423 MWh what leads to expected annual emission reductions of 139,766 tCO2 for the second crediting period (978,362 tCO2 over the period of 7 years). The second crediting period is estimated to start on 21/04/2024 and ends on 20/04/2031. While the project goes into the second crediting period, the annual estimation emission reductions will be as indicated below.

| ##### Years | ##### Annual estimation of emission reductions [tCO2 e] |
| --- | --- |
| ##### 21/04/2024-31/12/2024 | ##### 97,645 |
| ##### 2025 | ##### 139,766 |
| ##### 2026 | ##### 139,766 |
| ##### 2027 | ##### 139,766 |
| ##### 2028 | ##### 139,766 |
| ##### 2029 | ##### 139,766 |
| ##### 2030 | ##### 139,766 |
| ##### 01/01/2031-20/04/2031 | ##### 42,121 |
| ##### Total Emission Reductions ##### (tonnes of CO2 e) | ##### 978,362 |
| ##### Total number of crediting years | ##### 7 years |
| ##### Annual average over the crediting period of estimated reductions (tonnes of CO2e) | ##### 139,766 |

Figure 5.: Annual Emission Reductions at 2nd crediting period

##### A.4 Scale of the project

##### Bergres Elektrik Üretim A.Ş. (hereafter referred to as “Bergres Elektrik”) is investing into a new Wind Power project called Bergres Wind Power Project (hereafter referred to as the “Project” or “Bergres WPP”), which involves installation and operation of 69.95 MWm/69.95 MWe wind power plant. The project consists of 21 turbines with 3.2 MWm/MWe and 1 turbine with 2.75 MWm/MWe capacity. Energy Market Regulatory Authority (EMRA) issued the licence of the project on February 09 of 2012. The generated energy is fed to the grid at Yuntdağ RES, İzmir Havza and Petkim transmission line.

##### A.5 Funding sources of project

The project activity does not have any public funding or Official Development Assistance (ODA) funding.

#### SECTION B. APPLICATION OF APPROVED GOLD STANDARD METHODOLOGY (IES) AND/OR DEMONSTRATION OF SDG CONTRIBUTIONS

##### B.1. Reference of approved methodology (ies)

##### For the determination of the baseline, the official methodology ACM0002 version 21.0.0, “Grid-connected electricity generation from renewable sources”, is applied, using conservative options and data as presented in the following section. This methodology refers to four Tools, which are:

##### 1.       Tool to calculate the emission factor for an electricity system (Version 07.0.0);

##### 2.	Tool for the demonstration and assessment of additionality (Version 07.0.0);

##### 3.	Combined tool to identify the baseline scenario and demonstrate additionality (Version 07.0.0);

##### 4.	Tool to calculate project or leakage CO2 emissions from fossil fuel combustion (Version 03.0.0).

##### 5.       Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period (Version 03.0.1)*

##### For baseline calculation the first tool, for additionality assessment the second tool is used. As second tool is the combination of the first and second tool, it is not used. Since no project emission or leakage calculation is required for wind power project fourth tool is not used, either.

##### B.2. Applicability of methodology (ies)

The choice of methodology ACM0002 v21 is justified as the proposed project activity meets its applicability criteria:

- BERGRES is a grid-connected renewable power generation project activity that install a new wind power plant at a site where no renewable power plant was operated prior to the implementation of the project activity (Greenfield plant);

- The project does not involve switching from fossil fuels to renewable energy at the site of the project activity.

| No. | Applicability Conditions | The Project |
| --- | --- | --- |
| 1 | This methodology is applicable to grid-connected renewable energy power generation project activities that: (a) Install a Greenfield power plant; (b) Involve a capacity addition to (an) existing plant(s); (c) Involve a retrofit of (an) existing operating plant(s)/unit(s); (d) Involve a rehabilitation of (an) existing plant(s)/unit(s); or (e) Involve a replacement of (an) existing plant(s)/unit(s). | Bergres Wind Power Project, Turkey is a large-scale wind power type, Greenfield, grid connected renewable electricity generation project. So, the project meets (a) Install a Greenfield power plant. |
| 2 | In case the project activity involves the integration of a Battery Energy Storage System (BESS), the methodology is applicable to grid-connected renewable energy power generation project activities that: (a) Integrate BESS with a Greenfield power plant; (b) Integrate a BESS together with implementing a capacity addition to (an) existing solar photovoltaic1 or wind power plant(s)/unit(s); (c) Integrate a BESS to (an) existing solar photovoltaic or wind power plant(s)/unit(s) without implementing any other changes to the existing plant(s); (d) Integrate a BESS together with implementing a retrofit of (an) existing solar photovoltaic or wind power plant(s)/unit(s). | The project does not include integration of BESS. |
| 3 | The methodology is applicable under the following conditions: (a) Hydro power plant/unit with or without reservoir, wind power plant/unit, geothermal power plant/unit, solar power plant/unit, wave power plant/unit or tidal power plant/unit; (b) In the case of capacity additions, retrofits, rehabilitations or replacements (except for wind, solar, wave or tidal power capacity addition projects) the existing plant/unit started commercial operation prior to the start of a minimum historical reference period of five years, used for the calculation of baseline emissions and defined in the baseline emission section, and no capacity expansion, retrofit, or rehabilitation of the plant/unit has been undertaken between the start of this minimum historical reference period and the implementation of the project activity; (c) In case of Greenfield project activities applicable under paragraph 5 (a) above, the project participants shall demonstrate that the BESS was an integral part of the design of the renewable energy project activity (e.g. by referring to feasibility studies or investment decision documents); (d) The BESS should be charged with electricity generated from the associated renewable energy power plant(s). Only during exigencies2 may the BESS be charged with electricity from the grid or a fossil fuel electricity generator. In such cases, the corresponding GHG emissions shall be accounted for as project emissions following the requirements under section 5.4.4 below. The charging using the grid or using fossil fuel electricity generator should not amount to more than 2 per cent of the electricity generated by the project renewable energy plant during a monitoring period. During the time periods (e.g. week(s), months(s)) when the BESS consumes more than 2 per cent of the electricity for charging, the project participant shall not be entitled to issuance of the certified emission reductions for the concerned periods of the monitoring period. | (a) The project is not a hydro power plant, it is a wind power plant. So this condition is N/A. (b) The project does not include capacity additions, retrofits, rehabilitations or replacements. (c) The project is a Greenfield project but not categorized under paragraph 5. (d) The project does not include integration of BESS. |
| 4 | In case of hydro power plants, one of the following conditions shall apply: (a) The project activity is implemented in existing single or multiple reservoirs, with no change in the volume of any of the reservoirs; or (b) The project activity is implemented in existing single or multiple reservoirs, where the volume of the reservoir(s) is increased and the power density, calculated using equation (7), is greater than 4 W/m2; or (c) The project activity results in new single or multiple reservoirs and the power density, calculated using equation (7), is greater than 4 W/m2; or (d) The project activity is an integrated hydro power project involving multiple reservoirs, where the power density for any of the reservoirs, calculated using equation (7), is lower than or equal to 4 W/m2, all of the following conditions shall apply: (i) The power density calculated using the total installed capacity of the integrated project, as per equation (8), is greater than 4 W/m2; (ii) Water flow between reservoirs is not used by any other hydropower unit which is not a part of the project activity; (iii) Installed capacity of the power plant(s) with power density lower than or equal to 4 W/m2 shall be: a. Lower than or equal to 15 MW; and b. Less than 10 per cent of the total installed capacity of integrated hydro power project. | The project is not a hydro power plant, it is a wind power plant. So this condition is N/A. |
| 5 | In the case of integrated hydro power projects, project participants shall: (a) Demonstrate that water flow from upstream power plants/units spill directly to the downstream reservoir and that collectively constitute to the generation capacity of the integrated hydro power project; or (b) Provide an analysis of the water balance covering the water fed to power units, with all possible combinations of reservoirs and without the construction of reservoirs. The purpose of water balance is to demonstrate the requirement of specific combination of reservoirs constructed under CDM project activity for the optimization of power output. This demonstration has to be carried out in the specific scenario of water availability in different seasons to optimize the water flow at the inlet of power units. Therefore, this water balance will take into account seasonal flows from river, tributaries (if any), and rainfall for minimum of five years prior to the implementation of the CDM project activity. | The project is not a integrated hydro power project. This project is a wind power plant project. Hence, this condition is N/A. |
| 6 | The methodology is not applicable to: (a) Project activities that involve switching from fossil fuels to renewable energy sources at the site of the project activity, since in this case the baseline may be the continued use of fossil fuels at the site; (b) Biomass fired power plants/units. | (a) The project does not involve switching from fossil fuel use to renewable energy at the site of the project activity. (b) The project is not a biomass fired power plant. |
| 7 | In the case of retrofits, rehabilitations, replacements, or capacity additions, this methodology is only applicable if the most plausible baseline scenario, as a result of the identification of baseline scenario, is “the continuation of the current situation, that is to use the power generation equipment that was already in use prior to the implementation of the project activity and undertaking business as usual maintenance”. | The project does not involve retrofits, rehabilitations, replacements or capacity additions. Hence, this condition is N/A. |
| 8 | In addition, the applicability conditions included in the tools referred to below apply | Given below. |

Applicability as per “Tool 07 : Tool to calculate the emission factor for an electricity system, version 07.0”

| No. | Applicability Conditions | The Project |
| --- | --- | --- |
| 1 | This tool may be applied to estimate the OM, BM and/or CM when calculating baseline emissions for a project activity that substitutes grid electricity that is where a project activity supplies electricity to a grid or a project activity that results in savings of electricity that would have been provided by the grid (e.g. demand-side energy efficiency projects). | The project activity supplies electricity to a grid. Hence, this condition is met. |
| 2 | Under this tool, the emission factor for the project electricity system can be calculated either for grid power plants only or, as an option, can include off-grid power plants. In the latter case, two sub-options under the step 2 of the tool are available to the project participants, i.e. option IIa and option IIb. If option IIa is chosen, the conditions specified in “Appendix 1: Procedures related to off-grid power generation” should be met. Namely, the total capacity of off-grid power plants (in MW) should be at least 10 per cent of the total capacity of grid power plants in the electricity system; or the total electricity generation by off-grid power plants (in MWh) should be at least 10 per cent of the total electricity generation by grid power plants in the electricity system; and that factors which negatively affect the reliability and stability of the grid are primarily due to constraints in generation and not to other aspects such as transmission capacity. | CO2 emission factor for the displacement of electricity generated by power plants in an electricity system is determined by calculating the “combined margin” emission factor (CM) of the electricity system. |
| 3 | In case of CDM projects the tool is not applicable if the project electricity system is located partially or totally in an Annex I country. | The project is not a CDM project, it is a GS4GG project. Hence, this condition is N/A. |
| 4 | Under this tool, the value applied to the CO2 emission factor of biofuels is zero. | The project does not involve biofuels in any way. |

Applicability as per “Tool 01 : Tool for the demonstration and assessment of additionality, version 07.0.0”

| No. | Applicability Conditions | The Project |
| --- | --- | --- |
| 1 | The use of the “Tool for the demonstration and assessment of additionality” is not mandatory for project participants when proposing new methodologies. Project participants may propose alternative methods to demonstrate additionality for consideration by the Executive Board. They may also submit revisions to approved methodologies using the additionality tool. | Tool for the demonstration and assessment of additionality is applied in this project since there is no new methodologies proposed. Hence, this condition is N/A. |
| 2 | Once the additionally tool is included in an approved methodology, its application by project participants using this methodology is mandatory. | The additionality tool is applied using this methodology. |

Applicability of Tool 11 “Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period”, v3.0.1

| No. | Applicability Conditions | The Project |
| --- | --- | --- |
| 1 | This tool provides a stepwise procedure to assess the continued validity of the baseline and to update the baseline at the renewal of a crediting period, as required by paragraph 49 (a) of the modalities and procedures of the clean development mechanism. Since renewal of the crediting period is executed, this tool is applicable. | Since renewal of the crediting period is executed, this tool is applicable. |

##### B.3. Project boundary

As per the Approved Large Scale Consolidated Methodology ACM0002 para 22, the project boundary is “The spatial extent of the project boundary includes the project power plant and all power plants connected physically to the electricity system that the CDM project power plant is connected to.” Correspondingly, in this project activity the project boundaries include the project site and all power plants attached to the Turkish National Grid.

The project uses wind energy to produce electricity. Kinetic power of the wind is converted to electrical energy, which then is transferred to the grid. Back-up power generators in the wind farm is only being used when the wind farm is out of service and power cannot be supplied from grid. Hence, emissions due to usage of back-up power generation are very low and are taken to be zero complying with the Tool.

1) Wind rotates the blades of the turbine

2) Rotating blade also rotates the shaft in the Generator, and this rotation leads to electricity generation

3) Generated electricity is transferred by underground and overhead cables to the RES substation to be distributed for consumption

A general operation diagram of the project is given in Figure 6.

Figure 6:  Operation diagram of the project

Based on the above operation diagram, the baseline and project activity related greenhouse gases which are considered in baseline calculation is given below, in Figure 7:

| Source |  | GHGs | Included? | Justification/Explanation |
| --- | --- | --- | --- | --- |
| Baseline scenario | CO2 Emissions from electricity generation in fossil fuel fired power plants that are displaced due to the project activity | CO2 | Yes | Main emission source: Fossil fuels fired for electricity generation cause CO2 emissions. It is included to baseline calculation to find the displaced amount by the project activity. |
|  |  | CH4 | No | Minor emission sources: Even though there may be some CH4 and N2O emissions during electricity generation, these emissions are negligible and not included in baseline calculation to be conservative and comply with methodology (ACM0002 v21) |
|  |  | N2O | No |  |
| Project scenario | Emissions during construction and operation of the project activity | CO2 | No | Project emissions are not considered for wind power project. |
|  |  | CH4 | No |  |
|  |  | N2O | No |  |

Figure 7: Emissions sources included in or excluded from the project boundary

##### B.4. Establishment and description of baseline scenario

The baseline scenario is identified according to the “Baseline Methodology Procedure” of ACM0002 ver.21. The project activity is installation of a new grid-connected wind farm with 22 turbines and is not modification/retrofit of an existing grid-connected power plant. So, first identification of this procedure is selected for proposed project activity, which is described as:

“Electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources which is reflected in the combined margin (CM) calculation of Ministry of Energy and Natural Resources of Turkey”.

The methodological tool “Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period” (version 03.0.1) is adopted to assess the continued validity of the baseline and to update the baseline. This tool provides a stepwise procedure to assess the continued validity of the baseline and to update the baseline at the renewal of a crediting period, as required by paragraph 49 (a) of the modalities and procedures of the clean development mechanism. According to this tool the following steps are applied.

Step 1: Assess the validity of the current baseline for the next crediting period

The validity of the current baseline is assessed using the following Sub-steps:

Step 1.1 Assess compliance of the current baseline with relevant mandatory national and/or sectoral policies.

The Project baseline is the “grid-connected electricity generation from renewable sources”. The Project is still in compliance with Electricity Market Law with Number 4628 and dated 03/03/2001 and Law on Utilization of Renewable Energy Resources for the Purpose of Generating Electrical Energy with Number 5346 and dated 18/05/2005 (current legal framework, all required relevant regulations and laws). There is no changes or revision of these laws and legislation. The conclusion is that the baseline of the project activity complies and will continue to comply with the laws and regulations in the sector for the next crediting period.

Step 1.2 Assess the impact of circumstances.

The new national circumstances have an impact on the EF of the grid and thus on the project’s current baseline emissions. Accordingly, the EF is updated for the second crediting period in conformity with the latest version of the Tool to calculate the emission factor for an electricity system. There has been no major deviation or change in the market characteristic during the second crediting period.

Step 1.3 Assess whether the continuation of use of current baseline equipment(s) or an investment is the most likely scenario for the crediting period for which renewal is requested.

The technical lifetime of the project activity (including wind turbines) is defined as 25 years. Equipment only requires regular maintenance. The baseline scenario identified at the validation of the project activity was the continuation of grid-connected electricity generation from renewable sources. Under this scenario, no investment from the project’s proponent or second party (or parties) has been envisioned later specifically for the project.

Step 1.4 Assessment of validity of the data and parameters.

The emissions reduction calculations are based on two main parameters: the energy produced and the grid emission factor. The latter will be updated as explained in the next paragraph.

As a requirement of the methodology, both CM and OM emission factor has been updated.

Step 2: Update the current baseline and the data and parameters

Step 2.1: Update the current baseline

As confirmed in Step 1, under the current context of the sectoral policies and circumstances, the project baseline for the next crediting period is the use of electricity from the national grid. This is conform to the provisions of the latest version of the approved applicable methodology to the project activity namely: ACM0002 version 21.0

“Grid-connected electricity generation from renewable sources”.

Step 2.2: Update the data and parameters

The grid emission factor is updated according to the publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey’s National Electric Grid Emission Factor for the year of 2020.

##### B.5. Demonstration of additionality

For the explanation of how and why the project activity leads to emission reductions that are additional to what would have occurred in the absence of the project activity, the Baseline Methodology refers to the consolidated “Tool for the demonstration and assessment of additionality”6 version 7.0.0 (Tool), which defines a step-wise approach to be applied to the proposed project.

Step 1. Identification of alternatives to the project activity consistent with current laws and regulations.

Sub-step 1a. Define Alternatives to the project activity

To identify the realistic and credible alternative scenario(s) for project participants, scenarios in the Tool are assessed:

a) The proposed project activity undertaken without being registered as a GS VER project activity

This alternative is realistic and credible as BERGRES may undertake project activity if it sees no risk for project and/or if the project turns out to be financially attractive without GS VER credit income. However, investments analyze shows that the project is not economically feasible without GS VER credit income. Detail information is given in Step-3.

b) Other realistic and credible alternative scenario(s) to the proposed GS VER project activity scenario that deliver electricity with comparable quality, properties and application areas, taking into account, where relevant, examples of scenarios identified in the underlying methodology;

The project activity is power generation activity without any greenhouse gas emission harnessing the energy of the wind. Being a private entity, BERGRES doesn’t have to invest power investments even proposed project activity. Also, since BERGRES has a license only for wind power investment and since in the proposed project area there is no hydro or other sources for electricity generation, other project activities delivering same electricity in the same project area is not realistic for project participant.

c) Continuation of the current situation, i.e. BERGRES WPP would not have built

The decision in favor or against a project investment depends on the expected revenues and risks, like for every other private investment. Investment decisions other than BERGRES WPP are independent from the question whether BERGRES WPP would not have built or not. This alternative is also realistic and credible. According to baseline scenario, which is described in B.4, there is a need for energy investment to satisfy increasing demand and if the BERGRES WPP would not continue operating, the same amount of energy is supplied by other private investors to the grid. Forecasts shows that electricity supplied in the absence of BERGRES WPP will be mainly based on fossil fuels as the projections for the year of 2023 forecasts 46% share for fossil fuels in the energy mix. In the absence of the project the power would be produced by new and existing power plants in accordance with the baseline in ACM0002 version 21.

Outcome of Step 1.a: Therefore, two realistic and credible alternative scenarios are identified for the project activity:

a) The proposed project activity undertaken without being registered as a GS VER project activity.

b) Continuation of the current situation, i.e. BERGRES WPP would not continue its operation.

Sub-step 1b. Consistency with mandatory laws and regulations

Both alternatives are (building or not building the project activity) in compliance with the following identified applicable mandatory laws and regulations:

| Relevant Laws | Number/ Enactment Date | Aim and Scope |
| --- | --- | --- |
| Environmental Law *Environmental Impact Assessment Regulation | Nr. 2872 / 17/07/2008 | The approval is requested for power plants from Ministry of Environment and Forest as Electricity Licence Regulation requests project to be in line with the environmental law. |
| Electricity Market Law *ElectricityLicence Regulation *Electricity Market Balancing and Conciliation Regulation | Nr. 4628 / 03/03/2001 | Regulating procedures of electricity generation, transmission, distribution, wholesale, retail for legal entities. Two regulations issued under the law; one for generation licence and the other for market price balancing and conciliation. |
| Law on Utilization of Renewable Energy Resources for the Purpose of Generating Electrical Energy | Nr. 5346 / 18/05/2005 | Aims to extend the utilization of renewable energy for electricity generation and identifies method and principles for power generation from renewable resources in an economical and conservative manner as well as certification of the electricity generated from renewable resources. |
| Energy Efficiency Law | Nr. 5627 / 02/05/2007 | Identifies method and principles for industry, power plants, residential buildings and transport to imply necessary measures for energy efficiency during electricity generation, transmission, distribution and consumption. |

Figure.8: Mandatory Laws and Regulations

| Date (DD/MM/YYYY) | Milestone |
| --- | --- |
| 10/01/2012 | EIA Not Required Certificate |
| 09/02/2012 | Issuance of the generation license |
| 12/11/2015 | Agreement with Equipment Provider (GE) (Investment decision date) |
| 18/02/2016 | Start Date of Construction |
| 28/03/2016 | Credit Agreement |
| 15/06/2016 | Agreement with Life Enerji for Carbon Consultancy |
| 17/04/2017 | Registration date |
| 20/04/2017 | First commissioning dates of the turbines |
| 21/04/2017 | Electricity generation date/Start date of first monitoring period and crediting period |
| 26/05/2017 | Last commissioning dates of the turbines |
| 30/04/2018 | End date of first monitoring period |
| 01/05/2018 | Start date of the second monitoring period |
| 16/08/2018 | Start date of the transition process |
| 22/11/2018 | End date of the transition process |
| 30/04/2019 | End date of the second monitoring period |
| 01/05/2019 | Start date of the third monitoring period |
| 30/04/2020 | End date of the third monitoring period |
| 01/05/2020 | Start date of the fourth monitoring period |
| 30/04/2021 | End date of the fourth monitoring period |
| 01/05/2021 | Start date of the fifth monitoring period |
| 30/04/2022 | End date of the fifth monitoring period |
| 01/05/2022 | Start date of the sixth monitoring period |
| 30/04/2023 | End date of the sixth monitoring period |
| 01/05/2023 | Start date of the seventh monitoring period |
| 20/04/2024 | End date of the seventh monitoring period |
| 20/04/2024 | End of the first crediting period |
| 21/04/2024 | Start date of the second crediting period |

Figure.9: Project Implementation Schedule

According to Turkish regulations, to get necessary permits for further project implementation, license issued by EMRA is required. Project Electricity generation date issued dated 21/04/2017.

In the following, the investment analysis is applied to clearly demonstrate that the project activity is unlikely to be financially/economically attractive without the revenue from the sale of VERs.

Outcome of Step 1.b: BERGRES consisted with mandatory laws and regulations. Project implementation schedule shows us that BERGRES Elektrik Üretim A.S started to consideration of VER from the beginning of the project implementation and VER Revenue has decisive impact on decision of proceeding to the project.

Step 4: Common Practice Analysis

The section below provides the analysis as per step 4 of the “Tool for the demonstration and assessment of additionality”, version 7.0.0 and according to the Guidelines on Common Practice version 02.0

Step 1. Calculate applicable capacity or output range as +/-50% of the total design capacity or output of the proposed project activity: The proposed project has a capacity of 69.95 MWm. Per the guideline of +/-50%, the applicable output range for the project is 34.98 MW to 104.93 MW.

Step 2: Identify similar projects (both CDM and non-CDM) which fulfil all of the following conditions:

(a) The projects are located in the applicable geographical area; (Turkey)

(b) The projects apply the same measure as the proposed project activity; (Renewable Energy Projects)

(c) The projects use the same energy source/fuel and feedstock as the proposed project activity, if a technology switch measure is implemented by the proposed project activity; (Wind Power Plants)

(d) The plants in which the projects are implemented produce goods or services with comparable quality, properties and applications areas (e.g. clinker) as the proposed project plant;

(e) The capacity or output of the projects is within the applicable capacity or output range calculated in Step 1; (34.98 MW-104.93 MW)

(f) The projects started commercial operation before the project design document (CDM-PDD) is published for global stakeholder consultation or before the start date of proposed project activity, whichever is earlier for the proposed project activity;

Step 3: Within the projects identified in Step 2, identify those that are neither registered CDM project activities, project activities submitted for registration, nor project activities undergoing validation. Note their number Nall.

Nall = 0

Step 4: within similar projects identified in Step 3, identify those that apply technologies that are different to the technology applied in the proposed project activity. Note their number Ndiff.

Ndiff= 0

Step 5: Calculate factor F=1-Ndiff/Nall representing the share of similar projects (penetration rate of the measure/technology) using a measure/technology similar to the measure/technology used in the proposed project activity that deliver the same output or capacity as the proposed project activity.

F = 1-Ndiff/Nall

= 1 – (0/0)

Factor F is therefore unidentified.

The proposed project activity is a “common practice” within a sector in the applicable geographical area if the factor F is greater than 0.2 and Nall-Ndiff is greater than 3. Since factor F is unidentified and also Nall-Ndiff is 0, the proposed is not a common practice as per the guidelines. The proposed project activity is therefore additional under common practice analysis.

Step 2. Investment analysis

“Guidelines on the assessment of investment analysis” version 12 is taken into account when applying this step.

Sub-step 2a: Determine appropriate analysis method

Three options can be applied for the investment analysis: the simple cost analysis, the investment comparison analysis and the benchmark analysis.

The simple cost analysis is not applicable for the proposed project because the project activity have revenue (from electricity sales) other than CDM related income. The investment comparison analysis is also not applicable for the proposed project because the baseline scenario, providing the same annual electricity output by the Turkish National Grid, is not an investment project.

To conclude, the benchmark analysis is used to identify whether the financial indicators (Equity IRR in this case) of the proposed project is better than relevant benchmark value.

Sub-step 2b: Option III. Apply Benchmark analysis

While applying the Benchmark Analysis, Option III, the Equity IRR is selected as the financial indicator for the demonstration of the additionality of the project as permitted in the additionality tool.

Benchmark rate is calculated in line with “Tool for the demonstration and assessment of additionality” which suggests to use the government bond rates, increased by a suitable risk premium. The government bonds are used for determining the Benchmark because there is no pre-determined value for IRR or any other financial indicator for wind power projects in Turkey at the investment decision date of the project.

According to the Tool, benchmark can be derived from ‘Estimates of the cost of financing and required return on capital (e.g. commercial lending rates and guarantees required for the country and the type of project activity concerned), based on bankers views and private equity investors/funds’. As a banker view, according to Worldbank loan appraisal document, threshold equity IRR for wind power investments (i.e. required returns of equity for wind power plant investors) in Turkey is 15%.

Sub-step 2c: Calculation and comparison of the IRR

In ‘Guidance on the Assessment of Investment Analysis’ version 12, it is stated that:

‘Required/expected returns on equity are appropriate benchmarks for equity IRR’. Since, benchmark identified in the Sub-step 2b is required/expected returns on equity, equity IRR (before tax) of the project activity shall be calculated for comparison.

The equity IRR (before tax) of BERGRES WPP is calculated on the basis of expected cash flows (investment, operating costs and revenues from electricity sale), as used in the financial analysis for the feasibility assessment of the project. The parameters and values used for the IRR calculation are available to DOE during validation. The resulting IRR for 25 years is stated in below table.

| Period | IRR |
| --- | --- |
| 25 years | 6.15 % |

Figure 10: Equity IRR value for project activity (before tax)

While the benchmark is 15%, it does clearly exceed the resulting equity IRRs, thus rendering the project activity economically unattractive.

Sub-step 2d: Sensitivity analysis

While the main parameter determining the income of the project is the electricity sales revenue, investment cost and operation cost, a variation of the accordant values shall demonstrate the reliability of the IRR calculation. The sensitivity analysis confirms that the proposed project activity is unlikely to be economically attractive e without the revenues from VERs as even the maximum IRR result for the best case scenario (6.15%) is below the benchmark, which is 15%.

On the other hand, estimated electricity generation In PDD was updated with realized generations’ average of first crediting period. Therefore, to check sensitivity analysis of the project by recalculating IRR, this new calculated average estimation value was used for the  upcoming years’ estimated electricity generations. In this way, the newly calculated IRR value was founded as 6.15% which is still under the benchmark (15%). Consequently, sensitivity analysis confirms that the proposed project activity is unlikely to be economically attractive without the revenues from VERs as even new generation estimation was determined according to realized generations of the first crediting period. Relevant workbook which was used for this calculation was provided to VVB.

Step 3. Barrier analysis

The investment analysis has fully demonstrated and explained the additionality of the project, so step 3 is skipped.

B.5.1 Prior Consideration

B.5.2 Ongoing Financial Need

##### The project activity is in its second crediting period renewal, and has not missed or skipped any verification process. The fact that the project went through numerous verifications alone prove that the project was and still is in need of the carbon revenue to continue its operations. For this renewal, the high volume of expenses demonstrate that the revenue it’ll generate from carbon credits will be used to cover some portion of the increasing and continuous costs such as maintenance and repair works, and the national grid’s usage fee.

The agreement signed with the turbine provider has established a maintenance regime of the equipment. In line with this agreement, maintenance work is being carried out by GE every 3months a year. This maintenance work of the turbines proves to be a significant financial burden for the Project Activity, which is also increasing on an annual basis. Further, the system usage and operation fees that need to be paid by the project activity to Turkish Electricity Transmission Corporation (TEİAŞ)is another important factor contributing to the project's expenditures.6  Therefore, carbon revenues derived from GS4GGcertification have played an essential role in helping the project owner pay for maintenance works of the equipment and system usage fees; and will continue to be a support to the project.

The project activity satisfied all the "Tool for demonstrating and assessing additionality" (Version 07.0.0) criteria. Therefore, the Project is additional and still has ongoing financial needs.

##### B.6. Sustainable Development Goals (SDG) outcomes

Relevant Target/Indicator for each of the three SDGs

| SUSTAINABLE DEVELOPMENT GOALS TARGETED | MOST RELEVANT SDG TARGET | SDG IMPACT |
| --- | --- | --- |
|  |  | INDICATOR (PROPOSED OR SDG INDICATOR) |
| 13 Climate Action (mandatory) | 13.3 Improve education, awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning | 13.3.1 Extent to which (i) global citizenship education and (ii) education for sustainable development are mainstreamed in (a) national education policies; (b) curricula; (c) teacher education; and (d) student assessment |
| 6 Clean Water and Sanitation | 6.6. By 2020, protect and restore water-related ecosystems, including mountains, forests, wetlands, rivers, aquifers and lakes | 6.6.1 Change in the extent of water-related ecosystems over time |
| 7 Affordable and clean energy | 7.2 By 2030, increase substantially the share of renewable energy in the global energy mix | 7.2.1 Renewable energy share in the total final energy consumption |
| 7 Balance of Payment and Investment | 7.2 By 2030, increase substantially the share of renewable energy in the global energy mix | 7.2.1 Renewable energy share in the total final energy consumption |
| 8 Decent work and economic growth | 8.8 Protect labour rights and promote safe and secure working environments for all workers, including migrant workers, in particular women migrants, and those in precarious employment | 8.8.2 Level of national compliance with labour rights (freedom of association and collective bargaining) based on International Labour Organization (ILO) textual sources and national legislation, by sex and migrant status |

B.6.1 Explanation of methodological choices/approaches for estimating the SDG Impact

- SDG 6

- The project activities replace the grid electricity, which is constituted of different fuel sources causing greenhouse gas emissions. By replacing in the consumption of these fuels, it contributes to conservation of water. Amount of wastewater to be discharged to the environment is decreased.

- The project activity avoids a domestic wastewater discharge, which is calculated as follow:

| - 1 | - Average Amount of Wastewater Discharged per each GWh Electricity Generation in a year (x1000 m3/GWh) | - = | - Total Wastewater Discharged by Thermal Power Plants in 2018 (x1000 m3) | - / | - Total Electricity Generation in 2019 (GWh) |
| --- | --- | --- | --- | --- | --- |
| - 2 | - Amount of Avoided Wastewater Discharge per year by Project Activity (x1000 m3/y) | - = | - Annual Electricity Generation of Project Activity (GWh) | - * | - Average Amount of Wastewater Discharged per each GWh Electricity Generation in 2020 |
| - 3 | - Net Amount of Avoided Wastewater Discharge by Project Activity per year (x1000 m3/y) | - = | - Amount of Avoided Wastewater Discharge per year by Project Activity (x1000 m3/y) | - - | - Amount of Produced Wastewater by Project Activity per year (x1000 m3/y) |

- In order to calculate wastewater avoidance from the facility (by taking cooling water discharge in thermal power plants into account), the first step is to calculate a factor showing estimated wastewater discharge per GWh generated electricity. This factor is derived by dividing “Total Wastewater Discharged by Thermal Power Plants in the related year (2018 in this case, because of the publication of Municipal Wastewater Statistics by TURKSTAT -Turkish Statistical Institute- biennially) with “Total Electricity Generation in 2019 in the related year in GWh”. Then, the wastewater discharge in the baseline scenario is reached by multiplying this factor with the estimated electricity generation of the WPP. According to calculation, project is expected to avoid amount of 4,786.7 m3 wastewater discharge per year.

- SDG 7

- Firstly, the project helps to accelerate the growth of the wind power industry and stimulates the designation and production of renewable energy technologies in Turkey. Then, other entrepreneurs irrespective of sector are encouraged to invest in wind power generations. It also assists to reduce Turkey’s increasing energy deficit and diversify the electricity generation mix while reducing import dependency, especially natural gas. Importantly, rural development are maintained in the areas around the project site by providing infrastructural investments to these remote villages.

Calculation of Electricity Generation of BERGRES WPP :

Electricity Generation of BERGRES WPP = Electricity supplied to the grid (MWh) - Electricity consumption from the grid (MWh)

- The project is expected to generate 215,423 MWh/annually. The project contributes to the following target 7.2. and following indicator 7.2.1.

Balance of payments and investment:

Amount of Avoided Natural Gas Imported by Project Activity per year and also, during monitoring period can be calculated as well:

| Amount of Avoided Imported Natural Gas by Project Activity per year (m3) | = | Net Annual Electricity Generation of Project Activity per year (GWh/y) | x | Amount of Avoided Imported Natural Gas by each GWh of Project Electricity Generation in 2021 (m3/GWh) |
| --- | --- | --- | --- | --- |

By considering the natural gas in baseline year the avoided money for natural gas use is calculated as follow:

| Amount of Avoided Money for Imported Natural Gas by Project Activity during the MP (€) | = | Amount of Avoided Imported Natural Gas by Project Activity Monitoring Period (m3) | x | Natural gas unit price (€/m3) |
| --- | --- | --- | --- | --- |

For Bergres WPP: This yields as 14.661,87 m3 natural gas per year.

For Bergres WPP: The overall results are € 8.836.455,34/year

- SDG 8

- The employment of local people that have necessary technical qualifications for the required post is the priority and enhanced by all project activities during operation of wind farm. As a result, local poverty and unemployment are partially eliminated by increased job opportunities and project business activities. Construction materials for the foundations, cables and other auxiliary equipment were/are preferentially be sourced locally. Moreover as contribution of the project to welfare of the region, the quality of the electricity consumed in the region is increased by local electricity production, which also contributes decreasing of distribution losses. On the other hands, health and safety trainings are/will be provided to the all employees to decrease the risk and injuries during the operation.

- The project is expected to provide health and safety trainings to all employees and employ at least 4 local employees. It contributes to the following target 8.8. and following indicator 8.8.2.

- SDG 13

- The annual emission reduction estimated by the project is 139,766 tonnes of tCO2/year, approximately. While this amount of emissions are mitigated, technology transfer is also realized as benefitting from wind energy.

- The project contributes to improve the environmental situation in the region and in the country as avoiding fossil fuel-based electricity enhances the air quality and help to reduce the adverse effects on the climate. Through renewable technologies and wind based electricity sustainable and climate friendly development is promoted.

- This project is expected to remove of CO2: 139,766 tCO2/year. It contributes to the following target 13.3. and following indicator 13.3.1.

CO Emission Avoidance

In order to calculate CO emission from the facility, the first step is to calculate a factor showing CO emission per GWh estimated generated electricity. This factor is derived by dividing “Emission Amount due to Electricity Amount in related year (2021 in this case) with “Estimated electricity generation in the related period in GWh”. Then, the CO emission in the baseline scenario is reached by multipliying this factor with the estimated electricity generation of the WPP. This output also refers to Avoided CO Emission Amount.

Calculation of CO emission :

CO Avoidance =  Emission Amount due to Electricity Amount in related year (2021 in this case)electricity generation in the related year in GWh ×Estimated electrcity Gen. of Bergres WPP

NMVOC Emission Avoidance

In order to calculate NMVOC emission from the facility, the first step is to calculate a factor showing NMVOC emission per GWh generated electricity. This factor is derived by dividing “Emission Amount due to Electricity Amount in related year (2014 in this case) with “Net electricity generation in the related year in GWh”. Then, the NMVOC emission in the baseline scenario is reached by multipliying this factor with the estimated electricity generation of the WPP. This output also refers to Avoided CO Emission Amount. (Please see BERGRES WPP_ER_v3_14122022 excel file.)

Calculation of NMVOC Avoidance :

NVMOC Avoidance =  Emission Amount due to Electricity Amount in related year (2021 in this case)electricity generation in the related year in GWh ×Estimated electrcity Gen. of Bergres WPP

Then, the emissions of these compounds are calculated as follow:

| Emission Amount by Project Activity per (tons) | = | Electricity Generation of Project Activity | x | Emission per GWh (tons/GWh) |
| --- | --- | --- | --- | --- |

This yields as:

- 21.1 tons/year for CO

- 2.0   tons/year for NMVOC

B.6.2 Data and parameters fixed ex ante

- For the emission factors, that were used to calculate estimated emission reductions, for the build and operating margin; publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey’s National Electric Grid Emission Factor for the year of 2020 was used. Publication includes calculated Emission Factor values that are Operating Margin (OM), Growth Based Margin (Build Margin-BM) and Combined Margin (CM) Emission Factors, for the relevant year with usage of the IPCC’s Clean Development Methodology Tool 07-V07.0. For this calculation, information regarding used data set is given below in detail;

- TEİAŞ Turkey's electricity generation-consumption and loss statistics,

- Common prepared report under Turkey's National Greenhouse Gas Inventory Reporting Format. - Common Reporting Format (CRF) tables for electricity generation (1.A.1.a.i) emission values

- Chronological order of power generation plants from TEİAŞ Load Dispatch Department with commissioning dates, plant names, fuel types, installed power values, electricity generation for the calculated year

- Checking off Volunteers from the websites of Gold Standard (GS) and Verified Carbon Standard (VCS) for the ownership status of the carbon reduction certificate and,

- From Clean Development Mechanism (CDM) Tool 009- V3.0, Power plant efficiency figures are used

According to this publication;

Operating Margin-OM; 0.7424 tCO2/MWh

Build Margin-BM; 0.368 tCO2/MWh

Combined Margin-CM; 0.6488 tCO2/MWh

Project Emissions

The proposed project activity involves the generation of electricity by development of a wind farm. The generation of electricity does not result in greenhouse gas emissions and therefore is taken as 0 tCO2/year.

PEy is 0 because project is a wind power generation activity (Only for geothermal and hydro project activities, it should be considered according to ACM0002).

Leakage

LEy is 0, as it is not considered according to ACM0002

Then: ERy = BEy

Baseline emissions

Baseline emissions include only CO2 emissions from electricity generation in fossil fuel fired power plants that are displaced due to the project activity, calculated as follows:

BEy = EGpj,y  x EFgrid,CM,y								(6)

Where:

BEy	 = Baseline emissions in year y (tCO2/yr).

EGpj,y 	 = Quantity of net electricity generation that is produced and fed into the grid as a result of the implementation of the CDM project activity in year y (MWh).

EFgrid,CM,y 	 = Combined margin CO2 emission factor for grid connected power generation in year y calculated using the latest version of the “Tool to calculate the emission factor for an electricity system”. (tCO2/MWh).

The project activity is the installation of a new grid-connected renewable power plant so, EGbaseline = 0

- Calculation of the Operating Margin Emission Factor

By using all of the data which were given above, Turkish Ministry of Energy and Natural Resources calculated EFgrid,OMsimple,y11. :

EFgrid,OMsimple,y = 0.7424(ktCO2/GWh)

- Calculation of the Build Margin Emission Factor

For BM factor calculation, Turkish Ministry of Energy and Natural Resources used as input data. Consequently, EFgrid,BM,y11.

EFgrid,BM,y =  0.368 tCO2/MWh

- Calculating of the Combined Margin Emission Factor

- EFgrid,CM,y = 0.7424tCO2/MWh * 0.75 + 0.368 tCO2/MWh * 0.25 = 0.6488 tCO2/MWh

EFgrid,CM,y= 0.6488  tCO2/MWh

Then:

ERy = BEy - PEy= EGpj,y * EFgrid,CM,y = 215,423 MWh/year * 0.6488 tCO2/MWh = 139,766 tCO2/year

Baseline scenario is identified and described in B.4. Emission reductions due to project activity is calculated according to “Tool to calculate the emission factor for an electricity system” (Tool) version 7.0.0 as indicated in ACM0002 ver. 21.0.

A brief explanation of this methodology is given in Tool as:

This methodological tool determines the CO2 emission factor for the displacement of electricity generated by power plants in an electricity system, by calculating the “combined margin” emission factor (CM) of the electricity system.

SDG13

| Data/parameter | EFgrid,CM,y |
| --- | --- |
| Unit | tCO2/MWh |
| Description | CO2 emission factor that were used to calculate estimated emission reductions, publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey’s National Electric Grid Emission Factor for the year of 2020 was used. CM calculated as in “Tool to calculate the emission factor for an electricity system” (Tool) version 7.0.0 as indicated in ACM0002 ver. 21.0. |
| Source of data | Please see: https://enerji.gov.tr//Media/Dizin/EVCED/tr/%C3%87evreVe%C4%B0klim/%C4%B0klimDe%C4%9Fi%C5%9Fikli%C4%9Fi/TUESEmisyonFktr/Belgeler/2020_Sebeke_EF.pdf |
| Value(s) applied | 0.6488 tCO2/MWh |
| Choice of data or Measurement methods and procedures | The baseline emissions are the product of electrical energy baseline expressed in MWh of electricity produced by the renewable generating unit multiplied by an emission factor. |
| Purpose of data | To show CO2e reduction in order to monitor the SDG 13 Indicator. |
| Additional comment |  |

B.6.3 Ex ante estimation of SDG Impact

- SDG 13

- Calculation of the Operating Margin Emission Factor

By using all of the data which were given above, Turkish Ministry of Energy and Natural Resources calculated EFgrid,OMsimple,y11. :

EFgrid,OMsimple,y = 0.7424(ktCO2/GWh)

- Calculation of the Build Margin Emission Factor

By using all of the data which were given above, Turkish Ministry of Energy and Natural Resources calculated. EFgrid,BM,y11:

EFgrid,BM,y =  0.368 tCO2/MWh

- Calculating of the Combined Margin Emission Factor

EFgrid,CM,y = 0.7424tCO2/MWh * 0.75 + 0.368  tCO2/MWh * 0.25 = 0.6488 tCO2/MWh

EFgrid,CM,y= 0.6488  tCO2/MWh

Where:

ERy = Emission reductions in year y (t CO2/yr).

BEy = Baseline emissions in year y (t CO2/yr).

PEy = Project emissions in year y (t CO2/yr).

LEy = Leakage emissions in year y (t CO2/yr).

Baseline emissions

Baseline emissions include only CO2 emissions from electricity generation in fossil fuel fired power plants that are displaced due to the project activity, calculated as follows:

BEy = EGpj,y  x EFgrid,CM,y								(6)

Where:

BEy	 = Baseline emissions in year y (tCO2/yr).

EGpj,y 	 = Quantity of net electricity generation that is produced and fed into the grid as a result of the implementation of the CDM project activity in year y (MWh).

EFgrid,CM,y 	 = Combined margin CO2 emission factor for grid connected power generation in year y calculated using the latest version of the “Tool to calculate the emission factor for an electricity system”. (tCO2/MWh).

Leakage

LEy is 0, as it is not considered according to ACM0002 PEy is 0 because project is a wind power generation activity (Only for geothermal and hydro project activities, it should be considered according to ACM0002).

Then: ERy = BEy

Emission Reduction

The project activity is the installation of a new grid-connected renewable power plant so, EGbaseline = 0

Then:

ERy = BEy - PEy= EGpj,y * EFgrid,CM,y = 215,423 MWh/year * 0.6488 tCO2/MWh = 139,766 tCO2/year

- SDG7

- The baseline for the project is no project, thus leading to generation in the relevant grid which is dominated by fossil fuel. The clean energy generated by the project is calculated based on the amount of electricity generated by the project per annum. The project is expected to generate 215,423 MWh of clean energy per annum.

- SDG 8

- The project employs at least 4 are local people. Also, project activity improves the quality of employment by giving some trainings to employees. Thus, there will be series of training such as health and safety that will be conducted regularly within BERGRES WPP.

B.6.4 Summary of ex ante estimates of each SDG Impact

| YEAR | BASELINE ESTIMATE | PROJECT ESTIMATE | NET BENEFIT |
| --- | --- | --- | --- |
| 21/04/2024-31/12/2024 | 97,645 | 0 | 97,645 |
| 2025 | 139,766 | 0 | 139,766 |
| 2026 | 139,766 | 0 | 139,766 |
| 2027 | 139,766 | 0 | 139,766 |
| 2028 | 139,766 | 0 | 139,766 |
| 2029 | 139,766 | 0 | 139,766 |
| 2030 | 139,766 | 0 | 139,766 |
| 01/01/2031-20/04/2031 | 42,121 | 0 | 42,121 |
| Total | 978,362 | 0 | 978,362 |
| Total number of crediting years | 7 Years |  |  |
| Annual average over the crediting period | 139,766 |  |  |

- SDG 7

The baseline for the project is no project, thus leading to generation in the relevant grid which is dominated by fossil fuel. The clean energy generated by the project is calculated based on the amount of electricity generated by the project per annum. The project is expected to generate 215,423 MWh of clean energy per annum.

| YEAR | BASELINE ESTIMATE | PROJECT ESTIMATE | NET BENEFIT |
| --- | --- | --- | --- |
| 21/04/2024-31/12/2024 | 150,501 | 0 | 150,501 |
| 2025 | 215,423 | 0 | 215,423 |
| 2026 | 215,423 | 0 | 215,423 |
| 2027 | 215,423 | 0 | 215,423 |
| 2028 | 215,423 | 0 | 215,423 |
| 2029 | 215,423 | 0 | 215,423 |
| 2030 | 215,423 | 0 | 215,423 |
| 01/01/2031-20/04/2031 | 64,922 | 0 | 64,922 |
| Total | 1,507,961 | 0 | 1,507,961 |
| Total number of crediting years | 7 Years |  |  |
| Annual average over the crediting period | 215,423 |  |  |

- SDG 8

##### The project will lead to employment opportunities which would not have been possible in the baseline scenario. The project employs at least 4 local people. Also, project activity improves the quality of employment by giving HSE trainings to employees. Thus, there will be series of training such as health and safety that will be conducted regularly within BERGRES WPP.

##### SDG 6

According to calculation below, project is expected to avoid 5,334 m3 wastewater discharge per year.

| Total Wastewater Discharged by Thermal Power Plants in 2018 (x1000 m3) | Total Electricity Generation in 2019 (GWh) | Average Amount of Wastewater Discharged per each GWh Electricity Generation in 2018 (x1000 m3/GWh) | Annual Electricity Generation of Project Activity (GWh/y) |
| --- | --- | --- | --- |
| 7,527,047.00 | 7,527,047.00 | 24.77 | 215.4 |

| Amount of Avoided Wastewater Discharge per year by Project Activity (x1000 m3/y) | Amount of Produced Wastewater by Project Activity per year (x1000 m3/y) | Net Amount of Avoided Wastewater Discharge by Project Activity per year (x1000 m3/y) |
| --- | --- | --- |
| 5,335.7 | 1.64688 | 4,786.7 |

##### B.7. Monitoring plan

B.7.1 Data and parameters to be monitored

SDG 13 Climate Action

Target: 13.3

Indicator: 13.3.1

| Data / Parameter | Air quality |
| --- | --- |
| Unit | tons of CO2e |
| Description | Baseline emissions correspond to emission reductions and are calculated as the net electricity generated by the project activity, multiplied with combined margin CO2 emission factor for grid connected power generation in year y. |
| Source of data | CO2 emission factor that were used to calculate estimated emission reductions, publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey’s National Electric Grid Emission Factor for the year of 2020 was used. CM calculated as in “Tool to calculate the emission factor for an electricity system” (Tool) version 7.0.0 as indicated in ACM0002 ver. 21.0. CM: 0.6488 tCO2/MWh |
| Value(s) applied | 139,766 tCO2/year |
| Measurement methods and procedures | Amount of annual net electricity generation, which is calculated by monthly settlement notifications of EPİAŞ based on monthly meter readings, will continue used to calculate estimated CO2 emission reduction by project activity. |
| Monitoring frequency | Annually |
| QA/QC procedures | Calculation of amount of emission reduction will be calculated on an excel document and provided in each monitoring period. |
| Purpose of data | Calculation of combined margin CO2 emission factor and thus the baseline emissions-to demonstrate contribution to SDG Target 13.3: Improve education, awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning |
| Additional comment | - |

| Data / Parameter | Air quality (emissions other than GHGs) (SDG 13) |
| --- | --- |
| Unit | tons/GWh |
| Description | For the CO, NMVOC emissions |
| Source of data | Emission amount due to electricity generation is taken from UNFCCC Common Reporting Format (CRF) excel spreadsheets and total electricity generation in related year is taken from TEİAŞ website to determine the emission factor for air quality indicators. All references have been provided in the CM excel. |
| Value(s) applied | With respective orders of CO, NMVOC, NOx emissions: CO:0.098 tons/GWh NMVOC:0.009 tons/GWh |
| Measurement methods and procedures | Amount of annual net electricity generation, which is calculated by monthly settlement notifications of EPİAŞ based on monthly meter readings, will be used to calculate estimated CO,NMVOC and NOx emission reduction by project activity. |
| Monitoring frequency | Annually |
| QA/QC procedures |  |
| Purpose of data | Emission reduction. |
| Additional comment | - |

SDG 7 Affordable and clean energy

Target: 7.2

Indicator: 7.2.1

| Data / Parameter | EGPJ,grid,y |
| --- | --- |
| Unit | MWh/yr |
| Description | Quantity of net electricity generation supplied by the project plant to the grid in year y |
| Source of data | On site measurement |
| Value(s) applied | 215,423 MWh |
| Measurement methods and procedures | • Regarding the electricity meters: two meters are placed (one main and one reserve) at the BERGRES WPP which meters the electricity transferred to TEİAŞ substation. These meters are sealed by TEIAS and intervention by project proponent is not possible. The fact that two meters are installed in a redundant manner keeps the uncertainty level of the only parameter for baseline calculation low. High data quality of this parameter is not only in the interest of the emission reduction monitoring, but paramount for the business relation between the plant operator and the electricity buyers. • Measured hourly and readings monthly. Monthly settlement notifications of EPİAŞ (Piyasa Mali Uzlaştırma Merkezi) consist hourly electricity production and withdrawn from the grid. • Since the meters are reading electricity supplied to the system and withdrawn from the system separately, the net electricity amount supplied to the grid is calculated by electricity supplied minus electricity withdrawn which is be taken from monthly settlement notifications. The above described measurement method follows Article 81 of the official regulation “Electricity Market Balancing And Settlement Regulation” |
| Monitoring frequency | Continuous measurement and at least monthly recording |
| QA/QC procedures | According to the Article 2 of the Communiqué of Meters in Electricity Sector: ‘The meters to be used in the electricity market shall be compliant with the standards of Turkish Standards Institute or IEC and have obtained “Type and System Approval” certificate from the Ministry of Trade and Industry.’ Therefore, Ministry of Trade and Industry (Ministry) is responsible from control and calibration of the meters. Also according to Article 11 of this Communiqué, meters shall be in class of 0.5s, which means error interval for measuring is in +-0.5% range which is well acceptable according to rules. Paragraph b) of the Article 9 of the 'Regulation of Metering and Testing of Metering Systems' (Regulation) of Ministry states that: ‘ b) Periodic tests of meters of electricity, water, coal gas, natural gas and current and voltage transformers are done every 10 years.’ Therefore periodic calibration of the meters will be done every 10 years. As stated in the related letter of TEİAŞ dated 2022; It is stated that the periodic inspection and testing of the meters should be done every 2 years. Also according to Article 67 of this regulation, the calibration shall be done in calibration stations which have been tested and approved by Ministry of Trade and Industry. Article 10 d) of Communiqué requires the meters shall be three phase four wire and Article 64 of Regulation clearly states how calibration shall be performed for this kind of meters. According to Article 3 of System Usage Agreement done by BERGRES Elektrik Üretim A.Ş and TEIAS; other than periodic tests, if a party alleges the meters are not working appropriately tests of the meters will be done by presence of both parties. If, after controls, it is seen that the meter is not working appropriately, the measurements of reserve meters are taken into account beginning from date both meters are reading the same. Main data source will be the PMUM data (EPIAS records). Electricity distribution (TEİAS) company’s meter records will be used for cross checking. As above mentioned, the data acquisition and management and quality assurance procedures that are anyway in place, no additional procedures have to be established for the monitoring plan. Name; Serial Number; Brand –Model; Year of Manufacture; Accuracy Class. Main Meter; 5704873; EMH-LZQJ-XC; 2016; Active C (0.5) – Reactive 2. Backup meter; 5704874; EMH-LZQJ-XC; 2016; Active C (0.5) – Reactive 2. Installation Date of the meters: 24/04/2017 Accuracy class: Accuracy class: 0.5S, Reactive 2 |
| Purpose of data | Calculation of Baseline and Project Emission |
| Additional comment |  |

SDG 8 Decent work and economic growth

Target: 8.8

Indicator: 8.8.2

| Data / Parameter | Quality of employment |
| --- | --- |
| Unit | - |
| Description | Quality of employment |
| Source of data | Attendance records or training certificates |
| Value(s) applied | HSE trainings will be provided to all employees. |
| Measurement methods and procedures | Attendance records or training certificates of Health and Safety trainings |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | Attendance records or training certificates are provided during each monitoring period. |
| Purpose of data | Monitoring the trainings to justify contribution to SDG 8.8.Protect labor rights and promote safe and secure working environments for all workers, including migrant workers, in particular women migrants, and those in precarious employment |
| Additional comment |  |

| Data / Parameter | Quantitative employment and income generation |
| --- | --- |
| Unit | - |
| Description | Number of local employees |
| Source of data | Employment records |
| Value(s) applied | At least 4 local employees |
| Measurement methods and procedures | Social Security System (SGK) records |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | SGK registy records of employees are provided during each monitoring period |
| Purpose of data | Employment and decent work for all |
| Additional comment | - |

SDG 6 Clean Water and Sanitation

Target: 6.3

Indicator: 6.3.1

| Data / Parameter | Avoidance of wastewater generation and discharge |
| --- | --- |
| Unit | m3 |
| Description | Quantity of avoided cooling wastewater and domestic wastewater discharge |
| Source of data | - For cooling wastewater avoidance: As per Monitoring Plan sheet of registered CM Excel. During the verification, the results shall be obtained from the Actual ER excel file. - For domestic wastewater discharge to natural bodies: Receipts of sewage truck loan |
| Value(s) applied Measurement methods and procedures | - For cooling wastewater avoidance: The cooling wastewater avoidance will be calculated based on Bergres WPP’s electricity generation data. - For domestic wastewater discharge to natural bodies: The receipts of sewage truck have shown that necessary precautions have been taken in order to avoid domestic wastewater discharge into natural environments. |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | Not Applicable |
| Purpose of data | To Monitor the SDG 6 Indicator |
| Additional comment | Values will be calculated by Environmental Spesialist using net electricity production during the monitoring period. |

B.7.2 Sampling plan

N/A

B.7.3 Other elements of monitoring plan

As the necessary baseline emission factors are all defined ex ante (Operating and Built Margin, see baseline description), the most important information  is the amount of monitored electricity fed into the grid by BERGRES WPP. This value is monitored continuously by redundant metering devices, one of them being the main one in the substation, which provides the data for the monthly invoicing to TEİAŞ. The collected data is kept by BERGRES during the crediting period and until two years after the last issuance of VERs for the BERGRES WPP activity for that crediting period.

Given a data vintage based on ex ante monitoring and selection of a renewable 7 year crediting period, the Combined Margin is updated from the publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey’s National Electric Grid Emission Factor for the year of 2020 for the renewal of the crediting period.

In case of a backup power generator would be installed in power plant for emergency cases the emission on the generator will be negligible according to the Methodology ACM0002 version 21.

Potential leakage emissions in the context of power sector projects are emissions arising due to activities such as power plant construction, fuel handling and land inundation. However, according to the methodology, those emission sources do not need to be taken into account.

Data handling was slightly modified because of innovation in technology that enables TEİAŞ to read meters from afar. Thus, under this process, the meter is read at the end of every month from afar and published via the TEİAŞ website which can be accessed by the project owner to control the accuracy of the data. In addition, the project owner carries a monthly protocol (monthly meter readings) to cross-check the data. The main source of the data is EPIAS data. When the meter data is correct then the amount is also published on the TEİAŞ website which is also available by the project owner. When all data is correct, an invoice (a receipt of sale) is prepared by BERGRES and delivered to TEİAŞ.

As the necessary baseline emission factors are all determined ex-ante, the only information to be monitored is the amount of electricity fed into the grid by BERGRES WPP. The data which is the base for the invoices and published on the TEİAŞ website is utilized as data for emission reduction calculation.

The collected data is kept by BERGRES during the crediting period and until two years after the last issuance of VERs for the BERGRES WPP project activity for that crediting period. As of 01/09/2015, EPIAS took over the PMUM procedures from TEIAS. Since that date, EPIAS supplies the data.

Potential leakage emissions in the context of power sector projects are emissions arising due to activities such as power plant construction, fuel handling and land inundation. On the other hand, according to the methodology, those emissions are considered negligible.

The fact that the two most satisfactory and safe practice meters are redundantly installed keeps the uncertainty level of the single parameter for the baseline calculation low. High data quality of this parameter is not only in the interest of the emission reduction monitoring but essential for the business relationship between the plant operator and the electricity buyer. Because the meters are reading electricity supplied to the system and withdrawn from the system one by one, the net electricity amount supplied to the grid was calculated by electricity supplied minus electricity withdrawn which was taken from monthly settlement notifications.

Monthly data from EPİAŞ are stored electronically on the EPİAŞ website and this data can be accessed by the login of Project Developer. BERGRES also holds a hard copy of the monthly meter reading protocols for the backup of systematic storage of data.

In addition, there are always internal checks of the meters data that is checked by different parties. First, data of the meters is collected by technicians daily in written forms. The data collected daily is saved in the plant manager computer and backed up and shared by headquarter of BERGRES in Istanbul. Besides the data that can be gotten from meters, the production amount can be checked from the SCADA system of GE. SCADA figures vary a bit with meter data because of internal losses.

Operation and management diagram is presented in Figure11.

Figure 11. Operation and management diagram of the BERGRES WPP

The calibration of the monitoring equipment was carried out according to the information provided in the GS-VER PDD. The GS-VER PDD mainly includes the following obligation for the calibration of the appropriate meters:

Figure 12. Specification of the Electricity Meters

| Name | Serial Number | Brand –Model | Accuracy Class | Year of Manufacture |
| --- | --- | --- | --- | --- |
| Main Meter | 5704873 | EMH-LZQ-XC | Active C (0.5) – Reactive 2 | 2016 |
| Backup meter | 5704874 | EMH-LZQ-XC | Active C (0.5) – Reactive 2 | 2016 |

Installation and First Calibration Date of the meters: 21/04/2017

According to the Article 2 of the Communiqué: ‘The meters to be used in the electricity market shall be compliant with the standards of Turkish Standards Institute or IEC and have obtained “Type and System Approval” certificate from the Ministry of Trade and Industry.’ Therefore, Ministry of Trade and Industry (Ministry) is responsible from control and calibration of the meters.

paragraph b) of the Article 9 of the 'Regulation of Metering and Testing of Metering Systems' 7 (Regulation) of Ministry states that: ‘b) Periodic tests of meters of electricity, water, coal gas, natural gas and current and voltage transformers are done every 10 years’. Therefore, periodic calibration of the meters will be done every 10 years. Therefore, the next calibration will be applied in 2027.

As stated in the related letter of TEİAŞ dated 2022; It is stated that the periodic inspection and testing of the meters should be done every 2 years.

As the measuring devices are sealed by TEIAŞ, Bergres cannot intervene with the devices. In case of unforeseen problems or failures of the meters or if any differences occur between primary and secondary devices TEIAŞ has to be informed for necessary maintenance and calibration. There is an agreement between Bergres and TEIAŞ that in case of problems or failures of the meters TEIAŞ reacts as fast as possible to solve the problem.

For this monitoring period, turbines did not stop and there have not been an accident or an incident, which may affect the electricity generation of the project. Also, test of the electricity meter was not performed for this monitoring period.

#### SECTION C. DURATION AND CREDITING PERIOD

##### C.1. Duration of project

C.1.1 Start date of project

12/11/2015

C.1.2 Expected operational lifetime of project

The expected lifetime of the BERGRES WPP is 25 years.

##### C.2. Crediting period of project

C.2.1 Start date of crediting period

21/04/2024

C.2.2 Total length of crediting period

7 years, second period

End date of second crediting period: 20/04/2031

#### SECTION D. SUMMARY OF SAFEGUARDING PRINCIPLES AND GENDER SENSITIVE ASSESSMENT

##### D.1 Safeguarding Principles that will be monitored

A completed Safeguarding Principles Assessment is in Appendix 1, ongoing monitoring is summarized below.

| PRINCIPLES | MITIGATION MEASURES ADDED TO THE MONITORING PLAN |
| --- | --- |
| Principle 9.4 Release of Pollutants | Discussed with the mukhtar (head of the village), local people and BERGRES personnel |
| Principle 9.5 Hazardous and Non-hazardous wastes | By checking waste disposal recordings. |

##### D.2. Assessment that project complies with GS4GG Gender Sensitive requirements

| Question 1 - Explain how the project reflects the key issues and requirements of Gender Sensitive design and implementation as outlined in the Gender Policy? | Gold Standard Gender Policy (https://globalgoals.goldstandard.org/101-1-g-gold-standard-gender-policy/), p. 10 “Foundational gender-sensitive requirement - This strengthens Gold Standard’s ‘do no harm’ approach and addresses safeguards to prevent or mitigate adverse impacts on women or men and girls and boys. Such action is mandatory for all projects seeking Gold Standard certification and includes compliance with the gender ‘do no harm’ safeguards, gender gap analysis and gender sensitive stakeholder consultations.” The project is a renewable energy project and not gender sensitive project. The project does not impact women or men, negatively. |
| --- | --- |
| Question 2 - Explain how the project aligns with existing country policies, strategies and best practices | The project does not involve and is not complicit in any form of discrimination based on gender, race, religion, sexual orientation or any other basis. Turkey signed the convention of International Labour Organization. The related articles are 100 and 111. The project owner respects Article 5/8425 of Labour Law; Which states no discrimination based on gender, race, religion, sexual orientation or any other basis is allowed. |
| Question 3 - Is an Expert required for the Gender Safeguarding Principles & Requirements? | No. The project does not involve and is not complicit in any form of discrimination based on gender, race, religion, sexual orientation or any other basis. |
| Question 4 - Is an Expert required to assist with Gender issues at the Stakeholder Consultation? | No. At the Stakeholder Consultation, women are free to say anything regarding the project. Their opinions and comments are also taken into account while |

#### SECTION E. SUMMARY OF LOCAL STAKEHOLDER CONSULTATION

The below is a summary of the 2 step GS4GG Consultation for monitoring purposes. Please refer to the separate Stakeholder Consultation Report for a complete report on the initial consultation and stakeholder feedback round.

##### E.1 Summary of stakeholder mitigation measures

The project participants not applied a local stakeholder consultation (LSC) process in line with the retroactive requirements of GS.The project activity is Retroactive Project so local stakeholder consultation is not organized. Also a stakeholder feedback round has been realized in compliance with the GS procedures governing the issue between 20/10/2016 and 24/01/2017 on web site of Life İklim ve Enerji Ltd. Şti. (http://bizden.lifenerji.com/genel/bergres-ruzgar-enerjisi-santrali-projesi/). Hard copy project documents were displayed and provided for stakeholders for 3 months in elected Head’s Office of Balaban and Bayramcılar village, which was the easiest way for access of anybody. During Stakeholder Feedback round of Bergres WPP, 5 local, 5 International NGOs, which were invited to the initial stakeholder meeting, were again invited for contributing their comments on the project. No complaints from villagers about this topic have been raised.

For this crediting period renewal Bergres Wind Power Project, site visitwas conducted at the muhktar of Hacılar village head and the local stakeholders (from Bayramcılar, Hacılar, Balaban villages) face to face on 17/01/2024. During the meeting, the stakeholders stated that they had no complaints. Since muhktar is the head of the village, he will be the contact persons between the project owner and the local stakeholders. Muhtar will make sure that there’s continuous communication between the two parties. On site visit, it is verified that there were no negative comments from the stakeholders. Since this project is about the complete its 7th verification of first crediting period and it does not result in different impacts with respect to different vintages, the grievance mechanism does mainly rely on the existed grievance mechanism by the use of logbook. There would not requirement to use further grievance tools throughout the project life cycle.  In addition, logbook was checked to see whether there has been any complaints from the local stakeholders and it is seen that there were no negative comments from the local stakeholders.

##### E.2 Final continuous input / grievance mechanism

| METHOD | INCLUDE ALL DETAILS OF CHOSEN METHOD (S) SO THAT THEY MAY BE UNDERSTOOD AND, WHERE RELEVANT, USED BY READERS. |
| --- | --- |
| Continuous Input / Grievance Expression Process Book (mandatory) | Continuous Input Process Book was provided to Muhtar of, Hacılar, Bayramcılar and Balaban village. Muhtars are the representative of the village and most appropriate person to handle the book and complaints from the village. |
| GS Contact (mandatory) | help@goldstandard.org |
| Mukhtar of Hacılar Mukhtar of Balaban Mukhtar of Bayramcılar | İsa Uzuner Süleyman İkizler Sedat Mersin |
| Contact Information Of Appointed personnel of Project Participants | Emre Samsun +90 216 464 12 44 |

### Appendix 1 - Safeguarding Principles Assessment

Complete the Assessment below and copy all Mitigation Measures for each Principle into SECTION D above. Please refer to the instructions in the Guide to Completing this Form.

| SOCIAL SAFEGUARDING PRINCIPLES |  |  |
| --- | --- | --- |
| Reference requirement | Question | Response |
| P.1 ¦Human Rights |  |  |
| P.1.1.1 ¦ | Does the project developer, its representatives and the Project disrespect internationally proclaimed human rights? | ☐ YES ☒ NO |
| P.1.1.1 ¦ | Is the project involved or complicit in violence or human rights abuses of any kind as defined in the Universal Declaration of Human Rights? | ☐ YES ☒ NO |
| P.1.1.2 ¦ | Have local communities or individuals raised human rights concerns regarding the project (e.g., during the stakeholder engagement process, grievance processes, public statements)? | ☐ YES ☒ NO |
| P.1.1.3 ¦ | Is there a risk that rights-holders (e.g., Project-affected stakeholders) do not have the capacity to claim their rights? | ☐ YES ☒ NO |
| P.1.1.3 ¦ | Does this project undermine national or regional measures for the realisation of the right to development? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |
| Would the project potentially involve or lead to: |  |  |
| P.1.1.1 ¦ | adverse impacts on enjoyment of the human rights (civil, political, economic, social or cultural) of the affected population and particularly of marginalised groups? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.1.1.2 ¦ | inequitable or discriminatory impacts on affected populations, particularly people living in poverty or marginalised or excluded individuals or groups, including persons with disabilities? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.1.1.3 ¦ | restrictions in availability, quality of and/or access to resources or basic services, in particular to marginalised individuals or groups, including persons with disabilities? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.1.1.3 ¦ | exacerbation of conflicts among and/or the risk of violence to project-affected communities and individuals? | ☐ YES ☐ POTENTIALLY ☒ NO |
| Briefly describe below how the project incorporates a human rights-based approach. For example, by describing how the project design: |  |  |
| The project does not involve any conflict with livelihood of local people and respect all human rights. Türkiye, the host country, prohibits discrimination on the basis of a person's race, sex, religion, place of birth, or social status. The project does not involve and is not complicit in any form of discrimination based on gender, race, religion, sexual orientation, or any other basis. Türkiye ratified the Universal Declaration of Human Rights and the European Convention on Human Rights in 1949 and 1954, respectively. Respecting human rights and prohibiting any type of discrimination are also binding by the Turkish Constitution. |  |  |
| P.2 ¦Gender Equality and Women’s Empowerment |  |  |
| P.2.1.1 ¦ | Have women’s groups/leaders raised gender equality concerns regarding the project, (e.g., during the stakeholder engagement process, grievance processes, public statements)? | ☐ YES ☒ NO |
| P.2.1.2 ¦ | Does the project undermine the principles of non-discrimination, equal treatment, and equal pay for equal work? | ☐ YES ☒ NO |
| P.2.1.2 ¦ | Does the project prevent men and women from having equal opportunities to participate in identified tasks and activities, whether through paid work, volunteer work, or community contributions, as appropriate? | ☐ YES ☒ NO |
| P.2.1.2 ¦ | Does the project limit the participation of women or men based on pregnancy, maternity/paternity leave, or marital status? | ☐ YES ☒ NO |
| P.2.1.2 ¦ | Is information about project objectives being communicated in a way that is inappropriate for the local context and not tailored to the methods of understanding of both women and men, which could hinder their participation? | ☐ YES ☒ NO |
| P.2.1.3 ¦ | Has the project assessed gender risks without referencing the country's gender strategy or equivalent national commitment? | ☐ YES ☒ NO |
| P.2.1.4 ¦ | Has expert stakeholder(s) been involved, and has their input been requested for the project design on gender equality and women's empowerment? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. There is no possibility of adverse effect because of this project. The project does not decrease women´s access to or control of resources. The project does not discriminate on basis of gender, caste or religion. |  |  |
| Would the project potentially involve or lead to: |  |  |
| P.2.1.1 ¦ | adverse impacts on gender equality and/or the situation of women and girls? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.2.1.1 ¦ | exacerbation of risks of gender-based violence? For example, through the influx of workers to a community, changes in community and household power dynamics, increased exposure to unsafe public places and/or transport, etc. | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.2.1.2 ¦ | reproducing discriminations against women based on gender, especially regarding participation in design and implementation or access to opportunities and benefits? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.2.1.2 ¦ | limitations on women’s ability to use, develop and protect natural resources, taking into account different roles and positions of women and men in accessing environmental goods and services? For example, activities that could lead to natural resources degradation or depletion in communities who depend on these resources for their livelihoods and well-being. | ☐ YES ☐ POTENTIALLY ☒ NO |
| Briefly describe below how the project is addressing any identified risk to gender equality and women’s empowerment. |  |  |
| Türkiye has ratified ILO conventions, which provides gender equality. It also shows parallelism with national strategies prepared for women employment by creating opportunities for all. The project participant respects Article 5/8425 of Labour Law , which states no discrimination based on gender, race, religion, sexual orientation or any other basis is allowed. The project’s aim is to generate clean electricity from wind power and to replace fossil fuel power. The project abides the rules of equality accordingly and does not involve and is not complicit in any form of discrimination. Qualified local residents are recruited to work for the project without any bias. During stakeholders’ consultation process, comments were collected from the local people, including both men and women. Employees’ salaries are not determined based on their genders or gender identities, but rather the position they are working in. (engineer, janitor etc.) The project follows and respects the rules of equality. |  |  |
| P.3 ¦Community Health AND Safety |  |  |
| P.3.1.1 ¦ | Does the project involve potential risks to the health and safety of affected communities during its life cycle? | ☐ YES ☒ NO |
| P.3.1.2 ¦ | Does the project involve any potential risks to the workers' safety and health? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |
| All relevant environment, health and safety regulations will be applied as required and all necessary precautions will be taken. Within this scope, the relevant legislation in force, especially the "Occupational Health and Safety Law" No. 6331, will be complied with. In addition, the personnel to be employed will be trained by the power plant high-level officers and relevant experts. (eg. HSE trainings will be given for employees at the plant.) |  |  |
| Would the project potentially involve or lead to: |  |  |
| P.3.1.1 ¦ | construction and/or infrastructure development (e.g., roads, buildings, dams)? | ☐ YES ☒ NO |
| P.3.1.2 ¦ | air pollution, noise, vibration, traffic, injuries, physical hazards, poor surface water quality due to runoff, erosion, sanitation? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.3.1.2 ¦ | harm or losses due to failure of structural elements of the project (e.g., collapse of buildings or infrastructure)? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.3.1.2 ¦ | risks of water-borne or other vector-borne diseases (e.g., temporary breeding habitats), communicable and noncommunicable diseases, nutritional disorders, mental health? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.3.1.2 ¦ | transport, storage, and use and/or disposal of hazardous or dangerous materials (e.g., explosives, fuel and other chemicals during construction and operation)? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.3.1.2 ¦ | adverse impacts on ecosystems and ecosystem services relevant to communities’ health (e.g., food, surface water purification, natural buffers from flooding)? | ☐ YES ☐ POTENTIALLY ☒ NO |
| Briefly describe below how the project is addressing any identified risk related to community health and safety. |  |  |
| The project produces electricity from renewable sources and by nature of its technology, it does not have exposure to increased health risks and shall not adversely affect the health of the workers and the community. All the safety and hygiene measures are being ensured in order to maintain a safe and healthy environment for the workers on site. The employees receive training and learn how to act in case of emergencies. Thus, necessary health and safety measures are being taken by both the project participant and the employees, who receive the training provided. The project is also in compliance with all national laws and regulations. |  |  |
| P.4 ¦Cultural Heritage, Indigenous People, Displacement and Resettlement |  |  |
| P.4.1 ¦Sites of Cultural and Historical Heritage |  |  |
| P.4.1.1 ¦ | Does the project involve altering, damaging, or removing sites, objects, or structures of significant cultural heritage? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project potentially involve or lead to: |  |  |
| P.4.1.1 ¦ | activities adjacent to or within a cultural heritage site? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.1.1 ¦ | significant excavations, demolitions, movement of earth, flooding or other environmental changes? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.1.1 ¦ | alterations to landscapes and natural features with cultural significance? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.1.1 ¦ | adverse impacts to sites, structures, or objects with historical, cultural, artistic, traditional or religious values or intangible forms of culture (e.g., knowledge, innovations, practices)? (Note: projects intended to protect and conserve Cultural Heritage may also have inadvertent adverse impacts) | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.1.2 ¦ | utilisation of tangible and/or intangible forms (e.g., practices, traditional knowledge) of Cultural Heritage for commercial or other purposes? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.1.2 ¦ | If answer to question above is “YES” or “POTENTIALLY” - are the communities made aware of their right under the law, scope and nature of proposed development and its potential consequences? | ☐ YES ☐ NO ☒ NA |
| P.4.1.3 ¦ | If answer to question above is “YES” - does the project provide equitable sharing of benefits from commercialisation of such knowledge, innovation, or practice, consistent with their customs and traditions? | ☐ YES ☐ NO ☒ NA |
| P.4.1.4 ¦ | If answer to question above is “YES” - are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |
| P.4.1.4 ¦ | If answer to question above is “YES”, has project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder? | ☐ YES ☐ NO ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.4.2 ¦Forced Eviction and Displacement |  |  |
| P.4.2.1 ¦ | Does the project involve any risks related to involuntary relocation of people? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project potentially involve or lead to: |  |  |
| P.4.2.1 ¦ | risk of forced evictions or involuntary relocation of people? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.2.2 ¦ | temporary or permanent and full or partial physical displacement (including people without legally recognisable claims to land)? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.2.2 ¦ | economic displacement (e.g., loss of assets or access to resources due to land acquisition or access restrictions – even in the absence of physical relocation)? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.2.2 ¦ | If answer to question above is “YES” or “POTENTIALLY”, - has the project developed Resettlement Action Plan or Livelihood Action Plan in consultation and agreement with affected individual, group or community? - has the project integrated Resettlement Action Plan or Livelihood Action Plan into the Project design? | ☐ YES ☐ NO ☒ NA |
| P.4.2.3 ¦ | If answer to question above is “YES” - are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |
| P.4.2.3 ¦ | If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder? | ☐ YES ☐ NO ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.4.3 ¦Land tenure and other rights |  |  |
| P.4.3.1 ¦ | Does the project involve any risks related to identifying and managing legitimate tenure rights that may be affected by the project? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project potentially involve or lead to: |  |  |
| P.4.3.1 ¦ | impacts on or changes to land tenure arrangements and/or community-based property rights/customary rights to land, territories and/or resources? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.3.1 ¦ | uncertainties with regards to land tenure, access rights, usage rights or land ownership? Examples include, but are not limited to water access rights, community-based property rights and customary rights. | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.3.2 ¦ | Changes in legal arrangements, if yes, are the changes done in line with relevant laws and regulations? | ☐ YES ☐ NO ☒ NA |
| P.4.3.2 ¦ | Changes in legal arrangements, if yes, are these changes agree with free, prior and informed consent of the involved stakeholders? | ☐ YES ☐ NO ☒ NA |
| P.4.3.3 ¦ | Does some other entity (other than the project developer) hold uncontested land title for the entire Project Boundary? | ☐ YES ☒ NO ☐ NA |
| P.4.3.4 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |
| P.4.3.4 ¦ | If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder? | ☐ YES ☐ NO ☒ NA |
| P.4.3.5 ¦ | Have project developer in consultation with stakeholders established a functioning mechanism to receive, process, resolve, communicate and record grievances? | ☒ YES ☐ NO ☐ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.4.4 ¦Indigenous peoples |  |  |
| P.4.4.1 ¦ | Does the project involve Indigenous People within the Project area of influence who may be affected directly or indirectly by the Project? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project potentially involve or lead to: |  |  |
| P.4.4.1 ¦ | affect areas where indigenous peoples are present (including project area of influence) | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.4.1 ¦ | affect areas, land and territory claimed by indigenous peoples? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.4.1 ¦ | impacts (positive or negative) to the human rights, lands, natural resources, territories, and traditional livelihoods of indigenous peoples? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.4.7 ¦ | If answer to above questions is ’’YES’’ or “POTENTIALLY”, - Is it determined that the proposed project may affect the rights, lands, resources, or territories of indigenous people? - Has an "Indigenous People Plan" (IPP) or "Indigenous People Plan Framework" been elaborated and included in the project documentation? - Was the plan developed in accordance with the effective and meaningful participation of indigenous peoples and in accordance with UNDP Guidelines? | ☐ YES ☐ NO ☒ NA |
| P.4.4.3 ¦ | risk of forcibly removing indigenous people from their lands and territories? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.4.4 ¦ | utilisation and/or commercial development of natural resources on lands and territories claimed by indigenous peoples? Consider, and where appropriate ensure, consistency with the answers under Principle 4.1 above | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.4.4.5 ¦ P.4.4.6 ¦ | If answer to question above is “YES” or “POTENTIALLY” - Did the project obtain free, prior and informed consent from indigenous people before taking their cultural, intellectual, religious, and/or spiritual property? - Does the project ensure that the indigenous people receive an equitable sharing of benefits resulting from the use of their traditional knowledge and practices? ? - Does the project ensure that the sharing of benefits resulting from the use of indigenous peoples' traditional knowledge and practices is culturally appropriate and inclusive? - Does the project ensure that the provision of equitable sharing of benefits does not impede land rights or equal access to basic services including health services, clean water, energy, education, safe and decent working conditions, and housing? | ☐ YES ☐ NO ☒ NA |
| P.4.4.8 ¦ | Does the project lack appropriate feedback and grievance channels for Indigenous Peoples and their representatives? | ☐ YES ☐ NO ☒ NA |
| P.4.4.8 ¦ | Has a grievance mechanism not been established at the beginning of programme or project implementation with due consideration given to customary dispute settlement mechanisms among the Indigenous Peoples concerned and will it remain operational throughout the project cycle? | ☐ YES ☐ NO ☒ NA |
| P.4.4.9 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |
| P.4.4.9 ¦ | If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder? | ☐ YES ☐ NO ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.5 ¦Corruption |  |  |
| P.5.1.1 ¦ | Does the project involve, or is it complicit in, contributing to or reinforcing corruption or corrupt projects? | ☐ YES ☒ NO |
| P.5.1.1 ¦ | Does the project have a risk of encouraging bribery, kickbacks, or other unethical behavior? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| ECONOMIC SAFEGUARDING PRINCIPLES |  |  |
| P.6 ¦Economic Impacts |  |  |
| P.6.1 ¦Labour Rights and Working Conditions |  |  |
| P.6.1.1 ¦ | Does the project involve, facilitate, or condone forced labor, or pose a potential risk of forced labor? | ☐ YES ☒ NO |
| P.6.1.1 ¦ | Does the project violate any labor or health and safety laws, international obligations, or ILO conventions? | ☐ YES ☒ NO |
| P.6.1.2 ¦ | Does the project violate the principles of equal opportunity and fair treatment in its employment decisions? | ☐ YES ☒ NO |
| P.6.1.3 ¦ | Does the project violate national laws, if available regarding non-discrimination in employment? | ☐ YES ☒ NO |
| P.6.1.4 ¦ P.6.1.5 ¦ | Does the project allow child labor? | ☐ YES ☒ NO |
| P.6.1.7 ¦ P.6.1.8 ¦ | Does the project have insufficient processes and measures in place to ensure the safety and health of project workers? | ☐ YES ☒ NO |
| P.6.1.9 ¦ | Does the project have insufficient measures to safeguard and support vulnerable project workers, such as women, people with disabilities, migrant workers, and young workers, and to prevent any kind of harassment, abuse, bullying, or exploitation, including gender-based violence (GBV)? | ☐ YES ☒ NO |
| P.6.1.10 ¦ | Does the project have no grievance mechanism available for workers to voice workplace concerns? Is information about this mechanism not provided to workers at the time of recruitment, or is it not easily accessible? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project potentially involve or lead to: (note: applies to both project and contractor workers) |  |  |
| P.6.1.1 ¦ | use of forced labour? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.1 ¦ | working conditions that do not meet national labour laws and international commitments? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.1 ¦ | working conditions that may deny freedom of association and collective bargaining? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.1 ¦ | absence of documented working agreements with all individual workers if such agreements do not exist, or do not address working conditions and terms of employment, the project developer shall provide reasonable working conditions and terms of employment. | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.1 ¦ | use of migrant workers? if engaged, the developer shall ensure that they are engaged substantially equivalent terms and conditions to non-migrant workers carrying out similar work. | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.1 ¦ | having no arrangements for basic services for workers? the project developer shall put in place and implement policies on the quality and management of the accommodation and provision of basic services in a manner consistent with the principles of non-discrimination and equal opportunity. Workers’ accommodation arrangements should not restrict workers’ freedom of movement or of association | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.2 ¦ | any form of discrimination or harassment based on factors unrelated to job requirements, such as gender, race, nationality, ethnicity, social or indigenous origin, religion or belief, disability, age, or sexual orientation? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.2 ¦ | any form of discrimination in any aspect of employment, such as recruitment, compensation, working conditions, training, job assignment, promotion, termination, or discipline? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.2 ¦ | harassment, intimidation, and/or exploitation, especially in regard to women? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.3 ¦ | discriminatory working conditions and/or lack of equal opportunity where national law provides provision to address non-discrimination in employment? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.4 ¦ | use of child labour? (including second-party engaged workers) | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.1.4 ¦ | inadequate and verifiable mechanisms for age verification? | ☐ YES ☒ NO |
| P.6.1.7 ¦ | no processes and measures in place for the safety and health of project workers? | ☐ YES ☒ NO |
| P.6.1.7 ¦ | No provision of safety and health training provisions, including on the proper use and maintenance of personal protective equipment conducted by competent persons and the maintenance of training records? | ☐ YES ☒ NO |
| P.6.1.7 ¦ | No provision to record and document accidents, diseases, incidents, and any resulting injuries, illnesses, or deaths? | ☐ YES ☒ NO |
| P.6.1.8 ¦ | occupational health and safety risks due to physical, chemical, biological and psychosocial hazards (including violence and harassment) throughout the project life-cycle? | ☐ YES ☒ NO |
| P.6.1.9 ¦ | No measures to protect vulnerable project workers from harassment, exploitation, and gender-based violence (GBV)? This includes women, people with disabilities, migrant workers, and young workers. | ☐ YES ☒ NO |
| P.6.1.10 ¦ | No grievance mechanism available for workers to voice workplace concerns. | ☐ YES ☒ NO |
| P.6.1.11 ¦ | No measures for due diligence and the establishment of policies and procedures to manage and monitor the performance of second-party employees in the project? | ☐ YES ☒ NO |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| P.6.2 ¦Negative Economic Consequences |  |  |
| P.6.2.1 ¦ | Is there a risk of project failure during implementation or after project certification due to a lack of financial resources? | ☐ YES ☒ NO |
| P.6.2.2 ¦ | Does the project have potential negative impacts or pose a risk to the local economy? | ☐ YES ☒ NO |
| P.6.2.2 ¦ | Are there any potential risks or negative impacts this project may have on vulnerable or marginalised social groups, despite the benefits it may bring? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here… |  |  |
| Would the project involve or lead to: |  |  |
| P.6.2.2 ¦ | economic impacts (negative/detrimental) to the local economy? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.2.2 ¦ | negative economic consequences during and after project implementation, e.g., for vulnerable and marginalised social groups in targeted communities? | ☐ YES ☐ POTENTIALLY ☒ NO |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.7 ¦Climate and Energy |  |  |
| P.7.1 ¦GHG Emissions |  |  |
| P.7.1.1 ¦ | Does the project have a risk of increasing greenhouse gas emissions over the Baseline Scenario? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.7.1.1 ¦ | increase greenhouse gas emissions over the Baseline Scenario? | ☐ YES ☐ POTENTIALLY ☒ NO |
| If the answer is "yes" or "potentially" to the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.7.2 ¦Energy supply |  |  |
| P.7.2.1 ¦ | Does the project pose a risk to the availability and reliability of energy supply to other users? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.7.2.1 ¦ | negative impact on the availability and reliability of energy supply to other users? | ☐ YES ☐ POTENTIALLY ☒ NO |
| If the answer is "yes" or "potentially" to the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.8 ¦Water |  |  |
| P.8.1 ¦Impact on Natural Water Patterns/Flows |  |  |
| P.8.1.1 ¦ | Does the project increase water usage to a level that will not allow for the maintenance of environmental flows? | ☐ YES ☒ NO |
| P.8.1.1 ¦ | Does the project result in the discharge of wastewater that does not meet the required standard for beneficial reuse and could therefore negatively impact the environmental flow? | ☐ YES ☒ NO |
| P.8.1.1 ¦ | Does the project have the potential risk to exceed the rate of recharge for the groundwater source? | ☐ YES ☒ NO |
| P.8.1.1 ¦ | Does the project involve any processes or activities that could contaminate the groundwater and render it unsuitable for use? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| As compared to the baseline, no significant changes with regard to both ground and surface waters are expected because water will not be used for construction and operation of wind farm. The project does not have any positive or negative impacts. According to the PIF, there is no aqua product production and protected aquifers close to the plant |  |  |
| Would the project involve or lead to: |  |  |
| P.8.1.1 ¦ | affect the natural or pre-existing pattern of watercourses, groundwater and/or the watershed(s) such as high seasonal flow variability, flooding potential, lack of aquatic connectivity or water scarcity? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.8.1.1 ¦ | Wastewater discharge of quality that does not meet the required standard for beneficial reuse? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.8.1.1 ¦ | significant extraction, diversion of ground water? For example, construction of dams, reservoirs, river basin developments, groundwater extraction | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.8.1.2 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.8.2 ¦Erosion and/or Water Body Instability |  |  |
| P.8.2.1 ¦ | Does the project have a risk of negatively impacting the catchment and has it been assessed and addressed? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Since there is no water use in the generation of electricity the Project directly or indirectly cannot cause additional erosion and/or water body instability or disrupt the natural pattern of erosion. |  |  |
| Would the project involve or lead to: |  |  |
| P.8.2.2 ¦ P.8.2.5 ¦ | negatively impact on the catchment area? If yes, Erosion prevention measures, including soil and slope protection measures, must be implemented before project commencement. These measures should involve natural terracing, infiltration strips, permanent ground cover, hedge and tree rows, and effective slope length assessment. Regular reassessment of these measures is necessary. | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.8.2.6 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9 ¦Environment, ecology and land use |  |  |
| P.9.1 ¦Landscape Modification and Soil |  |  |
| P.9.1.1 ¦ - P.9.1.3 ¦ | Is there any risk of soil resource degradation or loss of ecosystem services provided by soils in the project? If yes, the project shall maintain healthy soils by minimising negative impacts on soil health, productivity, structure, and water retention. Steps to minimise soil degradation include crop rotation, composting, using N-fixing plants, and reducing tillage and ecologically harmful substances. | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.1.4 ¦ | production, harvesting, and/or management of living natural resources by small-scale landholders and/or local communities? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.1.4 ¦ | if answer to above question “yes” or “potentially”, does project adopt appropriate and culturally sensitive sustainable resource management practices? | ☐ YES ☐ No ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.2 ¦Vulnerability to Natural Disaster |  |  |
| P.9.2.1 ¦ | Does the project have any risks associated with natural or man-made hazards that could result from land use changes due to the project? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.2.2 ¦ | any potential risks that require emergency preparedness and response planning? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.2.2 ¦ | if answer to above question “yes” or “potentially”, did the project developer disclose appropriate information about emergency preparedness and response to affected communities? | ☐ YES ☐ No ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.3 ¦Biosafety and Genetic Resources |  |  |
| P.9.3.1 ¦ | Does the project involve the transfer, handling, and use of genetically modified organisms/living modified organisms that may result in adverse effects on biological diversity? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.3.1 ¦ | the transfer, handling and use of genetically modified organisms/living modified organisms (GMOs/LMOs) that result from modern biotechnology | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.3.1 ¦ | If answer to above question is “yes” has a risk assessment by a competent Expert stakeholder been carried out in accordance with Annex iii of the Cartagena protocol on biosafety to the convention on biological diversity? | ☐ YES ☐ No ☒ NA |
| P.9.3.2 ¦ | If answer to above question is “yes” has any risks identified in the risk assessment? | ☐ YES ☐ No ☒ NA |
| P.9.3.3 ¦ | Forestry (for example Afforestation/Reforestation) involving GMO planting? Note - Forestry projects (for example Afforestation/ Reforestation) involving GMO planting are not eligible for Certification under Gold Standard for the Global Goals. | ☐ YES ☐ No ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.4 ¦Release of pollutants |  |  |
| P.9.4.1 ¦ | Does the project have a risk of releasing pollutants to air, water, and land in routine, non-routine, or accidental circumstances? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.4.1 ¦ | any potential risk of pollutant release that cannot be avoided? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.4.3 ¦ | If answer to above question is “Yes” or “potentially”, has the project identified all potential pollution sources that may degrade the quality of soil, air, surface, and groundwater in the project area? | ☐ YES ☐ No ☒ NA |
| P.9.4.2 ¦ | If answer to above question is “Yes” or “potentially”, do the pollution prevention and control technologies and practices applied during the project life cycle align with national regulations or international best practices? | ☐ YES ☐ No ☒ NA |
| P.9.4.3 ¦ | If answer to above question is “Yes”, is there a monitoring plan to ensure that mitigation measures are implemented, and resources are protected? | ☐ YES ☐ No ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| The management of all fractions of waste should be carried out in accordance with The legislation on waste and individual waste types |  |  |
| P.9.5 ¦Hazardous and Non-hazardous Waste |  |  |
| P.9.5.1 ¦ | Does the project involve the generation of waste materials (both hazardous and non-hazardous)? | ☒ YES ☐ NO |
| P.9.5.3 ¦ | Does the project involve risk of release of hazardous materials resulting from their production, transportation, handling, storage, or use? | ☐ YES ☒ NO |
| P.9.5.5 ¦ | Does the project involve the use of any chemicals or materials subject to international bans or phase-outs? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| In the case that only hazardous and non-hazardous waste waste production results from wind mill operation (eg. waste oil and related materials). These wastes are removed from the project facility in line with the associated legislative framework. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.5.1 ¦ | the generation and management of waste materials? | ☐ YES ☒ POTENTIALLY ☐ NO |
| P.9.5.1 ¦ | treatment, destruction, or disposal of waste material? | ☐ YES ☐ No ☒ NA |
| P.9.5.1 ¦ | If answer to above question is “Yes”, does the project involve an environmentally friendly method that includes appropriate control of emissions and residues resulting from the handling and processing of waste material? | ☐ YES ☐ No ☒ NA |
| P.9.5.3 ¦ | risk of release of hazardous materials resulting from their production, transportation, handling, storage, or use? | ☐ YES ☒ No ☐ NA |
| P.9.5.3 ¦ | If answer to above question is "yes”, does project has measures in place to address health risks? | ☐ YES ☒ No ☐ NA |
| P.9.5.4 ¦ | Involve manufacture, trade, and use of chemicals and hazardous materials subject to international bans or phase-outs due to their high toxicity to living organisms, environmental persistence, potential for bioaccumulation, or potential for depletion of the ozone layer | ☐ YES ☐ POTENTIALLY ☒ NO |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.6 ¦Pesticides & Fertilisers |  |  |
| P.9.6.1 ¦ | Does the project involve the use of chemical pesticides? | ☐ YES ☒ NO |
| P.9.6.5 ¦ | Does the project involve purchase, store, manufacture, trade or use products that fall in Classes IA (extremely hazardous) and IB (highly hazardous) | ☐ YES ☒ NO |
| P.9.6.6 ¦ | Does the project use fertilisers, and if so, are measures being taken to minimise their use and nutrient losses to the environment? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.6.1 ¦ | chemical pesticides use for pest management? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.6.4 ¦ | If answer to question above is “yes” or “potentially”, does project has documented Chemical Pesticides Policy in place? | ☐ YES ☐ No ☒ NA |
| P.9.6.5 ¦ | purchase, store, use, manufacture, or trade in Class II (moderately hazardous) pesticides? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.6.5 ¦ | If answer to question above is “yes” or “potentially”, does project has appropriate controls on manufacture, procurement, or distribution and/or use of these chemicals? | ☐ YES ☐ No ☒ NA |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.7 ¦Harvesting of Forests |  |  |
| P.9.7.1 ¦ | Does the project have a risk of unsustainable forest management, including timber harvesting? | ☐ YES ☒ NO |
| P.9.7.1 ¦ | Does the project pose a risk of depleting biodiversity and ecosystem functionality in areas where improved forest management is undertaken? | ☐ YES ☒ NO |
| P.9.7.1 ¦ | Does the project risk not meeting requirements for environment-friendly, socially beneficial, and economically viable plantations using native species whenever possible? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.8 ¦Food Security |  |  |
| P.9.8.1 ¦ | Does the project involve the risk of negatively influencing access to and availability of food for people affected? | ☐ YES ☒ NO |
| If the answer to the question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.8.1 ¦ | modification of the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives? | ☐ YES ☐ POTENTIALLY ☒ NO |
| If the answer is "yes" or "potentially" to the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.9 ¦ Animal Welfare |  |  |
| P.9.9.1 ¦ | Does the project involve any risks to animal welfare? Animal welfare shall be ensured by providing access to water and food, appropriate environment, humane treatment, and staff training. Evidence of mistreatment will be treated as an immediate non-conformity. | ☐ YES ☒ NO |
| P.9.9.2 ¦ | Does the project involve any potential risk of excessive or inadequate use of veterinary medicines? | ☐ YES ☒ NO |
| P.9.9.4 ¦ | Does the project involve the risk of administering synthetic growth promoters, including hormones? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.9.1 ¦ | animal husbandry or harvesting of fish populations or other aquatic species? | ☐ YES ☐ No ☒ NA |
| P.9.9.1 ¦ | limiting access for animals to basic needs like drinking water, adequate food, daylight, appropriate shelter etc.? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.9.3 ¦ | inadequate measures to isolate sick animals and control the spread of disease, especially zoonotic diseases? | ☐ YES ☐ no ☒ NA |
| P.9.9.5 ¦ | inadequate low-stress methods, equipment, and facilities that facilitate calm animal movement. | ☐ YES ☐ No ☒ NA |
| P.9.9.6 ¦ | inadequate measures to ensure that animals are exposed to the least stress possible during transportation and slaughtering? | ☐ YES ☐ No ☒ NA |
| P.9.9.7 ¦ | inappropriate spacing per animal and stocking rates per land unit? | ☐ YES ☐ No ☒ NA |
| P.9.9.8 ¦ | inadequate measures to address the specific needs of aquatic animals? | ☐ YES ☐ No ☒ NA |
| P.9.9.9 ¦ P.9.9.10 ¦ | primary production of living natural resources such as animal husbandry, aquaculture, and fisheries? If the answer is yes, implement industry-standard sustainable management practices in line with to one or more relevant and credible standards and utilise available technologies. | ☐ YES ☐ No ☒ NA |
| If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.10 ¦High Conservation Value Areas and Critical Habitats |  |  |
| P.9.10.1 ¦ | Does the project have the risk of negatively impacting HCV areas and/or critical habitats? | ☐ YES ☒ NO |
| P.9.10.2 ¦ | Does the project in the project area or area of downstream impacts have risks to the following: native tree patches, individual native trees, freshwater resources (including rivers, lakes, swamps, temporary water bodies, and wells), habitats of rare, threatened, and endangered species, and biodiversity-enhancing areas? | ☐ YES ☒ NO |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.10.1 ¦ | identified habitats as HCV areas and or Critical habitats? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.10.1 ¦ | If answer to above question is “yes”, does the project have any risks that could negatively impact the catchment, project success, and surrounding HCV and ecological assets, as well as any measurable adverse impacts on the criteria or biodiversity values for which the critical habitat was designated, and on the ecological processes supporting that biodiversity? | ☐ YES ☐ NO ☒ NA |
| P.9.10.1 ¦ | If answer to above question is “yes”, is a robust, appropriately designed, and long-term Habitats and Biodiversity Action Plan absent which will make the project unable to achieve net gains of those biodiversity values for which the critical habitat was designated? | ☐ YES ☐ NO ☒ N/A |
| P.9.10.2 ¦ | Does the project area or area of downstream impacts have native tree patches, individual native trees, freshwater resources (including rivers, lakes, swamps, temporary water bodies, and wells), habitats of rare, threatened, and endangered species, and biodiversity-enhancing areas? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.10.2 ¦ | If the answer to the above question is “yes”, will the project have any adverse effects on these areas? | ☐ YES ☐ No ☒ NA |
| P.9.10.3 ¦ | If the answer to above question is “yes”, does the project has opportunities to minimise unwarranted conversion or degradation of the habitat and to enhance the habitat as part of its development? | ☐ YES ☐ No ☒ NA |
| P.9.10.4 ¦ | Is the project applying Land Use & Forest Activity Requirements and managing a minimum 10% of the project area to protect or enhance the biological diversity of native ecosystems following HCV approach as per the given requirements? | ☐ YES ☐ No ☒ NA |
| P.9.10.5 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |
| If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| P.9.11 ¦Endangered Species |  |  |
| P.9.11.1 ¦ | Does the project lead to the reduction or negative impact on any recognised Endangered, Vulnerable or Critically Endangered species? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.11.2 ¦ | distortion of habitats of endangered species? | ☐ YES ☐ Potentially ☒ NA |
| P.9.11.2 ¦ | If answer to the above question is “yes”, does the project plan to protect and enhance them? | ☐ YES ☐ POTENTIALLY ☐ NO ☒ N/A |
| P.9.11.2 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |
| If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| The project takes a precautionary approach in regard to environmental challenges and is not complicit in practices contrary to the precautionary principle. The environment is protected by several Laws and Regulations in Turkey. The purpose of the “Law on Environmental Protection” is to protect the environment with principles of sustainable development and environment. The project owner also follows necessary procedures for environmental safety at the project site at international standard such as Bern Convention. |  |  |
| P.9.12 ¦Invasive Alien species |  |  |
| P.9.12.1 ¦ | Does project introduce any alien species (not currently established in the country or region of the project) into new environments? | ☐ YES ☒ NO |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |
| Would the project involve or lead to: |  |  |
| P.9.12.1 ¦ | risk of introducing any alien species with a high risk of invasive behaviour regardless of whether such introductions are permitted under the existing regulatory framework? | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.12.1 ¦ | risk of potential accidental or unintended introductions including the transportation of substrates and vectors (such as soil, ballast, and plant materials) that may harbour alien species. | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.9.12.2 ¦ | risk of spreading alien species into areas in which they have not already been established? | ☐ YES ☐ POTENTIALLY ☒ NO |
| If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |
| Please add text here…. |  |  |

### Appendix 2 - Contact information of project developer(s)

| Organization name | Innores Elektrik Üretim A.Ş. |
| --- | --- |
| Registration number with relevant authority |  |
| Street/P.O. Box | Bayar Cd. Gülbahar Sk. No:14 Kat:7 |
| Building | KVK Plaza |
| City | Kadıköy / İSTANBUL |
| State/Region |  |
| Postcode | 34742 |
| Country | TURKEY |
| Telephone | +90 216 464 12 44 |
| E-mail | info@dostenerji.com |
| Website | www.dostenerji.com |
| Contact person | Emre Samsun |
| Title |  |
| Salutation | Mr. |
| Last name | Samsun |
| Middle name |  |
| First name | Emre |
| Department |  |
| Mobile |  |
| Direct tel. | +90 216 464 12 44 |
| Personal e-mail | emre.samsun@dostenerji.com |

### Appendix 3 - LUF Additional Information

| Risk of change to the Project Area during Project Certification Period: |  |
| --- | --- |
| Risk of change to the Project activities during Project Certification Period: |  |
| Land-use history and current status of Project Area: |  |
| Socio-Economic history: |  |
| Forest management applied (past and future) |  |
| Forest characteristics (including main tree species planted) |  |
| Main social impacts (risks and benefits) |  |
| Main environmental impacts (risks and benefits) |  |
| Financial structure |  |
| Infrastructure (roads/houses etc): |  |
| Water bodies: |  |
| Sites with special significance for indigenous people and local communities ‐ resulting from the Stakeholder Consultation: |  |
| Where indigenous people and local communities are situated: |  |
| Where indigenous people and local communities have legal rights, customary rights or sites with special cultural, ecological, economic, religious or spiritual significance: |  |

### Appendix 4 - Design Changes

A4.1. Details of proposed or actual design change 
>>

##### A4.2. Describe the impacts of design change on the following

- Additionality

>>

- Applicability of methodology and other methodological regulatory documents with which the project activity has been certified

>>

- Compliance with the monitoring plan of the applied methodology

>>

- Level of accuracy and completeness in the monitoring of the project activity compared with the requirements contained in the registered monitoring plan

>>

- Scale of the project activity

>>

- Stakeholder consultation

>>

- Sustainable development criteria

>>

- Safeguarding assessment

>>

- Compliance with applicable legislation

>>

- Only for LUF Projects: Transparent summary of all approved changes in Project Area, Eligible Area and accompanying changes in ex-ante emissions removals.

| DATE OF APPROVED DESIGN CHANGE (MM/DD/YYYY) | PROJECT AREA (HA) |  | ELIGIBLE AREA (HA) |  | EX-ANTE ESTIMATE (TCO2E) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | INCREASE OR DECREASE? | VALUE (HA) | INCREASE OR DECREASE? | VALUE (HA) | INCREASE OR DECREASE? | PERCENTAGE (%) |

##### Revision History

| Version | Date | Remarks |
| --- | --- | --- |
| 1.5 | 29 June 2023 | Editorial changes to match V2.1 of the Safeguarding Principles Requirements |
| 1.4 | 21 June 2023 | Editorial changes to match V2.0 of the Safeguarding Principles Requirements |
| 1.3 | 14 April 2023 | Integrated the design change memo as annex of the document. Editorial changes |
| 1.2 | 14 October 2020 | Hyperlinked section summary to enable quick access to key sections Improved clarity on Key Project Information Inclusion criteria table added Gender sensitive requirements added Prior consideration (1 yr rule) and Ongoing Financial Need added Safeguard Principles Assessment as annex and a new section to include applicable safeguards for clarity Improved Clarity on SDG contribution/SDG Impact term used throughout Clarity on Stakeholder Consultation information required Provision of an accompanying Guide to help the user understand detailed rules and requirements |
| 1.1 | 24 August 2017 | Updated to include section A.8 on ‘gender sensitive’ requirements |
| 1.0 | 10 July 2017 | Initial adoption |

See, Generation License for coordinates and http://rcn.montana.edu/Resources/Converter.aspx for the conversion.

- Deutsche WindGuard Bergres Energy Yield Assessment, Page 8

http://www.stern.nyu.edu/~adamodar/pc/archives/ctryprem08.xls

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-27-v12.pdf

Worldbank - Project Appraisal Document on a IBRD Loan and a Proposed Loan from Clean Technology Fund to TSKB and TKB with the Guarantee of Turkey, May 2009 (http://www-wds.worldbank.org/external/default/WDSContentServer/WDSP/IB/2009/05/11/000333037_20090511030724/Rendered/PDF/468080PAD0P112101Official0Use0Only1.pdf  page 80, paragraph 29 and page 81, Table 11.5. In order to access to the file, copy and paste the complete link to the web browser.)

See, http://cdm.unfccc.int/Reference/Guidclarif/reg/reg_guid03.pdf (page 3)

7https://enerji.gov.tr//Media/Dizin/EVCED/tr/%C3%87evreVe%C4%B0klim/%C4%B0klimDe%C4%9Fi%C5%9Fikli%C4%9Fi/TUESEmisyonFktr/Belgeler/2020_Sebeke_EF.pdf

See, http://www.epdk.gov.tr/documents/elektrik/mevzuat/yonetmelik/elektrik/dengeleme_uzlastirma/DUYson.doc page 55

See, http://www.epdk.org.tr/documents/10157/81c16fc9-7777-46d6-a1bf-15c5ac8795c7

See, http://www.mevzuat.adalet.gov.tr/html/21179.html

See, http://www.teias.gov.tr/sistemkullanim1.doc , page 3, 2-b)

Related document has been provided to VVB.

http://www.sanayi.gov.tr/download/osgm/olcu_aletleri_muayene_yonetmelik.zip , page 2

Basic services requirements refer to minimum space, supply of water, adequate sewage and garbage disposal system, appropriate protection against heat, cold, damp, noise, fire, and disease-carrying animals, adequate sanitary and washing facilities, ventilation, cooking and storage facilities and natural and artificial lighting, and in some cases basic medical services.

'Involve' means if the project mechanism and/or impact(s) are achieved via changing animal husbandry practices in some way.