Gold standard for the global goals

Monitoring report

June 2017, version 1

Title of the project; Bergres Wind Power Project, Turkey. Gold Standard project id; GS 5229. Version number of the monitoring report; 4. Completion date of the monitoring report; 19/11/2019. Date of project design certification; 17/04/2017. Start date of crediting period; 21/04/2017. Duration of this monitoring period; 01/05/2018 to 30/04/2019 (both days are included, 1. Crediting period, 2. Monitoring period). Duration of previous monitoring period; 21/04/2017 to 30/04/2018 (both days are included, 1. Crediting period, 1. Monitoring period). Project representative(s); Bergres Elektrik Üretim A.Ş.. Host Country; Turkey. Certification pathway (activity certification/impact certification); Impact Certification. SDG Contributions targeted (as per approved PDD); 1 – SDG 13- Climate Action 2 – SDG 7- Affordable and Clean Energy 3 – SDG 8- Decent Work and Economic Growth 4 – SDG 6- Clean Water and Sanitation. Gold Standard statement/product certification sought (GSVER/ADALYs/RECs etc.); GSVER. Selected methodology(ies); ACM0002 Version 17. Estimated amount of annual average certified SDG impact (as per approved PDD); 1 – SDG 13: CO2: 131,241 tCO2/year, CO: 36.3 and NMVOC: 7.7 tons 2- SDG 7: 7.1- Avoidance 23,294 m3 natural gas import 7.2- The generation amount was estimated as 238,000 MWh 3 – SDG 8: At least 2 local people will be employed 4 –SDG 6: Avoidance of around 4,912.3 m3/year wastewater discharge. Total amount of certified SDG impact (as per approved methodology) achieved in this monitoring period; SDG 13: Emission Reduction: 122,159 tCO2 Air Quality: CO: 33.8 tons/y NMVOC: 7.2 tons/y; SDG 6: Water Quality: No wastewater discharge to the environment in the project area. Avoidance of around 4,572,400 m3 wastewater discharge to the environment per year.. SDG 8: Quality of Employment: Health and safety (HSE) training certificates for the employees are provided. 13 employees have received HSE trainings. There is 1 employee in the plant and he did not complete the HSE trainings for now. After his HSE trainings will be completed, his training certificate may be provided in the next verification. Quantitative Employment and Income Generation: Current employment records are presented. There are 14 employees in the plant and there are 5 local employees in the plant.; SDG 7: Balance of payments and investment: 7.1 - Avoidance of around 21,684 m3 natural gas import each year by generation of project activity, which is worth about 6,002,329.74 EUR. 7.2 - Energy is generated by using renewable energy systems throughout the project (Wind Power Plant). There is no electricity generation in the baseline scenario in which Bergres WPP is not being implemented. The generation amount was achieved as 221,545.41 MWh..

- Description of project

  - Purpose and general description of project

Bergres Elektrik Üretim A.Ş. (hereafter referred to as “Bergres Elektrik”) is investing into a new Wind Power project called Bergres Wind Power Project (hereafter referred to as the “Project” or “Bergres WPP”), which involves installation and operation of 69,95 MWm/69,95 MWe wind power plant. The project consists of 21 turbines with 3.2 MWm/MWe and 1 turbine with 2.75 MWm/MWe capacity. Energy Market Regulatory Authority (EMRA) issued the licence of the project on February 09 of 2012. The generated energy is fed to the grid at Bergres RES transmission line.

Table 1: Dates of Installation of Turbines

| No. of Turbine | Date of Installation |
| --- | --- |
| T1 | 26.05.2017 |
| T2 | 26.05.2017 |
| T3 | 26.05.2017 |
| T4 | 26.05.2017 |
| T5 | 26.05.2017 |
| T6 | 26.05.2017 |
| T7 | 20.04.2017 |
| T8 | 20.04.2017 |
| T9 | 20.04.2017 |
| T10 | 20.04.2017 |
| T11 | 20.04.2017 |
| T12 | 20.04.2017 |
| T13 | 20.04.2017 |
| T14 | 20.04.2017 |
| T15 | 20.04.2017 |
| T16 | 26.05.2017 |
| T17 | 26.05.2017 |
| T18 | 26.05.2017 |
| T19 | 26.05.2017 |
| T20 | 26.05.2017 |
| T21 | 26.05.2017 |
| T22 | 26.05.2017 |

An estimated electricity net generation of 238,000 MWh per year by the efficient utilization of the available wind energy by project activity replaces the grid electricity, which is constituted of different fuel sources, mainly fossil fuels. The electricity produced by project activity results in annual estimated emission reduction of 131,241 tonnes of CO2/year. Moreover, project activity contributes further dissemination of wind energy and extension of national power generation. The generation of electricity starts on 21/04/2017.

Crediting period of Bergres WPP started on 21/04/2017 and the crediting period is 7 years which will end on 20/04/2024. The second monitoring period is between 01/05/2018 to 30/04/2019. In this monitoring period, 221,545.41 MWh of net electricity is supplied to the grid and 122,159 tCO2 emission reduction has achieved.

Bergres WPP completed its transition process to Gold Standard for the Global Goals on 22/11/2018. Environmental and social monitoring parameters are revised in transition process and are connected to specific SGD parameters. Bergres WPP is now compatible with Gold Standard for the Global Goals and this monitoring report has taken revised monitoring parameters and SGDs into consideration.

The purpose of the project is to generate electricity and to feed it into the grid. Bergres WPP was registered as a Voluntary Emission Reduction project in order to enable the project implementation by means of financial inflows coming from the credits sale. Because of its significant contribution to climate protection and to sustainable development in the region, this project fulfils the requirements of the Gold Standard Organization.

The project helps Turkey to stimulate and commercialise the use of grid connected renewable energy technologies and markets. Furthermore, the project demonstrates the viability of grid connected wind farms which can support improved energy security, improved air quality, alternative sustainable energy futures, improved local livelihoods and sustainable renewable energy industry development. The specific goals of the project are to:

- reduce greenhouse gas emissions in Turkey compared to the business-as-usual scenario;

- help to stimulate the growth of the wind power industry in Turkey;

- create local employment during the construction and the operation phase of the wind farm;

- reduce other pollutants resulting from power generation industry in Turkey, compared to a business-as-usual scenario;

- help to reduce Turkeys increasing energy deficit;

- and differentiate the electricity generation mix and reduce import dependency.

As the project developer, Bergres Elektrik believes that efficient utilization of all kinds of natural resources with a harmony coupled with responsible environmental considerations is vital for sustainable development of Turkey and the World. This has been a guiding factor for the shareholders towards the concept of designation and installation of a wind power project. Other than the objective of climate change mitigation through significant reduction in greenhouse gas (GHG) emissions, the project has been carried out to provide social and economic contribution to the region in a sustainable way. The benefits that will be gained by the realization of the project compared to the business-as-usual scenario can be summarized under four main indicators:

Environmental

The project activities replaces the grid electricity, which is constituted of different fuel sources causing greenhouse gas emissions. By replacing in the consumption of these fuels, it contributes to conservation of water, soil, flora and faunas and transfers these natural resources and also the additional supply of these primary energy sources to the future generations. In the absence of the project activity, an equivalent amount of electricity would have been generated from the power plants connected to the grid, majority of which are based on fossil fuels. Thus, the project is replacing the greenhouse gas emissions (CO2, CH4) and other pollutants (SOX, NOX, particulate matters) occurring from extraction, processing, transportation and burning of fossil-fuels for power generation connected to the national grid.

Economical

Firstly, the project helps to accelerate the growth of the wind power industry and stimulate the designation and production of renewable energy technologies in Turkey. Then, other entrepreneurs irrespective of sector will be encouraged to invest in wind power generations. It also assists to reduce Turkey’s increasing energy deficit and diversify the electricity generation mix while reducing import dependency, especially natural gas. Importantly, rural development is maintained in the areas around the project site by providing infrastructural investments to these remote villages.

Social

Local employment is enhanced by all project activities during construction and operation of wind farm. As a result, local poverty and unemployment are partially eliminated by increased job opportunities and project business activities. Construction materials for the foundations, cables and other auxiliary equipment are preferentially sourced locally. Moreover as contribution of the project to welfare of the region, the quality of the electricity consumed in the region will be increased by local electricity production, which also contributes decreasing of distribution losses.

Technological

Implementation of the proposed project contributes to wider deployment of wind power technology in local and national level. It demonstrates the viability of larger grid connected wind farms, which support improved energy security, alternative sustainable energy, and also renewable energy industry development. This also strengthens pillars of Turkish electricity supply based on ecologically sound technology.

  - Location of project

The host country is Republic of Turkey. Project area is in Aegean Region, İzmir province. The project is close to Bergama town. Location of the project site is presented in Figure 1.

Figure 1: Map of the Project Area

The project site is located about 17 km south-east of the town of Bergama and approximately 60 km north of the city of Izmir in western Turkey. The wind farm area is located between the villages Avunduk and Balaban in the west, Yuntdag and Bayramcılar in the south-east and Hacılar in the east. The closest villages are Bayramcılar and Balaban villages and the distance between the villages and the project area is 500m.

The coordinates of the turbines are given below. The project coordinates were provided below which are under ED 50, zone 35 coordinate system.

Table 2: Coordinates of the Turbines

| Turbine No. | Easting | Northing |
| --- | --- | --- |
| T1 | 518750,00 | 4315500,00 |
| T2 | 518820,00 | 4315000,00 |
| T3 | 518250,00 | 4313770,00 |
| T4 | 518119,00 | 4311650,00 |
| T5 | 518243,00 | 4311226,00 |
| T6 | 519019,00 | 4311718,00 |
| T7 | 519169,00 | 4312506,00 |
| T8 | 519019,00 | 4312774,00 |
| T9 | 519770,00 | 4312470,00 |
| T10 | 520120,00 | 4312325,00 |
| T11 | 520350,00 | 4312175,00 |
| T12 | 520590,00 | 4312000,00 |
| T13 | 520768,00 | 4311832,00 |
| T14 | 521062,00 | 4311756,00 |
| T15 | 521321,00 | 4311023,00 |
| T16 | 520609,00 | 4309927,00 |
| T17 | 520759,00 | 4309697,00 |
| T18 | 520968,00 | 4309525,00 |
| T19 | 521255,00 | 4309305,00 |
| T20 | 521523,00 | 4309200,00 |
| T21 | 521819,00 | 4309625,00 |
| T22 | 522020,00 | 4309400,00 |

  - Reference of applied methodology

For the determination of the baseline, the official methodology ACM0002 version 17.0.0, “Large-scale Grid-connected electricity generation from renewable sources”, is applied, using conservative options and data as presented in the following section. This methodology refers to five Tools, which are:

- Tool to calculate the emission factor for an electricity system (Version 05.0.0);

- Tool for the demonstration and assessment of additionality (Version 07.0.0);

- Combined tool to identify the baseline scenario and demonstrate additionality (Version 06.0.0);

- Tool to calculate project or leakage CO2 emissions from fossil fuel combustion (Version 02.0.0).

- Tool to determine the remaining lifetime of the equipment

For baseline calculation the first tool, for additionality assessment the second tool is used. As third tool is the combination of the first and second tool, it is not used. Since no project emission or leakage calculation is required for wind power project fourth tool is not used, and finally to determine the remaining lifetime of the equipment fifth tool is used.

  - Crediting period of project

21/04/2017 - 20/04/2024 (Crediting period of the project is 7 years which is twice renewable.)

- Implementation of project

  - Description of implemented project

According to the Generation License, 21 wind turbines with unit capacity of 3,2 kWm/3,2 kWe and 1 turbine with unit capacity of 2,75 kWm/kWe were selected for the project. GE Wind Energy is decided as equipment provider due to the outstanding features of its product regarding safety factors, simple durable design for low maintenance and long life operation, high efficiency, and also for fine visual appearance.

The key parameters about the technical design of the selected model GE-3.2-103 turbines are listed below in Table 3.

Table 3: Technical specifications of GE-3.2-103 turbines

| Specifications | GE-3.2-103 |
| --- | --- |
| Rated Power (kW) | 3200 |
| Rotor Diameter (m) | 103 |
| Hub Height (m) | 85 |
| Num. of Blades | 3 |
| Hub Height wind speed (m/s) | 8.4 |

A general operation diagram of the project is given in Figure 2.

Figure 2: Operation diagram of the project

The project installation is completed according to the description in the PDD and completely operational. The project consists only one site. The most important milestones are included in the following table:

Table 4: Milestones of the Bergres Wind Power Project

| Date (DD/MM/YYYY) | Milestone |
| --- | --- |
| 10/01/2012 | EIA Not Required Certificate |
| 09/02/2012 | Issuance of the generation license |
| 12/11/2015 | Agreement with Equipment Provider (GE) (Investment decision date) |
| 18/02/2016 | Start Date of Construction |
| 28/03/2016 | Credit Agreement |
| 15/06/2016 | Agreement with Life Enerji for Carbon Consultancy |
| 17/04/2017 | Registration date |
| 20/04/2017 | First commissioning dates of the turbines |
| 21/04/2017 | Electricity generation date/Start date of first monitoring period and crediting period |
| 26/05/2017 | Last commissioning dates of the turbines |
| 30/04/2018 | End date of first monitoring period |
| 01/05/2018 | Start date of the second monitoring period |
| 16/08/2018 | Start date of the transition process |
| 22/11/2018 | End date of the transition process |
| 30/04/2019 | End date of the second monitoring period |
| 20/04/2024 | End date of the first crediting period |

  - Post-registration changes

    - Temporary deviations from Certified Key Project Information, Project Design Document, Monitoring & Reporting Plan, applied methodology or applied standardized baseline

None

    - Corrections

None

    - Changes to start date of crediting period

It was expected the start date of crediting period would be 01/06/2017, however plant started to generate electricity 21/04/2017. Crediting period is still 7 years. End date of the first crediting period is 20/04/2024.

    - Permanent changes from registered monitoring plan, applied methodology or applied standardized baseline

None

    - Changes to project design of approved project

None

- Description of monitoring system applied by the project

The first crediting period started on 21/04/2017. The second monitoring period started on 01/05/2018. As the crediting period started on 21/04/2017, the estimated emission reductions from the first and last year of the crediting period sum up to the amount of the estimated yearly reductions.

- C.1 	Data Processing and Archiving

- C.1.1. Data Processing

Data handling was slightly revised due to innovation in technology that enables TEİAŞ to read meters remotely. Thus, under this process, the meter is read remotely at the end of every month and published through website of TEİAŞ which can be accessed by project owner to check the correctness of the data. Besides, project owner carries monthly protocol to cross-check the data. By this way, a cross check is done. Once the meter data is correct then the amount is also published in EPİAŞ website that is also accessible by project owner. When all data is correct, an invoice (receipt of sale) is prepared by Bergres and delivered to TEIAŞ. The electricity generation amount, the collected data, are kept in both hardcopy and softcopy in daily and monthly basis indefinitely. Moreover, these data are submitted to several authorized people. Thus, several additional copies of these data are stored at different computers. The project owner will keep the collected data during the monitoring period at least two years after the last issuance of VERs.

As the necessary baseline emission factors are all defined ex ante, the only information to be monitored is the amount of electricity fed into the grid by Bergres WPP. The data which is base for the invoices and published in EPİAŞ website is used as input for emission reduction calculation.

Electricity transfer from turbine to transmission line (line diagram) can be seen in Figure 3. SCADA system and remote control of meters can be seen from Figure 4 and monitoring system can be visualized.

Figure 3: Line Diagram of the Bergres WPP

Figure 4: Electricity transmission from turbine to transmission line

Note: On 01/09/2015, PMUM was renamed as EPİAŞ.

- C.1.2. A Backup Unit for Systematic Storage

The fact that two reliable best practice meters are installed in a redundant manner keeps the uncertainty level of the only parameter for baseline calculation low. High data quality of this parameter is in the interest of not only the emission reduction monitoring, but also paramount for the business relation between the plant operator and the electricity buyer. Since the meters are reading electricity supplied to the system and withdrawn from the system separately, the net electricity amount supplied to the grid will be calculated by electricity supplied minus electricity withdrawn that will be taken from monthly settlement notifications.

Monthly data from TEIAS are stored electronically on TEIAS website and this data can be accessed by login of Project Developer. Bergres also stores a hardcopy of the monthly meter reading protocols for back up of systematic storage of data.

Moreover, there are always internal reviews of the meters data which is checked by different parties. First of all, data of the meters is collected by technicians daily in written forms. The data collected daily is saved in plant manager computer and backed up and shared by headquarter of Bergres in Istanbul. Besides the data that can be get from meters, production amount can be checked from SCADA system. SCADA figures differ a bit with meter data due to internal losses.

Operation and management diagram is presented in Figure 5.

Figure 5: Operation and management diagram of the Bergres WPP

C.1.3   Calibration Procedures:

The calibration of the monitoring equipment was carried out according to the information provided in the GS-VER PDD (version 08, dated 21/09/2017). The GS-VER PDD mainly includes the following obligation for the calibration of the appropriate meters:

“The Turkish Electricity Market Regulation Agency (EPDK) sets rules on the accuracy of electricity meters that are used by power plants feeding into the grid. The rules are part of the EPDK regulation 25056 from 22 March 2003. The table in Article 11 of the regulation specifies the use of electricity meters of the accuracy class 0.5S for power plants between 10 MW and 100 MW and refers to compliance with International Electro technical Commission’s norm EN 60687. TEIAŞ conducts remote reading. In addition, operative manager, employee of Bergres Enerji, conducts reading from the project site and sends to TEIAŞ. By this way, a cross-check is done. Also, with the readings from project site, continuously these two meters are compared with each other and if any differences are detected the necessary control measures are taken.

Table 5: Specification of the electricity meters

| Name | Serial Number | Brand –Model | Year of Manufacture | Accuracy Class |
| --- | --- | --- | --- | --- |
| Main Meter | 5704873 | EMH-LZQ-XC | 2014 | Active C (0.5) – Reactive 2 |
| Backup meter | 5704874 | EMH-LZQ-XC | 2014 | Active C (0.5) – Reactive 2 |

First calibration date: 21/04/2017

Installation Date of the meters: 21/04/2017

Last Test Report (Protocol) Date: 12.12.2018

According to the Article 2 of the Communiqué: ‘The meters to be used in the electricity market shall be compliant with the standards of Turkish Standards Institute or IEC and have obtained “Type and System Approval” certificate from the Ministry of Trade and Industry.’ Therefore, Ministry of Trade and Industry (Ministry) is responsible from control and calibration of the meters.

paragraph b) of the Article 9 of the 'Regulation of Metering and Testing of Metering Systems' 7 (Regulation) of Ministry states that: ‘ b) Periodic tests of meters of electricity, water, coal gas, natural gas and current and voltage transformers are done every 10 years’. Therefore, periodic calibration of the meters will be done every 10 years. Therefore, the next calibration will be applied in 2027.

C.1.4. 	Troubleshooting Procedures

As the measuring devices are sealed by TEIAŞ, Bergres cannot intervene with the devices. In case of unforeseen problems or failures of the meters or if any differences occur between primary and secondary devices TEIAŞ has to be informed for necessary maintenance and calibration. There is an agreement between Bergres and TEIAŞ that in case of problems or failures of the meters TEIAŞ reacts as fast as possible to solve the problem.

For this monitoring period, there have not been an accident or an incident, which may affect the electricity generation of the project.

- Data and parameters

  - Data and parameters fixed ex ante or at renewal of crediting period

| Relevant SDG Indicator | SDG 13 Target: 13.3 by emission reduction Indicator: 13.3.1 |
| --- | --- |
| Data/parameter: | EFgrid,CM,y |
| Unit | tCO2/MWh |
| Description | Combined margin CO2 emission factor for grid connected power generation in year y calculated using the “Tool to calculate the emission factor for an electricity system (Version 05.0.0)” |
| Source of data | Tool to calculate the emission factor for an electricity system (Version 05.0.0) |
| Value(s) applied) | 0.5514 tCO2/MWh |
| Choice of data or measurement methods and procedures | Combined Margin Emission Factor (EFgrid,CM,y) is calculated ex ante as the weighted average CO2 of Operating Margin Emission Factor (EFgrid,OM,y) and Build Margin Emission Factor (EFgrid,BM,y). Please see registered PDD and Transition Annex document. |
| Purpose of data | Calculation of baseline emissions |
| Additional comments | Other parameters are not specified as they are used in calculations in accordance with the registered PDD. Please see registered PDD and Transition Annex document. |

| Relevant SDG Indicator | SDG 13- Climate Action Target: 13.3 by emission reduction Indicator: 13.3.1 |
| --- | --- |
| Data/parameter: | EGfacility,CO,y |
| Unit | tCO/MWh |
| Description | The factor that shows CO emission recution per net electricity generation in GWh by the plant. Calculated in ER excel. |
| Source of data | TUIK |
| Value(s) applied) | 0.034 tCO/MWh |
| Choice of data or measurement methods and procedures | A factor is derived for estimating the potential CO emission amount per electricity generated in GWh with dividing amount of CO emissions from a fossil fuel powered plant (by TÜİK data) by net electricity generation of the plant. |
| Purpose of data | Calculation of baseline emissions |
| Additional comments | - |

| Relevant SDG Indicator | SDG 13- Climate Action Target: 13.3 by emission reduction Indicator: 13.3.1 |
| --- | --- |
| Data/parameter: | EGfacility,NVMOC,y |
| Unit | tNMVOC/MWh |
| Description | The factor that shows TUİK emission reduction per net electricity generation in GWh by the plant |
| Source of data | TUİK |
| Value(s) applied) | 0.008 tNMVOC/MWh |
| Choice of data or measurement methods and procedures | A factor is derived for estimating the potential NMVOC emission amount per electricity generated in GWh with dividing amount of NMVOC emissions from a fossil fuel powered plant (by TÜİK data) by net electricity generation of the plant. |
| Purpose of data | Calculation of baseline emissions |
| Additional comments | - |

| Relevant SDG Indicator | SDG 6- Clean Water and Sanitation Target: 6.3 by using renewable energy systems Indicator: 6.3.1 |
| --- | --- |
| Data/parameter: | Wastewater |
| Unit | m3 wastewater/GWh |
| Description | The factor that shows the wastewater avoid within the plant |
| Source of data | TÜİK |
| Value(s) applied) | 4,912,300 m3/y |
| Choice of data or measurement methods and procedures | A factor is derived for estimating the potential amount for wastewater avoid in m3 per electricity generated in GWh with dividing amount of wastewater formed due to cooling water use in a fossil fuel powered plant (by TÜİK data) by net electricity generation of the plant. |
| Purpose of data | Calculation of baseline emissions |
| Additional comments | During operation of project activity only small amount of waste water to be discharged environment which is due to daily consumption of workers. In the project area, one septic tank has been digged for collection of wastewater. This wastewater periodically will be transferred to the wastewater treatment centers via sewage truck Waste oil is being stored in leak proof tanks at the project site and are transferred to the treatment center via licenced companies. |

  - Data and parameters monitored

| Relevant SDG Indicator | SDG 8- Decent Work and Economic Growth Target: 8.8 by employment and decent work Indicator: 8.8.2 |
| --- | --- |
| Data/parameter: | Employment |
| Unit | Number of employment |
| Description | The employment data has been monitored to indicate the contribution to the SDG 8 |
| Source of data | Social security records |
| Value(s) applied) | 14 employees are working within the plant. |
| Choice of data or measurement methods and procedures | Social security records are the only source by which we can measure the related contribution of the project to SDG 8. |
| Purpose of data | To exhibit employment performance of the plant |
| Additional comments | - |

| Relevant SDG Indicator | SDG 7- Affordable and Clean Energy Target: 7.2 by using renewable energy systems Indicator: 7.2.1 |
| --- | --- |
| Data/parameter: | EGfacility,y |
| Unit | MWh/yr |
| Description | Quantity of net electricity generation supplied by the project plant to the grid in year y |
| Measured/calculated/default | Measured |
| Source of data | Electricity meter(s) |
| Value(s) of monitored parameter | Months; Electricity supplied to the grid (MWh) (1); Electricity consumption from the grid (MWh) (2); Net electricity supplied to the grid[MWh] (3) =(1)-(2). May.18; 14.098,29; 21,49; 14.076,80. Jun.18; 12.593,36; 18,49; 12.574,87. Jul.18; 14.090,22; 13,22; 14.077,00. Aug.18; 27.620,62; 3,17; 27.617,44. Sep.18; 17.948,11; 7,05; 17.941,06. Oct.18; 16.041,55; 15,60; 16.025,96. Nov.18; 24.388,11; 6,91; 24.381,20. Dec.18; 17.024,25; 28,91; 16.995,34. Sum 2018; 143.804,51; 114,85; 143.689,67. Jan. 19; 20.879,68; 7,35; 20.872,33. Feb. 19; 20.701,21; 14,08; 20.687,13. Mar.19; 19.370,94; 12,51; 19.358,43. Apr.19; 16.949,54; 11,69; 16.937,85. Sum 2019; 77.901,37; 45,63; 77.855,74. Total Sum (01/05/2018-30/04/2019); 221.705,88; 160,47; 221.545,41. |
| Monitoring equipment | Two electricity meters will be placed (one main and one reserve) at the substation. These meters are sealed by TEIAS and intervention by project proponent is not possible. The fact that two meters are installed in a redundant manner keeps the uncertainty level of the only parameter for baseline calculation low. High data quality of this parameter is in the interest of not only the emission reduction monitoring, but paramount for the business relation between the plant operator and the electricity buyers. EPİAŞ readings will be used as a base. The above described measurement method follows Article 81 of the official regulation “Electricity Market Balancing And Settlement Regulation” EPİAŞ reading will be used as a base datum on the other hand; electricity meter reading will be used to crosscheck the accuracy of the data. Authenticity will be increased by the aid of data crosschecks between EPİAŞ datum and electricity meter readings. (Note: PMUM has been changed as EPİAŞ on 01/09/2015) However, as of 01/09/2015, EPIAS took over the PMUM procedures from TEIAS. After that date, EPIAS will supply the data. This means that the main source is the EPIAS data. TEIAS notices are used to cross-check the EPİAŞ records. TEIAS sends an electronic spreadsheet that includes daily and monthly electricity generation and withdrawn amounts for each power plant. Thus, cross-check source is the TEIAS meter readings. Since the meters are reading electricity supplied to the system and withdrawn from the system separately, the net electricity amount supplied to the grid will be calculated by electricity supplied minus electricity withdrawn. Thus, with this procedure, monitoring is sufficient and no extra monitoring has to be implemented. The specification of electricity meters are provided below: Name; Serial Number; Brand –Model; Year of Manufacture; Accuracy Class. Main Meter; 5704873; EMH-LZQJ-XC; 2014; Active C (0.5) – Reactive 2. Backup meter; 5704874; EMH-LZQJ-XC; 2014; Active C (0.5) – Reactive 2. First calibration date: 21/04/2017 Installation Date of the meters: 21/04/2017 Last Test Report (Protocol) Date: 12.12.2018 |
| Measuring/reading/recording frequency: | Continuous measurement and at least monthly readings |
| Calculation method (if applicable): | - |
| QA/QC procedures: | According to the Article 2 of the Communiqué of Meters in Electricity Sector: ‘The meters to be used in the electricity market shall be compliant with the standards of Turkish Standards Institute or IEC and have obtained “Type and System Approval” certificate from the Ministry of Trade and Industry.’ Therefore, Ministry of Trade and Industry (Ministry) is responsible from control and calibration of the meters. Also according to Article 11 of this Communiqué, meters shall be in class of 0.5s, which means error interval for measuring is in +-0.5% range which is well acceptable according to rules. Paragraph b) of the Article 9 of the 'Regulation of Metering and Testing of Metering Systems' (Regulation) of Ministry states that: ‘ b) Periodic tests of meters of electricity, water, coal gas, natural gas and current and voltage transformers are done every 10 years.’ Therefore periodic calibration of the meters will be done every 10 years. Also according to Article 67 (page 20) of this regulation, the calibration shall be done in calibration stations which have been tested and approved by Ministry of Trade and Industry. Article 10 d) of Communiqué requires the meters shall be three phase four wire and Article 64 of Regulation clearly states how calibration shall be performed for this kind of meters. As above mentioned, the data acquisition and management and quality assurance procedures that are anyway in place, no additional procedures have to be established for the monitoring plan. |
| Purpose of data: | Calculation of emission reduction of the project |
| Additional comments: | Plant Manager will be responsible for monitoring data. |

  - Implementation of sampling plan

N/A

- Calculation of SDG outcomes

  - Calculation of baseline value or estimation of baseline situation of each SDG outcome

Used Formulas:

The total emission reductions can be calculated with the results of the below described equations. The emission reduction is equal to the baseline emissions minus project emissions and leakage emissions. Leakage emissions in this project are considered to be negligible. There are no project emissions in this kind of project. The general equation is as follows:

(1)

Where:

ERy	= Emission reduction

BEy	= Baseline emissions

PEy	= Project emissions

Ly	= Leakage

y	= Refers to a given period

The electricity meters are measuring two parameters: The electricity supplied to the grid (EGexport) and the electricity consumption from the grid (EGimport). To achieve the net amount of supplied electricity, the difference has to be calculated:

EGy = EGexport – EGimport 	                                             (2)

Where:

EGy 		=   Net electricity supplied to the Grid in MWh (ID 1)

EGexport 	=   Electricity supplied to the Grid in MWh

EGimport 	=   Electricity consumption from the Grid in MWh

According to the applied methodology version the emission reduction is the baseline emissions calculated as the net electricity supplied to the grid multiplied by the grid emission factor.

BEy = EGy x EFgrid,CM,y  (3)

Where:

BEy		=   Baseline emissions in tonnes CO2

EFgrid, CM,y 	=Combined margin CO2 emission factor for grid connected power generation in year y calculated using the latest version of the “Tool to calculate the emission factor for an electricity system”   [tCO2/MWh].

EGy 		= Net electricity supplied to the Grid in MWh (ID 1)

y		= Refers to a given period

The proposed project activity involves the generation of electricity by development of a wind farm. The generation of electricity does not result in greenhouse gas emissions and therefore is taken as 0 tCO2/year.

LEy is 0, as it is not considered according to ACM0002 (page 17). PEy is 0 because project is a wind power generation activity (Only for geothermal and hydro project activities, it should be considered according to ACM0002 page 12).

Then: ERy = Bey

  - Calculation of project value or estimation of project situation of each SDG outcome

Explained in the registered PDD (version 08, dated 21/09/2017) and Transition Annex (version 3, dated 07/11/2018).

  - Calculation of net benefits as difference of baseline and project values or direct calculation for each SDG outcome

Emission reduction values for period of 01/05/2018-30/04/2019 is presented below:

| Dates | Emission Reduction (tCO2) |
| --- | --- |
| 01.05.2018 - 31.05.2018 | 7,762 |
| 01.06.2018 - 30.06.2018 | 6,934 |
| 01.07.2018 - 31.07.2018 | 7,762 |
| 01.08.2018 - 31.08.2018 | 15,228 |
| 01.09.2018 - 30.09.2018 | 9,893 |
| 01.10.2018 - 31.10.2018 | 8,837 |
| 01.11.2018 - 30.11.2018 | 13,444 |
| 01.12.2018 - 31.12.2018 | 9,371 |
| 01.01.2019 - 31.01.2019 | 11,509 |
| 01.02.2019 - 28.02.2019 | 11,407 |
| 01.03.2019 - 31.03.2019 | 10,674 |
| 01.04.2019 - 30.04.2019 | 9,340 |
| Total | 122,159 |

Product Vintage Breaks :

As it can be seen from the table below;

The emission reduction value for 2018 May - 2018 December which is 79.230 tCO2

The emission reduction value for 2019 January - 2019 April which is 42.929 tCO2

| Vintages | Emission Reduction (tCO2) |
| --- | --- |
| 2018 (01.05.2018 - 31.12.2018) | 79.230 |
| 2019 (01.01.2019 - 30.04.2019) | 42.929 |
| Total | 122,159 |

  - Summary of ex-post values of each SDG outcome for the current monitoring period

| - Item | Baseline estimate | Project estimate | Net benefit |
| --- | --- | --- | --- |
| - SDG 13 | Emission Reduction: 131,241 tCO2 Air Quality: CO: 36.3 tons/y NMVOC: 7.7 tons/y | CO2 : 0 ton/ y CO: 0 ton/ y NMVOC: 0ton/ y | N/A |
| - SDG 6 | Water Quality: No wastewater discharge to the environment in the project area. Avoidance of around 4,912,300 m3/y wastewater discharge to the environment per year. | N/A | N/A |
| - SDG 8 | Quality of Employment: Health and safety (HSE) training certificates for all employees are provided. | Quantitative Employment and Income Generation: Current employment records are presented. There will be at least 2 local employees at the plant. | 2 |
| - SDG 7 | Energy is generated by using renewable energy systems throughout the project (Wind Power Plant). There is no electricity generation in the baseline scenario in which Bergres WPP is not being implemented. The generation amount was estimated as 238,000 MWh | N/A | 238,000 MWh |

  - Comparison of actual value of outcomes with estimates in approved PDD

| Item | Values estimated in ex ante calculation of approved PDD | Actual values achieved during this monitoring period |
| --- | --- | --- |
| - SDG 13 | Emission Reduction: 131,241 tCO2 Air Quality: CO: 36.3 tons/y NMVOC: 7.7 tons/y | Emission Reduction: 122,159 tCO2 Air Quality: CO: 33.8 tons/y NMVOC: 7.2 tons/y |
| - SDG 6 | Water Quality: No wastewater discharge to the environment in the project area. Avoidance of around 4,912,300 m3 wastewater discharge to the environment per year. | Water Quality: No wastewater discharge to the environment in the project area. Avoidance of around 4,572,400 m3 wastewater discharge to the environment per year. |
| - SDG 8 | Quality of Employment: Health and safety (HSE) training certificates for all employees are provided. Quantitative Employment and Income Generation: Current employment records are presented. There will be at least 2 local employees at the plant. | Quality of Employment: Health and safety (HSE) training certificates for the employees are provided. 13 employees have received HSE trainings. There is 1 employee in the plant and he did not complete the HSE trainings for now. After his HSE trainings will be completed, his training certificate may be provided in the next verification. Quantitative Employment and Income Generation: Current employment records are presented. There are 14 employees in the plant and there are 5 local employees in the plant. |
| - SDG 7 | 7.1 - Balance of payments and investment: Avoidance of around 23,294 m3 natural gas import each year by generation of project activity, which is worth about 6,311,043 EUR per year. 7.2 - Energy is generated by using renewable energy systems throughout the project (Wind Power Plant). There is no electricity generation in the baseline scenario in which Bergres WPP is not being implemented. The generation amount was estimated as 238,000 MWh | Balance of payments and investment: Avoidance of around 21,684 m3 natural gas import each year by generation of project activity, which is worth about 6,002,329.74 EUR. The generation amount was achieved as 221,545.41 MWh |

Names of Employees

| BERGRES |  |
| --- | --- |
| Name and Surname | Local Or Not |
| Rıza Kürşat Akın | Not Local |
| Mehmet Ünalan | Not Local |
| Erhan Biçer | Not Local |
| Gökhan Erol | Not Local |
| Ahmet Kuşçu | Local |
| GÜNGÖR |  |
| Name and Surname | Local Or Not |
| Oğuz Yorgun | Not Local |
| Cengizhan Aygibi | Not Local |
| Erkan Yusuf Kurt | Not Local |
| Mustafa Ulaş | Not Local |
| SECURITAS |  |
| Name and Surname | Local Or Not |
| Aziz Korkut | Local |
| Hasan Ali Demir | Local |
| İbrahim Karakuzu | Local |
| Serdar Gökçe | Local |
| GE |  |
| Name and Surname | Local Or Not |
| Niyazi Türktür | Not Local |

Training Records of Employees

| BERGRES |  |  |
| --- | --- | --- |
| Name and Surname | Date | Training |
| Erhan Biçer | 25.07.2018/28.08.2018 | Health and Safety |
| Mehmet Ünalan | 25.07.2018/28.08.2018 | Health and Safety |
| Ahmet Kuşçu | 25.07.2018/28.08.2018 | Health and Safety |
| Gökhan Erol | 25.07.2018/28.08.2018 | Health and Safety |
| GÜNGÖR |  |  |
| Name and Surname | Date | Training |
| Cengizhan Aygibi | 25.07.2018/20.11.2018 | Health and Safety |
| Mustafa Ulaş | 25.07.2018/28.08.2018 | Health and Safety |
| Oğuz Yorgun | 28.08.2018/21.11.2018 | Health and Safety |
| Erkan Yusuf Kurt | 08.02.2018/19.04.2018/16.05.2018 | Health and Safety |
| SECURITAS |  |  |
| Name and Surname | Date | Training |
| İbrahim Karakuzu | 14.01.2019/15.01.2019 | Health and Safety |
| Aziz Korkut | 14.01.2019/15.01.2019 | Health and Safety |
| Serdar Gökçe | 14.01.2019/15.01.2019 | Health and Safety |
| Hasan Ali Demir | 14.01.2019/15.01.2019 | Health and Safety |
| GE |  |  |
| Name and Surname | Date | Training |
| Niyazi Türktür | 25.02.2019/26.02.2019 | Health and Safety |

  - Remarks on difference from estimated value in approved PDD

Estimated emission reduction in ex ante calculation of registered PDD is 131,241 tCO2. Moreover, actual emission reduction achieved during this monitoring period is 122,159 tCO2. When they are compared, actual emission reduction achieved during this monitoring period is less than the estimated figure. This situation is arisen from the unexpected wind trend in İzmir. When this project is registered to Gold Standard, estimated energy is calculated by relevant analysis like energy yield assessment. However, wind potential may be misjudged and might have changed after this analysis. Consequently, actual emission reduction is found to be less than the estimated emission reduction.

- Stakeholder inputs and legal disputes

  - List all inputs/grievances which have been received for the project during the monitoring period together with their respective answers/actions

Stakeholder engagement procedure was conducted at the Bergres Wind Power Project control room with the local stakeholders from Balaban and Bayramcılar villages on 8th of May 2019. DOE has interviewed the head of Bayramcılar village on the phone. Moreover, Balaban village was visited and head of Balaban village as well as local stakeholders were interviewed.

As validated during the site visit, muhtars (heads of the village) of Balaban and Bayramcılar villages had already taken the contact information of Company Executive of the company so that the local stakeholders will be able to reach company executive whenever they have any complaints, suggestions or ideas about the project.

Since muhtar is the head of the village, he will be the main contact person between the project owner and the local stakeholders. Muhtar will make sure that there is continuous communication between the two parties. Logbook was checked to see whether there has been any complaints from the local stakeholders. During the site visit, it is validated that there was no negative comments from the stakeholders.

  - List all inputs/grievances from previous monitoring period where follow up action is to be verified in this monitoring period

There is one FAR from previous monitoring period to follow up stating “During the site visit Balabanlı village have been visited as a closest village. However, Bayramcılar Village Mukhtar has not been reached even if called by telephone. For the next verification, interviews shall include villagers and Mukhtar from Bayramcılar Village. Suitable date and time should be anticipated for the site-visit to ensure villagers are reachable”. Other than that, the all parameters, which have to be checked each year, are evaluated.

  - Provide details of any legal contest or dispute that has arisen with the project during the monitoring period

N.A.

- Please see; generation licence

Please see; provisional acceptance protocols of Bergres WPP

See, Generation License for coordinates and http://www.rcn.montana.edu/Resources/Converter.aspx for the conversion.

ACM0002 Version 17: https://cdm.unfccc.int/filestorage/D/5/Y/D5YFS9I3VKBT18MQNGX0LPZ6U7AWCO/ACM0002_%28v17%200%29_clean.pdf?t=OWF8cGJkMDNvfDCaXD0VeKrfjdDN1RPb4oxZ

See; https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v5.0.pdf

See; http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf

See; https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-02-v6.0.pdf

See; http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-03-v2.pdf

See; http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf

Deutsche WindGuard Bergres Energy Yield Assessment, Page 8

See: Test protocol of the meters dated 12.12.2018 and 1st index protocol document

- See: 1st Index Protocol

See: Test protocol of the meters dated 12.12.2018

- See, http://www.sanayi.gov.tr/download/osgm/olcu_aletleri_muayene_yonetmelik.zip , page 2

See: Test protocol of the meters dated 12.12.2018 and 1st index protocol document

- See: 1st Index Protocol

See: Test protocol of the meters dated 12.12.2018

See, www.epdk.org.tr/TR/Dokuman/3156

See, http://www.mevzuat.gov.tr/Metin.Aspx?MevzuatKod=7.5.6381&MevzuatIliski=0&sourceXmlSearch=