GOLD STANDARD FOR THE GLOBAL GOALS (GS4GG)

REPORT

-

DESIGN CERTIFICATION (VALIDATION)

| Project Title: | 200 MW Solar PV Plant by Mahindra Susten in Rajasthan |
| --- | --- |
| GS project ID: | GS 7625 |
| Internal ID: | 5420 |
| Customer: | Mahindra Susten Private Limited |
| Date: | 21/11/2022 |
| Revision: | 04 |

| SUMMARY |  |  |  |  |
| --- | --- | --- | --- | --- |
| Reference No. | Date (first version) |  | Version No. | Date (last version) |
| A+_SYS_TQC 5420 | 23/02/2022 |  | 03 | 21/11/2022 |
| Client |  | Mahindra Susten Private Limited |  |  |
| Project Title |  | 200 MW Solar PV Plant by Mahindra Susten in Rajasthan |  |  |
| Project Participants |  | Mahindra Susten Private Limited |  |  |
| Project Location |  | # Rajasthan |  |  |
| Contact Person |  | # Mr. Saurabh Mehta |  |  |
| GS4GG Version: GS4GG, Ver. 1.2 GS4GG Activity Requirements: RE Activity Requirements Applied Methodology Version: ACM0002: Grid-connected electricity generation from renewable sources - Version 20.0 https://cdm.unfccc.int/methodologies/DB/XP2LKUSA61DKUQC0PIWPGWDN8ED5PG The following tools and guidance’s have been followed (References): - Tool to calculate the emission factor for an electricity system - Version 07.0 (EB 100, Annex 04) - Tool for the demonstration and assessment of additionality 7.0 Current Methodology Version: ACM0002, Version 20.0 |  |  |  | GS4GG Principles and Requirements V 1.2 UNFCCC CDM Sectoral Scope: 1 GS4GG Scope : 2 Technical Area: 1.2 |
| GS4GG First PDD Version: 01 Date: 23/03/2020 |  |  |  | GS4GG Final PDD Version: 06 Date: 11/09/2022 |
| Estimated Annual Emission Reductions: 424,409 tCO2e per year |  |  |  |  |
| Selected Sustainable Development Goals (SDGs): 7; 8; 13 ##### Estimated Sustainable Development Contributions ## Sustainable Development Goals Targeted; ## SDG Impact; ## Estimated Annual Average; ## Units or Products. ## SDG 7: Affordable and Clean Energy; ## MWh of renewable energy generated; ## 456,103; ## MWh/Annum. ## SDG 8: Decent Work and Economic Growth; ## Trainings ## Employees; 1 15; ## No of Training ## No of Employees. ## SDG 13: Climate Action (mandatory); ## Emission Reduction; 424,409; ## tCO2/Annum (GS VERs). |
| Design Certification Summary |  |  |  |  |
| LGAI Technological Center, S.A. (hereafter referred to as Applus+ Certification) has been contracted by Mahindra Susten Private Limited to perform the GSVER validation of “200 MW Solar PV Plant by Mahindra Susten in Rajasthan” applying the CDM approved methodology ACM0002, Version 20.0/3/. The management of Mahindra Susten Private Limited is responsible for the preparation of the GHG emissions data and the reported GHG emission reductions. A desk review and a remote audit have been conducted to verify the data submitted in the GS4GG PDD. Applus+ Certification confirms the following have been reviewed: - Gold Standard for Global Goals (GS4GG) PDD/1/; - The applied monitoring methodology/3/; - Relevant decisions, clarifications and guidance from the CMP and the CDM Executive Board/4//5/; - GS4GG “Principles and Requirements” Version 1.2, “Renewable Energy Activity Requirements” version 1.4, “Stakeholder Consultation and Engagement Requirements and Safeguarding Principles and Requirements”/6/ - All information and references relevant to the project activity’s resulting in estimated emission reductions. The scope of the validation is defined as an independent and objective review of the project design document, against the Kyoto Protocol requirements, UNFCCC rules, applicable CDM requirements and requirement of Gold Standard. The validation report is finalized based on the assessment of the GS4GG PDD, and applying standard auditing techniques including but not limited to document reviews, follow up actions (e.g., site visit/remote audit, telephone or e-mail interviews) and also the review of the applicable approved methodology and underlying formulae and calculations. The report and the annexed validation checklist describe a total of 06 findings which include: - 05 Corrective Action Requests (CARs); - 01 Clarification Requests (CLs/CRs); - 00 Forward Action Requests (FARs) The PD has responded these findings by modifying the GS4GG PDD and providing adequate additional explanations and evidences. Applus+ Certification confirm that all the findings have been “closed out” before submitting the request for registration to GS board. As a summary of the validation, the review of the Gold Standard GS4GG PDD and the subsequent follow-up interviews have provided Applus+ Certification with sufficient evidence for the determination of the project’s fulfillment with all stated criteria. In our opinion, the project meets all relevant UNFCCC requirements for the CDM and requirement of Gold Standard. Therefore, Applus+ Certification recommend the project for registration by the GS Registry as GS VERs project. |  |  |  |  |

| ASSESSMENT TEAM |  |  |
| --- | --- | --- |
| Team Members | Type of Resource | Organization (for OEs) |
| Lead Auditor: Mr. Pankaj Kumar | IR EI OE | M/s True Quality Certifications Private Limited |
| Technical Expert: Mr. Pankaj Kumar | IR EI OE | M/s True Quality Certifications Private Limited |
| Technical Reviewer: Mr. Simon Shen | IR EI OE | - |

| ABBREVIATIONS |  |
| --- | --- |
| Applus+ LGAI / Applus+ | LGAI Technological Center, S.A. (Applus+ Certification) |
| BM | Build Margin |
| CAR | Corrective Action Request |
| CDM | Clean Development Mechanism |
| CDM EB | CDM Executive Board |
| CER | Certified Emission Reduction |
| CL / CR | Clarification Request |
| CM | Combined Margin |
| CMP | Conference of the Parties serving as the Meeting of the Parties to the Kyoto Protocol |
| DNA | Designated National Authority |
| VVB | Validation and Verification Body |
| EF | Emission Factor |
| EIA | Environmental Impact Assessment |
| ER | Emission Reduction |
| FAR | Forward Action Request |
| GHG | Greenhouse Gas(es) |
| GS4GG (or GS) | Gold Standard for Global Goals |
| IPCC | Intergovernmental Panel on Climate Change |
| KP | Kyoto Protocol |
| MP | Monitoring Plan |
| NGO | Non-Governmental Organization |
| SDG | Sustainable Development Goal |
| TAC | Gold Standard Technical Advisory Committee |
| OM | Operational Margin |
| PD | Project Developer |
| PS | Project Standard |
| UNFCCC | United Nations Framework Convention for Climate Change |
| VVB | Validation and Verification Body |
| VVS | Validation and Verification Standard |

Table of Content

Contents

1.	INTRODUCTION	6

1.1	Objective	7

1.2	Scope	7

2.	METHODOLOGY	7

2.1	Appointment of the assessment team	8

2.2	Document review	9

2.3	Follow up Interviews	9

2.4	Resolution of Clarification and Corrective Action requests	9

2.5	Internal Quality Control	10

3.	PROJECT DESIGN CERTIFICATION ASSESSMENT	11

3.1	Approval	11

3.2	Participation	11

3.3	Scale of the project	11

3.4	Greenhouse Gases	11

3.5	Project timeframe	12

3.6	Project Boundary	12

3.7	Baseline Identification	12

3.8	Eligibility Principles Assessment	13

3.9	Calculation algorithm and/or formula used to determine emission reductions	42

4.	REFERENCE	44

5.	FINAL PROJECT DESIGN CERTIFICATION STATEMENT	45

Appendix:

Appendix 1: Corrective Action Request / Clarification Request / Forward Action Request resolution table.

Appendix 2: Audit Team CVs.

# INTRODUCTION

Mahindra Susten Private Limited has commissioned Applus+ Certification to perform a validation of “200 MW Solar PV Plant by Mahindra Susten in Rajasthan” (hereafter referred to as the project activity) in the state of Rajasthan in India. This validation report summarizes the findings of the validation of the project, performed on the basis of UNFCCC criteria refer to Article 12 of the Kyoto Protocol, the CDM modalities and procedures and the subsequent decisions by the CDM/GS Executive Board as well as requirement of Gold Standard.

The project activity primarily aims at reducing Green House Gas (GHG) emissions through utilization of renewable energy technology for generation of electrical energy. The electricity generated from the project activity (456,103 MWh annually) will displace equivalent electricity generation in grid connected power plants. The project activity will reduce the anthropogenic GHG emissions (424,409 tCO2e annually and 21,22,049 tCO2e through the crediting period of 5 years renewable)/2/ associated with the equivalent amount of electricity generation from Indian grid connected power plants which are predominantly fossil fuel-based power plants.

The project activity involves installation and operation of 200 MW Solar power project in the state of Rajasthan in India. The electricity generated from the project activity will be exported to Indian Grid.

The total cumulative capacity of the current project activity is 200 MW; which involves operation Solar PV project in the state of Rajasthan in India. The project is promoted by Mahindra Susten Private Limited.

As the project activity is of 200 MW capacity with emissions 424,409 t CO2e/Annum greater than 15000 t CO2e/Annum as per the Gold standard manual for project developers , hence clearly it is Large Scale project.

The details of the projects and the state of installation are mentioned in the table:

| Project Investors’ Name | Mahindra Susten Private Limited |
| --- | --- |
| Capacity in MW | 200 MW |
| Location | Geo-grapical co-ordinates: 27°57'9.33"N , 72°59'42.44"E Village: Khari Charnan, Tehsil: Kolayat District: Bikaner, Rajasthan, India |
| Letter of Intent | 16/09/2019/21/ |
| Power Purchase Agreement with Solar Energy Corporation of India (SECI) | 16/10/2019 /22/ |
| Module Supply Afreement with Longi Solar Technology Co. Ltd. | 30/09/2020 /23/ |
| Project commissioning | 14/10/2021 /24/ |

Assessment team confirmed above details through google map software/7/, copies of documents such as Letter of Intent/21/, PPA/22/, Module supply agreement/23/ and commissioning certificates/24/during the remote audit.

The Project Owner declares that the project has not directly or indirectly received or benefited from official development assistance. Assessment team confirmed from the no ODA declaration provided by the Project Participant.

# Objective

The purpose of a validation is to have an independent third-party assessment of the GS4GG PDD and compliance with the GS requirements as described in the Gold Standard documentation and supporting documents by the client. Validation is part of the GS VER project cycle and will finally result in a conclusion by Applus+ Certification whether a project activity is valid and should be submitted for registration of a proposed project activity rests at the GS and the Parties involved.

# Scope

The validation scope is defined as an independent and objective review of the project PDD, the project’s baseline study and monitoring plan and other relevant documents. The information in these documents is reviewed against all applicable CDM and GS requirements including the approved baseline and monitoring methodology ACM0002, Version 20.0/3/. The validation was based on the requirements in the Validation and Verification Standard version 03/4/ and Gold Standard GS4GG requirements/6/.

The validation is not meant to provide any consulting towards the project participants. However, stated requests for clarifications and/or corrective actions may have provided input for improvement of the PDD.

# METHODOLOGY

The project assessment is based on the Clean Development Mechanism Validation and Verification Standard version 3.0, Gold Standard requirement for GS4GG and is conducted using standard auditing techniques to assess the correctness of the information provided by the project participants. Before the assessment begins, members of the team covering the technical scope(s), sectoral scope(s), and relevant host country experience for evaluating the project activity are appointed. Once the project is made available for Applus+ Certification, the members of the assessment team carried out:

- A desk review of the GS4GG PDD;

- Follow-up interviews with project stakeholders;

- The resolution of outstanding issues and the issuance of the final validation report and opinion.

The prepared validation report and other supporting documents then undergo an internal quality control before being submitted to the GS Registry.

The GS overview documents which is referred as DVR is as below

| Validation Checklist Table 3: Resolution of Audit Findings |  |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | CAR CL/CR FAR |  | Number: |  |
| Raised by: |  | Pankaj Kumar |  |  |
| Description of the audit finding |  |  | Date: |  |
| The description of the audit finding should be clearly included here. |  |  |  |  |
| Project Participant’s response |  |  | Date: |  |
| The responses given by the project participants during the communications with the Assessment team should be included here. |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |
| The evidences provided by the project participants should be included here. |  |  |  |  |
| Auditor’s assessment comment |  |  | Date: |  |
| This section should include how the audit finding is assessed by the assessment team. |  |  |  |  |

The Complete List of CAR/CL/FAR is included as Appendix 1 of this report.

# Appointment of the assessment team

According to the sectoral scope / technical area and experience in the sectoral or national business environment, LGAI Technological Center, S.A. (Applus+ Certification) has composed a project assessment team in accordance with the appointment rules in the internal Quality Management System of LGAI Technological Center, S.A. (Applus+ Certification).

The composition of audit team shall be approved by the LGAI Technological Center, S.A. (Applus+ Certification) ensuring that the required skills are covered by the team.

The four qualification levels for team members that are assigned by formal appointment rules are as presented below:

- Lead Auditor (LA).

- Auditor (A) / Auditor in Training (AiT).

- Technical Expert (TE).

- Technical Reviewer (TR).

The sectoral scope / technical area knowledge linked to the applied methodology/ies shall be covered by the assessment team.

| Name | Role | SS Coverage | TA Coverage | Financial aspect | Host country experience |
| --- | --- | --- | --- | --- | --- |
| Mr. Pankaj Kumar | LA/TE | YES | YES | YES | YES |
| Mr. Simon Shen | TR | YES | YES | YES | NA |

The complete list of CVs is included as Appendix 2 of this report.

# Document review

The GS4GG PDD submitted by the Client was reviewed against the approved methodology and other relevant criteria to verify the correctness, credibility, and interpretation of the presented information. Furthermore, a cross-check between information provided and information from other sources has been done. A complete list of all documents and evidence material reviewed is included in Section 4 of this report.

# Follow up Interviews

As a result of the COVID-19 pandemic, taking into account the rules of relevant national and local authorities (local to the VVB offices as well as to locality of the site visits), World Health Organization (WHO) recommendations, policies of the VVB and other relevant travel restrictions and guidance (for example, a requirement to self-isolate upon return from specific countries),  the VVB has skipped the on site visit. As COVID -19 situation is going to stay for a while, and it seems that restoration of normal situation will take time and PP has requested to proceed with project validation as delay could have some financial implication on PP. Hence the site visit could not be postponed for this project activity.

However as per the COVID 19 Interim Measures by GS4GG/6/, the VVB may use alternative measures for auditing like remote audits. As per para 4.1.1 (b) of COVID 19 Interim Measures, Assessment team has used the following alternative means for its assessment and to justify that they are sufficient for the purpose of verification of the PA. Along with desk review, audit team has conducted remote audit interview corresponding to the PA as follows:

A complete desk review of the PDD as well as all applicable country legal requirement and supportive evidences have been checked by the Assessment team.

- Assessment team has performed Skype interview with PD in order to check implementation, current situation, evaluation of data management, QA/QC system, project technology, training provided, monitoring, calibration etc. Interview questions were filled as per Assessment team interview checklist. Cross checks between information provided by interviewed personnel (i.e. by checking sources) to ensure that no relevant information has been omitted.

- Assessment team has performed interview with randomly selected local stakeholders to check the monitoring of GS4GG sustainable parameters like employment and training, environmental and other relevant issues.

- Cross-check evaluation, for information received from interviews, under the scope of all information and references provided in the PDD and supporting documents.

Details of interviewees, topics covered and additional information presented below:

| Interviewed Personnel | Functions | Organization | Date | Subject |
| --- | --- | --- | --- | --- |
| Mr. Saurabh Mehta | PP representative | Mahindra Susten Private Limited | 11/08/2021 (Remote skype interview) | General aspects of the project, Quality management system, Monitoring data management, Data analysis, Implementation of the project, GHG emission reduction calculation, Involved personnel and responsibilities, Training and practice of the operational personnel, Monitoring data management, Maintenance, Compliance to regulatory requirements, Environmental and social issues, Projects contribution to sustainable development |
| Mr. Richa Thakur | Consultant | Infinite Solutions |  |  |
| Mr. Manek Singh | Villager | Local stakeholder |  |  |
| Mr. Murlidhar Jayswal | Villager | Local stakeholder |  |  |

# Resolution of Clarification and Corrective Action requests

The objective of this phase of the validation was to resolve the requests for corrective actions and clarification and any other outstanding issues which needs to be clarified for Applus+ Certification positive conclusion on the GS4GG PDD. The Corrective Action Requests and Clarification Requests raised by Applus+ Certification were resolved during communications between the Project Developer and Applus+ Certification to guarantee the transparency of the validation process, the concerns raised and responses given are summarized in Appendix 1 below.

The Gold Standard GS4GG PDD version 05 submitted on 14/02/2022 serves as the basis for the final assessment presented.

# Internal Quality Control

As final step of a validation the final documentation including the validation report and the protocol have to undergo an internal quality control by the technical review committee. Each report has to be finally approved either by the head of technical review committee or the deputy. In case one of these two persons is part of the audit team, approval can only be given by the other one.

After confirmation of the PD, the validation opinion and relevant documents are submitted to the GS Registry.

# PROJECT DESIGN CERTIFICATION ASSESSMENT

# Approval

This section is not applicable as this is a GS VER project.

# Participation

Mahindra Susten Private Limited is the project developer from the host party India. The host country involved is parties to the Kyoto Protocol and meet and requirements to participate in the Gold Standard.

# Scale of the project

The project activity is identified as a Large-scale project in section A.6 of the GS4GG PDD applying CDM large-scale methodology ACM0002, Version 20.0. The total capacity of the power project is 200 MW as validated from the Letter of Intent and PPA. Since the design capacity of the project activity is more than 15 MW, therefore, the project is correctly classified as Large-scale project. Assessment team also checked the requirement of latest applicable methodology ACM0002, Version 20.0 and confirms that the project qualifies the requirement of the latest methodology also (i.e. scale, applicability, baseline, additionality and monitoring).

a) Type of project: The project activity involves electricity generation using solar power to reduce atmospheric CO2 emission by replacing equivalent amount of electricity from the grid of India. The project type is identified as renewable energy project in section A.6 of the GS4GG PDD. The project activity complies with the requirement of ‘the generation and delivery of energy services (e.g. electricity) from non-fossil and non-deployable energy sources’ as defined in GS4GG. The project activity generates and supplies renewable electricity to the regional grid thereby displacing the electricity which would have generated in fossil fuel-based power plants connected to the grid.

# Greenhouse Gases

The project activity leads to displacement of electricity generation from fossil fuel-based power plants connected to the regional grid by renewable energy generated using solar power. The operation of the project activity will result in reduction of carbon-dioxide from the atmosphere due to displacement of electricity in grid by the renewable energy. Hence, the greenhouse gas identified in the GS4GG PDD is carbon dioxide which is duly validated by the VVB.

The GHG emission sources considered for the project boundary and their explanations are as follows:

| Source |  | Gas | Included? | Justification/Explanation |
| --- | --- | --- | --- | --- |
| Baseline | Grid connected electricity generation | CO2 | Yes | Main emission source |
|  |  | CH4 | No | Minor emission source |
|  |  | N2O | No | Minor emission source |
|  |  | Other | No | No other emissions are emitted from the project |
| Project | Greenfield Solar Power Project Activity | CO2 | No | No CO2 emissions are emitted from the project |
|  |  | CH4 | No | Project activity does not emit CH4 |
|  |  | N2O | No | Project activity does not emit N2O |
|  |  | Other | No | Project activity does not emit other forms of GHG emissions |

# Project timeframe

Other certification scheme: The project activity has not applied, confirmed by project developer, for any other certification like Green or White certification. Therefore, the Assessment team concluded that the project activity meets the applicability criteria of Gold Standard. Assessment team checked the double counting clarification vide GS guideline on double counting in the context of Green Certificate Schemes, 22/01/2015. A declaration from PP confirms that the project activity is not taking any REC Benefits under REC mechanism/18/. The project is applied for GS VER regular validation. Assessment team also checked the REC website and confirms that the project is not undertaking any REC benefits at present nor intended to take it in near future. During validation, PD confirmed that this Project is solely developed as standalone GS VER Project and submitted a declaration that there will not be double accounting of emission reduction for the project activity/18/.

# Project Boundary

As per ACM0002, version 20.0/3/ i.e. latest version of the methodology applied as available on CDM website - “The spatial extent of the project boundary includes the project power plant and all power plants connected physically to the electricity system that the project power plant is connected to”. The project boundary includes the solar project, sub-stations, grid and all power plants connected to grid. The proposed project activity will evacuate power to the INDIAN grid. Therefore, the entire INDIAN grid and all connected power plants have been considered in the project boundary for the proposed GS4GG project activity. The same is checked by the assessment team during the remote validation audit and found correct.

# Baseline Identification

Being a large scale grid connected solar energy generation project, PD developed the project based on the Methodology ACM0002, Version 20.0. As per paragraph 41 of the methodology version 20.0: “If the project activity is the installation of a Greenfield power plant, the baseline scenario is electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in the “Tool to calculate the emission factor for an electricity system” version 7.0/5/.

The project activity involves setting up of solar power project to harness the power of solar energy to produce electricity and supply to the grid. In the absence of the project activity, the equivalent amount of power would have been supplied by the Indian grid, which is fed mainly by fossil fuel fired plants. In the absence of the project activity, the equivalent amount of power would have been drawn from the Indian grid. Hence, the baseline for the project activity is the equivalent amount of power from the Indian grid. As the project activity is the installation of a new grid-connected renewable power plant/unit, the baseline and pre-project scenario is same.

The power generation and consumption ratio in India has established that in India, if there is no renewable technology implementation, the power import is from Indian Grid, that does not require any capital investment cost for the project proponent. As per the data from the Ministry of Power the coal based power generation constitute over 58.6 % of total power generation. Hence, the most applicable baseline is from fossil fuel based power generation through National Grid and there are no legal provisions in India that prevents power import from Grid and the Indian Power system is government by Electricity act , 2013 and CERC regulations that changes time to time. There is not much private DISCOMS for supplying power and most of the power distributions are through State Discom. As per the National Electricity policy, the Indian power system are governed by Central and State Government bodies and there is no such provisions that prevent the power import from Grid. Hence the baseline scenario will be the power import from the national Grid.

The combined margin (EFgrid,CM,y) is the result of a weighted average of two emission factor pertaining to the electricity system: the operating margin (OM) and build margin (BM). Calculations for this combined margin must be based on data from an official source (where available) and made publicly available. The CEA database version 16 was the latest available data at the time of GS4GG PDD submission to VVB for validation, hence same is considered for emission factor calculations.

The combined margin of the Indian grid used for the project activity is as follows:

| Parameter | Value | Nomenclature | Source |
| --- | --- | --- | --- |
| EFgrid,CM,y | 0.9305 tCO2/MWh | Combined margin CO2 emission factor for the project electricity system in year y | Calculated as the weighted average of the operating margin (0.75) & build margin (0.25) values, sourced from Baseline CO2 Emission Database, Version 17.0,October 2021 published by Central Electricity Authority (CEA), Government of India |
| EFgrid,OM,y | 0.9522 tCO2/MWh | Operating margin CO2 emission factor for the project electricity system in year y | Calculated as the last 3-year (2017-18, 2018-19, 2019-20) generation-weighted average, sourced from Baseline CO2 Emission Database, Version 17.0, October 2021 published by Central Electricity Authority (CEA), Government of India |
| EFgrid,BM,y | 0.8653 tCO2/MWh | Build margin CO2 emission factor for the project electricity system in year y | Value of the latest year i. e. 2019-20 as per Baseline CO2 Emission Database, Version 17.0,October 2021 published by Central Electricity Authority (CEA), Government of India |

# Eligibility Principles Assessment

Principle 1. Contribution to Climate Security & Sustainable Development

The baseline scenario and the emission reduction calculations have been performed as per the PDD. The grid emission factor, in the GS PDD, has been calculated in-line with the provisions of applied methodology ACM0002, Version 20.0. The latest applicable version of “Tool to calculate the emission factor for an electricity system” is version 07.

The applicability criteria are now detailed out in the report as below:

Applicability 1: Assessment team checked that the project activity is installation of a new grid connected solar power plant/ unit at a site where no renewable power plant was operated prior to the implementation of the project activity (Greenfield plant) and hence this criterion is applicable.

Applicability 2: Assessment team checked that the proposed project activity is an installation of a new grid connected solar power plant/ unit and hence a criterion under point (a) is met. The project does not involve any capacity additions, retrofits or replacements and therefore this criterion under point (b) is not applicable.

Applicability 3: Assessment team checked that the proposed project activity is an installation of a new grid connected solar power plant/ unit and not Hydro power plant, therefore this criterion is not applicable for this project activity.

Applicability 4: Assessment team checked that the proposed project activity is an installation of a new grid connected solar power plant/ unit and not Hydro power plant, therefore this criterion is not applicable for this project activity.

Applicability 5: Assessment team checked that the project activity is installation of a new grid connected solar power project/ unit and does not involve switching from fossil fuel to renewable energy, therefore criterion described in point (a) is not relevant to the project activity.

This is a solar power plant/ unit and not a biomass fired plant, therefore criterion described in point (b) is not applicable to the project activity

Applicability 6: Assessment team checked that the project activity is a new grid connected solar power plant/ unit and not a retrofits, replacement or capacity additions and therefore this criterion is not applicable to the project activity.

Applicability conditions of “Tool to calculate the emission factor for an electricity system”

OM, BM and CM are estimated using the tool under section B.6.1 of the PDD for calculating baseline emissions.

The project activity is grid connected project activity and thus emission factor is calculated and thus OM, BM and CM are estimated using the tool under section B.6.1 of the PDD for calculating baseline emissions.

The project activity is located in India, a non-Annex I country. Therefore, this criterion is not applicable for the project activity.

The project activity is a grid connected solar power project and not a hydro power plant. Therefore, this criterion is not applicable for the project activity.

Applus+ Certification confirms that the application of the baseline methodology is transparent and conservative and confirms that the chosen baseline and monitoring methodology i. e. ACM0002, Version 20.0 is applicable to the project activity and latest version of the methodology is appropriately applied.

The project activity applies grid emission factor as per the latest available CEA database version 16 and the emission factor applied is 0.9346 tCO2/MWh. This calculated emission factor is conservative as per tool.

The National CDM Authority (NCDMA), which is the Designated National Authority (DNA) for the Government of India (GOI) under the Ministry of Environment, Forests & Climate Change (MoEFCC), has mentioned four indicators for the sustainable development in the interim approval guidelines for Clean Development Mechanism (CDM) projects from India. Thus, the project’s contribution towards sustainable development has been addressed based on the following sustainable development aspects:

I. Social well-being:

The project activity provided / provides job opportunity to local people during erection, commissioning and maintenance of the solar power plant. Frequency of visiting villages and nearby areas by skilled, technical and industrialist increase due to installation /site visit/operation and maintenance work related to solar panels. This directly and indirectly positively effects the economy of villages and nearby area.

II. Economic well-being:

The project activity generates permanent and temporary employment opportunity within the vicinity of the project. The electricity supply in the nearby area improves which directly and indirectly improves the economy and lifestyle of the area.

III. Environmental well-being:

The solar power is one of the cleanest renewable energy powers and does not involve any fossil fuel. There are no GHG emissions. The impact on land, water, air and soil is negligible. Thus, the project activity contributes to environmental well-being without causing any negative impact on the surrounding environment.

IV. Technological well-being:

The project activity is step forward in harnessing the untapped solar potential and further diffusion of the solar PV technology in the region. The project activity leads to the promotion and demonstrates the success of solar projects in the region which further motivate more investors to invest in such projects. Hence, the project activity leads to technological well-being.

Assessment team checked the technical parameters of the project equipments through plant technical specifications/25/ shared by PD and as confirmed during remote validation audit. PD confirms that the details as mentioned in the latest GS4GG PDD/1/ are correct.

The project activity aims to harness solar energy through installation of solar PV with total installed capacity of 200 MW in District Bikaner, Rajasthan, India.

The project is commissioned and exact geographical co-ordinates were shared by PD. These were corss checked using google map software.

The project activity involves installation of 200 MW grid connected solar photovoltaic power plant. The PV system will mainly consist of PV modules, module mounting structures, inverters, regulators, monitoring devices.

| Item | Description |
| --- | --- |
| Plant Capacity | 200 MW |
| Solar PV Module | 433 MWp |
| Module Type | Polycrystalline |
| Solar Inverter | Central |
| Electrical Characteristics |  |
| - 3-phase alternating current - Nominal frequency is 50 Hz - Final Voltage at Delivery Point is 400/220/132/66kV |  |

The technical details of the plant confirmed through Detailed Project Report (DPR)/19/ submitted. The solar PV modules have a useful life of 25 years as confirmed with DPR.

Principle 2: Safeguarding Principles

The Safeguarding principles assessment is as below:

| Assessment Questions/ Requirements | Assessment of relevance to the project (Yes/potentially/no) | Justification by the assessment team | Mitigation measure (if required) |
| --- | --- | --- | --- |
| Principle 1. Human Rights |  |  |  |
| - The Project Developer and the Project shall respect internationally proclaimed human rights and shall not be complicit in violence or human rights abuses of any kind as defined in the Universal Declaration of Human Rights - The Project shall not discriminate with regards to participation and inclusion | No | 1. The Project is not in conflict with the economic livelihood of the local community. The Project does not cause any human rights abuse and respects internationally proclaimed human rights issue. Further, the Project meets the local labor law requirements thus does not cause any human rights abuse. India has ratified the United Nations Human Rights Rules and regulations. The India ratified the same as per web link given below. 2. Project activity is not expected to cause any human rights abuse. As a member of United Nations and part of UN Agreement on Human Rights, it is ensured by law in India that no action can be taken against human rights. HR policy/26/ of the PD is in place which adheres to the human rights issues and promotes equal opportunity for all. | Not Required |
| Principle 2. Gender Equality |  |  |  |
| - The Project shall not directly or indirectly lead to/contribute to adverse impacts on gender equality and/or the situation of women. - Projects shall apply the principles of non-discrimination, equal treatment, and equal pay for equal work. - The Project shall refer to the country’s national gender strategy or equivalent national commitment to aid in assessing gender risks - (Where required) Summary of opinions and recommendations of an Expert Stakeholder(s) | No | 1. The Project is not in conflict with the economic livelihood of the local community. No, the project being a solar project does not reduce access to or control of resources for women. Also, the PP have HR policy which clearly mention that women are treated equally. No, the project does not adversely affect men and women in marginalised or vulnerable communities. Employment opportunities have been provided by the PD to the local people from the nearby villages around the project site which in turn has improved the livelihood and living standards of the local people. No, the HR policy of PD mentions that all employees are given equal opportunities for betterment irrespective of the gender. Yes, the project takes into account gender roles and abilities of women/men. PD has provided employment to both the genders without any discrimination. Also, the HR policy of PD mentions that all employees are given equal opportunities for betterment irrespective of the gender. No, the project activity does not contribute to increase in women’s workload. The HR policy of PD mentions that all employees are given equal opportunities and also there is no discrimination. PD also have Anti sexual harassment policy for prevention of any sexual harassment and thus it can be justified that the project contributes towards increased participation of women workload and promotes their active participation. No, the project will not potentially reproduce or it will not deepen discrimination against women based on gender. The HR policy of PD mentions that all employees are given equal opportunities for betterment irrespective of the gender. Thus, it can be justified that, the project contributes towards increased participation of women workload and promotes their active participation. No, the project will not limit women’s ability to use, develop and protect natural resources. The HR policy of PD mentions that all employees are given equal opportunities for betterment irrespective of the gender. No, the project activity will not expose women and girls to further risk or hazards. The project does not involve in generation of Hazardous and Non-hazardous Waste. Standard health & safety procedures are followed at site during operation and maintenance. PP follows the National Policy on Safety, Health and Environment at work, published by Ministry of Labour and Employment, Government of India. The Project shall not directly or indirectly lead to/contribute to adverse impacts on gender equality and/or the situation of women for Sexual harassment and/or any forms of violence against women – address the multiple risks of gender-based violence, including sexual exploitation or human trafficking. - Slavery, imprisonment, physical and mental drudgery, punishment or coercion of women and girls. - Restriction of women’s rights or access to resources (natural or economic). Recognise women’s ownership rights regardless of marital status – adopt project measures where possible to support to women’s access to inherit and own land, homes, and other assets or natural resources. Projects applies the principles of non-discrimination, equal treatment, and equal pay for equal work. The equitable participation of men and women is followed in the identified tasks/activities. The project activity ensures the participation of women or men in Project activities and they are getting benefits based on pregnancy, maternity/paternity leave, or marital status. These conditions do not limit the access of women or men, as the case may be, to Project participation and benefits. The project activity follows country’s national gender strategy or equivalent national commitment to aid in assessing gender risks. | Not required |
| Principle 3. Community Health, Safety and Working Conditions |  |  |  |
| The Project shall avoid community exposure to increased health risks and shall not adversely affect the health of the workers and the community | No | The project is renewable energy technology (solar power-based power generation Technology) and does not have exposure to increased health risks and shall not adversely affect the health of the workers and the community. Necessary health and safety measures will be taken during construction and operation phase, as well as throughout the operational lifetime of the project activity, also staffs will be trained to be able to work with high voltages and occupational health and safety. PD follows the National Policy on Safety, Health and Environment at work, published by Ministry of Labour and Employment, Government of India. | Not Applicable |
| Principle 4.1 Sites of Cultural and Historical Heritage |  |  |  |
| Does the Project Area include sites, structures, or objects with historical, cultural, artistic, traditional or religious values or intangible forms of culture? | No | No cultural heritage is observed on the project site, thus no harm observed. Compliance with India's commitment to International Covenant on Economic, Social and Cultural Rights 10.04.79 will ensure no damage to critical cultural heritage. As per the list of cultural heritage sites in India by UNESCO, it is clear that the project site is not a cultural heritage site | Not Required |
| >> |  |  |  |
| Principle 4.2 Forced Eviction and Displacement |  |  |  |
| Does the Project require or cause the physical or economic relocation of peoples (temporary or permanent, full or partial)? | No | The project has received the necessary approvals from the local authorities and does not lead to any resettlement. India (the Ministry of Rural development have the “Right to Fair Compensation and Transparency in Land Acquisition, Rehabilitation and Resettlement Act”, 2013 | Not required |
| >> |  |  |  |
| Principle 4.3 Land Tenure and Other Rights |  |  |  |
| Does the Project require any change, or have any uncertainties related to land tenure arrangements and/or access rights, usage rights or land ownership? | No | No Expropriation has been conducted on any private land involved in project activity. Land has been utilised by PP directly from the owner of the land through direct negotiation of commercial terms. There has not been involvement of any government agency in the acquiring the land. The land is acquired on mutual consent between private land owner and PP, thus there are no any issues of dissatisfaction of private land owner. The Project Developer hold uncontested land title for the entire Project Boundary to complete Project Design Certification. The land rights are with project developers. | Not Required |
| >> |  |  |  |
| Principle 4.4 - Indigenous people |  |  |  |
| Are indigenous peoples present in or within the area of influence of the Project and/or is the Project located on land/territory claimed by indigenous peoples? | No | The Project site is devoid of indigeneous peoples or they are not present within the area of influence of the Project. Thus, project activity does not have impact on Indigenous Peoples. | Not Required |
| Principle 5. Corruption |  |  |  |
| - The Project shall not involve, be complicit in or inadvertently contribute to or reinforce corruption or corrupt Projects | No | The project is renewable energy technology (solar power-based power generation Technology) and does not contribute to or reinforce corruption of any kind. Indulgence in corruption is an illegal activity in the host country and the local labor compliance takes into account of the same. The project abides by the United Nations Convention Against Corruption. India ratification 09.05.11 | Not Required |
| Principle 6.1 Labour Rights |  |  |  |
| - The Project Developer shall ensure that all employment is in compliance with national labour occupational health and safety laws and with the principles and standards embodied in the ILO fundamental conventions. - Workers shall be able to establish and join labour organisations - Working agreements with all individual workers shall be documented and implemented and include: - Working hours (must not exceed 48 hours per week on a regular basis), AND - Duties and tasks, AND - Remuneration (must include provision for payment of overtime), AND - Modalities on health insurance, AND - Modalities on termination of the contract with provision for voluntary resignation by employee, AND - Provision for annual leave of not less than 10 days per year, not including sick and casual leave. - No child labour is allowed (Exceptions for children working on their families’ property requires an Expert Stakeholder opinion) - The Project Developer shall ensure the use of appropriate equipment, training of workers, documentation and reporting of accidents and incidents, and emergency preparedness and response measures. | No | Forced labor is an illegal activity in the host country and the local labor compliance takes into account of the same. Further, India is a party to ILO and forced labour is illegal in India. The project does not employ any form of forced or compulsory labour. Employees can quit their Services at any time. The project complies with the Factories Act in India that prohibits forced or compulsory labour. The project activity does not involve any child labour. There are number of trainings (soft and technical skills) planned for the employees. The agreements are in place for permanent employees. The project prefers the local employment and culture is maintained at project site. The country has strict prohibition for child labour. Thus, project does not involve child labour during construction and operation of project activity. The project follows the health, safety and environment guidelines at project site. The project ensures the use of appropriate equipment, training of workers, documentation and reporting of accidents and incidents, and emergency preparedness and response measures. | Not required |
| Principle 6.2 Negative Economic Consequences |  |  |  |
| - Does the project cause negative economic consequences during and after project implementation? |  | The project is renewable energy technology (solar power-based power generation Technology) and will not cause negative economic consequences during and after project implementaion. | Not Required |
| >> |  |  |  |
| Principle 7.1 Emissions |  |  |  |
| Will the Project increase greenhouse gas emissions over the Baseline Scenario? | No | The project is renewable energy technology (solar power-based power generation Technology) and does not lead any increase in greenhouse gas emissions over the Baseline Scenario. | Not Required |
| >> |  |  |  |
| Principle 7.2 Energy Supply |  |  |  |
| Will the Project use energy from a local grid or power supply (i.e., not connected to a national or regional grid) or fuel resource (such as wood, biomass) that provides for other local users? | No | The project activity supplies energy to national grid and project activity displaces equivalent quantity of electricity which would have been generated by fossil fuel dominated grid connected power plants. | Not required |
| >> |  |  |  |
| Principle 8.1 Impact on Natural Water Patterns/Flows |  |  |  |
| Will the Project affect the natural or pre-existing pattern of watercourses, ground-water and/or the watershed(s) such as high seasonal flow variability, flooding potential, lack of aquatic connectivity or water scarcity? | No | The project is renewable energy technology (solar power based power generation Technology) and does not affect the natural or pre-existing pattern of watercourses, ground-water and/or the watershed(s). | Not Required |
| >> |  |  |  |
| Principle 8.2 Erosion and/or Water Body Instability |  |  |  |
| Could the Project directly or indirectly cause additional erosion and/or water body instability or disrupt the natural pattern of erosion? | No | The project is renewable energy technology (solar power-based power generation Technology) and does not affect Erosion and/or water body stability. | Not Required |
| >> |  |  |  |
| Principle 9.1 Landscape Modification and Soil |  |  |  |
| Does the Project involve the use of land and soil for production of crops or other products? | No | The project proponent has implemented Environment Health Safety and Social guideline which takes into account the same. The project activity involves barren land and does not involve use of land and soil for production of crops or other products. The project does not involve any landscape modification or soil. Hence there is no any impact of this principle. | Not Required |
| >> |  |  |  |
| Principle 9.2 Vulnerability to Natural Disaster |  |  |  |
| Will the Project be susceptible to or lead to increased vulnerability to solar, earthquakes, subsidence, landslides, erosion, flooding, drought or other extreme climatic conditions? | No | The project is renewable energy technology (solar power-based power generation Technology). The Project will not be susceptible to or lead to increased vulnerability to solar, earthquakes, subsidence, landslides, erosion, flooding, drought or other extreme climatic conditions. Thus, this section is Not Applicable. | Not Required |
| >> |  |  |  |
| Principle 9.3 Genetic Resources |  |  |  |
| Could the Project be negatively impacted by or involve genetically modified organisms or GMOs (e.g., contamination, collection and/or harvesting, commercial development, or take place in facilities or farms that include GMOs in their processes and production)? | No | The project is renewable energy technology (solar power-based power generation Technology). The Project not be negatively impacted by the use of genetically modified organisms or GMOs. Thus, this section is Not Applicable | Not Required |
| >> |  |  |  |
| Principle 9.4 Release of pollutants |  |  |  |
| Could the Project potentially result in the release of pollutants to the environment? | No | The Power generation from solar project is considered in white category that need not required any consent from the Pollution Control Board, as it having zero pollutant release to environment. Further the EHSS guidelines take into account the same. The project does not lead to release of any hazardous substances that pose threat to the environment. Rather it aims at reducing the air pollution that is prevalent due to use of fossil fuel power plants. The project promotes environmental protection through the use of cleaner technology. The project abides by the stipulations of the Indian Environment Protection Act 1986 . | Not Required |
| >> |  |  |  |
| Principle 9.5 Hazardous and Non-hazardous Waste |  |  |  |
| Will the Project involve the manufacture, trade, release, and/ or use of hazardous and non-hazardous chemicals and/or materials? | No | The project is renewable energy technology (solar based power generation Technology). The project does not involve generation of Hazardous and Non-hazardous Waste. Standard procedure is followed at site during operation and maintenance. | Not Required |
| >> |  |  |  |
| Principle 9.6 Pesticides & Fertilisers |  |  |  |
| Will the Project involve the application of pesticides and/or fertilisers? | No | The project is renewable energy technology (solar power-based power generation Technology) power generation. There is no any involvement of pesticides and/or fertilisers. Thus, this principle is Not Applicable. | Not Required |
| >> |  |  |  |
| Principle 9.7 Harvesting of Forests |  |  |  |
| Will the Project involve the harvesting of forests? | No | The project is renewable energy technology (solar power-based power generation Technology) power generation. The project activity does not involve any harvesting of forests. Thus, this principle is Not Applicable. | Not Required |
| >> |  |  |  |
| Principle 9.8 Food |  |  |  |
| Does the Project modify the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives? | No | The project is renewable energy technology (solar power-based power generation Technology) power generation. The Project does not modify the quantity or nutritional quality of food available. Thus, this principle is Not Applicable | Not Required |
| >> |  |  |  |
| Principle 9.9 Animal husbandry |  |  |  |
| Will the Project involve animal husbandry? | No | The project is renewable energy technology (solar power-based power generation Technology) power generation. The Project does not involve animal husbandry. Thus, Not Applicable | Not required |
| >> |  |  |  |
| Principle 9.10 High Conservation Value Areas and Critical Habitats |  |  |  |
| Does the Project physically affect or alter largely intact or High Conservation Value (HCV) ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified? | No | As per the consultation with villagers no wild species are observed in the area. Also, no forest land is involved in this project. There is no direct threat to wild species. Nevertheless, measures must be taken to avoid all forms of man animal conflict. Adequate safeguards must be followed during construction and operation phase to prevent unwanted utilization of fertile land, forest land and forest resources. | Not Required |
| >> |  |  |  |
| Principle 9.11 Endangered Species |  |  |  |
| Are there any endangered species identified as potentially being present within the Project boundary (including those that may route through the area)? AND/OR Does the Project potentially impact other areas where endangered species may be present through transboundary affects? | No | No. There were no endangered species found in the project boundary. The project area comprises of non-forest wastelands and fallow lands. It is sparsely covered by shrubs and thorny bushes. There are no plantations or orchards. Study area is plain land with sparse vegetation. There was no sighting of any known rare, endangered or ecologically significant animal and plant species. | Not required |
| >> |  |  |  |

The safeguarding principles relevant to the project activity are justified by PD based on supporting web links, references wherever applicable.

Also, the report on “Developmental Impacts and Sustainable Governance Aspects of Renewable Energy Projects”/17/ prepared by MNRE dated September 2013 is submitted to VVB. This report clearly mentioned that Solar PV project operations do not result in direct air pollution, noise pollution.

Furthermore, solar power projects are categorized under "White category" list of projects from "Central Pollution Control Board of India (CPCB)" on 07/03/2016. "White category of industries pertains to those industrial sectors which are practically non-polluting" considered by government of India. PP has submitted the letter (No. B-29012/ESS (CPA)/2015-16) of CPCB to all the State pollution control Board.

These safeguarding principles assessment is validated through references given by PD, MNRE report as mentioned above and based on remote audit observations and interviews.

The SDG goals are also described below:

| - SDG Goal | Assessment of Methodological choices/approaches for estimating the SDG outcome |
| --- | --- |
| SDG 7 – Affordable and Clean Energy: Ensure access to affordable, reliable, sustainable and modern energy for all | Measurement Method: Electricity produced and supplied to the grid is monitored through energy meter. Net electricity generated is obtained from the monthly Statement of net export of power to the grid at the plant site. The other parameters used for net electricity supplied to grid are mentioned in monitoring plan. The O&M site-in-charge shall be responsible for the regular recording of data. QA/QC Process: This parameter is monitored monthly and value of parameter will be cross checked with the invoices. The meters will be calibrated on regular frequency. Relevant SDG Target: 7.2 - By 2030, increase substantially the share of renewable energy in the global energy mix. Corresponding indicator: Electricity produced and supplied to the grid. (7.2.1 Renewable energy share in the total final energy consumption) |
| - SDG 8 – Decent Work and Economic Growth: Promote inclusive and sustainable economic growth, employment and decent work for all | - 1. Quantitative employment - 2. Quality of employment Measurement Method: Training and employment generation is monitored through training records; staff register or letter from O&M contractor for training and employment details or HSE/HR records. QA/QC Process: The number of persons employed would be mentioned in the plant register, which can be crossed checked with daily attendance register, employee records, salary slips of employee or letter from O&M contractor for number of peoples employed. Relevant SDG Target: 8.5.1 - By 2030, achieve full and productive employment and decent work for all women and men, including for young people and persons with disabilities, and equal pay for work of equal value Corresponding indicator: 1) No. of trainings provided to the employees and O&M staff: 1 training will be provided/year), and 2) No. of project employees with number of male/female, permanent/temporary, age and person with disabilities due to project activity: 15 persons/ year. |
| - SDG 13 – Climate Action : Take urgent action to combat climate change and its impacts | Measurement Method: - The emission reduction parameter is calculated as product of net electricity supplied to grid and grid emission factor. The grid emission factor is ex-ante parameter and determined based on data obtained from “CO2 Baseline Database for Indian Power Sector” version 16, published by the Central Electricity Authority, Ministry of Power, and Government of India. This is in line with “Tool to calculate the emission factor for an electricity system, version 7”. The emission reductions are calculated as per methodology requirement. QA/QC Process: This parameter is calculated, and no any QA/QC procedure required. Relevant SDG Target: 13.2.1: Integrate climate change measures into national policies, strategies and planning Corresponding indicator: Emission reductions in tCO2e from the project activity. |

Principle 3: Stakeholder Inclusivity

As per the CDM/GS requirements, it is necessary to invite the relevant stakeholders, before the validation process starts. The proposed project is a retroactive project as per paragraph 4.1.42 of GS4GG Principles and Requirements, version 1.2 as the project start date is after before 1st round of stakeholder consultation. The project start date is 03/06/2020. A 60 days of global stakeholder consultation was held from 18/05/2020 to 17/07/2020. A physical meeting was held on 29/07/2021 i. e. when COVID protocols were relaxed by local governing bodies to conduct physical meeting. In both the cases, an invitation was sent to concerned stakeholders, copies of the same were checked by the assessment team and found appropriate.

All the stakeholders have been invited through public notice to attend the stakeholders meeting. The local stakeholders’ consultation meeting was attended by local persons including local villagers, local vendors and technology suppliers.

The stakeholders identified by the project participant were local villagers who are the major population of the particular area, local communities and gram panchayat (Village head), project proponent representatives, O&M Team and other people involved in the project. Assessment team verified the list of participants who attended the stakeholder meeting and feedback questionnaire and confirms the stakeholders identified are relevant. Assessment team verified the list of participants who attended the stakeholder meeting and feedback questionnaire and confirms the stakeholders identified are relevant. The Assessment team also verified the minutes of meeting to note that no negative comments were received and the same was cross checked with the information obtained during follow up interviews with the stakeholders.

Thus, Assessment team is of the opinion that the stakeholder meeting was adequate and appropriate.

The project activity is a GS VER project and therefore PD was required to conduct a Stakeholder Feedback Round (SFR) covering the issues (if any) related to the project activity. A local stakeholder meet was held on 29/07/2021. The sample of the email invitation is shared which is also checked by the assessment team and found correct. Following observations are made by the VVB:

- Different representative of stakeholders like local villagers, head of panchayat, NGOs, PP employees were invited for their comments via emails during stakeholder’s feedback round.

- No negative comments were received during the period starting from 18/05/2020 to 17/07/2020 and local stakeholders were very satisfied with the project activity implementation and operation in their area.

Principle 4: Demonstration of real outcomes

The Sustainable monitoring plan is described below:

| SDG Parameter | Indicator | Monitoring |
| --- | --- | --- |
| SDG 7 : Affordable and Clean Energy | Quantity of net electricity delivered by the project plant/unit in year y in MWh | The available parameter to Project Developer is net electricity supplied to grid and same is mentioned as monitoring parameter. The net electricity generation is calculated based on Export, import values from the meters connected at the sub-station. The Net electricity is thus calculated based on the values of export and import for the particular billing month. Quantity of net electricity supplied to the grid will be cross checked from the invoices raised by the project proponent. The energy meters used are tri-vector meters which are of accuracy class 0.2. The calculation of net electricity supplied to grid is under purview of state electricity board and Project owner do not have control on it. The onsite practice is thus acceptable to the assessment team as the same is as per the requirement of the approved methodology. |
| SDG 8: Decent Work and Economic Growth | Quantitative employment and income generation | Project participant have documentation pertaining to employment, attendance register and documentary details of training/capacity building. Assessment team also checked the salary slips, attendance register and confirms that due to project activity, people are getting more than minimum wages as a salary and this salary is better than local level salary. Based on the roles and responsibility of employee, the salary will be higher than the minimum salary of the region and hence the parameter monitoring is acceptable to the assessment team. |
| SDG 8: Decent Work and Economic Growth | Quality of employment | The training records are maintained on regular basis with annual consolidation. Assessment team checked that at least 15 people/ year are expected to be employed at site during crediting period. The employment opportunities generated are local or temporary or permanent as checked and confirmed by the assessment team. The training related to O&M, Safety, emergency procedure, fire safety etc. are provided to employees. Since local people are employed due to project activity, the training given to employees improves the quality of employment. As the parameter is subjected to monitoring the same will be checked during the verification of the project activity. The skilled worker and unskilled worker classification depends on the project needs. The skilled worker for a solar PV implementation is required for operating the plant and maintaining the plant. The unskilled worker will be used for day-to day basis for loading and unloading and sweeping activities. The wage rates can be referred from the Indian labor act Labor bureau, Government of India notifications It will be ensured that safe working condition and safety equipment’s has been provided for all skilled and unskilled Labour. It will be checked during verification through site visit observations and interview with people if noise level is maintained within permissible limit. Safety equipment to be provided to workers both skilled and unskilled will be checked during the verification of the project activity. Assessment team however checked the same is already provided to the workers as part of companies CSR (EHS) policy. |
| SDG 13: Climate Action | Emission Reductions | The emission reduction calculation will be done as per the formula mentioned in the GS4GG PDD. As the parameter is subjected to monitoring the same will be checked during the verification of the project activity. |

Transmission line effect: The project activity is exporting the generated electricity to grid. The EPC contractor and state electricity board is responsible for the construction of transmission line. They are following safety guidelines while construction of transmission lines. The project proponent does not have any role in the construction of transmission lines. The standard procedures are followed at site while commissioning the transmission lines.

Principle 5: Financial Additionality & Ongoing Financial Need

As the project is large scale Solar PV project, additionality demonstrated by PP in GS4GG PDD assessed and validated as below:

During conceptualization of the project activity, board of directors of the project proponents considered the Carbon revenue to improve the project financials. During the board meeting of Mahindra Susten Private Limited on 15/05/2019, the board of Directors decided that they would consider going ahead for the project activity. Letter of Intent from Solar Energy Corporation of India Limited (SECI) was received on 16/09/2019.

In the above background Assessment team concludes that the additionality justification regarding the serious CDM consideration given by the project developer is in accordance with the requirements derived from CDM Validation and Verification Standard version 03.0 for the project activity.

GS4GG PDD mentioned that the project would not be economically or financially feasible without the revenue from the sale of carbon revenue. The claim of the project developer has been assessed by the Assessment team through the following steps as per the requirement of “Tool for the demonstration and assessment of additionality”, Version 07.0.0:

Step 0: Demonstration whether the proposed project activity is the first-of-its-kind

The proposed project activity is not the first-of-its-kind. Hence, not applicable.

Step 1: Identification of alternatives to the project activity consistent with current laws and regulations

As per the applied methodology ACM0002 version 20.0; Para 22, if the project activity is the installation of a Greenfield power plant, the baseline scenario is electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid connected power plant and by the addition of new generation sources.

As the baseline scenario is prescribed by applied methodology, hence no further analysis is carried out to identify alternatives.

Step 2: Investment analysis

As per para 29 of “Tool for the demonstration and assessment of additionality” version 7.0.0, it is determined that the proposed project activity is not an economically or financially feasible option.

To conduct the investment analysis, Methodological tool: Investment analysis, version 8 (EB 97 annex 08) has been referred.

Sub-step 2a: Determine appropriate analysis method and Sub-step 2b (Option III): Apply benchmark analysis

As per para 29 of “Tool for the demonstration and assessment of additionality” (version 07.0.0), for financial analysis of the project, the following three options are available:

Option I: Simple Cost Analysis

Option II: Investment Comparison Analysis

Option III: Benchmark Analysis

The project will generate revenues from sale of electricity; therefore, Option I is not applicable. Option II also does not apply since there is no comparable investment alternative available to the project participant. In line with the para 32 of the Tool the most appropriate financial analysis method is therefore option III: the benchmark analysis, where the returns on investment in the project activity are compared to benchmark returns that are available to any investors in the country.

VVB checked that a. the time of decision made of project activity, Version 10 of methodological tool "Investment Analysis" was the latest available tool to the PD. PD has used methodological tool for Investment Analysis version 10 (EB 105, Annex 06) as it is the only valid tool at the time of GS4GG PDD preparation. The default value as mentioned in the EB 105, Annex 06 is 10.24% for group 1 project in India. Hence, PD has considered the same tool for default value of return on equity.

Default Value Benchmark

The cost of equity is determined by selecting the values provided in the Appendix, i.e., Default values for cost of equity (expected return on equity) is presented below:

Appendix in EB 105, Annex 06 specifies default value of expected return on equity in real terms for Energy Industries (Group 1) in India = 10.24 %

The Required return on equity (benchmark) was computed in the following manner:

Nominal Benchmark = {(1+Real Benchmark)*(1+Inflation rate)}-1

Where:

- Default value for Real Benchmark = 10.24 %

- Inflation Rate forecast RBI for 10 years (RBI Inflation forecast)

Benchmark estimation

The Cost of Equity has been considered using the “Methodological tool: Investment analysis” available at the time of decision making as well as the latest available value. As a conservative approach, the minimum value of benchmark has been considered as calculated using these 2 approaches.

Appendix  in EB 105, Annex 06  specifies default value of expected return on equity in real terms for Energy Industries (Group 1) in India = 10.24%

Inflation Forecast for India as per RBI:

| Project Developer’s Name | Inflation Forecast |  | Benchmark |  |
| --- | --- | --- | --- | --- |
|  | 5 Years | 10 Years | 5 Years | 10 Years |
| Mahindra Susten Private Limited. | 4.50% | 4.50% | 15.20% | 15.20% |

As a conservative approach, benchmark of 15.20% has been selected for this project activity which is assessed to be the appropriate.

Cross checking parameters:

| Name of the parameter | DOE assessment |
| --- | --- |
| Project Cost | The Project cost has been considered from DPR and was available at the time decision made for the project activity. IRR value as per the assumptions from the DPR is as below: Name of the Investor/Owner/ SPVs; Project Cost (In Million); IRR; Benchmark; Variation required to reach benchmark. Mahindra Susten Private Limited; 9,414.00; 8.56%; 15.20%; -22.20%. The project was commissioned on 14/10/2021. Then VVB has verified the actual cost of the project from Loan sanction letter. The project cost is in loan sanction letter is = 9,414.00 million So, the VVB has also checked the Project Cost using Values from Loan Sanction letter and found that IRR values is within threshold limit. Thus, the project activity is still additional. |
| O&M cost and Escalation in the operational expense = 5 % from third year onwards | The O&M cost and its escalation has been considered from DPR and was available at the time decision made for the project activity. IRR value as per the assumptions from the DPR is as below: Name of the Investor/Owner/SPVs; O&M (In Million); IRR; Benchmark; Variation required to reach benchmark. Mahindra Susten Private Limited; 50; 8.56%; 15.20%; -385.60%. Even after consideration of O&M cost as zero, the project activity is additional. Hence probability of breaching the benchmark is ruled out and it can be concluded that project is additional and acceptable to VVB. Based on sectoral scope expertise and local knowledge, the project O&M cost and its escalation considered as per DPR for the proposed project activity is found to be appropriate for projects. |
| Tariff | The Tariff rate has been considered from DPR which was available at the time decision made for the project activity. IRR value as per the assumptions from the DPR is as below: Name of the Investor/Owner/SPVs; Tariff Rate; IRR; Benchmark; Variation required to reach benchmark. Mahindra Susten Private Limited; 2.50; 8.56%; 15.20%; 26.65%. VVB has cross checked Tariff Rate from LOI and Power Purchase Agreement, found there are no changes in tariff rate since the project was allotted through reverse bidding at the lowest bid. VVB found there will not be any changes in tariff rate in future as contract (PPA) has been signed for 25 years between SECI and Mahindra Sustain Private Limited and the project activity is additional with actual Tariff rate. |
| PLF | The PLF has been taken from the DPR which is in line with Para 3 (b) Annex 11, EB 48 and acceptable to the assessment team. Assessment team assessed the DPR and found that PLF estimation value as per report has been used in the financials and the emission reduction calculation. PLF estimation value has been checked and found that PLF considered for the project activity in within the range of sensitivity analysis and found to be appropriate. IRR for PLF value as per Annex 11 EB 48 Name of the Investor/Owner/SPVs; Average PLF (%); IRR; Benchmark; Variation required to reach benchmark. Mahindra Susten Private Limited; 26.19 %; 8.56%; 15.20%; 26.65%. It is observed that ariation of more than 10% shall be ruled out for PLF. However, VVB has checked that to reach the benchmark the PLF should be 33.17% (such high PLF is not feasible) which required 26.65 % variation in PLF. Hence probability of breaching the benchmark is ruled out and it can be concluded that project is additional and acceptable to VVB. Name of the Investor/Owner/SPVs; Average PLF (%); Average PLF to reach benchmark; Variation. Mahindra Susten Private Limited; 26.19 %; 33.17%; 26.65%. Based on sectoral scope expert and local knowledge, the project PLF considered as per DPR for the proposed project activity is found to be appropriate for solar projects. |
| Tax Rates | Income tax rate (%); 30.00 %. MAT (Minimum Alternate tax) (%); 18.50 %. Surcharge (%); 12.00 %. Health & Education Cess (%); 4 %. The above table shows the tax rate considered for individual project Owner and the same is found suitable. Assessment team noted that the project developer has adopted book depreciation rates as per Schedule XIV of the Companies Act, 1956 for computing book profit and Income Tax Act 1961 stipulated for income tax calculation, which are in conformity with the accepted accounting principles adopted by the company and income tax laws in the host country i.e. India. Tax liability has been calculated as per the income tax rules and the rulings given. In computing the income tax liability, the project developers have considered Tax holiday (u/s 80IA of the Income Tax Act, 1961). The tax rates assumed corresponds to the tax rate prevailing at the time of taking decision. Hence, these assumptions are appropriate during decision making context and thus acceptable to the assessment team. No further assessment is required as the Values are directly procured from Income Tax Act, 1961 which is standard guideline for Tax value in India. |

Assessment team also confirmed the breaching values for individual parameters and thus confirms that the project is still additional.

| Name of the Investor/Owner/SPVs | Project Cost as per DPR | Project Cost as per loan sanction letter | Variation in Project Cost | Breaching Value |
| --- | --- | --- | --- | --- |
| Mahindra Susten Private Limited | 9,414.00 million INR | 8852.30 million INR | 22.20% | 7324.09 million INR |
|  | O&M Cost as per DPR |  | Variation in O&M Cost | Breaching Value |
|  | 50 million INR |  | -385.60% | < 0 INR |
|  | Tariff Rate as per DPR | Actual Tariff Rate | Variation in Tariff Rate | Breaching Value |
|  | 2.5 INR | 2.5 INR | 0% | 3.16 INR |
|  | Average PLF (%) | Average PLF to reach benchmark | Variation |  |
|  | 26.19 % | 33.16% | 26.65% |  |

Common Practice analysis:

The common practice analysis is proved by following points as per the requirement of Methodological tool “Common Practice”/5/, version 3.1 EB84, Annex 7:

The step wise approach to provide common practice analysis as per the guideline is as follows:

Step (1): Calculate applicable capacity or output range as +/-50% of the total design capacity or output of the proposed project activity.

| Range | Capacity | Unit |
| --- | --- | --- |
| +50% | 300 | MW |
| Capacity of the proposed project activity | 200 | MW |
| -50% | 100 | MW |

Since the project activity is 200 MW, the output range of +/- 50% has been considered as 300 MW (Higher range for comparison) to 100 MW (Lower range for Comparison) which is assessed to be correct.

Step (2): Identify similar projects (both CDM and non-CDM) which fulfil all of the following conditions:

(a) The projects are located in the applicable geographical area;

(b) The projects apply the same measure as the proposed project activity;

(c) The projects use the same energy source/fuel and feedstock as the proposed project activity, if a technology switch measure is implemented by the proposed project activity;

(d) The plants in which the projects are implemented produce goods or services with comparable quality, properties and applications areas (e.g. clinker) as the proposed project plant;

(e) The capacity or output of the projects is within the applicable capacity or output range calculated in Step 1;

(f) The projects started commercial operation before the project design document is published for global stakeholder consultation or before the start date of proposed project activity, whichever is earlier for the proposed project activity.

Identification of the similar projects (CDM and non-CDM) is carried out as per sub-steps of Step (2) as follows:

a) Assessment team noted that as the project is located in Rajasthan state of India, therefore, projects in the geographical area of Rajasthan state have been chosen for analysis. Each state has different policies regarding renewable energy, hence a state is considered as geographical region for common practice analysis. The applied geographical area is acceptable to the assessment team.

b) Assessment team noted that the project activity is a green-field solar power project and uses measure (b) “Switch of technology with or without change of energy source including energy efficiency improvement as well as use of renewable energies”. Therefore, projects applying same measure (b) are candidates for similar projects.

c) Assessment team confirms during the remote audit that the energy source used by the project activity is solar. Hence, only solar energy projects have been considered for analysis.

d) Assessment team confirms during the remote audit that the project activity produces electricity; therefore, all power plants that produce electricity are candidates for similar projects.

e) Since the project activity is 200 MW, the output range of +/- 50% has been considered as 30 MW (Higher range for comparison) to 100 MW (Lower range for Comparison) which is assessed to be correct.

f) The start date of the project activity is 03/06/2020. The projects which have started commercial operation till PDD Preparation Date have been considered for analysis.

VVB checked the project status from State wise commissioning status of grid connected Solar Power Projects through report published by MNRE/CEA (Central Electricity Authority)

Numbers of Similar projects identified, which fulfil above-mentioned conditioned are

Nsolar=2

Step (3): Within the projects identified in Step 2, identify those that are neither registered CDM/GS project activities, project activities submitted for registration, nor project activities undergoing validation. Note their number Nall.

As per the requirement of step 3, CDM project activities, which have got registered or are under validation, have been excluded in this step. The source of check for the same is cdm.unfccc.int

Nall = 2

Step (4):  Within similar projects identified in Step 3, identify those that apply technologies that are different to the technology applied in the proposed project activity. Note their number Ndiff.

As per the tool on Common Practice, the project activities have been separated from the different technologies on the basis two criteria:

1. Size of Installation – Since project activity is large scale project, small and micro scale projects are considered as different technology project. Based on this criterion, there are no any different technology project out of similar identified projects.

2. Investment climate on the date of the investment decision – For proposed project activity, there are no any different technology project considered out of similar identified projects.

Hence, projects where either of the conditions is satisfied those projects are counted for calculating Ndiff projects.

Ndiff =0

Step (5): Calculate factor F = 1-Ndiff/Nall representing the share of similar projects (penetration rate of the measure/technology) using a measure/technology similar to the measure/technology used in the proposed project activity that deliver the same output or capacity as the proposed project activity.

Calculate     F=1-Ndiff/Nall

F = 1- (0/2) = 0

As per methodological tool “common practice” version 03.1, the proposed project activity is a “common practice” within a sector in the applicable geographical area if the factor F is greater than 0.2 and Nall - Ndiff is less than 3.

Thus, if both conditions are fulfilled, then project activity will be a common practice otherwise, the project activity is treated as not a common practice.

Outcome of Common Practice analysis:

i. F = 1; is greater than 0.2

ii. Nall - Ndiff = 2; is not greater than 3

Since, both the conditions are not satisfied, the project activity is not a common practice.

Thus, the proposed project activity is not a “common practice” within a sector in the applicable geographical area.

The above discussions show that solar power development is not a common practice and the project activity is not financially attractive; hence the project activity is additional. Thus, common practice analysis is acceptable to assessment team.

# Calculation algorithm and/or formula used to determine emission reductions

The GS4GG PDD of the project activity is checked by the assessment team and found that ACM0002, Version 20.0 is used which is latest version of methodology by UNFCCC. As the GS tool kit recommends the application of the latest version of the applied methodology along with the conservative argument of the approach followed. The latest version is ACM0002, Version 20.0 and VVB confirm that the project activity is in line with the latest methodology as well.

The formula used in the GS4GG PDD was used for the calculation of emission reduction and same is found to be correct. Hence emission reduction calculation at this time of validation is conservative and appropriate.

Assessment team checked that Formula used to calculate the net emission reduction for the project activity is

ERY = BEY – PEY

Where,

ERY    = Emission Reduction in tCO2/year

BEY   = Baseline emission in tCO2/year

PEY    = Project emissions in tCO2/year

Baseline Emission (BEY)

The baseline emissions are the product of electrical energy baseline EGPJ,y  expressed in MWh of electricity produced by the renewable generating unit multiplied by an emission factor.

BEy = EGPJ, y * EFgrid, CM,y

Where,

EGPJ,y  		= Total quantity of net electricity delivered to the recipient facility

EFgrid,CM,y 	= Baseline emission factor

= 0.9305 tCO2/MWh

BEY = EGPJ,y * EFgrid,CM,y

BEy = 456,103 MWh * 0.9305 = 426,964 tCO2/year (round down to nearest integer)

Since ERy = BEy (As PEy=0)

Therefore, ERy = 426,964 tCO2/year

SDG 13 Climate Actions

| Year | Baseline estimate (tCO2e) | Project estimate (tCO2e) | Net Benefit (tCO2e) |  |
| --- | --- | --- | --- | --- |
| Year 1 | 426,964 | 0 | 426,964 |  |
| Year 2 | 425,683 | 0 | 425,683 |  |
| Year 3 | 424,406 | 0 | 424,406 |  |
| Year 4 | 423,133 | 0 | 423,133 |  |
| Year 5 | 421,863 | 0 | 421,863 |  |
| Total | 21,22,049 | 0 | 21,22,049 |  |
| Total number of crediting years | 5 years |  |  |  |
| Annual average over the crediting period | 424,409 | 0 |  | 424,409 |

PD has considered degradation factor of 3% over 5 year crediting period and the average emission reductions per year are expected 426,274. The degradation factor of 3% is acceptable to the assemsent team as it takes care of project component performance decline over a period.

SDG 7: Affordable and Clean Energy

| Year | Baseline estimate (MWh) | Project estimate (MWh) | Net Benefit (MWh) |
| --- | --- | --- | --- |
| Year 1 | 0 | 426,964 | 426,964 |
| Year 2 | 0 | 425,683 | 425,683 |
| Year 3 | 0 | 424,406 | 424,406 |
| Year 4 | 0 | 423,133 | 423,133 |
| Year 5 | 0 | 421,863 | 421,863 |
| Total | 0 | 21,22,049 | 21,22,049 |
| Total no. of crediting years | 5 years |  |  |
| Annual average over the crediting period | 0 | 424,409 | 424,409 |

SDG 8: Decent Work and Economic Growth

The project leads to employment opportunities which would not have been possible in the baseline scenario. The project intends to provide employment to at least 15 persons and to provide at least 1 training per year as confirmed during interview with PP representatives during remote validation audit.

# REFERENCE

| S. No. | Document/Evidence/Reference/Web blink, Version, Date |
| --- | --- |
|  | Initial GS4GG PDD, version 01 dated 23/03/2020 Final GS4GG PDD, version 06 dated 11/09/2022 based on which the final opinion is provided. |
|  | Emission Reduction Sheet for the project activity, Version 1 dated 23/03/2020 Emission Reduction Sheet for the project activity, Version 2 dated 14/02/2022 |
|  | CDM Methodology: ACM0002, version 20.0 https://cdm.unfccc.int/methodologies/DB/XP2LKUSA61DKUQC0PIWPGWDN8ED5PG |
|  | CDM Validation &Verification Standard Version 03 |
|  | Tool to calculate the emission factor for an electricity system, Version 7.0 Tool for the demonstration and assessment of additionality, Version 07.0.0 Investment analysis tool, version 8 Common Practice tool, version 3.1 |
|  | GS4GG Requirements: Principles and Requirements, version 1.2 Stakeholder Consultation and Engagement Requirements, version 1.2 Renewable Energy Activity Requirements, version 1.4 Safeguarding Principles and Requirements, version 1.2 Covid 19 Interim measures (https://globalgoals.goldstandard.org/ru-2021-covid-19-interim-measures-update/) |
|  | Google map location of the project acitivty |
|  | Training Records of project staff at site |
|  | Declaration for non-receiving of ODA for project |
|  | Universal declaration of Human Rights: http://mha.nic.in/Human_Rights_Division |
|  | Ministry of Labor: http://labour.gov.in/upload/uploadfiles/files/footergallery_pdf/List%20ofILO%20Conventions %20Ratified%20by%20India.pdf |
|  | National Prevention of Corruption Act of Government of India: http://www.persmin.gov.in/DOPT/EmployeesCorner/Acts_Rules/PCAct/pcact.pdf |
|  | Ministry of Environment, Forest & Climate Change: http://moef.nic.in/division/environment- |
|  | Minutes of Meeting for Stakeholders’ Feedback Meeting |
|  | Emails sent to NGO, Stakeholders, villagers for stakeholder feedback round |
|  | HR employment records of the project staff on site |
|  | Developmental Impacts and Sustainable Governance Aspects of Renewable Energy Projects, MNRE Report |
|  | Declaration of no double counting dated 16/11/2021 |
|  | Detailed project report |
|  | Board resolution of Mahindra Susten Private Limited dated 25/04/2019 |
|  | Letter of Intent from SECI |
|  | Power Purchase Agreement with SECI |
|  | Module Supply Agreement with Longi Solar Technology Co. Ltd. |
|  | Commissioning certificate |
|  | Technical specifications |
|  | CSR Policy of Mahindra Susten Private Limited EHS Policy of Mahindra Susten Private Limited HR Policy of Mahindra Susten Private Limited |

# FINAL PROJECT DESIGN CERTIFICATION STATEMENT

Applus+ Certification have performed a validation of the “200 MW Solar PV Plant by Mahindra Susten in Rajasthan”. The validation was performed on the basis of UNFCCC criteria VVS version 03, Gold Standard GS4GG guideline and host country criteria, as well as criteria given to provide for consistent project operations, monitoring and reporting.

The review of the GS4GG PDD and the subsequent follow-up interviews has provided Applus+ Certification with sufficient evidence to determine the fulfillment of stated criteria. In our opinion, the project meets all relevant UNFCCC and Gold Standard requirements for the Gold Standard and all relevant host country criteria. The project will hence be recommended by Applus+ Certification for registration with the Gold Standard Registry.

By displacing fossil fuel-based electricity with electricity generated from a renewable source, the project results in reductions of CO2 emissions that are real, measurable and give long-term benefits to the mitigation of climate change. Emission reductions attributable to the project are hence additional to any that would occur in the absence of the project activity. Given that the project is implemented as designed, the project is likely to achieve the estimated amount of annual average emission reductions of 426,274 tCO2e per year.

The validation has been performed following the requirements of the latest version of the CDM VVS version 03, Gold Standard GS4GG guideline and on the basis of the contractual agreement.

In detail the conclusions can be summarized as follows:

- The project does not result in negative social, environmental and/or economic impacts.

- The project contributes to Environment, Social Development and Economic and technological development

- The project additionality is sufficiently justified in the GS4GG PDD

- The project does not result in diversion of ODA.

- Conservative assumptions were applied in the project description.

- The monitoring plan of SDG parameters is transparent and adequate.

- The project meets the stakeholder consultation requirements.

The conclusions of this report show, that the project, as it was described in the project documentation, is in line with all criteria applicable for the validation.

| Date: | 01/03/2022 |
| --- | --- |
| Lead Auditor: | Mr. Pankaj Kumar |
| Tech. Expert: | Mr. Pankaj Kumar |
| Tech. Reviewer: | Mr. Simon Shen |

Approver (Applus+ Certification VVB Technical Manager)

## Mr.Agustín Calle de Miguel

| ASSESSMENT TEAM |  |
| --- | --- |
| Lead Auditor: PANKAJ KUMAR | Technical Reviewer: SIMON SHEN |
| Signature: | Signature: |
| Approver: Mr. Agustín Calle de Miguel |  |
| Signature: |  |

Appendix 1: Corrective Action Request/Clarification Request/Forward Action Request resolution table

Table 1.	CAR from this verification

| Type: | CAR CL/CR FAR | Number: | 01 |
| --- | --- | --- | --- |
| Raised by: | Mr. Pankaj Kumar | Ref. to checklist in GS4GG PDD: | A.1, A.3, A.4, A.5, A.7, A.8 |
| Description of the audit finding |  | Date: | 21/08/2021 |
| - In KPI section, name of applied methodology not mentioned properly - In KPI section, ex ante estimates of all SDG not provided - PP requested to submit Declaration confirming that there would not be double counting of credits for any particular monitoring period. - PP shall provide the letter of award that has been issued from (SECI) government of India dated 16/09/2019, under the bidding process. - In section A.3 the technical details are mentioned however the supporting documents for technical details of the solar power project – DPR - not submitted to the assessment team. - In section A.8 India is party to “Convention on the Elimination of All Forms of Discrimination against Women”. The supporting company policies/CSR documents for the same is not submitted to the assessment team. - PP shall update P.O. date in sec. A.1 as expected date of P.O. mentioned passed already - As project is in planning stage, PP shall provide implementation schedule - Date of PPA mentioned in sec. A.1 as 16/09/2020. PP shall provide the copy of PPA - PP shall refer latest version of “Renewable energy requirements of GS4GG, Ver. 1.4” to demonstrate eligibility of the proposed project under GS4GG - In sec. A.1.1, few sections are highlighted in yellow. PP shall clarify |  |  |  |
| Project Participant’s response |  | Date: | 06/11/2021 |
| - The methodology has been properly renamed as ACM0002, Version 20.0: Grid-connected electricity generation from renewable sources in the revised PDD, submitted herewith. - The ex-ante estimates of SDG7 and SDG13 have been added in the revised PDD; submitted herewith. - The declaration confirming that there would be no double counting of credits for any monitoring period is submitted herewith. - The required Letter of Intent issued from SECI dated 16/09/2019 is submitted herewith. - The DPR is submitted to the assessment team along with this submission. - The CSR policy & HSE policy of Mahindra Susten is submitted herewith. In its CSR policy, under Annexure-I, Mahindra Susten Private Limited is focussed at “Promoting gender equality, empowering women, setting up homes and hostels for women and orphans; setting up old age homes, day care centres and such other facilities for senior citizens and measures for reducing inequalities faced by socially & economically backward groups”. - The PO date has been updated in the section A.1 of the PDD - The supporting documents for implementation schedule like: PPA, technical due diligence has been submitted to the assessment team. - As per the PPA, under Article 2.1.1, the effective date of the PPA is 16/10/2019. The same has been amended in the section A.1 in the revised version of the PDD. The PPA is hereby submitted. - As per the latest version of “Renewable energy requirements of GS4GG, Ver. 1.4”, the eligibility criteria have been updated by including the relevant points under “Suppressed Demand” and “Stacking” in the v4 of the PDD. - The highlighted portions of the PDD version 3.0 had no particular significance. The revised PDD version 4.0 does not contain any highlighted portions. |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |
| - Revised PDD- v4.0 - Declaration of No-double counting - Letter of Intent from SECI - DPR - EPC Contract - Implementation schedule - PPA - Technical Due diligence |  |  |  |
| Auditor’s assessment comment |  | Date: | 05/02/2022 |
| - KPI section of revised PDD now correctly mentions the name of applied methodology which is checked and accepted. This part of CL is closed. - KPI section of revised PDD now mentions ex ante estimates of all SDGs which is checked and accepted. This part of CL is closed. - PP has submitted Declaration dated 16/11/2021 confirming that there would not be double counting of credits for any particular monitoring period which is checked and found appropriate. This part of CL is closed. - PP has submitted letter of award dated 16/09/2019 issued from (SECI) government of India which confirms that PP has allowed to build 200 MW Solar project at Bikaner which is checked and confirmed. This part of CL is closed. - PP has submitted Detailed Project Report and technical details mentioned in the section A.3 were cross checked with the same and confirmed. This part of CL is closed. - Submitted CSR policy & HSE policy of Mahindra Susten Private Limited was checked to confirm that the PP abides by “Convention on the Elimination of All Forms of Discrimination against Women”. This part of CL is closed. - PP has yet not commissioned the plant and hence commissioning date is now updated as 1/03/202 which is found appropriate. This part of CL is closed. - PP has submitted agreement with SECI, PPA with SEC, technical due diligence etc. which were checked to confirm that the project is in operational stage. This part of CL is closed. - PP has submitted PPA and section 2.1.1 of the document mentions effective date of PPA as 16/10/2019. PP has revised date mentioned in section A.1 in line with this date which is checked and appropriate. This part of CL is closed. - PP has now revised PDD in line with the latest version of “Renewable energy requirements of GS4GG, Version 1.4” to demonstrate eligibility of the proposed project under GS4GG mentioning all the concerned eligibility criteria which is found appropriate. This part of CL is closed. - PP has revised PDD to remove highlight in yellow as same has no significance which is checked and accepted. This part of CL is closed. CL 01 is closed. |  |  |  |

| Type: | CAR CL/CR FAR |  | Number: |  | 01 |
| --- | --- | --- | --- | --- | --- |
| Raised by: | Mr. Pankaj Kumar |  | Ref. to checklist in GS4GG PDD: |  | B.1, B.4, B.6.1, B.6.2, B.6.4, B.6.5 |
| Description of the audit finding |  |  | Date: |  | 21/08/2021 |
| - The supporting documents to the indicator mentioned relevant to SDGs are missing. Corrective action is sought for the same. - In section B.1 of PDD ver. 03, the weblink provided to check the “Tool for the demonstration and assessment additionality” is not functional. Hence, PP is requested to provide functional weblink. - PP shall provide the weblink of EB 105, Annex 6 for emission benchmark in PDD ver.03. - PP is requested to provide all input parameters that are used to calculate equity IRR in section B.5, along with the sensitivity analysis along with IRR and benchmark calculation sheet. - PP has not referred latest version of CEA database for calculation emission factor. PP shall provide latest updated ER sheet and make corresponding changes in all the relevant sections of the PDD. ER sheet shall also include summary of SDG estimates - PP shall also provide copy of Board resolution and DPR which was the basis for input parameters for investment analysis - PP shall provide supporting evidences/ references for common practice analysis conducted. - In sec. B.5.1, update start date for prior consideration |  |  |  |  |  |
| Project Participant’s response |  |  | Date: |  | 06/11/2022 |
| - The supporting documents for SDGs 8 (Eg. Training document, Details of Employment & Pay Slip) have been submitted herewith for assessment. - The correct weblink has been provided in B.1 section for “Tool for the demonstration and assessment additionality”. The link has also been provided below - The weblink of EB 105, Annex 06 has been added as a footnote under sub-step 2d in B.5 section. The link is also provided herewith. - The PDD has been revised to include all the input parameters that are used to calculate equity IRR in section B.5. The revised PDD v4.0 is submitted herewith. - The latest version of CEA database- version 16.0 has been referred in the latest version of the PDD. The ER sheet has been accordingly updated and the corresponding changes in the PDD have been incorporated. The revised ER sheet and the PDD is submitted herewith. The revised PDD has also been updated with the summary of the SDG estimates. - The copy of the Board Resolution and DPR is has been submitted to the assessment team. - The common practice analysis sheet is submitted herewith along with the included references. - As per rule update by Gold Standard dated 22/01/2015, “In order to be eligible under Gold Standard a retroactive project must submit the required documents to Gold Standard (time of first submission) within one year of its start date”. Start date of the project activity is 31/03/2020. The GS documents were uploaded on the SustainCert on 17/01/2020. Thus, all GS documents were submitted to GS within 1 year of project start date. |  |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |  |
| - Training Details - Employee Details - Board Resolution - Calculation sheet for common practice analysis sheet - PDD |  |  |  |  |  |
| Auditor’s assessment comment |  |  | Date: |  | 05/02/2022 |
| - PP has submitted Training document, Employment records & Pay Slips. The documents were checked to confirm that regular training are imparted to the employees, full time as well as part time employment is present at the site location and employees are paid more than the minimum wages on a timely manner. This part of CAR is closed. - PP has now provided correct weblink in section B.1 for “Tool for the demonstration and assessment additionality” which is checked and accepted. This part of CAR is closed. - The weblink for EB 105, Annex 6 provided in section B.5 is not accessible. Corrective action sought. This part of CAR is OPEN. - PP has now provided all input parameters that are used to calculate equity IRR in section B.5, along with the sensitivity analysis and IRR calculation sheet. These documents were checked to confirm that the project is additional. This part of CAR is closed. - PP has now revised PDD for reference of the latest version of CEA database for calculation emission factor. However, for parameter EFBm,y the reference provided is incorrect. Moreover, section B.6.1, step 1 mentions, ‘Keeping this into consideration, the Central Electricity Authority (CEA), Government of India has divided the Indian Power Sector into five regional grids viz. Northern, Eastern, Western, North-eastern and Southern. However, all the 5 zones have been synchronized and called as Indian Grid.’ PP shall clarify this sentence. The source of CEA database version in section B.6.1, step 3 table: Share of Must-Run (Hydro/Nuclear) (% of Net Generation) is unclear to the assessment team. This part of CAR is OPEN. - PP has provided copy of Board resolution which confirms seriousness of the PP to go ahead with the project and Detailed Project Report (DPR) was checked to confirm the basis for input parameters used for investment analysis and were found correct. This part of CAR is closed. - PP has provided supporting evidences/ references for common practice analysis conducted. However, PP shall clarify in line with paragraph 9 of tool 24 ‘justification on the essential distinction between the identified specific geographical area and rest of the host country’ as the host country is not selected as specific geographical area. This part of CAR is OPEN. - PP has revised start date of the project activity as 30/04/2020 in section B.5.1 of the revised PDD. In the response, start date is mentioned as 31/03/2020. PP shall clarify on the same. This part of CAR is OPEN. CAR is OPEN |  |  |  |  |  |
| Project Participant’s response |  | Date: |  | 07/02/2022 |  |
| Response 3: The weblink for Investment analysis EB 105 Annex 6 has been updated in the revised PDD. The Revised PDD Version 5.0 shall be submitted to the assessment team. Response 5: The EFBM,y reference has been taken as per latest version of CEA database. For the same web link has been updated. The Indian Power system for planning and operational purposes is divided into five regional grids. The integration of regional grids, and thereby establishment of National Grid, was conceptualised in early nineties. On 31st December 2013, all regional grids had been integrated and were operating in synchronous mode, i.e., at same frequency, hence forming one unified Indian Grid thereby achieving 'ONE NATION'-'ONE GRID'-'ONE FREQUENCY'. (Source: PowerGrid https://www.powergrid.in/one-nation-one-grid). Hence PP has mentioned in this reference the statement “all the 5 zones have been synchronized and called as Indian Grid”. Hence, unified Indian Grid is the relevant electricity system for the purpose of estimating Grid Emission Factor. Section B.6.1, step 3 table has been updated now in the revised PDD. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. Response 7: The project activity is located in the state of Rajasthan in India and the policy applicable for the Solar power projects is regulated by SECI of the respective state. The policies/tariff for each state is regulated by State Electricity Regulatory Commissions of respective states and they differ for respective states. The project implemented in different states are claimed as different since the policies and regulations differ in each state. Hence, Rajasthan state is considered as Geographical area for the project activity. Response 8: The Start date is 03/06/2020 which is as per the date of Module Supply signed Agreement between Longi Solar Technology Co. Ltd. and Mahindra Susten Pvt. Ltd. The same has been updated in the revised PDD. As per rule update by Gold Standard dated 22/01/2015, “In order to be eligible under Gold Standard a retroactive project must submit the required documents to Gold Standard (time of first submission) within one year of its start date”. Start date of the project activity; 03/06/2020. Listing Date; 17/01/2020. |
| Documentation provided as evidence by Project Participant |  |  |  |  |  |
| - PDD Ver-05 2. Module Supply signed Agreement |  |  |  |  |  |
| Auditor’s assessment comment |  | Date: |  | 11/02/2022 |  |
| Assessment for point 3: PP has revised the weblink for EB 105, Annex 6 provided in section B.5 which is checked and found appropriate. Hence this part of CAR is closed. Assessment for point 5: PP has now added more information which provided clarity on selection of Indian Grid as the relevant electricity system which is correct. PP has now revised table in section B.6.1 step 3 in line with CEA database version 16 which is appropriate and accepted. Hence this part of CAR is closed. Assessment for point 7: PP’s response for justification on the essential distinction between the identified specific geographical area and rest of the host country is accepted. VVB confirmed that each state in India has different policies applicable for the proposed Project Activity. Hence, selected geographical area is found appropriate. Hence, this part of CAR is closed. Assessment for point 8: PP has now updated start date as 03/06/2020 which is date of module supply agreement between PP and the supplier. The supportive document was checked to confirm the date and found correct. PP has updated the start date throughout the GS PDD and same is confirmed. Hence, this part of CAR is closed. CAR is closed. |  |  |  |  |  |

| Type: | CAR CL/CR FAR | Number: |  | 02 |
| --- | --- | --- | --- | --- |
| Raised by: | Mr. Pankaj Kumar | Ref. to checklist in GS4GG PDD: |  | C.1.1, C.2.1,D.2 |
| Description of the audit finding |  | Date: |  | 21/08/2021 |
| - In order to verify start date of the project (30/04/2020) of the project, PP requested to submit appropriate evidence to assessment team. - PP is requested to provide a copy of EPC agreement for Solar PV Project to the assessment team. - PP shall update the start date in sec. C.1.1 - PP shall update the start date of crediting period in sec. C.2.1 - PP shall provide copy of HR and HSE Policy of the company. - PP shall provide weblinks/ references/ Supporting documents related to compliance of of Safeguarding principles in appendix 1. - In appendix 1, PP has mentioned EIA as well as ESIA report. PP is requested to provide the copy for the same - In sec. D.2, SFR details pro vided for Kadapa, Andhra Pradesh. PP shall clarify |  |  |  |  |
| Project Participant’s response |  | Date: |  | 06/01/2022 |
| - The expected PO Date has been considered here for the start date of the project activity. For the same supporting documents will be share soon. - The EPC agreement will be share soon. - As per the definition of project start date, "It is the earliest date on which the project developer has committed to expenditures related to the implementation of the project." As it is explained in section A.1, that the project activity is at very initial stage and based on the Letter of Award from government further course action has been planned. So, this is an expected equipment PO Date. However, actual PO date will be updated in due course of validation. - Basis the commissioning certificate, the start date of the crediting period has been updated in section C.2.1 in the revised version of the PDD. - The HR and HSE policies of Mahindra Susten is submitted herewith. - All supporting Weblink has been mentioned in the PDD. For the same the supporting documents as mentioned as follows : - (Safeguarding Principles 3.4.1) Sites of cultural and historical heritage: The local administration, Village Head: Sarpanch was invited as an expert during the Stakeholders Feedback Round conducted on 28th July 2020 . The pre-project scenario of the site had been discussed and was confirmed that no cultural and historical heritage was present nearby or on the site. - (Safeguarding Principles 3.4.2) Forced eviction and displacement: The local villagers and the local administration, Land Department official: Patwari of Village Lal Singh (Gramsevak), along with the Sarpanch were invited as an expert during the Stakeholders Feedback Round conducted on 28th July 2020. The pre-project scenario of the site had been discussed and was confirmed that there had been no Forced eviction and displacement due to the project at the site. Further the land mutation documents also mentioned that Land identified for the Project comprises of private land only there is no Land Acquisition & Resettlement while implementation of the project activity. - (Safeguarding Principles 3.4.3) Land Tenure and Other rights: The project proponent has all the legal, customary rights on the land. Further the land mutation documents also mentioned that Land identified for the Project comprises of private land only there is no Land Acquisition & Resettlement while implementation of the project activity. The project does not require any change to land tenure arrangements or other rights. The land records for the project have been submitted to MoEFCC as part of supporting documents for consideration of Letter of Approval. - (Safeguarding Principles 3.4.4) Indigenous peoples: The project has received the necessary approvals from the local authorities and does not lead to any resettlement. There is no Forced Eviction and Displacement at the project site. Further, the project location is quite away from the nearest residential area; thus, project activity does not have impact on Indigenous Peoples.A SFR was conducted involving various experts like Sarpanch of the Village, Patwari in the area, Principal of the local school and villages. The MoM of the SFR along with the expert comments have been attached herewith. - (Safeguarding Principles 3.6.1) Labour rights: The project respects fundamental right of employee. There is law in India since 1926 by The Trade Unions Act, 1926 http://ncw.nic.in/acts/TheTradeUnionsAct1926.pdf which protects rights of industrial trade unions and their members. The agreements are in place for permanent employees.The project prefers the local employment and culture is maintained at project site. The country has strict prohibition for child labour https://indianchild.com/child_labour_law_in_india.htm. India is a party to ILO and forced labour is illegal in India. PP and their subcontractors comply with all relevant national laws regarding child labour. India has ratified ILO “C138 – Minimum Age Conventions” and “C182 – Worst Forms of Child Labour Convention”. India have laws in place prohibiting forced and compulsory labour https://labour.gov.in/. Since Labour rights are part of the legal compliances, thus compliance to the laws have been demonstrated thus separate expert comments are not applicable. - (Safeguarding Principles 4.2.1) Impact on Natural Water Patterns/Flows: The project is a solar renewable power project thus there is no impact of water resources. The project area does not have large rivers and streams flow. Thus, it does not affect the natural or pre-existing pattern of watercourses, ground-water and/or the watershed(s). A SFR was conducted involving various experts like Sarpanch of the Village, Patwari in the area, Principal of the local school and villages. The MoM of the SFR along with the expert comments have been attached herewith. The project area does not have large rivers and streams flow. Thus, it does not affect the natural or pre-existing pattern of watercourses, ground-water and/or the watershed(s). - (Safeguarding Principles 4.2.2) Erosion and/or water body Instability:The project is a solar renewable power project thus there is no Erosion.A SFR was conducted involving various experts like Sarpanch of the Village, Patwari in the area, Principal of the local school and villages. The MoM of the SFR along with the expert comments have been attached herewith. - (Safeguarding Principles 4.3.10) High Conservation Value Areas and Critical Habitats: Being Solar project, it does not affect or alter largely intact or HCV ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified.It is confirmed that the project is not in the proximity of any critical natural heritage site on the World Heritage list which can be checked in Host country ratification of the World Heritage Convention (1977): http://whc.unesco.org/en/statespart ies/ The project has been developed with transparent communication with local communities. - PP will share the EIA/ESIA report is soon. - The location for the SFR has been updated in section D.2 in the revised PDD along with the date of the SFR. |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |
| - PPA - HR and HSE Policies - PDD |  |  |  |  |
| Auditor’s assessment comment |  | Date: |  | 05/02/2022 |
| - As per foot note 12 in the section C.1.1 of revised PDD 30/04/2020 is expected equipment PO date and as per section A.1, expected commissioning date is 31/03/2022. With expected commissioning date, in assessment team’s opinion, PP must have placed PO for the equipment. PP shall clarify. This part of CAR is OPEN. - This part of CAR will be closed post receipt of copy of EPC agreement for Solar PV Project. This part of CAR is OPEN. - PP has updated start date in sec. C.1.1 as 30/04/2020. With expected commissioning date as 31/03/2022 the start date is realistic but no supportive is provided to the assessment team. This part of CAR is OPEN. - PP’s response is unclear. Commissioning certificate is not submitted to the assessment team. The start date of crediting period in sec. C.2.1 is also not updated in the revised PDD version 04. If, PP has received commissioning certificate, PP shall provide the same along with the Purchase Order copy. This part of CAR is OPEN. - PP has provided copy of HR and HSE Policy of the company. The same were checked to confirm that the policies are as per local guidelines and are appropriate. This part of CAR is closed. - PP has revised PDD appendix 1 to provide weblinks as applicable which were checked and found appropriate. PP shall submit land ownership document, approval from MOEF&CC and FSIA as mentioned related to compliance of of Safeguarding principles in appendix 1 to the assessment team. This part of CAR is OPEN. - The copies of EIA as well as ESIA reports area awaited. This part of CAR is OPEN. - PP has revised section D.2 of revised PDD which is checked to confirm the details and found appropriate. This part of CAR is closed. CAR is open |  |  |  |  |
| Project Participant’s response |  | Date: | 07/02/2022 |  |
| Response 1: Section C.1.1 is revised with the corrected Start date as 03/06/2020 which is as per the date of Module Supply Agreement between Longi Solar Technology Co. Ltd. and Mahindra Susten Pvt. Ltd. Also project is commissioned on 14/10/2021. The same has been updated in the revised PDD. Response 2: Module Supply signed Agreement between Longi Solar Technology Co. Ltd. and Mahindra Susten Pvt. Ltd shall be provided along with this submission to the assessment team. Response 3: For the Project activity the Start date 03/06/2020 i,e. this is an Module Supply Agreement Date. Same shall be provided along with this submission to the assessment team. Response 4: The project is commissioned on 14/10/2021 and same is incorporated in the revised PDD The commissioning certificate shall be submitted. Response 6: Land ownership documents have been provided along with this submission to the assessment team. MOEF&CC and FSIA is not available as of now, nonetheless the project has Letter of Award and the award is subject to Guidelines subject to MoP/ MNRE (Government of India), also it has approval from Rajasthan Renewable Energy Corporation Limited. Response 7: EIA report for the current project activity has have been provided along with this submission to the assessment team. |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |
| - EIA Report - land ownership document - Module Supply agreement - LOA - RRECL_MSPL_Registration Certificate |  |  |  |  |
| Auditor’s assessment comment |  | Date: | 11/02/2022 |  |
| - PP has updated start date of Project Activity as 03/06/2020 and commissioning date as 14/10/2021. PP has submitted supportive documents which were checked to confirm the mentioned dates and found correct. Hence, this part of CAR is closed. - PP has submitted copy of Module Supply Agreement signed between Longi Solar Technology Co. Ltd. and Mahindra Susten Pvt. Ltd dated 30/06/2020 which is checked and found appropriate. Hence, this part of CAR is closed. - PP has updated start date of Project Activity as 03/06/2020 and commissioning date as 14/10/2021. PP has submitted supportive documents which were checked to confirm the mentioned dates and found correct. Hence, this part of CAR is closed. - PP has now submitted commissioning certificate which confirms that the Project was commissioned on 14/10/2021. Same is considered as the start date of crediting period in sec. C.2.1 of revised PDD which is appropriate. Hence this part of CAR is closed. - This part of CAR was already closed. - PP has submitted land ownership document which confirms PP’s ownership as PP has purchased the required land which is confirmed based on land deed. Copies of approval from MOEF&CC and FSIA are not available with the PP as of now however since the project has PPA with SECI, approval from local electricity board to connect to the electricity grid and commissioned the Project Activity, it is accepted that the Project must have received environmental clearance. PP has also submitted approval from Rajasthan Renewable Energy Corporation Limited. Hence, this part of CAR is closed. - The copy of EIA report is submitted to VVB which is checked to confirm that no negative impacts are observed due to proposed Project Activity and is found appropriate. Hence this part of CAR is closed. - This part of CAR was already closed. CAR is closed. |  |  |  |  |

| Type: | CAR CL/CR FAR | Number: | 03 |
| --- | --- | --- | --- |
| Raised by: | Mr. Pankaj Kumar | Ref. to checklist in GS4GG PDD: | E |
| Description of the audit finding |  | Date: | 21/08/2021 |
| - PP shall provide minutes of LSC meeting, attendance sheet, copy of public notice, invitations for LSC meeting conducted and update sec. E of the PDD - PP shall submit the copy of email circulated for the conduct of SFR. |  |  |  |
| Project Participant’s response |  | Date: |  |
| - Section E of the PDD has been updated now as per the requirement stakeholder feedback consultation round in line with GS4GG requirements. For the same supporting document documents: Attendance sheet, copy of public notice & Supporting Photographs. - The copy of the email circulated for the conduct of the SFR is submitted herewith. All the stakeholders have been invited through via public notice which were displayed to the nearby areas, also emails were sent to the global stakeholders 30 days prior to the Stakeholder Feedback Round. |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |
| - LSC minutes of meeting - LSC Attendance sheet - LSC Invitations - SFR Invitation |  |  |  |
| Auditor’s assessment comment |  | Date: | 05/02/2022 |
| - PP has revised section E.1 to include summary of stakeholder mitigation measures with respect to the meeting held on 28/07/2021. The supporting documents submitted i. e. LSC minutes of meeting, attendance sheet, public notice copy, LSC invitation and SFR invitations were checked to confirmed for their appropriateness. It is further confirmed that no negative comments were received for the Project Activity. This part of CAR is closed. - Copy of email circulated dated 18/05/2020 was checked to confirm that invitations were sent to respective stakeholders for the conduct of SFR CAR is closed. |  |  |  |

| Type: | CAR CL/CR FAR |  | Number: |  | 04 |
| --- | --- | --- | --- | --- | --- |
| Raised by: | Mr. Pankaj Kumar |  | Ref. to checklist in GS4GG PDD: |  | Misc. |
| Description of the audit finding |  |  | Date: |  | 05/02/2022 |
| - PP shall use same font, font size and font colour throughout the PDD. - PP shall mention all dates in the format: DD/MM/YYYY throughout the PDD - PP shall subscript the value as and when applicable throughout the PDD |  |  |  |  |  |
| Project Participant’s response |  |  | Date: |  | 07/02/2022 |
| Response 1: PP has followed the Verdana font as per the GS template. PP has maintained the Same font size, font colour throughout the revised version of PDD. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. Response 2: All date format in revised PPD are in DD/MM/YYYY format. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. Response 3: All relevant factor has been subscripted in the revised PDD. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. |  |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |  |
| - PDD Ver:05 |  |  |  |  |  |
| Auditor’s assessment comment |  |  | Date: |  | 11/02/2022 |
| - Revised PDD still has issues and different font usage is observed (e. g. table in section B.5, sub step 2.c, font coour in step 4 section B.6.1 etc.). PP shall re-check the submission and correct as applicable. Hence this part of CAR is OPEN. - PP shall check and correct date format in section E.1. Hence this part of CAR is OPEN. - PP has subscripted the values as and when applicable throughout the PDD which is checked and accepted. Hence, this part of CAR is closed. CAR is OPEN |  |  |  |  |  |
| Project Participant’s response |  | Date: |  | 12/02/2022 |  |
| Response 1: The PDD is checked throughout now and is revised with the Same font size, font colour throughout the revised version of PDD. Response 2: Section E.1 of PDD is revised now with the consistent date format i.e., DD/MM/YYYY. The Revised PDD is provided along with this submission to the assessment team. |  |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |  |
| Revised PDD |  |  |  |  |  |
| Auditor’s assessment comment |  | Date: |  | 14/02/2022 |  |
| - PP has maintained same font, font size and colour throughout the PDD which is checked and confirmed. Hence, this part of CAR is closed. - PP has now used consistent date format i. e. DD/MM/YYYY throughout the PDD which is checked and confirmed. Hence, this part of CAR is closed. CAR is closed. |  |  |  |  |  |

| Type: | CAR CL/CR FAR |  | Number: |  | 06 |
| --- | --- | --- | --- | --- | --- |
| Raised by: | Mr. Pankaj Kumar |  | Ref. to checklist in GS4GG PDD: |  | Misc. |
| Description of the audit finding |  |  | Date: |  | 05/02/2022 |
| - IN section A.1, - PP shall provide current status of the project under CDM mechanism - PP shall explain project boundary in reference to template filling guidelines - PP has provided table in section B.5 for the projects deemed additional which is not in line with template filling guidelines. Corrective action sought. - As per template filling guideline, information in section B.5.2 needs only be included at Design Certification Renewal. Corrective action sought. - In section B.6, - Target values mentioned for SDG 7 and SDG 13 do not match with the values in table 1 under KPI in the PDD and ER sheet. - Target value mentioned for SDG 8 does not match with the value provided in table 1 under KPI. - Title of SDG 7 in section B.6.1 is unclear and the values mentioned in for SDG 7,8 and 13 does not match with the values in table 1 under KPI in the PDD. - In section B.6.1, under SDG 13 PP has mentioned, ‘The project activity is the installation of solar projects and it is a green field project. So the formula in option (a) i.e., greenfield plants is used to calculate the value of EGPJ,y. In accordance with para 44 of the applied methodology’. Para 44 of the applied methodology – ACM0002 version 20.0 refers to retrofit or rehabilitation or replacement of an existing grid connected renewable energy power plant. - In section B.6.3, values mentioned for SDG 7 and SDG 13 does not match with the values in ER sheet. - In section B.6.4, project estimates for the electricity and emission reductions are shown decreasing over the crediting period however, the reasoning behind the same is not provided. - In section C.1.2, PP shall Specify in years and months how long the project will be active in line with template filling guidelines. - In section D.2, PP shall follow the table format in line with template filling guidelines. - IN Appendix 1, - Under principle 4.3, PP shall mention complete details for Assessment Questions/ Requirements - Principle 4.4 is missing the revised PDD |  |  |  |  |  |
| Project Participant’s response |  |  | Date: |  | 07/02/2022 |
| Response 1: - The Current project activity is not registered under CDM & any other Voluntary Carbon Credit Mechanism. However, PP corrected the same information in PDD. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. - The Project boundary has been explained in the PDD Version 5.0 and is provided along with this submission to the assessment team. Response 2: The table is deleted as the project is not auto additional to be in line with the GS template guidelines. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. Response 3: The Section is revised in line with the TEMPLATE GUIDE- v1.2 Project Design Document: Supporting Weblink: https://globalgoals.goldstandard.org/standards/TGuide-PreReview_V1.2-Project-Design-Document.pdf Response 4: - Target values for SDG 7 =454,739 MWh/Annum and for SDG 13= 424,999 tCO2/Annum. Same information has made consistent throughout the PDD. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. - PP has targeted total 15 number of persons against the SDG 8. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. Response 5: Title of SDG 7 is corrected and further SDG 7 =454,739 MWh/Annum, SDG 13= 424,999 tCO2/Annum & for SDG 8= total 15 person employed. Same information has been made consistent throughout the PDD. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. Response 6: Please be informed that the current project activity is not retrofit, or rehabilitation or replacement of an existing grid connected renewable energy power plant. However, the current project activity the greenfield & it is constructing on unused land where there is no need to remodel or demolish an existing structure. For the same section 5.5.1.1. Greenfield power plants Para 41 is applicable. Same information has been updated in the PDD. Response 7: Section B.6.3 the targeted SDGs values for SDG 7,8 & 13 are 454,739 MWh/Annum, 8 Person & SDG 13= 424,999 tCO2/Annum, respectively. Same information has been made consistent throughout out the PDD & ER sheet. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. Response 8: The degradation leads to a steady decline in the performance of the project components. However, the degraded PV module continues to perform its most important function and it can still produce electricity from sunlight. Moreover, when the degradation exceeds the critical threshold, the degradation state may cause more problems. So for the same PP has taken the 0.30% degradation factor per year. Calculations considering yearly degradation can be referred from ER sheet. Response 9: The section is revised and is in line with the PDD template guidelines. Response 10: PP has followed the Ver. 1.2. Key Project Information & Project Design Document. Section D.2 of the PDD has been updated as per the Ver. 1.2. Key Project Information & Project Design Document. https://globalgoals.goldstandard.org/standards/TGuide-PreReview_V1.2-Project-Design-Document.pdf The Revised PDD Version 5.0 is provided along with this submission to the assessment team. Response 11: - Principle 4.3 has been updated. PP has mentioned a details for Assessment - Principle 4.4 has been incorporated in the revised PDD. The Revised PDD Version 5.0 is provided along with this submission to the assessment team. |  |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |  |
| - PDD Ver 5.0 |  |  |  |  |  |
| Auditor’s assessment comment |  |  | Date: |  | 11/02/2022 |
| - IN section A.1, - PP has removed description related to the project consideration under CDM mechanism. Further, VVB checked that no such project is available in the CDM pipeline. Hence, PP response is accepted. This part of CAR is closed. - PP has now included details about project boundary iin section A.1 of revised PDD which is appropriate. Hence this part of CAR is closed. - PP has removed the said table from the revised PDD version 5 which is checked and confirmed. Hence this part of CAR is closed. - PP shall refer the guideline, it says that, information in section B.5.2 needs only be included at Design Certification Renewal. As per the submission, this is a new Project Activity. Corrective action sought. Hence this part of CAR is OPEN. - In section B.6, - PP has corrected target values mentioned for SDG 7 and SDG 13 which is checked and confirmed. - PP has corrected target value mentioned for SDG 8 which is checked and confirmed. Hence, this part of CAR is closed. - PP has corrected title of SDG 7 in section B.6.1 and the values mentioned in for SDG 7,8 and 13 which is checked and confirmed. Hence, this part of CAR is closed. - PP has now corrected the paragraph reference as para 41 in section B.6.1 of revised PDD which is correct. Hence, this part of CAR is closed. - In section B.6.3, PP has now corrected the values mentioned in for SDG 7,8 and 13 which is checked and confirmed. Hence, this part of CAR is closed. - VVB has checked the ER sheet and PP response is accepted. PP has now included this information in section B.6.4 of revised PDD which is appropriate. Hence, this part of CAR is closed. - PP has revised section C.1.2, to mention expected operational lifetime of the project as 25 years, 00 months which is correct. Hence this part of CAR is closed. - PP has revised section D.2 in line with the template filling guidelines which is appropriate. Hence, this part of CAR is closed. - In Appendix 1, - PP has revised principle 4.3 to add appropriate details which are accepted. Hence this part of CAR is closed. - PP has now added Principle 4.4 with all the details in the revised PDD which is accepted. Hence, this part of CAR is closed. NEW FINDINGS: - Title of section B.3 is incorrect - Submitted PDD mentions ‘Appendix A in EB105, Annex 6 specifies default value of expected return on equity in real terms for Energy Industries (Group 1) in India = 10.24%’. Supporting excel sheet for financial analysis in workbook ‘ default value’ mentions Default Value for India as per UNFCCC guidelines = 9.79%. Corrective action sought. - In section B.5, PP has chosen benchmark value of 15.20% as a conservative approach. However, this approach is not mentioned in the PDD. Corrective action sought. - The chosen benchmark value of 15.20% does not match with the value considered for benchmark (equity IRR) in table under sub step 2.C and financial analysis excel sheet. Corrective action sought. - Title of section C.2 is incorrect - Footnote 13 mentioned in section C.2.2 is inaccessible. As per the GS4GG guidelines, All GS4GG projects operate on a renewable 5 year cycle. PP has mentioned in section C.2.2 that ‘….(Renewable Crediting Period i.e. it will be renewed twice maximum up to 15 years i.e., 7yrs+7yrs+1yr)….’. |  |  |  |  |  |
| Project Participant’s response |  | Date: |  | 12/02/2022 |  |
| Response 3: The project is seeking Design Certification and not Design Certification Renewal hence not applicable Section is revised in line with the TEMPLATE GUIDE- v1.2 Project Design Document. - Title of section B.3 is corrected now. - The benchmark used for project is 10.24% which is as per ‘Default Value for India in Appendix of EB105, Annex 6. The value is corrected and now is consistent in the IRR & the PDD. - Section B.5, step 2.b is revised by including Inflation forecast for India by Reserve Bank of India for 5 & 10 years. The corresponding benchmark and the reference are also provided now. - The benchmark used is 10.24% which is as per ‘Default Value for India in Appendix of EB105, Annex 6 and hence the benchmark equity IRR is calculated as 15.20%. The value is consistent in the IRR & the PDD. - Title of section C.2 is corrected now - The section C.2.2 ‘Total length of crediting period’ has been revised with the correct cycle of 5 years maximum up to 15 years i.e., 5yrs+5yrs+5yrs |  |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |  |
| Revised PDD IRR sheet |  |  |  |  |  |
| Auditor’s assessment comment |  | Date: |  | 14/02/2022 |  |
| Assessment of point 3: PP has corrected section B.5.2 which is appropriate hence this part of CAR is closed. NEW FINDINGS: - PP has corrected title of section B.3 which is checked and confirmed. Hence, this part of CAR is closed. - PP has corrected benchmark value in line with ‘Appendix A in EB105, Annex 6’ as 10.24% in the excel sheet which is in line with the supporting document and same value is considered in the PDD which is confirmed. Hence, this part of CAR is closed. - PP has now revised PDD to include rationale to select benchmark value of 15.20% as a conservative approach in sub step 2.b of section 5 which is appropriate. Hence, this part of CAR is closed. - The revised PDD and corresponding financial analysis sheet was checked to confirm that the value of chosen benchmark value i. e. 15.20% is now consistent which is appropriate. Hence this part of CAR is closed. - Title of section C.2 is now showing as ‘>>25 years 00 Months Crediting period of project’ which is incorrect as per GS PDD template. Hence, this part of CAR is OPEN. - PP has revised section C.2.2 in line with the guideline. However, it is not clear what foortnote 11 refers to here. PP shall correct the same. Hence, this part of CAR is OPEN. CAR is OPEN |  |  |  |  |  |
| Project Participant’s response |  | Date: |  | 14/02/2022 |  |
| 5. Title of the complete section C has been corrected as per GS PDD template. 6. Footnote 11 was an editorial mistake, hence removed. Revised PDD is submitted. |  |  |  |  |  |
| Documentation provided as evidence by Project Participant |  |  |  |  |  |
| Revised PDD |  |  |  |  |  |
| Auditor’s assessment comment |  | Date: |  | 15/02/2022 |  |
| PP has now corrected tile of section C.2 and the footnote 11 is removed. These changes are checked and confirmed. Hence, this part of CAR is closed. CAR is closed. |  |  |  |  |  |

Appendix 2: Audit Team CVs

| Name | SHORT CV. BACKGROUND INFORMATION |
| --- | --- |
| Mr. Pankaj Kumar | Mr. Pankaj Kumar has done M. Sc in Environment Management from Forest Research Institute, Dehradun and B. Sc. (Hons.) in Environment & Water Management from Magadh University, Bihar, India. He has also done Post Graduate Diploma in Environmental Law from NLSIU, Bangalore. He has more than 12 years of working experience in GHG Assessments and has participated during his career in Agencies and DOEs like MITCON, Agrinergy, Carbon Check and is empanelled with Applus+ Certification since 2015 for the performance of CDM/VCS/GS project assessments. He has extensive experience in the Renewable, Waste Management and Energy Demand Scopes of UNFCCC CDM and has done more than 100 Validations and Verifications of PAs and PoAs as Lead Auditor, Technical Expert and Technical Reviewer, mainly in Asia, Africa, USA, Asia Pacific and Americas under CDM, Verified Carbon Standard, Gold Standard & Social Carbon Standard, Brazil. He is an experienced, qualified and result oriented Environment and climate change professional having 16 yrs. of relevant experience in Climate Change (Mitigation & Adaptation), Environmental Due Diligence, Disaster Risk Reduction, Climate finance, adaptation planning, capacity building, validation and verification of GHG project. He can also provide technical support for environmental investigative, remedial projects involving air, water and soil, Waste management, EIA, Environmental Compliance, ISO 14001, OHSAS 18001, GHG accounting (ISO 14064) and Carbon foot printing. |
| Mr. Simon Shen | Mr. Simon Shen (Master’s Degree in Thermal Energy Engineering, Bachelor’s Degree in Environmental Engineering) is an Auditor appointed by Applus+ LGAI for the GHG project assessment, auditing and technical review. He has more than 6 years of work experience in CDM/GS4GG/VCS project assessment and review with Applus+, apart from the years of experience working as GHG Auditor and ISO 9001/14001 in TUV SUD for 3.5 years before he joined Applus+. Mr. Simon Shen has extensive experience also as former Applus+ Shanghai CDM Technical Manager. |

http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v7.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf

IR (Internal Resource); EI (External Individual); OE (Outsourced Entity)

https://recregistryindia.nic.in/

https://powermin.gov.in/en/content/power-sector-glance-all-india

https://cea.nic.in/cdm-co2-baseline-database/?lang=en

http://tbinternet.ohchr.org/_layouts/TreatyBodyExternal/Treaty.aspx?CountryID=79&Lang=EN

- https://labour.gov.in/lcandilasdivision/india-ilo

- https://www.ilo.org/newdelhi/lang--en/index.htm

https://labour.gov.in/sites/default/files/SafetyHealthandEnvironmentatWorkPlace.pdf

https://labour.gov.in/sites/default/files/SafetyHealthandEnvironmentatWorkPlace.pdf

http://whc.unesco.org/en/statesparties/in

https://dolr.gov.in/sites/default/files/Right%20to%20Fair%20Compensation%20and%20Transparency%20in%20Land%20Acquisition%2C%20Rehabilitation%20and%20Resettlement%20Act%2C%202013.pdf

http://www.unodc.org/unodc/en/treaties/CAC/signatories.html

http://www.ilo.org/dyn/natlex/docs/WEBTEXT/32063/64873/E87IND01.htm

http://www.indianchild.com/child_labour_law_in_india.htm

http://chocmms.nic.in/SPCB_DOCUMENTS/Categorisation.pdf page 3

http://envfor.nic.in/legis/env/env1.html

https://smartnet.niua.org/sites/default/files/resources/report-on-developmental-impacts-of-RE.pdf

https://labour.gov.in/sites/default/files/MW%20PDF.pdf

https://www.rbi.org.in/Scripts/PublicationsView.aspx?id=16828

https://cercind.gov.in/2009/July09/Draft-Explanatory-Memorandum_Solar-Power-Projects.pdf page 9 mentions capacity utilisation factor variation from 15% to 25 % based on SPV (thin film or crystalline) technology and normative Capacity Utilisation factor of 19% has been proposed in case of grid connected Solar PV based power projects.

http://www.cbip.org/regulationsdata/Rajasthan/March2019/RJ%20Solar%20Wind%20Tariff/RJ%20Tariff%20(Solar&Wind)%20Summary.pdf (Terms and Conditions for Determination of Tariff for Renewable Energy Sources -Wind and Solar Energy) Regulations, 2014 Dated: 24-02-2014 with amendments Dated 18-03-2015, March, 2019 by Rajasthan Electricity Regulatory Commisison considers PLF as 20% for tariff determination with tariff periodo f 25 years

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-24-v1.pdf

MNRE, Details of State Wise Commissioned Gird Connected Solar Power Projects in Rajasthan

http://cea.nic.in/reports/others/planning/rpm/Plant-wise%20details%20of%20RE%20Installed%20Capacity-merged.pdf