Monitoring Report

###### PUBLICATION DATE  14.10.2020
VERSION  v. 1.1 
RELATED SUPPORT - TEMPLATE GUIDE Monitoring Report v. 1.1

This document contains the following Sections

Key Project Information

0 - Description of project

0 - Implementation of project

0 - Description of monitoring system applied by the project

0 - Data and parameters

0 - Calculation of SDG Impacts

0 - Safeguards Reporting

0 - Stakeholder inputs and legal disputes

##### Key Project Information

| GS ID (s) of Project (s) | GS 7664 |
| --- | --- |
| Title of the project (s) covered by monitoring report | 250 MW Solar PV Plant by Mahindra Renewables in Rajasthan |
| Version number of the PDD/VPA-DD (s) applicable to this monitoring report | 08 |
| Version number of the monitoring report | 04 |
| Completion date of the monitoring report | 01/11/2023 |
| Date of project design certification | 26/05/2022 |
| Date of Last Annual Report | NA |
| Monitoring period number | 01 |
| Duration of this monitoring period | 14/05/2021 to 31/12/2022(inclusive of both days) |
| Project Representative | EKI Energy Services Limited |
| Host Country | India |
| Activity Requirements applied | Community Services Activities Renewable Energy Activities Land Use and Forestry Activities/Risks & Capacities N/A |
| Methodology (ies) applied and version number | ACM0002: Grid-connected electricity generation from renewable sources - Version 20.0 |
| Product Requirements applied | GHG Emissions Reduction & Sequestration Renewable Energy Label N/A |

##### Table 1 - Sustainable Development Contributions Achieved

| Sustainable Development Goals Targeted | SDG Impact | Amount Achieved | Units/ Products |
| --- | --- | --- | --- |
| SDG 7 – Affordable and Clean Energy: Ensure access to affordable, reliable, sustainable and modern energy for all | MWh of renewable energy generated | 932,083.61 | MWh |
| SDG 8 – Descent Work and Economic Growth: Promote inclusive and sustainable economic growth, employment and decent work for all | Trainings | 66 | No of Training |
| SDG 8 – Descent Work and Economic Growth: Promote inclusive and sustainable economic growth, employment and decent work for all | Employees | 37 | No of Employees |
| SDG 8 – Descent Work and Economic Growth: Promote inclusive and sustainable economic growth, employment and decent work for all | Income (INR) | The income (INR 477/day) to all the unskilled workers are made on day-to-day basis in line with minimum wage requirements. | INR |
| 13 Climate Action : Take urgent action to combat climate change and its impacts | Emission Reduction | 867,303 | tCO2 (GS VERs) |

##### Table 2 – Product Vintages

|  |  | Amount Achieved |
| --- | --- | --- |
| Start Dates | End Dates | VERs |
| 14/05/2021 | 31/12/2021 | 287,677 |
| 01/01/2022 | 31/12/2022 | 579,626 |

#### SECTION A. DESCRIPTION OF PROJECT

##### A.1. General description of project

>>The main purpose of the project activity is to generate electrical energy through sustainable means using solar power resources, the generated green electricity is contributing to climate change mitigation efforts. This project activity is a large-scale solar project of capacity 250 MW. Mahindra Renewables Private Limited is the project investors for this project activity. The project is producing 932,083.61 MWh of electricity, thereby displacing grid power that is reducing   867,303 tCO2.

The project activity is the installation of a new grid-connected renewable power plant/unit and it is not registered under any carbon –credit mechanisms.

The details of the project are mentioned in the table:

| Project Investors’ Name | Capacity in MW | Village/District | State |
| --- | --- | --- | --- |
| Mahindra Renewables Private Limited | 250 MW | Bhiv Ji ka Gaon, Bap, Jodhpur | Rajasthan |

| Commissioning dates |  |
| --- | --- |
| 100 MW | 14/05/2021 |
| 60 MW | 08/06/2021 |
| 50 MW | 24/07/2021 |
| 40 MW | 17/08/2021 |

Scenario existing prior to the implementation of the project activity

As the project activity is the installation of a new grid-connected renewable power plant/unit. The scenario existing prior to the implementation of project activity is Electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in the “Tool 07-Tool to calculate the emission factor for an electricity system” (Version 7.0, EB 100 annex 4).

Project Boundary

The Project activity is located at Jodhpur district in Rajasthan. Hence the project boundary includes the Solar Project activity, sub-station, grid and all power plants connected to grid.

##### A.2. Location of project

>> The project activity is located at Jodhpur district in Rajasthan. A pictorial representation of the location of the project activity on the map of India is provided as follows:

| Project location | Geo-Coordinate |
| --- | --- |
| Village: Bhiv Ji ka Gaon, Bap District: Jodhpur State: Rajasthan, India Host Country: India | Latitude: 27°22'48.24"N, Longitude: 72°12'9.33"E |

##### A.3. Reference of applied methodology

>> Title of Methodology	: Grid-connected electricity generation from renewable sources.

References of Methodology	: Approved Large Scale Consolidated Methodology: ACM0002 “Grid-connected electricity generation from renewable sources” Version 20.0

https://cdm.unfccc.int/methodologies/DB/XP2LKUSA61DKUQC0PIWPGWDN8ED5PG

Type I: Energy industries (renewable/non-renewable sources

ACM0002 draws upon the following tools which have been used in the PDD:

Tool 01:	Tool for the demonstration and assessment of additionality	7.0 https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf

Tool 07: Tool to calculate the emission factor for an electricity system	7.0 https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v7.0.pdf

##### A.4. Crediting period of project

>>

Type of Crediting Period: Renewable

Crediting Period: 14/05/2021 to 13/05/2026

Length of Crediting Period: 5 years (Renewable Crediting Period i.e., it will be renewed twice maximum up to 15 years i.e., 5yrs.+5yrs.+5yrs.)

#### SECTION B. IMPLEMENTATION OF PROJECT

##### B.1. Description of implemented project

>> The project activity involves installation of 250 MW grid connected solar photovoltaic power plant. The PV system mainly consist of PV modules, module mounting structures, inverters, regulators, monitoring devices etc.

Project Timelines

| Implementation | Dates |
| --- | --- |
| Letter of Award from SECI | 27/07/2018 |
| PPA | 28/12/2018 |
| PO date (EPC Contract date) | 07/02/2020 |
| Commissioning dates |  |
| 100 MW | 14/05/2021 |
| 60 MW | 08/06/2021 |
| 50 MW | 24/07/2021 |
| 40 MW | 17/08/2021 |

| Item | Description |
| --- | --- |
| Plant Capacity | 250 MWAC / 362 MWDC |
| Solar PV Module Make; Jinko; Canadian Solar. Type; Cheetah HC 72M 390-410 Watt; Ku Max HIGH EFFICIENCY POLY MODULE CS3U-355l360l365l370P. Cell Type; Monocrystalline; Polycrystalline. Dimensions; 2008x1002x30 mm (79.06x39.45x1.18 inch); 2000 x 992 x 35 mm (78.7 x 39.1 x 1.38 in). Weight; 22.0 kg (48.5 lbs); 22.5 kg (49.6 lbs). Frame; Anodized Aluminium Alloy; Anodized aluminium alloy, crossbar enhanced. |
| Solar Inverter | Central |
| Power Transformer | a) HV Rating: 220 kV b) MV Rating 33 kV c) Capacity of Transformer: 100 MVA (As per design requirement) |
| UPS and Battery | At Inverter Station area: Capacity: 2 kVA (Capacity as per Design) At Main Control Room Capacity: 7.5 kVA (Capacity as per Design) |
| Weather Monitoring System | Pyrometer, Anemometer, Anemoscope, temp sensor & Data logger |
| Electrical Characteristics |  |
| - 3-phase alternating current - Nominal frequency is 50 Hz - Final Voltage at Delivery Point is 400/220/132/66kV |  |

During the monitoring period, the project activity is exporting 932,083.61 MWh of electrical energy to the National grid of India. This results in reduction of 867,303 tCO2 from the project activity. The project activity does not involve any technology transfer.

Purpose of the Project

The purpose of the project activity is to generate electrical power using solar energy, there by displacing non-renewable fossil resources resulting to sustainable, economic an environmental development. In the absence of the project activity equivalent amount of power generation would have taken place through fossil fuel dominated power generating stations. Thus, the renewable energy generation from project activity results in reduction of the greenhouse gas emissions.

B.1.1 Forward Action Requests

>> FAR :

Remote audit shall be resumed by VVB when Covid-19 situation eases as per Interim Measures para 4.2.1. The VVB shall conduct site visit to confirm project WTGs implementation and specification, implementation of monitoring plan, interview with the stakeholder to confirm SDG benefits and grievances (if any).

Project Participant’s Response: Physical site audit has been conducted and VVB has checked all the technical specification of equipment’s, implementation of monitoring plan, interviewed with stakeholders to confirm SDG benefits and grievances. Copy of grievances, technical specification is also provided to VVB.

##### B.2. Post-Design Certification changes

>>

B.2.1. Temporary deviations from the approved Monitoring & Reporting Plan, methodology or standardized baseline

>> Not Applicable

B.2.2. Corrections

>> Not Applicable

B.2.3. Changes to start date of crediting period

>> Not Applicable

B.2.4. Permanent changes from the Design Certified monitoring plan, applied methodology or applied standardized baseline

>> Not Applicable

B.2.5. Changes to project design of approved project

>> Not Applicable

#### SECTION C. DESCRIPTION OF MONITORING SYSTEM APPLIED BY THE PROJECT

>> The monitoring plan is developed in accordance with the modalities and procedures for project activities and is proposed for grid-connected solar power project/ unit being implemented in Rajasthan, India. The monitoring plan, which is implemented by the project participant describes about the monitoring organisation, parameters to be monitored, monitoring practices, quality assurance, quality control procedures, data storage and archiving.

Plant single line diagram

The authority and responsibility for registration, monitoring, measurement, reporting and reviewing of the data rests with the project participant.

The monitoring team is composed of the following staff:

Project Proponent

O&M Representative

Site In-charge (PP)

Site In-charge (O&M)

Shift Incharge

Supervisors

Project Proponent

O&M Representative

Site In-charge (PP)

Site In-charge (O&M)

Shift Incharge

Supervisors

Responsibilities of Site Incharge (PP): Overall functioning and maintenance of the project activity, the Site incharge coordinates with the O&M operator as well as the site supervisors.

Responsibilities of O&M Representative: Co-ordination between Site incharge of the O&M operator as well as the project participant and further report to PP head office.

Responsibilities of Site In-charge (O&M Operator): Responsibility for maintaining the data records, ensures completeness of data, and reliability of data (calibration of equipment) as well as data recording for all the parameters.

Responsibilities of Shift In-charge: Responsibility for day-to-day data collection and maintains day to day monitored data.

Data archiving policy: All monitored data is archived electronically for a period of two years after the end of the crediting period or the last issuance of CERs, whichever occurs later.

Data Measurement: Projects activity comprises of installation Energy meters at a Pooling Substation prior to the Delivery point.

The export and import energy is measured continuously using above mentioned meters installed at Substation. Export & Import readings of meters is taken on monthly basis by authorized officer of SECI in the presence of representative(s) of PP. The meter reading is taken jointly and signed by the representatives of the SECI and representative(s) of PP. Based on the readings, invoices/ monthly bills is raised by PP. These invoices/ monthly bills can be used for cross checking the meter readings taken for the respective project activity.

In case of pooling of multiple Projects at the same Substation, power from multiple Projects is to be pooled at a Pooling Substation prior to the Delivery point and the combined power is fed at Delivery point through a common transmission line from the Pooling Substation. In such cases, sub-meters also to be set up at pooling substation for individual projects in addition to the meters at Delivery Point.

It is to be noted that though the PP or their representatives are available during meter reading, the calculations of net electricity supplied to grid is completely under purview of SECI and PP does not have any control on it. Also, accuracy class of meters and calibration frequency (once in 5 years) is under purview of SECI/DISCOM officer and PP does not have any control on it. PP gets the monthly credit report from where net electricity supplied to grid is obtained and used for emission reduction calculations.

Data collection and archiving

Export & Import readings from main and check meters is collected under the supervision of the O&M Team or authorized representatives of PP. The net electricity supplied to grid is calculated based on export & import readings. The period of storage of the monitored data is 2 years after the end of crediting period or till the last issuance of GS VER’s for the project activity whichever occurs later.

Mismatch in Monitoring Period and the Billing Period

In case the dates of a particular monitoring period do not match with the dates of the billing period, the net electricity exported to the grid would be calculated from:

D = (A/B)*C

A = Difference of number of days which are not matching of billing period and monitoring period.

B = Number of days of the billing period/ month which was not matched with the monitoring period.

C = Net Electricity supplied to the grid for that given billing period/ month.

The calculated value after apportioning would be used for calculation of emission reductions during that period.

Emergency preparedness

The project activity does not result in any unidentified activity that can result in substantial emissions from the project activity. No need for emergency preparedness in data monitoring is visualized. In the unlikely event of failure of both Main meter &/or Check meter installed at sub-station, where both the faulty meters are required to repair or replaced simultaneously, the meters shall be replaced immediately by the spare meter kept available at the site.

Personnel training

In order to ensure a proper functioning of the project activity and a properly monitoring of emission reductions, the staff is continuously trained. The plant helpers is trained in equipment operation, data recording, reports writing, operation and maintenance and emergency procedures in compliance with the monitoring plan

#### SECTION D. DATA AND PARAMETERS

##### D.1. Data and parameters fixed ex ante or at renewal of crediting period

>> SDG 13:Climate Action

| Data/parameter | EFOM,y |
| --- | --- |
| Unit | tCO2e/MWh |
| Description | Operating Margin CO2 emission factor in year y |
| Source of data | Calculated from CEA database, Version 17 |
| Value(s) applied | 0.9522 (Detail Calculation has been provided in ER Sheet) |
| Choice of data or Measurement methods and procedures | Calculated as per “Tool to calculate the emission factor for an electricity system, version 07.0.0” as 3-year generation weighted average using data for the years 2018-19, 2019-20 & 2020-21. The data are obtained from “CO2 Baseline Database for Indian Power Sector” version 17.0, published by the Central Electricity Authority, October 2021 Ministry of Power, Government of India. |
| Purpose of data | For the calculation of the Baseline Emission |
| Additional comment | This parameter is fixed ex-ante for the entire crediting period. |

| Data/parameter | EFBM, y |
| --- | --- |
| Unit | tCO2e/MWh |
| Description | Build Margin CO2 emission factor in year y |
| Source of data | Calculated from CEA database, Version 17 for the year 2020-21 |
| Value(s) applied | 0.8653 |
| Choice of data or Measurement methods and procedures | The data are obtained from “CO2 Baseline Database for Indian Power Sector” version 17.0, published by the Central Electricity Authority October 2021, Ministry of Power, Government of India. |
| Purpose of data | For the calculation of the Baseline Emission |
| Additional comment | This parameter is fixed ex-ante for the entire crediting period. |

| Data/parameter | EFCM, y |
| --- | --- |
| Unit | tCO2e/MWh |
| Description | Combined Margin CO2 emission factor in year y |
| Source of data | Calculated from CEA database, Version 17, October 2021 |
| Value(s) applied | 0.9305 |
| Choice of data or Measurement methods and procedures | The combined margin emissions factor is calculated as follows: EFgrid,CM,y = EFgrid,OM,y * WOM + EFgrid, BM,y * WBM Where : EFgrid,BM,y = Build margin CO2 emission factor in year y (tCO2/MWh) EFgrid,OM,y = Operating margin CO2 emission factor in year y (tCO2/MWh) WOM = Weighting of operating margin emissions factor (%) = 75% WBM= Weighting of build margin emissions factor (%) = 25% |
| Purpose of data | For the calculation of the Baseline Emission |
| Additional comment | This parameter is fixed ex-ante for the entire crediting period. |

##### D.2 Data and parameters monitored

>> SDG 13.2.1: Climate Action

| Data / Parameter | CO2 Emissions Reduction (SDG 13) |
| --- | --- |
| Unit | tCO2 |
| Description | Reduction in CO2 emission reduction due to implementation of project activity |
| Source of data | Calculated as per “Tool to calculate the emission factor for an electricity system,”. The data are obtained from “CO2 Baseline Database for Indian Power Sector” version 17.0, published by the Central Electricity Authority, Ministry of Power, Government of India. |
| Value(s) applied | 867,303 |
| Measurement methods and procedures | Calculated from CEA database and Energy Generation |
| Monitoring frequency | Calibration and Testing of Meters is done by the accredited agency as per norms. Once in 5 years as per CEA guidelines |
| QA/QC procedures | A check meter is also installed near to the export meter to cross check the electricity exported to the grid. The check meter reading is used in case of failure of export meter |
| Purpose of data | Calculation of baseline emissions |
| Additional comment | The data is archived for crediting period+2 years |

| Data / Parameter | EGPJ,grid,y (SDG 7-Affordable and Clean Energy) |
| --- | --- |
| Unit | MWh |
| Description | Quantity of net electricity supplied to the grid |
| Source of data | Statement of net export of power to the grid at the plant site (REA) |
| Value(s) applied | 932,083.61 MWh |
| Measurement methods and procedures | Data Type: Continuous Monitoring Monitoring equipment: Energy Meters of accuracy class 0.2s (Please refer Appendix 01 for calibration details) Recording Frequency: Continuous monitoring and Monthly recording from Energy Meters, Summarized Annually. Archiving Policy: Paper &/or Electronic Calibration frequency: Once in 5 years as per CEA guidelines Electricity exported/imported to the grid is in kWh. However, for the calculation purpose electricity exported is converted in MWh. The Net electricity supplied to the grid by the project activity is calculated as a difference of electricity exported to the grid, electricity imported from the grid obtained from Monthly Meter reading reports provided by SECI. Cross Checking: Quantity of net electricity supplied to the grid is cross checked from the Invoices/ Monthly Bill raised by the Project Participants to SECI. Refer Appendix 01 for meter calibration details. |
| Monitoring frequency | Monthly |
| QA/QC procedures | Calibration of all the meters is undertaken once in 5 years as per CEA guidelines. The meters is of accuracy class 0.2s. The electricity imported to Grid is cross checked by Statement of net export of power to the grid at the plant Site (REA) |
| Purpose of data | The Data/Parameter is required to calculate the baseline emission |
| Additional comment | Data is archived electronically for a period of 2 years beyond the end of crediting period. |

SDG 8.5.1: Decent Work and Economic Growth

| Data / Parameter | - Quantitative employment, - Quality of employment - Income generation |
| --- | --- |
| Unit | - Number (employees) - Number (Trainings) - INR (salary) |
| Description | - Number of Trainings provided to employees & O&M staff - Number of project employees with Number of male/female, permanent/temporary, age and person with disabilities. - Salary given to the employees of the project. The income to all the unskilled workers is made on day-to-day basis in line with the minimum wage requirements. Annual records of income paid to all the employees would be available. |
| Source of data | - Training Records (HSE & HR) - Salary Slip of the project employees. |
| Value(s) applied | The trainings & workshops given to the O&M staff are: - HSE Training Record Soft Skill Training 66 training has been carried out during this monitoring period. The training programs help in making the workforce efficient and skilled at their job. This not only helps the company but adds to growth of individual employees. Thus, the project has a positive impact on the parameter. The total number of staff (including O&M staff, management, outsourced jobs as well as security guards) employed by the O&M service provider and Project Proponent for the operation & maintenance of the project activity are around 37 persons hired in 2021(2021-6 unskilled+31 skilled) and 37 persons hired in 2022 (10 unskilled and 27 skilled). The skilled worker and unskilled worker classification depends on the project needs. The skilled worker for a solar PV implementation is required for operating the plant and maintaining the plant. The unskilled worker do the day-to day basis for loading and unloading and sweeping activities. The wage rates can be referred from the Indian labor act Labor bureau, Government of India notifications The unskilled labor for the project activity Is cleaner, loading/unloading watchman. Our project activity falls under category Area B. hence the following cost is used. Cleaner- Rs 466/day, watchman-Rs 617/day, loading /unloading-Rs 466/day During monitoring period: - Engineer-1093/day Diploma Trainee Engineer-724.8/day |
| Measurement methods and procedures | - Training Attendance sheets. - Employee Records - Salary slips of the employees |
| Monitoring frequency | Once in a Monitoring period |
| QA/QC procedures | The number of persons employed is mentioned in the plant register, which can be crossed checked with daily attendance register. Salary slip can be checked for earnings of employees |
| Purpose of data | Continuation of regular trainings/workshops for employees & O&M staff |
| Additional comment | - |

##### D.3. Comparison of monitored parameters with last monitoring period

Not Applicable (as this is non-Community Service Activities)

##### D.4. Implementation of sampling plan

>> The data and parameters monitored in section B.7.1 above are not determined by a sampling approach.

#### SECTION E. CALCULATION OF SDG IMPACTS

##### E.1. Calculation of baseline value or estimation of baseline situation of each SDG Impact

>> SDG 7: Affordable and Clean Energy-Project expected to generate                  932,083.61 MWh clean energy every year

SDG 8: Decent Work and Economic Growth - 66 training have been carried out, apart from providing employment to approximately 37 persons.

SDG13: Climate Action - The project leads to mitigation of 867,303 tCO2 per annum.

Calculation of outcome for SDG13: Climate Action

Baseline emissions

The baseline emissions are the product of electrical energy baseline

EGPJ,y expressed in MWh of electricity produced by the renewable generating unit multiplied by an emission factor.

BEY = EGPJ, facility, y * EFgrid, CM, y

Where, EGPJ,y = Total quantity of net electricity delivered to the Indian grid.

EFgrid,CM,y = Combined margin CO2 emission factor for grid connected power generation in year y = 0.9305 t CO2/MWh

BEy = 932,083.61 * 0.9305 t CO2/ year = 867,303 tCO2

Project emissions

PEy = 0

Leakage

No leakage emissions are applicable.

Emission reductions

ERy = BEy - PEy = 867,303 - 0 = 867,303 tCO2

##### E.2. Calculation of project value or estimation of project situation of each SDG Impact

>>SDG 7: Affordable and Clean Energy

During the current monitoring period, Net generation exported to grid is 932,083.61 MWh.

SDG 8: Decent Work and Economic Growth

The project leads to employment opportunities which would not have been possible in the baseline scenario. Currently 37 people are employed at the site. Project activity improves the quality of employment by giving training to employees. A total of 66 trainings conducted during the current monitoring period.

SDG 13:  Climate Action

SDG 13 is zero as no emission from the project activity in the project situation

##### E.3. Calculation of leakage

>> As per the consolidated methodology, no leakage emission through the renewable project electricity generation.

##### E.4. Calculation of net benefits or direct calculation for each SDG Impact

| SDG | SDG Impact | Baseline estimate | Project estimate | Net benefit |
| --- | --- | --- | --- | --- |
| 13 | Climate Action | 867,303 tCO2e | 0 | 867,303 tCO2e |
| 7 | Affordable and Clean Energy | 0 | 932,083.61 MWh | 932,083.61 MWh |
| 8 | Decent Work and Economic Growth | 0 | 37 people are currently employed and 66 trainings is provided to employees during the monitoring period | 37 people are currently employed and 66 trainings is provided to employees during the monitoring period |

##### E.5. Comparison of actual SDG Impacts with estimates in approved PDD

| SDG | Values estimated in ex ante calculation of approved PDD for this monitoring period | Actual values achieved during this monitoring period |
| --- | --- | --- |
| 13 | 809,757.96 tCO2e | 867,303 tCO2e |
| 7 | 870,229.20 MWh | 932,083.61 MWh |
| 8 | 15 employment and 02 training | 37 people are currently employed at site and 66 trainings is provided to employees during the monitoring period. |

E.5.1. Explanation of calculation of value estimated ex ante calculation of approved PDD for this monitoring period

>> SDG 7: Affordable and Clean Energy-

As per PDD, 565,587 MWh is estimated annually. Phase wise estimated generation are as follows

| From (Commissioning date) | To | No of days | Capacity (MW) | Estimated Generation as per Registered GS PDD |
| --- | --- | --- | --- | --- |
| 14/05/2021 | 31/12/2022 | 597 | 100 | 370033.36 |
| 08/06/2021 | 31/12/2022 | 572 | 60 | 212722.69 |
| 24/07/2021 | 31/12/2022 | 526 | 50 | 163013.02 |
| 17/08/2021 | 31/12/2022 | 502 | 40 | 124460.13 |
| Total (MWh) |  |  |  | 870,229.20 |

SDG 8: Decent Work and Economic Growth - Annual estimate has been considered for SDG i.e. 15 persons employment and minimum 01 training per year.

SDG13: Climate Action - The project leads to mitigation of 809,757.96 tCO2 .

##### E.6. Remarks on increase in achieved SDG Impacts from estimated value in approved PDD

>>

| Description | Year | Year 2021 | Year 2022 | For Complete Monitoring Period |
| --- | --- | --- | --- | --- |
|  | Unit | 14/05/2021 to 31/12/2021 | 01/12/2022 to 31/12/2022 | 14/05/2021 to 31/12/2022 |
| Start Date |  | 14/05/2021 | 01/01/2022 | 14/05/2021 |
| End Date |  | 31/12/2021 | 31/12/2022 | 31/12/2022 |
| Total Days | days | 232 | 365 | 597 |
| Annual Estimated Emission Reduction as per registered PDD (tCO2e/year) | tCO2e/Year | 526285 | 526285 | 241573 |
| Annual Estimated Generation as per registered PDD | MWh/Year | 565587.00 | 565587.00 | 565587.00 |
| Estimated Generation as per the registered PDD for current monitoring period | MWh | 304642.20 | 565587.00 | 870229.20 |
| Actual Generation considering the monitoring period | MWh | 309164.06 | 622919.55 | 932083.62 |
| Variation in the Generation | % | 1.48% | 10.14% | 7.11% |
| Estimated Emission Reduction as per the registered PDD for current monitoring period | tCO2e | 283472 | 526285 | 809757 |
| Actual Emission Reduction considering the monitoring period | tCO2e | 287677 | 579626 | 867303 |
| Variation in the emission reduction | % | 1.48% | 10.14% | 7.11% |

SDG 7 & 13, A total of 7.11% higher emission reduction achieved during the current monitoring period. The generation of electricity depends upon many other climatic conditions, which are not within the control of the project participant. SDG 8 having higher value achieved as estimated from PDD, which is conservative.

#### SECTION F. SAFEGUARDS REPORTING

>>

| Principles | Mitigation Measures added to the Monitoring Plan |
| --- | --- |
| Principle 2. Gender Equality | The project proponent is committed to the employee’s equal pay for equal work. The income to all the unskilled workers are made on day-to-day basis in line with the minimum wage requirements. Annual records of income paid to all the employees can be cross checked for monitoring of this principle. |
| Principle 6.1 Labor Rights | The Project Developer provides training to workers for documentation and reporting of accidents and incidents, and emergency preparedness and response measures. The training programs help in making the workforce efficient and skilled at their job. This not only helps the company but adds to growth of individual employees. Thus, the project has a positive impact on the parameter. During this monitoring period 66 trainings have been provided. |
| Principle 9.5 Hazardous and Non-hazardous Waste | The waste is disposed to the waste handlers and the firm comply with all the local laws for monitoring and disposal. |

#### SECTION G. STAKEHOLDER INPUTS AND LEGAL DISPUTES

##### G.1. List all Inputs and Grievances which have been received via the Continuous Input and Grievance Mechanism together with their respective responses/mitigations.

>> As a part of continuous feedback from stakeholders, a grievance and feedback mechanism was established in order to consider and implement grievances or inputs received from the local stakeholders. Meeting with local stakeholder and continuous grievance (the grievances register is being placed at site and is being continuously monitored on regular basis and maintained in a register at O&M provider office.) is a part of stakeholder engagement. There were no negative comments from the stakeholders through any means of communication channels (E mails, Phone calls, Grievance Register available at the project site). The nearby village from the project site is in 1 km radius (Rawra) and it is easily accessible by normal mode of transport by the people in case of any grievances

In case of grievances, the nature of probable resolution is discussed with the plant head office and implemented by the site in-charge. The responsibilities included invitations, follow-up’s, organizing meeting, feedbacks, documentation and successful grievance redressal, if any.

During the monitoring period no grievances have been received, the comments received are satisfactory and appreciating in nature. The scan copies have been provided to the VVB.

| S. No. | Date of Complaint | Topic | Date of resolution | Remark from PP |
| --- | --- | --- | --- | --- |
| - | - | - | - | - |

##### G.2. Report on any stakeholder mitigations that were agreed to be monitored.

>> Not Applicable as there were no negative feedback logged during the monitoring period.

##### G.3. Provide details of any legal contest that has arisen with the project during the monitoring period

>> No legal contest has been arisen during the current monitoring period.

#### APPENDIX 01

- Meter Calibration Details

| Meter number | Make | Calibration date | Accuracy class | Type of Meter | Due Date |
| --- | --- | --- | --- | --- | --- |
| NS1126A | Secure | 25/02/2020 | 0.2s | MCR line ABT Main meter at our end | 24/02/2025 |
| NS1128A | Secure | 25/02/2020 | 0.2s | Main meter at bhadla 2 PGCIL end | 24/02/2025 |
| NS1129A | Secure | 25/02/2020 | 0.2s | Check meter at bhadla 2 PGCIL end | 24/02/2025 |

- Training Details: -

| Sl. No. | Date | No. of Attendees | Training Name |
| --- | --- | --- | --- |
| 1 | 12/08/2021 | 7 | First Aid Health Precaution |
| 2 | 28/08/2021 | 10 | Emergency Response Activities |
| 3 | 11/08/2021 | 7 | Fire & Safety |
| 4 | 16/10/2021 | 8 | HIRA |
| 5 | 15/01/2022 | 12 | Emergency Management |
| 6 | 14/01/2022 | 12 | Electrical Safety |
| 7 | 13/01/2022 | 12 | OLTC Importance & Maintenance |
| 8 | 13/01/2022 | 12 | SF6 Operation & Maintenance |
| 9 | 15/01/2022 | 12 | PTW Process |
| 10 | 13/02/2022 | 4 | Induction Training Program |
| 11 | 20/02/2022 | 13 | SOP & Visuals |
| 12 | 26/02/2022 | 12 | Transformer Maintenance |
| 13 | 26/02/2022 | 12 | Traffic Management |
| 14 | 17/02/2022 | 23 | Earth Resistance Meter |
| 15 | 06/03/2022 | 1 | Induction Training Program |
| 16 | 15/03/2022 | 3 | Induction |
| 17 | 23/03/2022 | 21 | CT & PT Training |
| 18 | 27/03/2022 | 10 | Arc Flash Suit |
| 19 | 29/03/2022 | 25 | LOTO |
| 20 | 30/04/2022 | 7 | Module VOC ISC |
| 21 | 30/04/2022 | 7 | IPT Maintenance training |
| 22 | 08/04/2022 | 10 | Basic Electric Training |
| 23 | 11/04/2022 | 12 | IDT Maintenance |
| 24 | 12/04/2022 | 15 | IDT Working & Maintenance |
| 25 | 07/04/2022 | 17 | Module VOC ISC Measuring Program |
| 26 | 13/04/2022 | 12 | Electrical Safety |
| 27 | 17/04/2022 | 12 | Heat Stroke |
| 28 | 21/04/2022 | 7 | Switchyard Awareness |
| 29 | 24/04/2022 | 14 | Fire Fighting |
| 30 | 17/05/2022 | 11 | Fault Identification CB to String |
| 31 | 17/05/2022 | 12 | LOTO |
| 32 | 19/05/2022 | 19 | PTW Process |
| 33 | 19/05/2022 | 19 | Inverter Overview |
| 34 | 19/06/2022 | 8 | Environment Management System |
| 35 | 19/06/2022 | 12 | Emergency Management & Induction |
| 36 | 18/06/2022 | 12 | Induction Training |
| 37 | 18/06/2022 | 12 | HT Panel Overview Isolation & Maintenance |
| 38 | 18/06/2022 | 12 | Environment Management System |
| 39 | 11/06/2022 | 12 | Emergency Management |
| 40 | 10/06/2022 | 12 | Maintenance Procedure |
| 41 | 16/06/2022 | 1 | Induction |
| 42 | 28/06/2022 | 12 | Height Work |
| 43 | 27/06/2022 | 12 | PPE'S awareness & Use |
| 44 | 16/07/2022 | 5 | Induction |
| 45 | 05/07/2022 | 12 | HIRA |
| 46 | 05/07/2022 | 12 | Awareness of Working Condition with DC Voltage |
| 47 | 27/07/2022 | 12 | ACDB & First Aid |
| 48 | 27/07/2022 | 20 | ACDM,RMU,RTU Purpose |
| 49 | 25/08/2022 | 16 | personal Protective Equipment |
| 50 | 17/08/2022 | 2 | Induction Topic |
| 51 | 30/08/2022 | 17 | Switchyard Safety Protocol |
| 52 | 29/08/2022 | 12 | Technical Training |
| 53 | 26/08/2022 | 12 | Safety Kaizen to eliminate hazards |
| 54 | 27/08/2022 | 14 | Technical Training |
| 55 | 28/09/2022 | 25 | SCADA Monitoring |
| 56 | 11/09/2022 | 12 | Induction |
| 57 | 11/09/2022 | 36 | Fire Safety Management |
| 58 | 20/09/2022 | 24 | Incident Management System |
| 59 | 16/09/2022 | 20 | Fire Safety Management |
| 60 | 21/10/2022 | 26 | Waste Management |
| 61 | 18/10/2022 | 12 | Technical Training |
| 62 | 13/10/2022 | 12 | Technical Training |
| 63 | 17/11/2022 | 21 | HIRA & EIA |
| 64 | 07/12/2022 | 21 | HSE Training |
| 65 | 14/12/2022 | 15 | Use of PPEs |
| 66 | 21/12/2022 | 21 | Technical Training |

- Breakdown Details

The project underwent continued generation and no major breakdown occurred during the monitoring period. However, during this monitoring period, a few minor malfunctions have occurred. The details have been clearly described below.

| Date | DC Capacity (KWp) | Equipment Location | Failure Date (DD-MM-YYYY) | Failure Time (HH:MM) | Resolution Date (DD-MM-YYYY) | Resolution time (HH:MM) | Total Down Time (Minutes) | Failure Description |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 04/08/2021 | 303635 | SWITCHYARD | 4 August 2021 | 9:58 | 04-08-21 | 10:52 | 54.00 | ISOLATOR SPARKING |
| 10/08/2021 | 303635 | SWITCHYARD | 10 August 2021 | 13:45 | 10-08-21 | 14:56 | 71.00 | ISOLATOR SPARKING |
| 26/08/2021 | 350206 | SWITCHYARD | 26 August 2021 | 12:08 | 26-08-21 | 13:11 | 63.00 | OVER voltage relay operated |
| 26/08/2021 | 350206 | SWITCHYARD | 26 August 2021 | 12:30 | 26-08-21 | 13:09 | 39.00 | OVER current relay operated |
| 26/07/2022 | 361979.08 | SWITCHYARD | 26 July 2022 | 8:27 | 26 July 2022 | 13:13 | 286 | ISOLATOR SPARKING |

Revision History

| Version | Date | Remarks |
| --- | --- | --- |
| 1.1 | 14 October 2020 | Hyperlinked section summary to enable quick access to key sections Improved clarity on Key Project Information Section for POA monitoring Forward action request section Improved Clarity on SDG contribution/SDG Impact term used throughout Clarity on safeguard reporting Clarity on design changes Leakage section added for VER/CER projects Addition of Comparison of monitored parameters with last monitoring period Provision of an accompanying Guide to help the user understand detailed rules and requirements |
| 1.0 | 10 July 2017 | Initial adoption |

https://cea.nic.in/wp-content/uploads/tpe___cc/2022/02/User_Guide__ver_17_2021.pdf

Note- The actual/ scheduled generation monitoring will be done through Northern Regional Power Committee/Northern Regional Load Dispatch Centre portal (NRLDC).

In Inter State Transmission System (Central Transmission Utility) connected project(s), the energy invoicing is done on the scheduled energy for the month and the settlement of the balance amount is as per the actual energy injected against scheduled energy.

Deviation Settlement is payable or receivable on weekly basis depending on deviations in actual and schedule energy and DSM penalty.

Online daily meter readings are recorded at Grid Sub Station (Power Grid Corporation of India Limited Substation). Also, Northern Regional Load Dispatch Centre portal ask Project proponent team to provide their end meter readings and Power grid Corporation of India Limited end meter reading on weekly base in the form of Meter Reading Instrument (MRI) data.

Both Power grid Corporation of India Limited & Project Proponent end meter readings are cross checked to avoid any error in actual readings. Since actual energy is measured through meters, therefore same is considered for Emission Reduction calculations and scheduled energy quantity is considered for cross checking purpose with invoice.

https://cea.nic.in/wp-content/uploads/2020/02/CEA_metering_regulation_amendment_2019.pdf

https://labour.gov.in/sites/default/files/MW%20PDF.pdf

- Whenever emission reductions are capped, both the original and capped values used for calculations must be transparently reported.  Use brackets to denote original values.