## Reading
Month | Metering start date | Metering End date | Net Quantity of Electricity Exported to the Grid(KWh) | Net Quantity of Electricity Exported to the Grid with calibration error(KWh) | Net Quantity of Electricity Exported to the Grid(MWh)
2022-05-01 | 2022-05-01 | 2022-05-31 | 138461136 | 138184213.728 | 138184.2137
2022-06-01 | 2022-06-01 | 2022-06-30 | 113281072 | 113054509.856 | 113054.5099
2022-07-01 | 2022-07-01 | 2022-07-31 | 90498496 | 90317499.008 | 90317.499
2022-08-01 | 2022-08-01 | 2022-08-31 | 68582100 | 68444935.8 | 68444.9358
2022-09-01 | 2022-09-01 | 2022-09-30 | 53156100 | 53049787.8 | 53049.7878
2022-10-01 | 2022-10-01 | 2022-10-31 | 20381700 | 20340936.6 | 20340.9366
2022-11-01 | 2022-11-01 | 2022-11-30 | 16910300 | 16876479.4 | 16876.4794
2022-12-01 | 2022-12-01 | 2022-12-31 | 38242800 | 38166314.4 | 38166.3144
2023-01-01 | 2023-01-01 | 2023-01-31 | 67495100 | 67360109.8 | 67360.1098
2023-02-01 | 2023-02-01 | 2023-02-28 | 34135200 | 34066929.6 | 34066.9296
2023-03-01 | 2023-03-01 | 2023-03-31 | 38784400 | 38706831.2 | 38706.8312
2023-04-01 | 2023-04-01 | 2023-04-30 | 63673000 | 63545654 | 63545.654
2023-05-01 | 2023-05-01 | 2023-05-31 | 103131500 | 102925237 | 102925.237
2023-06-01 | 2023-06-01 | 2023-06-30 | 83853800 | 83686092.4 | 83686.0924
2023-07-01 | 2023-07-01 | 2023-07-31 | 81813600 | 81649972.8 | 81649.9728
2023-08-01 | 2023-08-01 | 2023-08-31 | 142458200 | 142173283.6 | 142173.2836
2023-09-01 | 2023-09-01 | 2023-09-30 | 70176000 | 70035648 | 70035.648
2023-10-01 | 2023-10-01 | 2023-10-31 | 33505600 | 33438588.8 | 33438.5888
2023-11-01 | 2023-11-01 | 2023-11-30 | 28716500 | 28659067 | 28659.067
2023-12-01 | 2023-12-01 | 2023-12-31 | 46671200 | 46577857.6 | 46577.8576

## SDG 13
Project Title: 300 MW Wind Power Project in Gujarat by Alfanar Power
Version: 03 dated 28/02/2024
Month | Metering start date | Metering End date | Net Quantity of Electricity Exported to the Grid(KWh) | Net Quantity of Electricity Exported to the Grid with calibration error(KWh) | Net Quantity of Electricity Exported to the Grid(MWh) |  | Year | Vintage | Net Quantity of Electricity Exported to the Grid(MWh) | Grid Emission factor (tCO2/MWh) | Emission reduction (tCO2)
2022-05-01 | 2022-05-01 | 2022-05-31 | 138461136 | 138184213.728 | 138184.2137 |  | 2022 | 01/05/2022 to 31/12/2022 | 538434.6766 | 0.9346 | 503221.0487
2022-06-01 | 2022-06-01 | 2022-06-30 | 113281072 | 113054509.856 | 113054.5099 |  | 2023 | 01/01/2023 to 31/12/2023 | 792825.2718 | 0.9346 | 740974.499
2022-07-01 | 2022-07-01 | 2022-07-31 | 90498496 | 90317499.008 | 90317.499 |  | Total | 01/05/2022 to 31/12/2023 | 1331259 | 0.9346 | 1244195
2022-08-01 | 2022-08-01 | 2022-08-31 | 68582100 | 68444935.8 | 68444.9358
2022-09-01 | 2022-09-01 | 2022-09-30 | 53156100 | 53049787.8 | 53049.7878
2022-10-01 | 2022-10-01 | 2022-10-31 | 20381700 | 20340936.6 | 20340.9366
2022-11-01 | 2022-11-01 | 2022-11-30 | 16910300 | 16876479.4 | 16876.4794
2022-12-01 | 2022-12-01 | 2022-12-31 | 38242800 | 38166314.4 | 38166.3144
2023-01-01 | 2023-01-01 | 2023-01-31 | 67495100 | 67360109.8 | 67360.1098 | Annual Estimated Emission reduction as per PDD |  |  |  | 978399 | tCO2
2023-02-01 | 2023-02-01 | 2023-02-28 | 34135200 | 34066929.6 | 34066.9296 | Number of days in the monitoring period |  |  |  | 610 | Days
2023-03-01 | 2023-03-01 | 2023-03-31 | 38784400 | 38706831.2 | 38706.8312 | Estimated emission reduction for the monitoring period |  |  |  | 1635132.5753 | tCO2 | 2022-05-01 | 2023-12-31
2023-04-01 | 2023-04-01 | 2023-04-30 | 63673000 | 63545654 | 63545.654 | Percentage change for the monitoring period |  |  |  | -23.91% | %
2023-05-01 | 2023-05-01 | 2023-05-31 | 103131500 | 102925237 | 102925.237
2023-06-01 | 2023-06-01 | 2023-06-30 | 83853800 | 83686092.4 | 83686.0924
2023-07-01 | 2023-07-01 | 2023-07-31 | 81813600 | 81649972.8 | 81649.9728
2023-08-01 | 2023-08-01 | 2023-08-31 | 142458200 | 142173283.6 | 142173.2836
2023-09-01 | 2023-09-01 | 2023-09-30 | 70176000 | 70035648 | 70035.648
2023-10-01 | 2023-10-01 | 2023-10-31 | 33505600 | 33438588.8 | 33438.5888
2023-11-01 | 2023-11-01 | 2023-11-30 | 28716500 | 28659067 | 28659.067
2023-12-01 | 2023-12-01 | 2023-12-31 | 46671200 | 46577857.6 | 46577.8576

## O&M staff
Sl. No. | Name | Job Title
1 | Abhilash Murali | construction manager
2 | R.Vigneshwaran | construction manager
3 | Aman Mourya | Project engineer CIVIL
4 | Jauhar iqbal | QA/QA Engineer CIVIL
5 | Dilip kumar arya | QA/QA Engineer Mechanical
6 | Rohit Jain | QA/QA Engineer Electrical
7 | Mohammed arif saiyad | land supervisor
8 | vivek sachan | project engineer electrical
9 | Rajneshkumar patel | Storekeeper
10 | Saddam Hussain | O&M engineer Electrical
11 | Vishal Dhandha | Legal Advisor land
12 | Yogendra Singh | Project engineer CIVIL
13 | Kuldeep Ramanadi | Land Surveyor
14 | Keval Joshi | Land Surveyor
15 | Akabar Alam | O&M engineer Electrical
16 | Mitul Borisagar | O&M engineer Mechanical
17 | Vinod Kumar Patel | O&M engineer Mechanical
18 | Sameer Ali | Safety officer
19 | Prem Kumar Sharma | O&M manager
20 | Jitendra kumar singh | officer HSE
21 | Mahadevan Ganesan | Project engineer mechanical
22 | Javed khan | O&M engineer SCADA

## Training
S.NO | Name of Training | Training Date | Number of participants
1 | Mock Drill- Electrical panel fire | 2023-04-29 | 6
2 | Mock Drill- Food poisioning | 2023-09-28 | 9
3 | Mock Drill- Heat stroke | 2023-05-31 | 8
4 | Mock Drill- Natural calamities | 2023-06-30 | 10
5 | Mock Drill- property damage incidence | 2023-07-25 | 7
6 | Mock Drill- Road accident | 2023-01-25 | 6
7 | Emergency Response Drill - Fire Fighting | 2023-08-05 | 13
8 | Mock Drill- Self rescue | 2023-03-31 | 7
9 | Mock Drill- Slip due to oil spillage | 2023-08-09 | 9
10 | Mock drill-snake bite | 2023-02-18 | 7
11 | Mock drill for snake bite | 2023-05-21 | 6
12 | Mock drill- switchyard fire | 2023-10-18 | 9
13 | Mock drill- Electrocution | 2022-12-13 | 11
14 | Fire fighting | 2023-10-10 | 10
15 | Mock Drill- Road accident | 2023-01-21 | 21
16 | First Aid Training | 2023-12-09 | 26

## SDG 8
SDG 8: Decent Work and Economic Growth
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Number of training provided to employees & O&M staff | 01/05/2022 to 31/12/2023 | 16 | 0 | 16
| Total | 16 | 0 | 16
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Cost spent for O&M (Million INR) | 01/05/2022 to 31/12/2023 | 110.29 | 0 | 110.29
| Total | 110.29 | 0 | 110.29
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Number of O&M Staff involved | 01/05/2022 to 31/12/2023 | 22 | 0 | 22
| Average | 22 | 0 | 22

## SDG 7
SDG 7 Affordable and Clean Energy :
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Net Electricity supplied to grid (MWh) | 01/05/2022 to 31/12/2022 | 538434.6766 | 0 | 538434.6766
| 01/01/2023 to 31/12/2023 | 792825.2718 | 0 | 792825.2718
| Total (01/05/2022 to 31/12/2023) | 1331259.9484 | 0 | 1331259.9484

## Ex-ante estimate
SDG Goal | SDG 7 | SDG 8 |  |  | SDG 13
SDG Impact | Electricity generated (MWh) | Trainings provided to O&M staff (Nos) | Money spent on O&M (Mn INR) | Jobs Created (Nos) | Emission reduction (tCO2)
Estimation as per PDD (for 1 year) | 1046865 | 2 | 155 | 100 | 978399
Number of days in the monitoring period | 610 | 610 | 610 | 610 | 610
Estimation for the monitoring period (610 days) | 1749555.2055 | 3.3425 | 259.0411 | 167.1233 | 1635132.5753