Renewable Power Project by Axis Wind Farms (MPR Dam) Private Limited

Document Prepared By Earthood Services Private Limited

Earthood Services Private Limited

Regd. Office: 409-410, Tower B-4, Spaze I-Tech Park, Sector 49, Sohna Road, Gurgaon- 122018, INDIA

Tel:  +91 124 4204599

Fax:  +91 124 4204599

Website: www.earthood.in         Email: info@earthood.in

| Project Title | Renewable Power Project by Axis Wind Farms (MPR Dam) Private Limited |
| --- | --- |
| Version | 1.0 |
| Report ID | Internal project ID – VCS.VER 19.54 |
| Report Title | Renewable Power Project by Axis Wind Farms (MPR Dam) Private Limited |
| Client | Axis Wind Farms (MPR Dam) Private Limited |
| Pages | 29 |
| Date of Issue | 25-March-2020 |
| Prepared By | Earthood Services Private Limited |
| Contact | Regd. Office: 409-410, Tower B-4, Spaze I-Tech Park, Sector 49, Sohna Road, Gurgaon- 122018, INDIA Tel: +91 124 4204599 Fax: +91 124 4204599 Website: www.earthood.in Email: info@earthood.in |
| Approved By | Approver : Ashok Kumar Gautam Technical Reviewer: Shreya Garg Technical Expert (1.2) : Shreya Garg |
| Work Carried Out By | Team Leader: Pankaj Kumar Technical Expert (1.2): Pankaj Kumar Methodology Expert: Pankaj Kumar Local Expert : Pankaj Kumar Verifier: Pankaj Kumar |

Summary:

The project activity involves the generation of electricity through a greenfield wind energy plant with a capacity of 100 MW in Anantapuram district of Andhra Pradesh that supply the generated electricity to the National power grid. The project has aimed to reduce the dependence on fossil fuel-powered power plants by substituting carbon-intensive energy with the inexhaustible and clean wind energy. As per the baseline scenario, “Electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants that are fossil fuel fired power plants”. The baseline scenario is the same as the scenario existing prior to the implementation of the project activity. During the Current Monitoring Period from 02-Aug-2018 to 01-Oct.-2019 (First and last date included) the project activity has supplied 271,852 MWh of electricity, and thus contributing to the GHG reductions 257,579 tCO2e. Axis Wind Farm (MPR Dam Private Limited contracted ESPL to conduct the verification of the project “Renewable Power Project by Axis Wind Farms (MPR Dam) Private Limited”. The scope of verification includes confirming the implementation of the monitoring plan in the registered project activity “Renewable Power Project by Axis Wind Farms (MPR Dam) Private Limited (VCS ID – 1790) VCS PD (Ver. 03 dated 28-Nov.-2018) and the application of methodology ACM0002: Large-scale Consolidated Methodology: Grid-connected electricity generation from renewable sources, Version 18.1. The verification consisted of three phases: a. Desk review of the project; b. Follow-up onsite visit; c. Resolution of outstanding issues and issuance of the final verification report and opinion. The overall verification, from Contract Review to Verification Report & Opinion, was conducted following ESPL’s internal quality procedures. A total of 03 CL and 03 CARs have been raised during the verification process of the project activity which were successfully closed. - ESPL confirms that the monitoring system is in place and the emission reductions are calculated without material misstatements.

contents

1	Introduction	6

1.1	Objective	6

1.2	Scope and Criteria	6

1.3	Level of Assurance	6

1.4	Summary Description of the Project	7

2	Verification Process	9

2.1	Method and Criteria	9

2.2	Document Review	9

2.3	Interviews	10

2.4	Site Inspections	11

2.5	Resolution of Findings	12

2.5.1	Forward Action Requests	12

2.6	Eligibility for Validation Activities	12

3	Validation Findings	12

3.1	Participation under Other GHG Programs	12

3.2	Methodology Deviations	12

3.3	Project Description Deviations	13

3.4	Grouped Project	13

4	Verification Findings	13

4.1	Project Implementation Status	13

4.2	Safeguards	16

4.2.1	No Net Harm	16

4.2.2	Local Stakeholder Consultation	16

4.3	AFOLU-Specific Safeguards	16

4.4	Accuracy of GHG Emission Reduction and Removal Calculations	16

4.5	Quality of Evidence to Determine GHG Emission Reductions and Removals	17

4.6	Non-Permanence Risk Analysis	18

5	Verification conclusion	18

APPENDIX 1: Documents reviewed or referenced (VerificatIon)	21

APPENDIX 2: corrective action requests, Clarification requests AND FORWARD action requests (CAR/CL/FAR)	22

APPENDIX 3: Competence of team members and technical reviewers	25

APPENDIX 4: Abbreviations	27

APPENDIX 5: Meter calibration details	28

# Introduction

## Objective

“M/s. Axis Wind Farm (MPR Dam) Private Limited” has contracted ESPL (Hereinafter referred as Earthood) to conduct the verification of the project activity “Renewable Power Project by Axis Wind Farms (MPR Dam) Private Limited” according to the requirements of the Verified Carbon Standard version 4.0.

The objective of this verification is to verify and certify emission reductions reported for the PA “Renewable Power Project by Axis Wind Farms (MPR Dam)  Private Limited” for the period 02-Aug-2018 to 01-Oct-.2019 (both days included)

## Scope and Criteria

The scope of the verification is to establish/verify that:

- the appropriate VCS-MR form (and other templates) was used and correctly filled up;

(as per https://verra.org/wp-content/uploads/2019/09/VCS-V4-Summary-of-Effective-Dates.pdf the use of updated version of all VCS Program templates and representations is mandatory from 19 March 2020)

- the project activity is in accordance with all relevant host country criteria (India);

- the project activity is in accordance with all relevant VCS rules and requirements;

- the project activity is in accordance with conditions of the latest version of applied methodology ACM0002: Large Consolidated methodology --- Version 18.1/7/.

The verification of the project activity is based on the VCS-PD and estimated GHG emission reduction calculations.

## Level of Assurance

Reasonable level of assurance

Limited level of assurance

ESPL’s verification approach is based on the understanding of the risks associated with reporting of GHG emission data and the controls in place to mitigate these. ESPL planned and performed the verification by obtaining evidence and other information and explanations that ESPL considers necessary to give reasonable assurance that reported estimated GHG emission reductions are fairly stated. All documentary evidences were checked, and site visit was conducted to project plant site to arrive at a verification conclusion by the assessment team.

In our opinion, the estimated GHG emissions reductions were calculated correctly on the basis of the approved baseline and monitoring methodology ACM0002, Version 18.1 and the VCS standard, Ver. 4.0

## Summary Description of the Project

Grid-connected wind power project in Andhra Pradesh generates renewable wind electricity and supplies power to the Indian power grid. The current monitoring period from 02-Aug-2018 to 01-Oct.-2019 (First and last date included) involved the generation and supply of 271,852 MWh wind power from plants located in Anantapuram district of Andhra Pradesh. The power generated by the grid will be replacing an equivalent amount of electricity from the grid system of India which is majorly dependent on fossil-fuel based grid imports for its electricity requirements.

The project is a voluntary action being undertaken by each project owner of the project activity.  EKI Energy Services Limited (hereafter referred as “EKIESL”) is acting as the other party for this project activity.

The main purpose of this project activity is to generate clean form of electricity through renewable wind energy source and Sale to State Utility. The project activity involves installation of 100 MW wind power project in Andhra Pradesh state of India.

Verification team confirmed the capacity by verifying commissioning certificates and also physically verified during site visit that plants are operational at all locations in Andhra Pradesh.

Project includes turbines of make Gamesa G 114 of capacity 2 MW . Technical specification of the plants as verified for all the locations and details provided in sec. 4.1 of this report.

The electricity meters are of the make L&T with a precision of 0.2s. The SCADA system allows the wind power system to be manually or automatically controlled and monitored. The project is based on sectoral Scope 1: Energy Industries (renewable sources) with ACM0002: Large-scale Consolidated methodology: Grid-connected electricity generation from renewable sources, Version 18.1.

During the Current Monitoring Period from 02-Aug-2018 to 01-Oct-2019 (First and last date included) the project activity has supplied 271,852 MWh of electricity, and thus contributing to the GHG reductions 257,579 tCO2e

# Verification Process

The registered VCS project is undergoing second verification and the approach adopted to ensure the quality of emission reductions is described in the following sub-sections.

## Method and Criteria

The overall verification, from Contract Review to Verification Report & Opinion, was conducted using ESPL’s internal procedures. The Project was verified against the latest requirements (Version 4.0) /14/ and guidance set out in VCS Standards as applicable.

- The validation/verification process consists of the following three phases;

- A document review of the VCS PD and VCS MR (described in Section 2.2)

- Site visit and follow up interviews with project stakeholders (described in Section 2.3 and 2.4)

- The resolution of outstanding issues and issuance of the final report and opinion. (described in Section 2.5)

DOE’s Sampling Approach: No sampling approach was required for undertaking the current verification since all monitored data was verified by the assessment team.

## Document Review

The verification is performed primarily as a document review of the documents submitted at various stages of assessments. The review is performed by assessment team using dedicated protocols. The assessment team cross checks the information provided in the documents (PDD, MR, validation report) and information from sources other than those used, if available, and also conducts independent background investigations. Earthood conducted a desk review as under;

- A review of the data and information presented to verify their completeness.

- A review of the monitoring plan, the monitoring methodology including applicable tool(s) and, where applicable, the applied standardized baseline, paying particular attention to the frequency of measurements, the quality of metering equipment including calibration requirements, and the quality assurance and quality control procedures.

- An evaluation of data management and the quality assurance and quality control system in the context of their influence on the generation and reporting of emission reductions.

## Interviews

The site visits for the project activity were carried out on 24-Feb-2020 which covers   all the locations) in the state Andhra Pradesh in India. No sampling procedures were adopted either in document verification and all the document were cross checked to ensure conservative estimation of emission reduction. The list of persons interviewed during the project assessment and on site visit is provided below:

| S.N. | Interviewee |  |  | Date | Subject | Team member |
| --- | --- | --- | --- | --- | --- | --- |
|  | Last name | First name | Affiliation |  |  |  |
|  | Raju | Murali | PP Representative | 24-Feb-2020 | Implementation of the project, monitoring and emission reduction calculations | Mr. Pankaj Kumar |
|  | Sahu | Prakash | Consultant | 24-Feb-2020 |  |  |
|  | Sharma | Barun | Consultant | 24-Feb-2020 |  |  |
|  | - | Venkatesh | Farmer | 24-Feb-2020 | Local stake holder meeting consultation | Mr. Pankaj Kumar |
|  | Reddy | Ila | Teacher | 24-Feb-2020 |  |  |

During the on-site visit, the PP representatives were questioned about the implementation of the project activity. Several topics like the verification of commissioning date of meters, the generation, recording, and monitoring of the data and the error accountability were discussed. Various documents like the JMR sheets, invoice slips, purchase slips etc were also verified at the site itself.

Several photographs were also clicked at the site to capture the name plate data, meter specifications, key technical specifications of the major equipment like panel, inverter and meters and to establish the current status and the implementation of the Project Activity.

## Site Inspections

| Duration of on-site inspection: 24/02/2020 |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Activity performed on-site | Site location | Date | Team member |
| 1. | Assessment team checked the implementation of the project, Baseline emission, Emission reduction calculation, technical description of the project and Monitoring. | Axis Wind Farms (MPR Dam) Private Limited: Village: Ipperu, Taluka- Kuderu in Anantapur district in Andhra Pradesh | 24/02/2020 | Pankaj Kumar |

A site visit was undertaken by the assessment team (Pankaj Kumar) on 24-Feb-2020  to carry out the following;

- An assessment of the implementation and operation of the registered project activity as per the registered PD or any approved revised PD/1/ and MR/2/;

- A review of information flow for generating, aggregating and reporting the monitoring parameters;

- Interviews with relevant personnel to determine whether the operational and data collection procedures are implemented in accordance with the monitoring plan in the PD;

- A cross-check between information provided in the monitoring report and data from other sources such as JMR sheets, invoice slips, PPA agreement etc.;

- A check of the monitoring equipment including calibration performance and observations of monitoring practices against the requirements of the PD/1/, the applied methodology including applicable tool(s), and, where applicable, the applied standardized baseline;

- A review of calculations and assumptions made in determining the GHG data and emission reductions;

- An identification of quality control and quality assurance procedures in place to prevent or identify and correct any errors or omissions in the reported monitoring parameters.

## Resolution of Findings

The findings may be of the following types: CAR- Corrective Action Request, CL- Clarification Request and FAR- Forward Action Request.

The list of findings and their resolution are presented in Appendix IV of this verification report. The section also includes the response, if provided, by the project participants and an assessment by the assessment team if it was closed or otherwise. It is to be noted that all the findings have been satisfactorily resolved by the assessment team.

A total of 03 CAR and 03 CL were raised in the current verification. All the findings that are raised and communicated to project participant during the verification are included under Appendix 2. The section also includes the response, if provided, by the project participants and an assessment by the verification team if it was closed out or otherwise

### Forward Action Requests

This is 2nd periodic verification of the project activity and no FAR is raised during current verification and  no FAR from previous verification as well.

## Eligibility for Validation Activities

As project is already validated and this is 2nd verification of the project. Hence, this section not applicable.

# Validation Findings

As project is already validated and this is 2nd verification of the project. Hence, this section not applicable.

## Participation under Other GHG Programs

This section is not applicable for present verification.

## Methodology Deviations

No methodology deviation is envisaged for present verification.

## Project Description Deviations

Not applicable as no deviation in project description observed during this monitoring period.

## Grouped Project

This is not a grouped project. Thus, this section is not applicable.

# Verification Findings

## Project Implementation Status

During the verification site visit it was concluded that the project is implemented as per the instruction of the registered PD/1/, Final Validation report and commissioning certificates/10/. During the current monitoring period it was observed that no unforeseen situation evolved which can impact the operation of the project activity. Breakdown summary is submitted by PP for the wind power plants. Scheduled maintenance was carried out as per the instruction of the manufacturer and the same is acceptable to the assessment team/9/.

The total installed capacity of the project is 100 MW which involves wind turbines of make Gamesa G 114 of capacity 2 MW in village- Ipperu, Mandal- Kuderu in Anantapuram district of Andhra Pradesh/10/. The technical parameters have been verified with the nameplates as well as the technical specifications of WTGs/9/.

The assessment team physically visited the wind power plant site in order to verify the status of the project implementation of the monitoring plan. It has also been verified as per the guidelines in ACM0002: Large-scale Consolidated Methodology: Grid-connected electricity generation from renewable sources, Version 18.1 that the calculations for the GHG emission reductions are done in accordance with the aforesaid methodology/7/.

The assessment team also confirmed that the monitoring system for emission reduction calculation was in place and in accordance with the registered VCS PD/1/. There was no deviation observed by the assessment team in the implementation of the monitoring system form the registered VCS PD during the current monitoring period/1/.

During the current monitoring duration, no events have been found that can change the design of project.

The details of the WTGs for the project and their location of installation as confirmed during site visit are mentioned in the table below:

| Name of Investor | Capacity (MW) | Village(s) | Tehsil / Mandal | District | State |
| --- | --- | --- | --- | --- | --- |
| Axis Wind Farms (MPR Dam) Private Limited | 100 MW | Ipperu | Kuderu | Anantapuram | Andhra Pradesh |

The Geo-Coordinates of all the WTGs involved in the project activity is provided in the table below:

| WTG no | Latitude (N) | Longitude (E) |
| --- | --- | --- |
| MPR 01 | 14° 50’ 10.7556” | 77° 23’ 12.1804 |
| MPR 02 | 14° 50’ 02.0256” | 77° 23’ 29.2367” |
| MPR 03 | 14° 49’ 54.7248” | 77° 23’ 40.2233” |
| MPR 04 | 14° 44’ 46.7376” | 77° 21’ 28.7729” |
| MPR 05 | 14° 44’ 41.3556” | 77° 20’ 58.3010” |
| MPR 06 | 14° 46’ 45.4332” | 77° 20’ 42.9873” |
| MPR 07 | 14° 49’ 12.3204” | 77° 24’ 38.6315” |
| MPR 08 | 14° 50’ 41.5572” | 77° 24’ 29.9906” |
| MPR 09 | 14° 50’ 28.7772” | 77° 24’ 36.2687” |
| MPR 10 | 14° 50’ 04.9128” | 77° 25’ 03.2868” |
| MPR 11 | 14° 49’ 49.7208” | 77° 25’ 06.6286” |
| MPR 12 | 14° 46’ 32.5956” | 77° 20’ 19.4172” |
| MPR 13 | 14° 46’ 16.2048” | 77° 20’ 22.3838” |
| MPR 15 | 14° 45’ 14.2776” | 77° 19’ 27.8421” |
| MPR 14 | 14° 46’ 08.4612” | 77° 20’ 38.6797” |
| MPR 16 | 14° 45’ 45.4680” | 77° 19’ 27.9395” |
| MPR 17 | 14° 44’ 51.4212” | 77° 20’ 34.3447” |
| MPR 18 | 14° 44’ 38.4648” | 77° 21’ 48.8706” |
| MPR 19 | 14° 45’ 54.9468” | 77° 19’ 23.3941” |
| MPR 21 | 14° 45’ 01.7460” | 77° 21’ 36.9895” |
| MPR 23 | 14° 45’ 14.2884” | 77° 21’ 50.7949” |
| MPR 24 | 14° 51’ 06.8940” | 77° 22’ 02.9782” |
| MPR 25 | 14° 50’ 57.6816” | 77° 22’ 19.6636” |
| MPR 26 | 14° 50’ 47.1156” | 77° 22’ 28.4760” |
| MPR 27 | 14° 50’ 34.8792” | 77° 22’ 29.2786” |
| MPR 30 | 14° 48’ 44.0208” | 77° 21’ 52.7650” |
| MPR 31 | 14° 48’ 36.4716” | 77° 22’ 02.6457” |
| MPR 32 | 14° 48’ 31.5504” | 77° 22’ 35.3550” |
| MPR 33 | 14° 48’ 22.0212” | 77° 22’ 35.0172” |
| MPR 34 | 14° 48’ 12.6108” | 77° 22’ 36.1515” |
| MPR_20 | 14° 46’ 59.0556” | 77° 21’ 12.2493” |
| MPR_22 | 14° 46’ 47.4708” | 77° 21’ 09.6843” |
| MPR_28 | 14° 46’ 53.7924” | 77° 21’ 40.3386” |
| MPR_29 | 14° 46’ 31.4040” | 77° 21’ 22.3136” |
| MPR 35 | 14° 44’ 23.2440” | 77° 21’ 58.4986” |
| MPR 36 | 14° 44’ 09.8052” | 77° 21’ 43.0135” |
| MPR_37 | 14° 45’ 01.5120” | 77° 20’ 04.7061” |
| MPR_38 | 14° 45’ 11.8044” | 77° 20’ 03.1448” |
| MPR_39 | 14° 45’ 20.9268” | 77° 19’ 55.3874” |
| MPR_40 | 14° 45’ 30.2148” | 77° 19’ 59.9987” |
| MPR_41 | 14° 46’ 21.7416” | 77° 21’ 19.4351” |
| MPR_42 | 14° 45’ 03.8016” | 77° 20’ 54.6314” |
| MPR_43 | 14° 45’ 28.9944” | 77° 21’ 21.8416” |
| MPR_44 | 14° 45’ 16.8480” | 77° 21’ 16.8978” |
| MPR_45 | 14° 45’ 37.8216” | 77° 21’ 07.6310” |
| MPR_46 | 14° 46’ 30.3060” | 77° 20’ 52.9532” |
| MPR_47 | 14° 49’ 01.3512” | 77° 21’ 40.6498” |
| MPR_48 | 14° 49’ 12.5040” | 77° 21’ 41.1050” |
| MPR_49 | 14 ° 48’ 50.7708” | 77° 24’ 46.6506” |
| MPR_50 | 14° 48’ 50.7708” | 77° 24’ 46.6506” |

Capacity of the projects and date of commissioning (30-March-2017) verified with commissioning certificates/10/. The technical parameters/specification have been verified by the assessment team during the onsite visit/09/with the nameplates as well as the same is also verified with the details as provided by the manufacturer/18/

Verification team confirmed during physical inspection during site visit  that project is implemented as per registered VCS PD and monitoring procedure  and process for obtaining , recording, compiling of all the data to be monitored is completely in sync with registered PD. VVB also confirm that , there was no any material discrepancies between the actual monitoring system and no change observed in project design or any change in monitoring procedure as compared to registered PD and applied methodology.

Geo coordinates checked on google earth/17/ and also checked during site visit and verification team conclude geo coordinates of project locations are consistent with registered PD.

Assessment team checked the technical details of the project activity from the manufactures specification and the detail are as follow:

| WTG Make and Model No. | Gamesa, G114 |
| --- | --- |
| Generator Type & Rating | Doubly-Fed Induction generator |
| Generator Rating | 2000 kW |
| WTG configuration | 50 X 2000 kW |
| Rotor Diameter | 114 m |
| Swept Area | 10,207.0 m2 |
| Hub Height | 93 |
| Tower Type & Shape | Conical Tubular Steel |
| Cut-in-wind speed | 2.5 m/s |
| Rated wind speed | 10.0 m/s |
| Cut-out wind speed | 25.0 m/s |
| Survival wind speed | 60.0 m/s |

The project is running smoothly ever since commissioning with regular scheduled maintenance.

Assessment team concludes the following:

- The implementation status of project activity was found to be in compliance with registered PD/1/.

- DOE has conducted the on-site visit to confirm the implementation status of the project/9/.

- The commissioning date of the project activity was found to be accurately and consistently recorded/10/.

- The actual operation of project activity was found to be in compliance with the flow diagram provided in registered PD/1/.

- The emission reductions achieved during the current monitoring period are 257,579 tCO2e.

The project activity contributes to the sustainable development by utilising wind energy for generating electricity which otherwise would have been generated through fossil fuels. Thereby reduction in usage of non-renewable sources used to generate energy.

Further the GHG emission reductions generated by the project activity has not been included by any other an emissions trading program or any other mechanism that includes GHG allowance trading. Also the project has not received any other form of environmental credit and has not been participated/rejected under any other GHG programs.

Sustainable Development- The project will contribute to the sustainable development in the following ways

- Environmental: Since the project activity leads to cleaner production of energy, it is leading to displacement of fossil fuel-based energy.

- Social: Setting up of the project activity has created new job openings hence is supporting employment of the local people around.

- Cleaner Air: Since the project activity leads to lesser GHG emission it results in better air quality.

Further the project has been implemented as described in the Project Description/1/. CL 02 , CL 04 and CAR 05 and CAR 06 were raised on the editorial issue of description and same resolved by revision in the MR.

The total emission reductions achieved in this monitoring period i.e. from 02-Aug-2018 to 01-Oct.-2019 are 257,579 tCO2e.

## Safeguards

### No Net Harm

As PP does not see and identify any potential negative environmental and socio-economic impacts, hence this section is not required. . Assessment team also cross checked by interviewing stakeholders during on site visit and confirm that there are no any potential negative environmental and socio economical impacts attributed to the project activity.

### Local Stakeholder Consultation

Local stakeholder consultation has been conducted at the time of project registration hence not applicable in the current monitoring period. However, VVB checked that as a part of ongoing mechanism for consultation with stakeholders and to address any potential negative impacts due to implementation of the project, a grievance register has been placed at the project site office. During site visit, it was verified that project site manager is responsible for this grievance register. VVB confirmed that no comment received during this monitoring period.

VVB confirm that the details provided in MR related to ongoing mechanism with consultation with stakeholders to address grievance received if any is sufficient and appropriate

## AFOLU-Specific Safeguards

This is non AFOLU projects, hence this section not applicable.

## Accuracy of GHG Emission Reduction and Removal Calculations

| Means of verification | The verification team assessed whether the data and calculations of GHG emission reductions achieved resulting from the MR. The verification team has checked whether calculations of baseline GHG emissions, project GHG emissions and leakage GHG emissions have been carried out in accordance with the formulae and methods described in the monitoring plan of the MR. |
| --- | --- |
| Findings | CL 07 raised on this section and closed successfully. Please refer Appendix 2 for further details |
| Conclusion | Ex-ante Parameter: EFgrid,OM,y = Parameter is fixed ex-ante for the entire crediting period and as per the validated VCS PD same is fixed 0.9726 tCO2/MWh. Verification team found same was used in the ER calculations. Ex ante value of emission factor is taken from CEA database, Ver. 13, June, 2018. Verification team checked the EF value and found in consistent with registered PD EFgrid,BM,y = Parameter is fixed ex-ante for the entire crediting period and as per the validated VCS PD same is fixed 0.8723 tCO2/MWh. Verification team found same was used in the ER calculations. Ex ante value of emission factor is taken from CEA database, Ver. 13, June, 2018. Verification team checked the EF value and found in consistent with registered PD EFgrid,CM,y = Parameter is fixed ex-ante for the entire crediting period and as per the validated VCS PD same is fixed 0.9475 tCO2/MWh. Verification team found same was used in the ER calculations. Ex ante value of emission factor is taken from CEA database, Ver. 13, June, 2018. Verification team checked the EF value and found in consistent with registered PD. Baseline Emissions: The baseline Emissions for a given year is calculated by multiplying the energy baseline with the grid emission factor. The grid in this case would be the ‘Indian Grid’ Formula Used: - BEy=EGPJ,y×EFgrid,CM,y Where: BEy; =; Baseline emissions in year y (t CO2/yr). EGPJ,y; =; Quantity of net electricity generation that is produced and fed into the grid as a result of the implementation of the CDM project activity in year y (MWh/yr). EFgrid,CM,y; =; Combined margin CO2 emission factor for grid connected power generation in year y calculated using the latest version of the “Tool to calculate the emission factor for an electricity system” (t CO2/MWh). Monitored Parameter: EGPJ,y = 271,852 MWh The verification team has checked the entire monthly JMR reports for net electricity generated & supplied to the grid and crosschecked same with the invoices raised by PP towards State Utilities for the monitoring period. All values are found correct. All the parameters are monitored and recorded as per the monitoring plan in the MR. The verification team has crosschecked the revised emission reduction sheet and monitoring report data with the JMR sheet and invoice and found all the values are matching. PEy = As per ACM0002 - Version 18.1, all renewable energy power generation project activities, emissions due to the use of fossil fuels for the backup generator can be neglected. As the project activity involved wind power project emissions (PEy) are taken as zero. Leakage: As per ACM0002 - Version 18.1, Leakage emissions are not considered for the project activity. |

## Quality of Evidence to Determine GHG Emission Reductions and Removals

| Means of verification | The verification team checked the break down log for the monitoring period. During the verification site visit and the feeder wise location of the WTG is also checked. The metering arrangement is tri-vector bi-directional energy meters (main and check and also one standby meter) at the State Electricity Board (SEB) substation. These meters record parameters including electricity exported & imported. Moreover, the meters are located at the HT side of the transformer and are of accuracy class of 0.2S for each project activity applied for verification. These electricity meters are being used by state electricity board for JMR (Joint Meter Reading) electricity generation statements. The Net electricity supplied to the grid is then calculated from export and import values. The net electricity exported to the grid is also cross checked from the invoices raised to respective state electricity board which is in line with Methodology requirement for large scale project activity. The main meter reading is taken jointly on a fixed day of every month for the preceding month at the delivery point and signed by the representatives of state utility and O&M personnel. In the event of failure of main meter, the check meter will be used in monitoring the electricity data. The agency is experienced in the monitoring system and is managing O&M of numerous other wind farm projects. Verification team confirms the metering process by interviewing the O&M personnel and PP representatives during site visit and found the monitoring process is in line with approved PD. Calibration of all the meters were conducted by state electricity board officials as per the industry standards. However, the calibration is done once in a 5 year/19/. The details of Calibration of the meters as confirmed during site visit and details of calibration certificates are mentioned in Appendix 5 of this report. The assessment team checked the same and found correct. The energy meter recording the export and import from the grid at substation is under the control and supervision of state electricity board officials. Similarly O&M contractor is responsible for monitoring of the generation data at CMS. PP representatives confirmed that the CMS data as well as JMR sheets and invoices will be kept for 2 years following the end of the crediting period. During site visit and discussion with PP, assessment team confirm that the data will be kept for 2 years following the end of the crediting period. The responsibilities and authorities of project management, data handling and recording, measurement methods and QA/QC procedure have been systematically established and formalized and the same was verified during the site visit by interviewing O&M personnel and checking of records/ log books maintained at site. |
| --- | --- |
| Findings | No findings was raised during verification in this section |
| Conclusion | Hence assessment team confirmed that the value of net electricity exported to the grid as used in emission reduction calculation is correct. The validation team therefore is of the opinion that the project participant through the O&M agency is capable of implementing the monitoring plan in the context of the project activity. On-site visit and interview with O&M personnel also confirms that the operational and organizational chart as mentioned in MR is as per the site practice and thus assessment team confirms that the details are correct. The break down log is checked and found that the WTGs undergone scheduled maintenance and break down. No unforced error observed and feeder wise WTG location is also checked and found correct. Calibration and Meter Details provided in Annex. 5 of this report. Assessment team checked the calculation of estimated VER vs. Actual VER. As per the registered PDD the amount of VERs annually is 195,052 tCO2e. The days involved in present monitoring period are 426. Therefore, on pro-rate basis the estimated VERs for the monitoring period is 227,649 tCO2e. Actual VERs obtained for the monitoring period 257,579 tCO2e and thus the actual VER is 13.15 % higher than the estimated VER. The generation of electricity depends upon the wind availability which affects PLF, and not within the control of the project participant. Further, current monitoring period included the months from May to July which wherein maximum PLF is achieved. This variation is majorly due to the variations in climatic conditions, grid availability and other parameters which are not in the control of PP. However, the achieved GHG emission is 13.15 % is higher than the estimated value. Also, the increased plf (Observed PLF is 25.19 %) is crossed checked with the IRR breaching values (Breaching values 14.77 % and the observed value is 11.49%), the result found within the breaching limit. Verification team also checked during site visit and confirmed that no change in project design occurred since installation of project which can affect generation of electricity. Hence, verification team confirmed that project is still additional increase in PLF during this monitoring period will not have any bearing on additionality. Assessment team checked the same found to be appropriate and accepted. |

## Non-Permanence Risk Analysis

| No. | Risk that could lead to material errors, omissions or misstatements | Assessment of the risk |  | Response to the risk in the verification plan and/or sampling plan |
| --- | --- | --- | --- | --- |
|  |  | Risk level | Justification |  |
| NA | NA | NA | NA | NA |

# Verification conclusion

Earthood Services Private Limited (Earthood), contracted by Axis Wind Farms (MPR Dam) Private Limited has performed the independent verification of the emission reductions for the VCS project activity reference number 1790 “Renewable Power Project by Axis Wind Farms (MPR Dam) Private Limited” in India for the monitoring period 02-Aug -2018 to 01-Oct-2019 reported in the Monitoring Report Version 02 dated 06-March-2020.

It is our responsibility to express an independent verification statement on the reported GHG emission reductions from the project activity.

Earthood commenced the verification on the basis of the baseline and monitoring methodology “ACM0002 - Version 18.1”, the monitoring plan contained in the PD version 03 and VCS guidelines version 4.0,  Monitoring Report Version 02 dated 06-March-2020 as per the process described under Section 2 of this report.

Earthood’s verification approach is based on the understanding of the risks associated with reporting of GHG emission data and the controls in place to mitigate these. Earthood planned and performed the verification by obtaining evidence and other information and explanations that Earthood considered necessary to give reasonable assurance that reported GHG emission reductions are fairly stated.

In our opinion the GHG emissions reductions reported for the project activity for the period 02-Aug-2018 to 01-Oct-2019 are fairly stated in the Monitoring Report Version 02 dated 06-March-2020. The GHG emission reductions were calculated correctly on the basis of the approved baseline and monitoring methodology “ACM0002 - Version 18.1” and the VCS standard.

Verification period: 02- Aug-2018 to 01-Oct-2019  (inclusive of both days).

Verified GHG emission reductions and removals in the above verification period:

| Year | Baseline emissions or removals (tCO2e) | Project emissions or removals (tCO2e) | Leakage emissions (tCO2e) | Net GHG emission reductions or removals (tCO2e) |
| --- | --- | --- | --- | --- |
| 2018 | 67,465 | 0 | 0 | 67,465 |
| 2019 | 190,114 | 0 | 0 | 190,114 |
| Total | 257,579 | 0 | 0 | 257,579 |

Approved by

Ashok Kumar Gautam

Director-Environmental Services			Date:

Earthood Services Privated Limited			Place: 	Gurgaon, Haryana

# APPENDIX 1: Documents reviewed or referenced (VerificatIon)

| S.No | Title of Document | Version | Date |
| --- | --- | --- | --- |
| 1. | Registered VCS PD | version 03 | 28/09/2018 |
| 2. | VCS Monitoring Report | 2 | 06/03/2020 |
| 3. | ER spreadsheet (corresponding to the final monitoring report) | 2 | 06/03/2020 |
| 4 | Certificates of Calibration for meters belongs to project activity | - | 21/02/2019 |
| 5. | Invoice issued by PP for the duration of monitoring period | - | 02/08/2018 to 01/10/2019 |
| 6. | Joint Meter Readings for the duration of monitoring period | - | 02/08/2018 to 01/10/2019 |
| 7. | “Consolidated baseline methodology for grid-connected electricity generation from renewable sources”, ACM0002, | “ACM0002 - Version 18.1” | - |
| 8. | CO2 Baseline Database for the Indian Power Sector published by the Central Electricity Authority (CEA), Ministry of Power, Govt. | version 13 | - |
| 9. | On-site assessment, interviews of plant staff | - | 24/02/2020 |
| 10. | Commissioning certificate for all the WTGs of the project activity | - | 30/03/2017 |
| 11. | Power Purchase Agreements | - | 20/07/2016 |
| 12. | VCS webpage for the project, VCS ID 1790; https://www.vcsprojectdatabase.org/#/project_details/1790 | - | Last accessed on 25/03/2020 |
| 13. | O&M contract for all project sites with Gamesa Renewables Power Pvt. Ltd. | - | 30/12/2015 |
| 14. | VCS Standard | Version 4.0 | Last accessed on 25/03/2020 |
| 15. | VCS Program Guide | Version 4.0 | Last accessed on 25/03/2020 |
| 16 | Letter of declaration dated from PP regarding not having created or sought any other form of environmental credit for the same period and double counting | - | 03/03/2020 |
| 17 | Google Earth desktop/Mobile application | - | Last accessed on 25/03/2020 |
| 18. | Technical specifications from technology supplier |  | 30/12/2015 |
| 19 | Meter calibration guidelines: http://cea.nic.in/reports/regulation/CEA_metering_regulation_amendment_2019.pdf |  |  |

# APPENDIX 2: corrective action requests, Clarification requests AND FORWARD action requests (CAR/CL/FAR)

Table 1.	Remaining FAR from previous verification

| FAR ID | 00 | Section no. |  | Date : 27/02/2020 |
| --- | --- | --- | --- | --- |
| Description of FAR |  |  |  |  |
| There is no FAR from the validation/previous verifications of the project activity |  |  |  |  |
| Project participant response |  |  |  | Date :DD/MM/YYYY |
| NA |  |  |  |  |
| Documentation provided by project participant |  |  |  |  |
| NA |  |  |  |  |
| DOE assessment |  |  |  | Date: DD/MM/YYYY |
| NA |  |  |  |  |

Table 2.	CL from this verification

| CL ID | 02 | Section no. | 1.1 & 3.1 | Date : 27/02/2020 |
| --- | --- | --- | --- | --- |
| Description of CL |  |  |  |  |
| In sec. 1.1 and 3.1, value of annual emission reductions is not consistent with registered PD |  |  |  |  |
| Project participant response |  |  |  | Date :06/03/2020 |
| Annual emission reduction values is now consistent in the registered PD |  |  |  |  |
| Documentation provided by project participant |  |  |  |  |
| MR V2 |  |  |  |  |
| DOE assessment |  |  |  | Date: 25/03/2020 |
| Value of annual emission reduction in sec. 1.1 and 3.1 of revised MR, ver. 2.0 dated 06/03/2020 is now consistent. Comment closed. |  |  |  |  |

| CL ID | 03 | Section no. | 1.9 | Date : 27/02/2020 |
| --- | --- | --- | --- | --- |
| Description of CL |  |  |  |  |
| PP shall provide an undertaking regarding no double counting of emission reductions claimed for this monitoring period. |  |  |  |  |
| Project participant response |  |  |  | Date : 06/03/2020 |
| No Double counting undertaking is being provided. |  |  |  |  |
| Documentation provided by project participant |  |  |  |  |
| DOE assessment |  |  |  | Date: 25/03/2020 |
| PP has now provided an undertaking dated 03/03/2020 regarding participation in other GHG mechanism. Verification team found undertaking is in line and confirm that PP has not claimed and not intend to claim ER in any other GHG mechanism for this monitoring period. Comment closed. |  |  |  |  |

| CL ID | 04 | Section no. | 1.7 | Date : 27/02/2020 |
| --- | --- | --- | --- | --- |
| Description of CL |  |  |  |  |
| In sec. 1.7, PP shall provide geo coordinates of all 50 WTGs in line with registered PD |  |  |  |  |
| Project participant response |  |  |  | Date : 06/03/2020 |
| Geo coordinates is now being added to the registered PDD. |  |  |  |  |
| Documentation provided by project participant |  |  |  |  |
| DOE assessment |  |  |  | Date: 25/03/2020 |
| PP has now provided geo coordinates for all WTGs in sec. 1.7 of revised MR, ver. 2.0 dated 06/03/2020. Comment closed. |  |  |  |  |

Table 3.	CAR from this verification

| CAR ID | 05 | Section no. | 4.1 | Date: 27/02/2020 |
| --- | --- | --- | --- | --- |
| - In sec. 4.1, CEA database, ver. 12 used which is not consistent with version referred in registered PD. Corrective action required. |  |  |  |  |
| Project participant response |  |  |  | Date: 06/03/2020 |
| CEA version is revised as per the finding. |  |  |  |  |
| Documentation provided by project participant |  |  |  |  |
| MR V2 |  |  |  |  |
| DOE assessment |  |  |  | Date: 25/03/2020 |
| PP has now made necessary corrections in sec. 4.1 of revised MR, ver. 2.0 dated 06/03/2020. Comment closed. |  |  |  |  |

| CAR ID | 06 | Section no. | 1.10 | Date: 27/02/2020 |
| --- | --- | --- | --- | --- |
| In sec. 1.11, name of host country DNA incorrectly mentioned. Corrective action required |  |  |  |  |
| Project participant response |  |  |  | Date: 06/03/2020 |
| Host country name is being updated in the MR V2. |  |  |  |  |
| Documentation provided by project participant |  |  |  |  |
| MR V2 |  |  |  |  |
| DOE assessment |  |  |  | Date: 25/03/2020 |
| PP has now correctly mention name of host country DNA in sec. 1.11 of revised MR, ver. 2.0 dated 06/03/2020. Comment closed. |  |  |  |  |

| CAR ID | 07 | Section no. | 5.1 | Date: 27/02/2020 |
| --- | --- | --- | --- | --- |
| Baseline emission calculated using CEA database, ver. 12 but in registered PD, Ver. 13 used. PP shall revise the calculation of baseline emission and provide revised MR and ER sheet. |  |  |  |  |
| Project participant response |  |  |  | Date: 06/03/2020 |
| CEA database is being updated and the baseline emission is revised as per the comment. |  |  |  |  |
| Documentation provided by project participant |  |  |  |  |
| ER V2 and MR V2 |  |  |  |  |
| DOE assessment |  |  |  | Date: 25/03/2020 |
| PP has now provided revised ER sheet using CEA version 13 consistent with registered PD. ER value in spread sheet checked with revised MR, Ver. 2.0 dated 06/03/2020 and found to be consistent. Comment closed. |  |  |  |  |

Table 3.	FAR from this verification

| FAR ID | Nill | Section no. |  | Date: 27/02/2020 |
| --- | --- | --- | --- | --- |
| Description of FAR |  |  |  |  |
| Project participant response |  |  |  | Date: DD/MM/YYYY |
| Documentation provided by project participant |  |  |  |  |
| DOE assessment |  |  |  | Date: DD/MM/YYYY |

# APPENDIX 3: Competence of team members and technical reviewers

| Competence Statement |  |  |  |
| --- | --- | --- | --- |
| Name | Pankaj Kumar |  |  |
| Education | M.Sc. in Environment Management Post Graduate Diploma in Environment Law B.Sc. (Hons.) Environment and Water Management |  |  |
| Experience | 15 Years |  |  |
| Field | Climate Change/Waste Management/EIA |  |  |
| Approved Roles |  |  |  |
| Team Leader | YES |  |  |
| Validator | YES |  |  |
| Verifier | YES |  |  |
| Methodology Expert | YES (AMS I.D, ACM0002) |  |  |
| Local expert | YES (India) |  |  |
| Financial Expert | NO |  |  |
| Technical Reviewer | NO |  |  |
| TA Expert (1.2) | YES |  |  |
| Reviewed by | Shreya Garg | Date | 01/11/2019 |
| Approved by | Anshika Gupta | Date | 01/11/2019 |

| Competence Statement |  |  |  |
| --- | --- | --- | --- |
| Name | Shreya Garg |  |  |
| Country | India |  |  |
| Education | M.Sc. (Climate Science & Policy), TERI University |  |  |
| Experience | 7 Years + |  |  |
| Field | Climate Change |  |  |
| Approved Roles |  |  |  |
| Team Leader | YES |  |  |
| Validator | YES |  |  |
| Verifier | YES |  |  |
| Methodology Expert | AMS.I.A., AMS.I.C., AMS.I.D., AMS.I.F., AMS.II.D., AMS.II.G., AMS.II.J., AMS.III.AV., ACM0002, ACM0012 |  |  |
| Local expert | YES (India) |  |  |
| Financial Expert | NO |  |  |
| Technical Reviewer | YES |  |  |
| TA Expert | YES (TA 1.2, TA 3.1) |  |  |
| Reviewed by | Abhishek Mahawar | Date | 01/03/2018 |
| Approved by | Ashok Gautam | Date | 01/03/2018 |

# APPENDIX 4: Abbreviations

| Abbreviations | Full texts |
| --- | --- |
| BM | Build Margin |
| CAR | Corrective Action Request |
| CDM | Clean Development Mechanism |
| CER | Certified Emission Reduction(s) |
| CEA | Central Electricity Authority |
| CL | Clarification request |
| CM | Combined Margin |
| CMS | Central Monitoring system |
| CO2 | Carbon dioxide |
| CO2e | Carbon dioxide equivalent |
| DNA | Designated National Authority |
| DOE | Designated Operational Entity |
| DR | Document Review |
| EF | Emission Factor |
| EIA | Environmental Impact Assessment |
| ER | Emission Reductions |
| FAR | Forward Action Request |
| GHG | Greenhouse gas(es) |
| GWP | Global Warming potential |
| PP | Project Participant |
| OM | Operating Margin |
| PLF | Plant Load Factor |
| PPA | Power Purchase Agreement |

# APPENDIX 5: Meter calibration details

Calibration details of meter as checked during  site visit and certificates submitted by PP are as follows:

| Meter Details | Main Meter | Check Meter | Standby Meter |
| --- | --- | --- | --- |
| Meter Serial No | 16400232 | 16400234 | 16400235 |
| Meter Make | L & T | L & T | L & T |
| Accuracy Class | 0.2s | 0.2s | 0.2s |
| Date of Calibration | 08-March-2017 | 08-March-2017 | 08-March-2017 |
| Date of Subsequent Calibration | 21-February-2019 | 21-February-2019 | 21-February-2019 |
| Due Date of Calibration | 20-February-2024 | 20-February-2024 | 20-February-2024 |